

**Mid-Term Reliability**

**Request for Offers – Phase 2**

**Supplemental Project Information**

**Appendix B**

Contents

[Eligibility Requirements 3](#_Toc100845084)

[All projects 3](#_Toc100845085)

[Project Description 5](#_Toc100845086)

[Project Description – Zero Emitting Specific 10](#_Toc100845087)

[Project Description – Firm, Zero Emitting Specific 11](#_Toc100845088)

[Project Description – Storage Specific 11](#_Toc100845089)

[Project Description – Utility Owned (Build Own Transfer) - Storage 12](#_Toc100845090)

[Site Control 13](#_Toc100845091)

[Project Milestone Schedule 17](#_Toc100845092)

[Experience and Qualifications 19](#_Toc100845093)

[Organizational Information 19](#_Toc100845094)

[Safety/Climate Risk 21](#_Toc100845095)

[Appendix I: Eligible DAC Census Tracts 22](#_Toc100845096)

Important note: Participants must use the highlighting tool to clearly mark its information that Participant considers confidential and proprietary. Do not mark the entire document as confidential. These requirements are in accordance with the confidentiality provisions as described in Section IX of the Mid-Term Reliability Protocol – Phase 2.

PG&E reserves the right to request additional documentation listed but not already provided in the Offer package.

# Eligibility Requirements

Participants must answer all questions completely and note how the project offers meets all the eligibility requirements set forth in the Mid-Term Reliability RFO – Phase 2 Solicitation Protocol in Section III.

## All projects

1. Which category of procurement is the project bidding for?
2. What is the technology the project is using?
3. Describe how many variants are being submitted for this project.
4. If offer includes more than one variant, please describe difference between variants.
5. Are you submitting a joint offer? If so, what is the other counterparty and describe partnership?

**Eligibility**

1. What is the projected online date for the project and what evidence is this date based on?
2. Describe how the offered resource will comply with all the eligibility requirements for the procurement category described in Section III. A of the MTR Phase 2 RFO protocol.

**Site control**

1. Please describe which acceptable form of site control (described in Section III. D of the protocol) was provided in offer package. *Note: If the project is a contractually paired resource (renewable generation and solar with two CAISO resource IDs), please submit site control for both resources.*

**Certain Performance and Operational Requirements**

1. Please describe how project meets the applicable CPUC RA requirements, CAISO requirements for deliverability, as well as any other requirements that will enable PG&E to receive all the RA benefits associated with the Project.

**Electric Interconnection**

Provide the following information regarding interconnection:

1. Indicate if the project is transmission, distribution, or intertie connected.
2. If the project is transmission connected and going through the CAISO generator interconnection process, please indicate if the project is a part of a cluster study (and which number) or the independent study process or other.
3. Please describe how the Project how is on track to receive Full Capacity Deliverability Status (FCDS) in order to support delivery of product, including RA, per the obligations of the corresponding agreement.
4. Please describe the most recent type of interconnection report or agreement the project has and submitted in this RFO.
5. Please describe where the relevant information is located in the applicable interconnection report or agreement that shows evidence of a construction schedule demonstrating that the project can meet the proposed Initial Delivery Date. (please provide reference to interconnection document page numbers and/or table references)
6. If applicable, how long are the infrastructure upgrades projected to take?
7. List the current or proposed point of interconnection, and the distance from the Project to the electric interconnection point.
8. Status of Project’s studies associated with the interconnection process, along with any application fees paid. Expected dates for: (i) the completion of the various studies associated with the interconnection process; (ii) the completion of any upgrades required for interconnection; and (iii) the ultimate availability of the interconnection.
9. Completed interconnection study or interconnection agreement, if applicable.

**Incrementality**

1. Please describe how Offers are incremental to existing system reliability resources.
2. [New Projects] Please describe, if resource is co-located with an existing resource, how it will demonstrate incrementality consistent with the counting protocols in CPUC D.21-06-035.
3. [New Projects] Please describe if project has delivered power to any off-taker prior to offer submittal.
4. [Existing resource] Has the resource increased its nameplate capacity after June 1, 2019?
5. [Existing resource] Please describe the engineering evidence of an upgrade or a repower to the generator or the storage plant.

**Imports (*if applicable*)**

1. What CAISO intertie will the resource deliver to?
2. What is the Seller’s plan for delivery to the intertie? Is the import a resource specific import or non-resource specific import?
3. What BAA is the resource physically located in?

# Project Description

**Participant Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Please provide the following Project information in the order requested. Indicate if a question is not applicable and do not leave responses blank.

**1. SYSTEM DESCRIPTION**

A general description of the Project, including any control and communications systems.

**2. TECHNICAL/EQUIPMENT DESCRIPTION**

A summary of the technical characteristics of the Project, including:

1. a listing of the major components (equipment) to be used;
2. information relating to the availability of and Participant’s access to sourcing the equipment and components utilized / proposed for construction and operation of the Project;
3. equipment source (e.g. existing owned inventory, new manufacturer order, resale market purchase, etc.);
4. terms and expiration of warranties/guarantees;
5. a non-confidential description of any new or proprietary processes in

manufacturing, deployment, operation, etc.; and

1. any other relevant technical information about the Project and supply chain considerations.
2. Has the equipment/application proposed been applied in commercial operations? If so, provide examples. If the technology/equipment has not been used commercially, please describe the status of the application.
3. Please indicate if you have patent or license rights to new or proprietary processes, equipment, hardware/firmware/software, or systems necessary for the successful operation of the Project.

**3. OPERATING PARAMETERS**

To give an understanding and confidence that the proposed operation of the Project is achievable, provide the following information:

1. Describe specific design considerations and provide, where appropriate, significant design detail to confirm that the Project has been designed to accommodate planned operations. Components that should be specifically addressed are specific to your technology, such as PV panels, battery cells, turbines, inverters, auxiliary equipment, etc.
2. List known or expected operating characteristics of the Project. Provide any manufacturer-provided operating specifications.

**4. PERMITTING**

Please complete the following table of permits and discretionary approvals required from local, state, federal, and/or tribal authorities for both the Project and any interconnection related upgrades under consideration. Include those permits that are required but not currently held, the status of permits in the application phase, and the expiration date of all discretionary permits already obtained and the agency process for granting a permit extension. Provide links to agency or applicant web sites where permit information is available.

| **Table of Discretionary Land Use Permits and Approvals Required from Local, State, Federal, and/or Tribal Authorities for the Project and any Interconnection Upgrades** |
| --- |
| **Permit Type or Approval** | **Issuing Agency/Entity** | **Date Issued *or* Date application submitted, and Date anticipated** | **Permit Expiration Date\***  |
| *EXAMPLE:* *Conditional Use Permit* | *Alameda County, CA* | *Issued 1/1/2015* | *Expires 1/1/2018* |
| [List additional permits, as necessary.] |  |  |  |
| \* Describe the agency process for granting a permit extension and the length of the extension. |

**5. ENVIRONMENTAL RESOURCE REVIEWS AND APPROVALS**

Please provide the following information, identifying all required environmental resource reviews, permits or approvals obtained, in progress, or anticipated for the Project, including but not limited, to those listed below. Indicate permit/approval status and anticipated issuance or approval date. Provide links to agency or applicant web sites where agency environmental review and determination documents (i.e., EIR, EIS) and Project environmental study documents are available. If applicable, indicate if environmental reviews are not required by the permitting agency for the Project, and why.

1. **CEQA/NEPA Review**
* NEPA Lead Agency (if required)
	+ Type of Document - EA/FONSI or EIS
	+ Date Final Document Approved, or estimated approval date
* CEQA Lead Agency (if required)
	+ Type of Document - NegDec, Mitigated NegDec or EIR
	+ Date final document approved, or estimated approval date
	+ State Clearinghouse Number
1. **Endangered Species**
* USFWS Section 7 Consultation (if required)
	+ Federal agency initiating consultation
	+ Type of Consultation – Informal, Formal
	+ Type of USFWS Response – Concurrence or Biological Opinion & Incidental Take Permit
	+ Date Consultation Completed or estimated completion date
* California DFW Consultation (if required)
* Incidental Take Permit (if required)
* Date Incidental Take Permit received or estimated receipt date
1. **Cultural Resources**
* If required, provide Native American stakeholders to be consulted. If they have been consulted, then please provide contact dates.
* Status of Section 106 review, if required
* Describe any cultural resources on the Project Site eligible for or listed on national or state registers

**(iv) Water Resources**

* Describe any “will serve” commitments from the local water provider for the Project, and provide the name of the local provider
* Date commitment received or estimated receipt date

As applicable, please provide any additional permitting and environmental information for the items below, as this could support the Project Viability assessment. Provide impact information and mitigation plans when relevant. If information is not available, please indicate as such.

 (i) Hazardous Materials/Waste (i.e., type and volumes)

 (ii) Water Quality and Supply (i.e, source, amounts, on-site usage, and discharge)

 (iii) Air Quality

 (iv) Stakeholder Engagement (i.e., anticipating and addressing public concerns about the Project)

**6. PRELIMINARY DESIGN**

Provide the following preliminary design information used as the basis for the facility design and associated performance guarantees. Depending on the technology of the project offered, some sections will not apply.

1. General Arrangement Drawings
2. Plot Plan
3. Single-Line Diagrams with metering and Point of Interconnection clearly shown



**EXAMPLE SINGLE-LINE DIAGRAM**

1. Heat Balance Diagram

For those resources that burn fuel, then provide a heat balance diagram for each fuel type used. Heat balances for each fuel to be permitted shall include the mass flow rate (lb/hr), temperature (°F), pressure (psia), and enthalpy (BTU/lb) for all energy, water, steam, combustion air, and fuel streams entering and exiting the boundaries of the generating unit and of each major equipment component. The heat balances shall be provided for each fuel that will be permitted for use at the facility. The fuel constituents and heating value shall be provided for each of the fuels.

1. Piping & Instrument Diagrams (P&ID)

 The Piping and Instrument Diagrams (“P&IDs”) should include line sizes, instrumentation, and valves for all major systems that will be provided by Participant. The Participant shall also provide a list of all system P&IDs that will be prepared during the design phase of the Project.

# Project Description – Zero Emitting Specific

For paired and hybrid (renewable generation + storage) Projects:

1. If your Project utilizes solar, please describe your sourcing plan for solar equipment. Please describe any effects from the Department of Commerce’s anti-dumping case, including any effects on price or potential delay to the online date.
2. Please describe your sourcing plan for storage equipment.
3. Please list which variants are planning to utilize the Investment Tax Credit (ITC) for the storage resource.
4. If using the ITC, please explain the tax credit strategy.
5. If ITC is being utilized for the storage resource, are there any constraints on the operation of the storage resource? Please describe how any such constraints may impact the project’s ability to meet the terms of the zero-emitting and storage agreements. Please indicate if any constraints are reflected in the generation profiles provided in the Offer Form.
6. For hybrid projects, please explain why you have chosen hybrid over co-located. Please describe how the resource intends to operate and how this is reflected in the generation profile provided in the offer form.
7. Please demonstrate how the renewable resource’s p50 annual quantity meets the requirements for the zero-emitting category. Indicate the source for the p50 value in the Offer Form.

For demand response projects:

1. Please describe how your project will conform with the requirements in the Decision and Energy Division Staff’s [FAQ](https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/integrated-resource-plan-and-long-term-procurement-plan-irp-ltpp/d2106035_faqv2_20220318_redline.pdf) which outlined further requirements on pages 4 and 5.

# Project Description – Firm, Zero Emitting Specific

1. Please describe the amount of operational flexibility your project can provide. How dispatchable is your project?
2. Please describe any ambient conditions (e.g. temperature, humidity) that may affect the project’s ability to deliver product under the firm zero-emitting agreement.
3. Is the expected capacity going to vary based on ambient conditions? Include any formulas that would affect capacity based on these conditions. Additionally, please explain and indicate how this is reflected in the Offer Form.
4. Please provide an expected schedule and duration of major maintenance.

# Project Description – Storage Specific

1. Please describe any ambient conditions that may affect the project’s ability to deliver product under the Long-term Resource Adequacy Agreement with Energy Settlement.
2. Is the expected capacity going to vary based on ambient temperature? Include any formulas that would affect capacity that includes these variables. Additionally, please explain and indicate how this is reflected in the Offer Form.
3. If the project is using technology other than lithium-ion and pumped hydro, describe a project where you have commercial and operational experience that utilizes the same technology as the project proposed. Such reference project must be at least 1 MW in size and has been in operation for at least a year. PG&E may ask for operational data on this project after offer submittal.
4. If applicable, describe specifically the battery supply plan for sourcing.
5. If applicable, are there any biological or FERC operational constraints?
6. If applicable, are there any safety related constraints regarding recreation?

# Project Description – Utility Owned (Build Own Transfer) - Storage

**Drawings and Project Description:**

For each offer and in addition to the information requested for all projects in the document, please provide preliminary project drawings and project description documents as described below in 1 through 11.

1. **Work Scope Document & Description of the Project:**

Provide description of equipment and operating function for Project, auxiliary power, controls, monitoring and alarm systems and logic diagrams for the overall protective functions of equipment. Include information on major equipment suppliers.

1. **Project General Arrangement and Profile Drawings:**

General Arrangement: Submit suitable illustrations and sketches clearly showing the limits of the scope of supply and the project layout. Clearly indicate the assumed locations of the PG&E-furnished switchgear buildings.

Profiles: For purposes of initiating permitting discussions, all bidders must submit at least two project profile views – one from a pespective west of the site looking east and one from a perspective north of the site looking south.

1. **Electrical Diagrams and Drawings:**
* Single Line Diagram
* Single Line Meter and Relay Diagram
1. **DNP 3.0 Points List and DNP3 certification document**
2. **Special Equipment of Capability:**

Provide description of Project capabilities with respect to:

1. FRR (Frequency Regulation and Response) capability
2. 2X H (inertia) equivalent
3. Short term 110% overload, adequate to clear protective devices for coordination
4. Virtual synchronous generator mode
5. **List of spare parts, including delivery times for normal and emergency conditions.**
6. **List of special tools, fixtures and devices required for installation, operation, and maintenance.**
7. **Description of Capacity Maintenance or Augmentation Plan**

If periodic module replacements or additions are planned to meet the performance requirements, specify the amounts and timing needed to be provided along with supporting documentation on scope of work required for each augmentation.

1. **Inverter Efficiency Curve (% efficiency vs % of rated output)**
2. **Preliminary construction schedule**
3. **Paint specifications and proposed corrosion resistance plan for all exterior equipment**

 **Purchase Price Breakdown:**

1. Provide purchase price breakdown by major equipment categories and proposed milestone payment schedule per template shared by PG&E via ESFT.

# Site Control

1. Control of Land for Project Site

Can your firm certify that you possess or control ***all*** land rights necessary for the project site and duration?

Yes: \_\_\_\_

No: \_\_\_\_

If you answered “Yes” to question 1, please indicate the method of site control (Fee Owned, Lease, Option, etc.) for each specific parcel.

|  |  |
| --- | --- |
| **Assessor’s Parcel Number** | **Method of Control (Fee Owned, Lease, Option, Etc.)** |
|  |   |
|  |   |

If you answered “No” to question 1, please indicate what is missing and what the firm’s plan is to address the deficiency for each specific parcel.

|  |  |  |
| --- | --- | --- |
| **Assessor’s Parcel Number** | **Acquisition Plan (Fee Ownership, Lease, Option, etc.)** | **Current Status** |
|  |   |   |
|  |   |   |

1. Control of Land for Electric and Gas Interconnection

Can your firm certify that you possess or control ***all*** land rights necessary for the Interconnection?

Yes: \_\_\_\_

No: \_\_\_\_

If you answered “Yes” to question 1, please indicate the method of control (Easement, Encroachment Permit, Fee Owned, Lease, Option, etc.) for each segment of the interconnection.

|  |  |
| --- | --- |
| **Assessor’s Parcel Number (or ROW Segment)** | **Method of Control (Easement, Encroachment Permit, Fee Owned, Lease, Option, Etc.)** |
|  |   |
|  |   |

If you answered “No” to question 1, please indicate what is missing and what the firm’s plan is to address the deficiency for each specific parcel or ROW segment.

|  |  |  |
| --- | --- | --- |
| **Assessor’s Parcel Number (or ROW Segment)** | **Acquisition Plan (Easement, Encroachment Permit, Fee Ownership, Lease, Option, etc.)** | **Current Status** |
|  |   |   |
|  |   |   |

1. Aerial Site Plan Map

Provide an aerial site plan map in PDF or jpg format that shows the assessor parcel boundary(ies) the project is located on, the overall boundary/footprint of the project, and key proposed and existing project facilities, including electric generation and storage facilities, access roads and the rights-of-way for all electric, gas, and water interconnecting utilities

1. A KMZ file
Provide a site plan map in KMZ file format that shows the assessor parcel boundary(ies) that the project is located on, the overall boundary/foot print of the project, the centroid point of the project, and key proposed and existing project facilities, including electric generation and storage facilities, access roads and the rights-of-way for all electric, gas, and water interconnecting utilities

5.   General Summary

a. Provide a summary indicating the status of all survey work for proposed new Project including any outstanding survey work that remains.

b. Include status of preliminary title report for the proposed new Project; include any restrictions or encumbrances that may affect the land and/or proposed work. Provide mitigation steps for any identified restrictions or encumbrances.

1. Disadvantaged Communities

Please indicate whether your project is located in a disadvantaged community, as defined in Appendix I at the bottom of this document. Include a screenshot that demonstrates project is located in an eligible census tract(s) included in Appendix I of this document.

# Project Milestone Schedule

Please provide a Project milestone schedule describing financing, permitting, engineering, procurement, construction, interconnection, and startup activities, timelines and status. The schedule should include major activities and milestones for all aspects of the Project (including financing, interconnection, permitting, equipment procurement, construction, synchronization, and commercial operations) since project inception through the first year of commercial operation along with a supporting narrative.

[*Sample milestones below are for illustration only. Participant to insert project-specific list.]*

| *No.* | *Date* | *Milestones* |
| --- | --- | --- |
| 1 |  | Demonstrates site control. |
| 2 |  | Submits interconnection application. |
| 3 |  | Files any discretionary agency permit applications (i.e. environmental, land use). |
| 4 |  | Files ministerial/construction permit application(s). |
| 5 |  | Receives a completed interconnection report or agreement that demonstrates evidence of a construction schedule that can meet the proposed Initial Delivery Date of June 1, 2023 or June 1, 2024. |
| 6 |  | Obtains control of all lands and rights-of-way comprising the Site. |
| 7 |  | Receives a completed interconnection Facility Study or Phase II Interconnection Study. |
| 8 |  | Executes an interconnection agreement and transmission/distribution service agreement, as applicable. |
| 9 |  | Receives FERC acceptance of interconnection agreement and transmission agreement. |
| 10 |  | Receives discretionary agency permit (i.e. environmental, land-use). |
| 11 |  | Receives ministerial/construction permits. |
| 12 |  | Executes contract  |
| 13 |  | Procures the *[insert applicable preferred energy resource equipment]* for the Project. |
| 14 |  | Completes financing, including construction financing. |
| 15 |  | Begins construction of the Facility. |
| 16 |  | Begins startup activities. |
| 17 |  | Initial Performance Test. |
| 18 |  | Commercial Operation Date. |

# Experience and Qualifications

**Participant Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Provide information in the order requested. Indicate if a question is not applicable and do not leave responses blank.

Please describe the Participant’s experience and staff qualifications, including but not limited to:

1. Organizational chart for the Project that lists the Project participants and identifies the management structure and responsibilities.
2. The staff make-up and size and the identification and brief description of Participant’s key personnel and management.
3. Experience and qualifications in developing, designing, and constructing, operating, and maintaining the resource, as well as contracting to sell and deliver long-term power supplies. Participant should highlight their experience in these areas as it relates to:
	* projects utilizing the same technology as the proposed Project;
	* projects of similar capacity and configuration as the proposed Project;
	* specific engineering, procurement, and construction (EPC) contractors being considered for this Project; and
	* projects supplying energy to California.

# Organizational Information

**Participant Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Indicate the full, complete, and correct legal name of Participant and provide copy of a certificate of good standing or similar document from Participant’s state of formation. The entity name on the certificate must match the name of Participant:

2. Describe in detail Participant’s organizational structure. A written description and a box diagram showing links are both helpful. If applicable, list the legal names of the participants of a joint Offer Participants, owners of the Project (if different than the Participant) and the relative percentage ownership of Participant of the Project, and in addition address all of the following if applicable:

* Participant is a direct or indirect subsidiary or affiliate of any other entity or corporation provide detail as to the relationships and identify the ultimate parent;
* Participant is part of a partnership, provide the names of all partners and indicate the general partner(s);
* Participant is a joint venture, identify the members of the joint venture and indicate if any is the controlling entity;
* Participant a limited liability company, identify the members;
* Participant is acting as a member of a consortium or other organization, association or group of persons acting in concert for purposes of submitting a joint Offer, provide the names of all the members and indicate the controlling member of the consortium, organization, association or group.

3. Provide the name of the principal state where the entities named in item A.2 above are registered or incorporated with an “active” status. If Participant is incorporated outside of California but is also registered in California, but under a different name, please provide that name.

4. Please identify the parties (including Participant’s entity) you believe will need to know “Confidential Information” (as that term is defined in the Confidentiality Agreement, Appendix D) during any upcoming negotiations of your Offer with PG&E. If you are the only party with a need to know, just indicate that.

5. List and describe any pending legal disputes that may affect the Participant’s ability to enter into or fulfill its ability to perform under the proposed Offer.

6. Provide the name and contact information of your legal counsel representing you in this Offer, if PG&E requests further information or clarification or needs to address conflicts of interest.

# Safety/Climate Risk

**Participant Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. Describe all known safety hazards associated with the distributed energy resource and configuration planned for the Project. Provide descriptions of the systems or processes typically used to manage or mitigate any risks associated with the known safety hazards.
2. Identify the relevant industry safety-related codes or standards and government regulations that apply to the design and operation of the distributed energy resource using the proposed technology and configuration (e.g. NEC Article 480 for stationary energy storage, etc.).
3. Provide a description of any ongoing processes used by the distributed energy resource original equipment manufacturer (OEM) and its customers to communicate lessons learned about its installed projects to identify, resolve, and prevent potential safety-related issues.
4. Provide the safety record of the Participant and identified contractors associated with the Project, and identify subsequent actions taken to manage or mitigate any safety incidents. Provide documentation for the previous three years (2015-2017) to demonstrate Participant’s (if applicable) and/or associated contractors’ Occupational Safety and Health Administration (OSHA) Recordable Incident Rates and Experience Modification Rates.
5. Climate Risk: Have you performed a facilities climate risk study? List potential climate risks that could affect your project.

# Appendix I: Eligible DAC Census Tracts

**Eligible DAC Census Tracts**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Census Tract** | **Total Population** | **California County** | **Zip** | **City** | **Percentile Category** | **CES 3.0[[1]](#footnote-2) Percentile** | **CES 3.0 Percentile Range**  |
| 6001401000 | 5678 | Alameda  | 94608 | Emeryville | Top 25% in CA | 78.52 | 75-80% |
| 6001401400 | 4314 | Alameda  | 94608 | Emeryville | Top 25% in CA | 85.40 | 85-90% |
| 6001401500 | 2630 | Alameda  | 94608 | Emeryville | Top 25% in CA | 82.39 | 80-85% |
| 6001401600 | 2163 | Alameda  | 94607 | Oakland | Top 25% in CA | 77.84 | 75-80% |
| 6001401700 | 2667 | Alameda  | 94607 | Oakland | Top 25% in CA | 84.56 | 80-85% |
| 6001401800 | 1703 | Alameda  | 94607 | Oakland | Top 25% in CA | 86.25 | 85-90% |
| 6001402200 | 2385 | Alameda  | 94607 | Oakland | Top 25% in CA | 88.32 | 85-90% |
| 6001402400 | 2351 | Alameda  | 94607 | Oakland | Top 25% in CA | 79.87 | 75-80% |
| 6001402500 | 1784 | Alameda  | 94607 | Oakland | Top 25% in CA | 81.55 | 80-85% |
| 6001402700 | 1569 | Alameda  | 94612 | Oakland | Top 25% in CA | 76.39 | 75-80% |
| 6001403000 | 2788 | Alameda  | 94607 | Oakland | Top 25% in CA | 84.99 | 80-85% |
| 6001403300 | 4054 | Alameda  | 94607 | Oakland | Top 25% in CA | 82.13 | 80-85% |
| 6001405401 | 3957 | Alameda  | 94606 | Oakland | Top 25% in CA | 75.56 | 75-80% |
| 6001406000 | 3450 | Alameda  | 94606 | Oakland | Top 25% in CA | 89.13 | 85-90% |
| 6001406100 | 4381 | Alameda  | 94601 | Oakland | Top 25% in CA | 85.81 | 85-90% |
| 6001406201 | 4649 | Alameda  | 94601 | Oakland | Top 25% in CA | 75.48 | 75-80% |
| 6001407200 | 6746 | Alameda  | 94601 | Oakland | Top 25% in CA | 78.46 | 75-80% |
| 6001407300 | 2598 | Alameda  | 94601 | Oakland | Top 25% in CA | 91.16 | 90-95% |
| 6001407400 | 3954 | Alameda  | 94601 | Oakland | Top 25% in CA | 76.93 | 75-80% |
| 6019001100 | 3174 | Fresno  | 93706 | Fresno | Top 5% in CA | 100.00 | 95-100% (highest scores) |
| 6001408900 | 3414 | Alameda  | 94621 | Oakland | Top 25% in CA | 86.68 | 85-90% |
| 6019000200 | 3167 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.97 | 95-100% (highest scores) |
| 6077000801 | 6692 | San Joaquin | 95203 | Stockton | Top 5% in CA | 99.96 | 95-100% (highest scores) |
| 6001409200 | 3152 | Alameda  | 94603 | Oakland | Top 25% in CA | 93.48 | 90-95% |
| 6001409300 | 5229 | Alameda  | 94603 | Oakland | Top 25% in CA | 82.60 | 80-85% |
| 6001409400 | 4306 | Alameda  | 94603 | Oakland | Top 25% in CA | 88.02 | 85-90% |
| 6001409500 | 3122 | Alameda  | 94621 | Oakland | Top 25% in CA | 90.30 | 90-95% |
| 6001410500 | 2193 | Alameda  | 94607 | Oakland | Top 25% in CA | 81.17 | 80-85% |
| 6001422000 | 1756 | Alameda  | 94710 | Berkeley | Top 25% in CA | 75.94 | 75-80% |
| 6001425104 | 3175 | Alameda  | 94608 | Emeryville | Top 25% in CA | 77.39 | 75-80% |
| 6001432400 | 5814 | Alameda  | 94577 | San Leandro | Top 25% in CA | 83.60 | 80-85% |
| 6001432501 | 4839 | Alameda  | 94577 | San Leandro | Top 25% in CA | 81.16 | 80-85% |
| 6001433200 | 6897 | Alameda  | 94578 | San Leandro | Top 25% in CA | 82.67 | 80-85% |
| 6001437101 | 6448 | Alameda  | 94587 | Union City | Top 25% in CA | 78.82 | 75-80% |
| 6001437200 | 6755 | Alameda  | 94545 | Hayward | Top 25% in CA | 75.02 | 75-80% |
| 6001438203 | 3920 | Alameda  | 94544 | Hayward | Top 25% in CA | 80.45 | 80-85% |
| 6001440301 | 7312 | Alameda  | 94587 | Union City | Top 25% in CA | 75.55 | 75-80% |
| 6001444601 | 4761 | Alameda  | 94560 | Newark | Top 25% in CA | 78.74 | 75-80% |
| 6007001300 | 4169 | Butte  | 95928 | Chico | Top 25% in CA | 85.48 | 85-90% |
| 6007003700 | 4505 | Butte  | 95965 | Oroville | Top 25% in CA | 80.60 | 80-85% |
| 6013302005 | 6592 | Contra Costa | 94561 | Oakley | Top 25% in CA | 75.91 | 75-80% |
| 6013305000 | 6620 | Contra Costa | 94509 | Antioch | Top 25% in CA | 84.85 | 80-85% |
| 6013309000 | 2771 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 77.94 | 75-80% |
| 6013310000 | 5641 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 87.30 | 85-90% |
| 6013311000 | 5001 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 87.00 | 85-90% |
| 6013312000 | 2292 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 94.55 | 90-95% |
| 6013313101 | 7251 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 77.59 | 75-80% |
| 6013313102 | 3984 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 77.98 | 75-80% |
| 6013314103 | 5546 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 79.37 | 75-80% |
| 6013314104 | 7118 | Contra Costa | 94565 | Pittsburg | Top 25% in CA | 78.90 | 75-80% |
| 6013320001 | 3615 | Contra Costa | 94553 | Martinez | Top 25% in CA | 79.10 | 75-80% |
| 6013358000 | 5298 | Contra Costa | 94572 | Rodeo | Top 25% in CA | 80.84 | 80-85% |
| 6013364002 | 5518 | Contra Costa | 94806 | San Pablo | Top 25% in CA | 76.08 | 75-80% |
| 6013365002 | 5462 | Contra Costa | 94801 | Richmond | Top 25% in CA | 92.46 | 90-95% |
| 6013366002 | 6093 | Contra Costa | 94806 | San Pablo | Top 25% in CA | 82.17 | 80-85% |
| 6013368001 | 5327 | Contra Costa | 94806 | San Pablo | Top 25% in CA | 81.44 | 80-85% |
| 6013368002 | 3404 | Contra Costa | 94806 | San Pablo | Top 25% in CA | 88.67 | 85-90% |
| 6013375000 | 4389 | Contra Costa | 94801 | Richmond | Top 25% in CA | 84.61 | 80-85% |
| 6013376000 | 5962 | Contra Costa | 94801 | Richmond | Top 25% in CA | 87.74 | 85-90% |
| 6013377000 | 6962 | Contra Costa | 94801 | Richmond | Top 25% in CA | 92.14 | 90-95% |
| 6013379000 | 6117 | Contra Costa | 94804 | Richmond | Top 25% in CA | 94.65 | 90-95% |
| 6013380000 | 5706 | Contra Costa | 94804 | Richmond | Top 25% in CA | 84.79 | 80-85% |
| 6013381000 | 6097 | Contra Costa | 94804 | Richmond | Top 25% in CA | 80.67 | 80-85% |
| 6013382000 | 6964 | Contra Costa | 94804 | Richmond | Top 25% in CA | 89.03 | 85-90% |
| 6013392200 | 10605 | Contra Costa | 94806 | San Pablo | Top 25% in CA | 76.00 | 75-80% |
| 6019001500 | 2206 | Fresno  | 93725 | Fresno | Top 5% in CA | 99.95 | 95-100% (highest scores) |
| 6077000300 | 2396 | San Joaquin | 95203 | Stockton | Top 5% in CA | 99.92 | 95-100% (highest scores) |
| 6019001000 | 4106 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.91 | 95-100% (highest scores) |
| 6019000400 | 6343 | Fresno  | 93721 | Fresno | Top 5% in CA | 99.89 | 95-100% (highest scores) |
| 6029002500 | 9122 | Kern  | 93307 | Bakersfield | Top 5% in CA | 99.86 | 95-100% (highest scores) |
| 6019000600 | 6161 | Fresno  | 93721 | Fresno | Top 5% in CA | 99.85 | 95-100% (highest scores) |
| 6019001201 | 5936 | Fresno  | 93725 | Fresno | Top 5% in CA | 99.84 | 95-100% (highest scores) |
| 6019000902 | 5252 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.81 | 95-100% (highest scores) |
| 6019001202 | 4756 | Fresno  | 93725 | Fresno | Top 5% in CA | 99.79 | 95-100% (highest scores) |
| 6019000800 | 964 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.77 | 95-100% (highest scores) |
| 6019000300 | 3609 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.76 | 95-100% (highest scores) |
| 6077000700 | 5269 | San Joaquin | 95206 | Stockton | Top 5% in CA | 99.72 | 95-100% (highest scores) |
| 6019000901 | 3151 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.71 | 95-100% (highest scores) |
| 6077000100 | 3863 | San Joaquin | 95202 | Stockton | Top 5% in CA | 99.70 | 95-100% (highest scores) |
| 6019000700 | 3921 | Fresno  | 93706 | Fresno | Top 5% in CA | 99.65 | 95-100% (highest scores) |
| 6019007100 | 7904 | Fresno  | 93662 | Selma | Top 5% in CA | 99.62 | 95-100% (highest scores) |
| 6019000100 | 2860 | Fresno  | 93721 | Fresno | Top 5% in CA | 99.53 | 95-100% (highest scores) |
| 6077001900 | 5592 | San Joaquin | 95205 | Stockton | Top 5% in CA | 99.52 | 95-100% (highest scores) |
| 6019001407 | 4694 | Fresno  | 93727 | Fresno | Top 25% in CA | 94.16 | 90-95% |
| 6019001408 | 2504 | Fresno  | 93727 | Fresno | Top 25% in CA | 84.65 | 80-85% |
| 6019002000 | 6369 | Fresno  | 93728 | Fresno | Top 5% in CA | 99.47 | 95-100% (highest scores) |
| 6019001411 | 5276 | Fresno  | 93727 | Fresno | Top 25% in CA | 89.52 | 85-90% |
| 6019001413 | 4605 | Fresno  | 93727 | Fresno | Top 25% in CA | 76.91 | 75-80% |
| 6077005119 | 6006 | San Joaquin | 95330 | Lathrop | Top 5% in CA | 99.46 | 95-100% (highest scores) |
| 6019001600 | 5099 | Fresno  | 93625 | Fowler | Top 25% in CA | 90.20 | 90-95% |
| 6019001301 | 5653 | Fresno  | 93702 | Fresno | Top 5% in CA | 99.33 | 95-100% (highest scores) |
| 6019002502 | 5431 | Fresno  | 93702 | Fresno | Top 5% in CA | 99.32 | 95-100% (highest scores) |
| 6019001900 | 2914 | Fresno  | 93706 | Fresno | Top 25% in CA | 93.40 | 90-95% |
| 6019001304 | 5796 | Fresno  | 93702 | Fresno | Top 5% in CA | 99.29 | 95-100% (highest scores) |
| 6019002100 | 5419 | Fresno  | 93728 | Fresno | Top 25% in CA | 93.44 | 90-95% |
| 6019002200 | 3594 | Fresno  | 93728 | Fresno | Top 25% in CA | 87.46 | 85-90% |
| 6019002300 | 3624 | Fresno  | 93728 | Fresno | Top 25% in CA | 93.28 | 90-95% |
| 6077002201 | 2771 | San Joaquin | 95206 | Stockton | Top 5% in CA | 99.28 | 95-100% (highest scores) |
| 6019002501 | 5098 | Fresno  | 93703 | Fresno | Top 25% in CA | 92.77 | 90-95% |
| 6019001303 | 2888 | Fresno  | 93702 | Fresno | Top 5% in CA | 99.26 | 95-100% (highest scores) |
| 6029002200 | 6537 | Kern  | 93307 | Bakersfield | Top 5% in CA | 99.24 | 95-100% (highest scores) |
| 6029002301 | 9743 | Kern  | 93307 | Bakersfield | Top 5% in CA | 99.14 | 95-100% (highest scores) |
| 6019008502 | 7929 | Fresno  | 93648 | Parlier | Top 5% in CA | 99.12 | 95-100% (highest scores) |
| 6019000502 | 3606 | Fresno  | 93701 | Fresno | Top 5% in CA | 99.10 | 95-100% (highest scores) |
| 6077002300 | 5020 | San Joaquin | 95206 | Stockton | Top 5% in CA | 98.93 | 95-100% (highest scores) |
| 6019002903 | 4329 | Fresno  | 93727 | Fresno | Top 25% in CA | 90.52 | 90-95% |
| 6019002904 | 2897 | Fresno  | 93727 | Fresno | Top 25% in CA | 85.94 | 85-90% |
| 6019002905 | 2889 | Fresno  | 93727 | Fresno | Top 25% in CA | 91.76 | 90-95% |
| 6019002906 | 5520 | Fresno  | 93727 | Fresno | Top 25% in CA | 80.24 | 80-85% |
| 6077002401 | 5001 | San Joaquin | 95206 | Stockton | Top 5% in CA | 98.78 | 95-100% (highest scores) |
| 6019003003 | 4154 | Fresno  | 93727 | Fresno | Top 25% in CA | 90.45 | 90-95% |
| 6019003004 | 2301 | Fresno  | 93727 | Fresno | Top 25% in CA | 83.86 | 80-85% |
| 6019003102 | 7048 | Fresno  | 93612 | Clovis | Top 25% in CA | 78.48 | 75-80% |
| 6019003201 | 4398 | Fresno  | 93703 | Fresno | Top 25% in CA | 84.68 | 80-85% |
| 6019003202 | 5265 | Fresno  | 93703 | Fresno | Top 25% in CA | 89.86 | 85-90% |
| 6019003301 | 3507 | Fresno  | 93703 | Fresno | Top 25% in CA | 79.63 | 75-80% |
| 6019003302 | 4749 | Fresno  | 93703 | Fresno | Top 25% in CA | 85.27 | 85-90% |
| 6077000900 | 5859 | San Joaquin | 95203 | Stockton | Top 5% in CA | 98.63 | 95-100% (highest scores) |
| 6019003500 | 5674 | Fresno  | 93704 | Fresno | Top 25% in CA | 87.17 | 85-90% |
| 6019003701 | 3314 | Fresno  | 93705 | Fresno | Top 25% in CA | 89.62 | 85-90% |
| 6019003702 | 4933 | Fresno  | 93705 | Fresno | Top 25% in CA | 88.66 | 85-90% |
| 6019003803 | 8153 | Fresno  | 93723 | Fresno | Top 25% in CA | 77.21 | 75-80% |
| 6019003804 | 5531 | Fresno  | 93722 | Fresno | Top 25% in CA | 75.77 | 75-80% |
| 6019003001 | 3175 | Fresno  | 93727 | Fresno | Top 5% in CA | 98.55 | 95-100% (highest scores) |
| 6019003807 | 3362 | Fresno  | 93722 | Fresno | Top 25% in CA | 93.78 | 90-95% |
| 6019003808 | 5082 | Fresno  | 93722 | Fresno | Top 25% in CA | 84.47 | 80-85% |
| 6019006802 | 4019 | Fresno  | 93654 | Reedley | Top 5% in CA | 98.49 | 95-100% (highest scores) |
| 6019003900 | 5804 | Fresno  | 93630 | Kerman | Top 25% in CA | 88.06 | 85-90% |
| 6019004001 | 7248 | Fresno  | 93630 | Kerman | Top 25% in CA | 75.08 | 75-80% |
| 6019004002 | 7129 | Fresno  | 93630 | Kerman | Top 25% in CA | 84.31 | 80-85% |
| 6019004205 | 5888 | Fresno  | 93722 | Fresno | Top 25% in CA | 94.34 | 90-95% |
| 6019004207 | 8115 | Fresno  | 93723 | Fresno | Top 25% in CA | 84.45 | 80-85% |
| 6019004212 | 10762 | Fresno  | 93722 | Fresno | Top 25% in CA | 75.12 | 75-80% |
| 6019004216 | 2629 | Fresno  | 93722 | Fresno | Top 25% in CA | 84.17 | 80-85% |
| 6029002100 | 3852 | Kern  | 93307 | Bakersfield | Top 5% in CA | 98.47 | 95-100% (highest scores) |
| 6019004504 | 4762 | Fresno  | 93710 | Fresno | Top 25% in CA | 83.92 | 80-85% |
| 6019004505 | 4866 | Fresno  | 93710 | Fresno | Top 25% in CA | 77.26 | 75-80% |
| 6019004701 | 6682 | Fresno  | 93705 | Fresno | Top 25% in CA | 93.04 | 90-95% |
| 6019004703 | 4218 | Fresno  | 93705 | Fresno | Top 25% in CA | 88.40 | 85-90% |
| 6019004704 | 5212 | Fresno  | 93705 | Fresno | Top 25% in CA | 82.94 | 80-85% |
| 6019004802 | 4599 | Fresno  | 93705 | Fresno | Top 25% in CA | 87.24 | 85-90% |
| 6019005000 | 3917 | Fresno  | 93726 | Fresno | Top 25% in CA | 83.31 | 80-85% |
| 6019005100 | 5723 | Fresno  | 93726 | Fresno | Top 25% in CA | 89.19 | 85-90% |
| 6019005202 | 3619 | Fresno  | 93726 | Fresno | Top 25% in CA | 90.92 | 90-95% |
| 6019005203 | 4519 | Fresno  | 93726 | Fresno | Top 25% in CA | 79.43 | 75-80% |
| 6019005204 | 4105 | Fresno  | 93726 | Fresno | Top 25% in CA | 82.14 | 80-85% |
| 6019005301 | 5740 | Fresno  | 93726 | Fresno | Top 25% in CA | 82.96 | 80-85% |
| 6019005305 | 3635 | Fresno  | 93726 | Fresno | Top 25% in CA | 83.23 | 80-85% |
| 6019005403 | 4171 | Fresno  | 93710 | Fresno | Top 25% in CA | 82.58 | 80-85% |
| 6019005408 | 1276 | Fresno  | 93710 | Fresno | Top 25% in CA | 88.74 | 85-90% |
| 6019005409 | 3560 | Fresno  | 93710 | Fresno | Top 25% in CA | 76.96 | 75-80% |
| 6019005410 | 3298 | Fresno  | 93710 | Fresno | Top 25% in CA | 79.53 | 75-80% |
| 6019005607 | 3993 | Fresno  | 93612 | Clovis | Top 25% in CA | 83.36 | 80-85% |
| 6019005608 | 3064 | Fresno  | 93612 | Clovis | Top 25% in CA | 85.28 | 85-90% |
| 6019005804 | 6626 | Fresno  | 93611 | Clovis | Top 25% in CA | 79.83 | 75-80% |
| 6019006100 | 7536 | Fresno  | 93657 | Sanger | Top 25% in CA | 82.76 | 80-85% |
| 6019006201 | 2608 | Fresno  | 93657 | Sanger | Top 25% in CA | 93.53 | 90-95% |
| 6019006202 | 6807 | Fresno  | 93657 | Sanger | Top 25% in CA | 79.59 | 75-80% |
| 6019006300 | 7254 | Fresno  | 93654 | Reedley | Top 25% in CA | 80.43 | 80-85% |
| 6019006501 | 6662 | Fresno  | 93654 | Reedley | Top 25% in CA | 90.28 | 90-95% |
| 6019006502 | 4159 | Fresno  | 93646 | Orange Cove | Top 25% in CA | 82.73 | 80-85% |
| 6019006602 | 5597 | Fresno  | 93654 | Reedley | Top 25% in CA | 91.36 | 90-95% |
| 6019006604 | 7959 | Fresno  | 93654 | Reedley | Top 25% in CA | 86.54 | 85-90% |
| 6019006700 | 6304 | Fresno  | 93654 | Reedley | Top 25% in CA | 84.01 | 80-85% |
| 6077000600 | 2279 | San Joaquin | 95205 | Stockton | Top 5% in CA | 98.42 | 95-100% (highest scores) |
| 6019006900 | 3170 | Fresno  | 93616 | Del Rey | Top 25% in CA | 93.74 | 90-95% |
| 6019007002 | 4514 | Fresno  | 93662 | Selma | Top 25% in CA | 86.22 | 85-90% |
| 6019007003 | 7750 | Fresno  | 93662 | Selma | Top 25% in CA | 88.59 | 85-90% |
| 6019007004 | 5520 | Fresno  | 93662 | Selma | Top 25% in CA | 90.16 | 90-95% |
| 6029002400 | 7478 | Kern  | 93307 | Bakersfield | Top 5% in CA | 98.36 | 95-100% (highest scores) |
| 6019007202 | 5109 | Fresno  | 93631 | Kingsburg | Top 25% in CA | 80.35 | 80-85% |
| 6019007300 | 4869 | Fresno  | 93662 | Selma | Top 25% in CA | 86.27 | 85-90% |
| 6019007400 | 3548 | Fresno  | 93242 | Laton | Top 25% in CA | 76.66 | 75-80% |
| 6019007500 | 5287 | Fresno  | 93609 | Caruthers | Top 25% in CA | 86.62 | 85-90% |
| 6019007600 | 4806 | Fresno  | 93706 | Fresno | Top 25% in CA | 83.62 | 80-85% |
| 6019007700 | 5599 | Fresno  | 93656 | Riverdale | Top 25% in CA | 82.07 | 80-85% |
| 6019007802 | 5269 | Fresno  | 93234 | Huron | Top 25% in CA | 81.49 | 80-85% |
| 6019008200 | 6978 | Fresno  | 93608 | Cantua Creek | Top 25% in CA | 86.92 | 85-90% |
| 6019008301 | 5989 | Fresno  | 93640 | Mendota | Top 25% in CA | 92.55 | 90-95% |
| 6019003805 | 6852 | Fresno  | 93722 | Fresno | Top 5% in CA | 98.31 | 95-100% (highest scores) |
| 6019008401 | 7991 | Fresno  | 93622 | Firebaugh | Top 25% in CA | 83.73 | 80-85% |
| 6019008402 | 1152 | Fresno  | 93622 | Firebaugh | Top 25% in CA | 78.22 | 75-80% |
| 6019001800 | 4615 | Fresno  | 93706 | Fresno | Top 5% in CA | 98.27 | 95-100% (highest scores) |
| 6077001500 | 8384 | San Joaquin | 95205 | Stockton | Top 5% in CA | 98.07 | 95-100% (highest scores) |
| 6029000101 | 12240 | Kern  | 93308 | Bakersfield | Top 25% in CA | 86.49 | 85-90% |
| 6029000200 | 7644 | Kern  | 93308 | Bakersfield | Top 25% in CA | 89.00 | 85-90% |
| 6029000300 | 4217 | Kern  | 93308 | Bakersfield | Top 25% in CA | 85.61 | 85-90% |
| 6029002302 | 3378 | Kern  | 93307 | Bakersfield | Top 5% in CA | 98.05 | 95-100% (highest scores) |
| 6029000504 | 4086 | Kern  | 93308 | Bakersfield | Top 25% in CA | 78.89 | 75-80% |
| 6029000507 | 3598 | Kern  | 93308 | Bakersfield | Top 25% in CA | 81.37 | 80-85% |
| 6029000600 | 6931 | Kern  | 93301 | Bakersfield | Top 25% in CA | 84.39 | 80-85% |
| 6029001000 | 9186 | Kern  | 93307 | Bakersfield | Top 25% in CA | 80.34 | 80-85% |
| 6029001102 | 6682 | Kern  | 93306 | Bakersfield | Top 25% in CA | 80.79 | 80-85% |
| 6029001201 | 2895 | Kern  | 93305 | Bakersfield | Top 25% in CA | 79.40 | 75-80% |
| 6029001202 | 6264 | Kern  | 93305 | Bakersfield | Top 25% in CA | 79.11 | 75-80% |
| 6029001300 | 7559 | Kern  | 93305 | Bakersfield | Top 25% in CA | 85.56 | 85-90% |
| 6029001400 | 7766 | Kern  | 93305 | Bakersfield | Top 25% in CA | 83.11 | 80-85% |
| 6029001500 | 3147 | Kern  | 93305 | Bakersfield | Top 25% in CA | 80.22 | 80-85% |
| 6029001600 | 1390 | Kern  | 93301 | Bakersfield | Top 25% in CA | 92.82 | 90-95% |
| 6029001700 | 4287 | Kern  | 93301 | Bakersfield | Top 25% in CA | 80.30 | 80-85% |
| 6029001901 | 3434 | Kern  | 93304 | Bakersfield | Top 25% in CA | 76.33 | 75-80% |
| 6029001902 | 4679 | Kern  | 93304 | Bakersfield | Top 25% in CA | 91.74 | 90-95% |
| 6019002601 | 5821 | Fresno  | 93702 | Fresno | Top 5% in CA | 97.99 | 95-100% (highest scores) |
| 6019001700 | 5701 | Fresno  | 93725 | Fresno | Top 5% in CA | 97.89 | 95-100% (highest scores) |
| 6019002800 | 5205 | Fresno  | 93703 | Fresno | Top 5% in CA | 97.77 | 95-100% (highest scores) |
| 6077002000 | 3977 | San Joaquin | 95205 | Stockton | Top 5% in CA | 97.72 | 95-100% (highest scores) |
| 6047001005 | 2406 | Merced  | 95348 | Merced | Top 5% in CA | 97.64 | 95-100% (highest scores) |
| 6077002402 | 2219 | San Joaquin | 95206 | Stockton | Top 5% in CA | 97.62 | 95-100% (highest scores) |
| 6019002400 | 4959 | Fresno  | 93703 | Fresno | Top 5% in CA | 97.43 | 95-100% (highest scores) |
| 6099000304 | 5003 | Stanislaus  | 95367 | Riverbank | Top 5% in CA | 97.41 | 95-100% (highest scores) |
| 6029002700 | 5370 | Kern  | 93304 | Bakersfield | Top 25% in CA | 81.75 | 80-85% |
| 6029002812 | 5215 | Kern  | 93309 | Bakersfield | Top 25% in CA | 84.18 | 80-85% |
| 6029002813 | 4161 | Kern  | 93309 | Bakersfield | Top 25% in CA | 81.81 | 80-85% |
| 6029002814 | 4158 | Kern  | 93309 | Bakersfield | Top 25% in CA | 75.82 | 75-80% |
| 6029002815 | 4282 | Kern  | 93309 | Bakersfield | Top 25% in CA | 79.90 | 75-80% |
| 6029002816 | 5465 | Kern  | 93309 | Bakersfield | Top 25% in CA | 79.17 | 75-80% |
| 6029002900 | 7449 | Kern  | 93304 | Bakersfield | Top 25% in CA | 85.04 | 85-90% |
| 6029003000 | 7374 | Kern  | 93304 | Bakersfield | Top 25% in CA | 91.31 | 90-95% |
| 6029003103 | 3979 | Kern  | 93307 | Bakersfield | Top 25% in CA | 83.06 | 80-85% |
| 6029003112 | 5116 | Kern  | 93313 | Bakersfield | Top 25% in CA | 88.50 | 85-90% |
| 6029003113 | 4784 | Kern  | 93304 | Bakersfield | Top 25% in CA | 82.36 | 80-85% |
| 6029003114 | 7654 | Kern  | 93313 | Bakersfield | Top 25% in CA | 81.03 | 80-85% |
| 6029003115 | 5482 | Kern  | 93304 | Bakersfield | Top 25% in CA | 77.68 | 75-80% |
| 6029003121 | 8264 | Kern  | 93307 | Bakersfield | Top 25% in CA | 86.23 | 85-90% |
| 6029003202 | 15579 | Kern  | 93307 | Bakersfield | Top 25% in CA | 87.39 | 85-90% |
| 6029003206 | 12112 | Kern  | 93313 | Bakersfield | Top 25% in CA | 79.93 | 75-80% |
| 6029003304 | 5248 | Kern  | 93251 | MC Kittrick | Top 25% in CA | 78.32 | 75-80% |
| 6029003400 | 4318 | Kern  | 93268 | Taft | Top 25% in CA | 79.96 | 75-80% |
| 6029003500 | 6156 | Kern  | 93268 | Taft | Top 25% in CA | 75.62 | 75-80% |
| 6029003700 | 3953 | Kern  | 93206 | Buttonwillow | Top 25% in CA | 84.10 | 80-85% |
| 6029004000 | 7704 | Kern  | 93263 | Shafter | Top 25% in CA | 85.36 | 85-90% |
| 6029004101 | 4917 | Kern  | 93263 | Shafter | Top 25% in CA | 82.95 | 80-85% |
| 6029004102 | 5451 | Kern  | 93263 | Shafter | Top 25% in CA | 89.73 | 85-90% |
| 6029004200 | 1320 | Kern  | 93263 | Shafter | Top 25% in CA | 85.22 | 85-90% |
| 6029004301 | 7416 | Kern  | 93280 | Wasco | Top 25% in CA | 86.85 | 85-90% |
| 6029004402 | 5437 | Kern  | 93280 | Wasco | Top 25% in CA | 91.60 | 90-95% |
| 6029004500 | 3937 | Kern  | 93249 | Lost Hills | Top 25% in CA | 87.41 | 85-90% |
| 6077003802 | 6519 | San Joaquin | 95206 | Stockton | Top 5% in CA | 97.38 | 95-100% (highest scores) |
| 6029004701 | 8868 | Kern  | 93250 | MC Farland | Top 25% in CA | 77.78 | 75-80% |
| 6029005103 | 2564 | Kern  | 93308 | Bakersfield | Top 25% in CA | 76.83 | 75-80% |
| 6029005204 | 6158 | Kern  | 93285 | Wofford Heights | Top 25% in CA | 82.31 | 80-85% |
| 6077003900 | 1749 | San Joaquin | 95206 | Stockton | Top 5% in CA | 97.34 | 95-100% (highest scores) |
| 6029006202 | 6401 | Kern  | 93203 | Arvin | Top 25% in CA | 78.95 | 75-80% |
| 6029006304 | 3895 | Kern  | 93203 | Arvin | Top 25% in CA | 80.05 | 80-85% |
| 6029006401 | 8320 | Kern  | 93241 | Lamont | Top 25% in CA | 75.92 | 75-80% |
| 6031000200 | 2271 | Kings  | 93245 | Lemoore | Top 25% in CA | 79.61 | 75-80% |
| 6031000500 | 5476 | Kings  | 93230 | Hanford | Top 25% in CA | 77.19 | 75-80% |
| 6031001300 | 3761 | Kings  | 93212 | Corcoran | Top 25% in CA | 87.59 | 85-90% |
| 6031001402 | 2384 | Kings  | 93212 | Corcoran | Top 25% in CA | 77.17 | 75-80% |
| 6031001601 | 4516 | Kings  | 93239 | Kettleman City | Top 25% in CA | 89.04 | 85-90% |
| 6031001701 | 9142 | Kings  | 93204 | Avenal | Top 25% in CA | 75.46 | 75-80% |
| 6039000201 | 9049 | Madera  | 93610 | Chowchilla | Top 25% in CA | 89.71 | 85-90% |
| 6039000202 | 6109 | Madera  | 93610 | Chowchilla | Top 25% in CA | 83.78 | 80-85% |
| 6039000400 | 1288 | Madera  | 93622 | Firebaugh | Top 25% in CA | 75.67 | 75-80% |
| 6019001410 | 9109 | Fresno  | 93725 | Fresno | Top 5% in CA | 97.33 | 95-100% (highest scores) |
| 6039000503 | 8539 | Madera  | 93637 | Madera | Top 25% in CA | 82.38 | 80-85% |
| 6039000506 | 6438 | Madera  | 93638 | Madera | Top 25% in CA | 79.00 | 75-80% |
| 6039000602 | 5161 | Madera  | 93638 | Madera | Top 25% in CA | 78.56 | 75-80% |
| 6039000603 | 5585 | Madera  | 93638 | Madera | Top 25% in CA | 78.37 | 75-80% |
| 6039000800 | 7027 | Madera  | 93637 | Madera | Top 25% in CA | 86.43 | 85-90% |
| 6039000900 | 9612 | Madera  | 93638 | Madera | Top 25% in CA | 92.91 | 90-95% |
| 6039001000 | 5319 | Madera  | 93637 | Madera | Top 25% in CA | 85.45 | 85-90% |
| 6047000201 | 3626 | Merced  | 95303 | Ballico | Top 25% in CA | 93.38 | 90-95% |
| 6047000301 | 4790 | Merced  | 95334 | Livingston | Top 25% in CA | 82.86 | 80-85% |
| 6047000303 | 2158 | Merced  | 95334 | Livingston | Top 25% in CA | 76.62 | 75-80% |
| 6047000304 | 9116 | Merced  | 95334 | Livingston | Top 25% in CA | 82.22 | 80-85% |
| 6047000401 | 1834 | Merced  | 95374 | Stevinson | Top 25% in CA | 77.65 | 75-80% |
| 6047000503 | 3292 | Merced  | 95388 | Winton | Top 25% in CA | 78.02 | 75-80% |
| 6047000504 | 6129 | Merced  | 95388 | Winton | Top 25% in CA | 81.94 | 80-85% |
| 6047000505 | 6156 | Merced  | 95301 | Atwater | Top 25% in CA | 90.02 | 90-95% |
| 6047000601 | 5438 | Merced  | 95301 | Atwater | Top 25% in CA | 83.57 | 80-85% |
| 6047000701 | 3191 | Merced  | 95301 | Atwater | Top 25% in CA | 78.85 | 75-80% |
| 6047000801 | 4444 | Merced  | 95301 | Atwater | Top 25% in CA | 79.34 | 75-80% |
| 6047000901 | 3970 | Merced  | 95341 | Merced | Top 25% in CA | 80.87 | 80-85% |
| 6047000902 | 8419 | Merced  | 95341 | Merced | Top 25% in CA | 93.25 | 90-95% |
| 6047001002 | 13467 | Merced  | 95348 | Merced | Top 25% in CA | 83.15 | 80-85% |
| 6047001003 | 4061 | Merced  | 95348 | Merced | Top 25% in CA | 88.42 | 85-90% |
| 6077002701 | 6409 | San Joaquin | 95215 | Stockton | Top 5% in CA | 96.97 | 95-100% (highest scores) |
| 6047001301 | 3213 | Merced  | 95340 | Merced | Top 25% in CA | 94.74 | 90-95% |
| 6047001302 | 3264 | Merced  | 95340 | Merced | Top 25% in CA | 93.97 | 90-95% |
| 6047001401 | 3953 | Merced  | 95340 | Merced | Top 25% in CA | 82.52 | 80-85% |
| 6047001501 | 2693 | Merced  | 95341 | Merced | Top 25% in CA | 85.16 | 85-90% |
| 6047001502 | 2822 | Merced  | 95341 | Merced | Top 25% in CA | 93.06 | 90-95% |
| 6047001503 | 4438 | Merced  | 95341 | Merced | Top 25% in CA | 81.20 | 80-85% |
| 6047001601 | 4498 | Merced  | 95341 | Merced | Top 25% in CA | 91.37 | 90-95% |
| 6047001602 | 7243 | Merced  | 95341 | Merced | Top 25% in CA | 92.95 | 90-95% |
| 6047001700 | 6335 | Merced  | 95341 | Merced | Top 25% in CA | 86.97 | 85-90% |
| 6047001901 | 5739 | Merced  | 95340 | Merced | Top 25% in CA | 86.98 | 85-90% |
| 6047001902 | 2572 | Merced  | 95333 | Le Grand | Top 25% in CA | 75.20 | 75-80% |
| 6047002000 | 7835 | Merced  | 95322 | Gustine | Top 25% in CA | 90.89 | 90-95% |
| 6047002100 | 3862 | Merced  | 93635 | Los Banos | Top 25% in CA | 93.37 | 90-95% |
| 6001409000 | 3552 | Alameda  | 94621 | Oakland | Top 5% in CA | 96.91 | 95-100% (highest scores) |
| 6047002202 | 9923 | Merced  | 93635 | Los Banos | Top 25% in CA | 87.93 | 85-90% |
| 6047002302 | 13709 | Merced  | 93635 | Los Banos | Top 25% in CA | 89.37 | 85-90% |
| 6047002401 | 1756 | Merced  | 93620 | Dos Palos | Top 25% in CA | 91.95 | 90-95% |
| 6047002402 | 7505 | Merced  | 93620 | Dos Palos | Top 25% in CA | 89.07 | 85-90% |
| 6047002500 | 2328 | Merced  | 95369 | Snelling | Top 25% in CA | 81.54 | 80-85% |
| 6047002600 | 5319 | Merced  | 95341 | Merced | Top 25% in CA | 77.55 | 75-80% |
| 6053000900 | 5746 | Monterey  | 93905 | Salinas | Top 25% in CA | 80.94 | 80-85% |
| 6053010101 | 4518 | Monterey  | 95039 | Moss Landing | Top 25% in CA | 82.55 | 80-85% |
| 6053014102 | 2259 | Monterey  | 93933 | Marina | Top 25% in CA | 75.33 | 75-80% |
| 6053014500 | 4410 | Monterey  | 93901 | Salinas | Top 25% in CA | 78.19 | 75-80% |
| 6075012301 | 2734 | San Francisco | 94102 | San Francisco | Top 25% in CA | 76.20 | 75-80% |
| 6075012502 | 3821 | San Francisco | 94102 | San Francisco | Top 25% in CA | 78.75 | 75-80% |
| 6075017601 | 7630 | San Francisco | 94103 | San Francisco | Top 25% in CA | 78.66 | 75-80% |
| 6075017801 | 3499 | San Francisco | 94107 | San Francisco | Top 25% in CA | 79.95 | 75-80% |
| 6075023102 | 3478 | San Francisco | 94124 | San Francisco | Top 25% in CA | 85.71 | 85-90% |
| 6075023103 | 3725 | San Francisco | 94124 | San Francisco | Top 25% in CA | 90.43 | 90-95% |
| 6075023200 | 4582 | San Francisco | 94124 | San Francisco | Top 25% in CA | 89.20 | 85-90% |
| 6075023300 | 2624 | San Francisco | 94124 | San Francisco | Top 25% in CA | 76.87 | 75-80% |
| 6075023400 | 3660 | San Francisco | 94124 | San Francisco | Top 25% in CA | 86.96 | 85-90% |
| 6075061200 | 4089 | San Francisco | 94124 | San Francisco | Top 25% in CA | 81.90 | 80-85% |
| 6075980600 | 467 | San Francisco | 94124 | San Francisco | Top 25% in CA | 89.75 | 85-90% |
| 6019000501 | 2815 | Fresno  | 93721 | Fresno | Top 5% in CA | 96.80 | 95-100% (highest scores) |
| 6019004404 | 3556 | Fresno  | 93650 | Fresno | Top 5% in CA | 96.53 | 95-100% (highest scores) |
| 6077000401 | 3043 | San Joaquin | 95203 | Stockton | Top 25% in CA | 75.17 | 75-80% |
| 6077000402 | 4582 | San Joaquin | 95202 | Stockton | Top 25% in CA | 91.12 | 90-95% |
| 6077000500 | 2749 | San Joaquin | 95205 | Stockton | Top 25% in CA | 89.92 | 85-90% |
| 6019008501 | 4585 | Fresno  | 93662 | Selma | Top 5% in CA | 96.41 | 95-100% (highest scores) |
| 6001409100 | 2255 | Alameda  | 94603 | Oakland | Top 5% in CA | 96.38 | 95-100% (highest scores) |
| 6019002702 | 5882 | Fresno  | 93702 | Fresno | Top 5% in CA | 96.33 | 95-100% (highest scores) |
| 6029002000 | 7111 | Kern  | 93304 | Bakersfield | Top 5% in CA | 96.30 | 95-100% (highest scores) |
| 6077001000 | 4915 | San Joaquin | 95204 | Stockton | Top 25% in CA | 79.14 | 75-80% |
| 6077001300 | 4903 | San Joaquin | 95204 | Stockton | Top 25% in CA | 88.08 | 85-90% |
| 6077001400 | 4425 | San Joaquin | 95204 | Stockton | Top 25% in CA | 77.95 | 75-80% |
| 6001408800 | 5547 | Alameda  | 94621 | Oakland | Top 5% in CA | 96.22 | 95-100% (highest scores) |
| 6077001600 | 2383 | San Joaquin | 95205 | Stockton | Top 25% in CA | 88.93 | 85-90% |
| 6077001700 | 3998 | San Joaquin | 95205 | Stockton | Top 25% in CA | 93.58 | 90-95% |
| 6077001800 | 3939 | San Joaquin | 95205 | Stockton | Top 25% in CA | 94.44 | 90-95% |
| 6029006201 | 2877 | Kern  | 93307 | Bakersfield | Top 5% in CA | 96.20 | 95-100% (highest scores) |
| 6029004604 | 15845 | Kern  | 93250 | MC Farland | Top 5% in CA | 96.15 | 95-100% (highest scores) |
| 6077002100 | 5546 | San Joaquin | 95205 | Stockton | Top 25% in CA | 93.39 | 90-95% |
| 6029002600 | 3539 | Kern  | 93307 | Bakersfield | Top 5% in CA | 96.14 | 95-100% (highest scores) |
| 6077002202 | 5417 | San Joaquin | 95206 | Stockton | Top 25% in CA | 92.42 | 90-95% |
| 6077003700 | 3570 | San Joaquin | 95215 | Stockton | Top 5% in CA | 96.10 | 95-100% (highest scores) |
| 6019003400 | 4555 | Fresno  | 93703 | Fresno | Top 5% in CA | 96.05 | 95-100% (highest scores) |
| 6047002201 | 6097 | Merced  | 93635 | Los Banos | Top 5% in CA | 95.98 | 95-100% (highest scores) |
| 6077002503 | 2560 | San Joaquin | 95206 | Stockton | Top 25% in CA | 92.87 | 90-95% |
| 6077002504 | 3982 | San Joaquin | 95206 | Stockton | Top 25% in CA | 86.34 | 85-90% |
| 6019002701 | 4673 | Fresno  | 93702 | Fresno | Top 5% in CA | 95.64 | 95-100% (highest scores) |
| 6077002702 | 4239 | San Joaquin | 95215 | Stockton | Top 25% in CA | 88.45 | 85-90% |
| 6077002800 | 6052 | San Joaquin | 95206 | Stockton | Top 25% in CA | 93.09 | 90-95% |
| 6077003110 | 3708 | San Joaquin | 95207 | Stockton | Top 25% in CA | 83.10 | 80-85% |
| 6077003113 | 6256 | San Joaquin | 95207 | Stockton | Top 25% in CA | 88.79 | 85-90% |
| 6077003305 | 3704 | San Joaquin | 95207 | Stockton | Top 25% in CA | 77.75 | 75-80% |
| 6077003308 | 1590 | San Joaquin | 95207 | Stockton | Top 25% in CA | 78.62 | 75-80% |
| 6077003312 | 3220 | San Joaquin | 95207 | Stockton | Top 25% in CA | 78.00 | 75-80% |
| 6077003313 | 2926 | San Joaquin | 95207 | Stockton | Top 25% in CA | 86.51 | 85-90% |
| 6077003403 | 4586 | San Joaquin | 95210 | Stockton | Top 25% in CA | 83.96 | 80-85% |
| 6077003405 | 4214 | San Joaquin | 95210 | Stockton | Top 25% in CA | 86.08 | 85-90% |
| 6077003406 | 3700 | San Joaquin | 95210 | Stockton | Top 25% in CA | 75.42 | 75-80% |
| 6077003407 | 2914 | San Joaquin | 95210 | Stockton | Top 25% in CA | 76.19 | 75-80% |
| 6077003409 | 4450 | San Joaquin | 95210 | Stockton | Top 25% in CA | 80.63 | 80-85% |
| 6077003500 | 20177 | San Joaquin | 95212 | Stockton | Top 25% in CA | 77.99 | 75-80% |
| 6077003601 | 3453 | San Joaquin | 95215 | Stockton | Top 25% in CA | 79.92 | 75-80% |
| 6077005131 | 4173 | San Joaquin | 95336 | Manteca | Top 5% in CA | 95.43 | 95-100% (highest scores) |
| 6077003801 | 12552 | San Joaquin | 95206 | Stockton | Top 25% in CA | 78.09 | 75-80% |
| 6029000400 | 4319 | Kern  | 93308 | Bakersfield | Top 5% in CA | 95.30 | 95-100% (highest scores) |
| 6077003803 | 5281 | San Joaquin | 95231 | French Camp | Top 25% in CA | 94.09 | 90-95% |
| 6019002602 | 3520 | Fresno  | 93702 | Fresno | Top 5% in CA | 95.22 | 95-100% (highest scores) |
| 6077004404 | 3670 | San Joaquin | 95240 | Lodi | Top 25% in CA | 88.04 | 85-90% |
| 6077004902 | 6106 | San Joaquin | 95320 | Escalon | Top 25% in CA | 77.31 | 75-80% |
| 6077005106 | 6017 | San Joaquin | 95337 | Manteca | Top 25% in CA | 75.19 | 75-80% |
| 6077005109 | 4016 | San Joaquin | 95336 | Manteca | Top 25% in CA | 89.61 | 85-90% |
| 6077005110 | 6488 | San Joaquin | 95336 | Manteca | Top 25% in CA | 93.69 | 90-95% |
| 6077005114 | 7721 | San Joaquin | 95337 | Manteca | Top 25% in CA | 85.47 | 85-90% |
| 6019003809 | 4771 | Fresno  | 93722 | Fresno | Top 5% in CA | 95.06 | 95-100% (highest scores) |
| 6077005122 | 4829 | San Joaquin | 95330 | Lathrop | Top 25% in CA | 93.67 | 90-95% |
| 6077005123 | 4493 | San Joaquin | 95337 | Manteca | Top 25% in CA | 84.87 | 80-85% |
| 6077005126 | 4131 | San Joaquin | 95336 | Manteca | Top 25% in CA | 85.23 | 85-90% |
| 6077005127 | 5510 | San Joaquin | 95330 | Lathrop | Top 25% in CA | 93.86 | 90-95% |
| 6077005129 | 3582 | San Joaquin | 95330 | Lathrop | Top 25% in CA | 93.29 | 90-95% |
| 6077005130 | 3186 | San Joaquin | 95330 | Lathrop | Top 25% in CA | 79.97 | 75-80% |
| 6039000502 | 10473 | Madera  | 93637 | Madera | Top 5% in CA | 95.02 | 95-100% (highest scores) |
| 6077005132 | 3257 | San Joaquin | 95337 | Manteca | Top 25% in CA | 77.77 | 75-80% |
| 6077005133 | 4249 | San Joaquin | 95337 | Manteca | Top 25% in CA | 79.54 | 75-80% |
| 6077005135 | 5139 | San Joaquin | 95336 | Manteca | Top 25% in CA | 79.39 | 75-80% |
| 6077005202 | 6765 | San Joaquin | 95304 | Tracy | Top 25% in CA | 84.71 | 80-85% |
| 6077005206 | 16787 | San Joaquin | 95304 | Tracy | Top 25% in CA | 76.54 | 75-80% |
| 6077005302 | 6507 | San Joaquin | 95376 | Tracy | Top 25% in CA | 88.80 | 85-90% |
| 6077005305 | 6495 | San Joaquin | 95376 | Tracy | Top 25% in CA | 81.42 | 80-85% |
| 6081602100 | 3615 | San Mateo | 94080 | South San Francisco | Top 25% in CA | 77.93 | 75-80% |
| 6081602300 | 3753 | San Mateo | 94080 | South San Francisco | Top 25% in CA | 80.89 | 80-85% |
| 6081604200 | 4170 | San Mateo | 94066 | San Bruno | Top 25% in CA | 75.43 | 75-80% |
| 6081610201 | 5764 | San Mateo | 94063 | Redwood City | Top 25% in CA | 80.21 | 80-85% |
| 6081611900 | 10325 | San Mateo | 94303 | Palo Alto | Top 25% in CA | 86.83 | 85-90% |
| 6081612000 | 7327 | San Mateo | 94303 | Palo Alto | Top 25% in CA | 81.69 | 80-85% |
| 6085500100 | 6339 | Santa Clara | 95112 | San Jose | Top 25% in CA | 88.86 | 85-90% |
| 6085501102 | 4477 | Santa Clara | 95112 | San Jose | Top 25% in CA | 80.92 | 80-85% |
| 6085501401 | 3295 | Santa Clara | 95116 | San Jose | Top 25% in CA | 79.98 | 75-80% |
| 6085501501 | 4278 | Santa Clara | 95116 | San Jose | Top 25% in CA | 77.92 | 75-80% |
| 6085501600 | 6854 | Santa Clara | 95112 | San Jose | Top 25% in CA | 84.12 | 80-85% |
| 6085503105 | 2484 | Santa Clara | 95122 | San Jose | Top 25% in CA | 92.24 | 90-95% |
| 6085503110 | 4618 | Santa Clara | 95122 | San Jose | Top 25% in CA | 83.19 | 80-85% |
| 6085503113 | 4760 | Santa Clara | 95110 | San Jose | Top 25% in CA | 78.67 | 75-80% |
| 6085503117 | 3120 | Santa Clara | 95122 | San Jose | Top 25% in CA | 78.07 | 75-80% |
| 6085503122 | 3449 | Santa Clara | 95112 | San Jose | Top 25% in CA | 85.09 | 85-90% |
| 6085503214 | 7253 | Santa Clara | 95111 | San Jose | Top 25% in CA | 82.27 | 80-85% |
| 6085503601 | 2992 | Santa Clara | 95133 | San Jose | Top 25% in CA | 85.64 | 85-90% |
| 6085503602 | 4741 | Santa Clara | 95116 | San Jose | Top 25% in CA | 80.02 | 80-85% |
| 6085504318 | 5265 | Santa Clara | 95131 | San Jose | Top 25% in CA | 87.33 | 85-90% |
| 6085504602 | 2144 | Santa Clara | 95002 | Alviso | Top 25% in CA | 82.28 | 80-85% |
| 6085512310 | 3791 | Santa Clara | 95037 | Morgan Hill | Top 25% in CA | 79.86 | 75-80% |
| 6085512602 | 2997 | Santa Clara | 95020 | Gilroy | Top 25% in CA | 89.53 | 85-90% |
| 6085512603 | 3954 | Santa Clara | 95020 | Gilroy | Top 25% in CA | 85.95 | 85-90% |
| 6087110300 | 6710 | Santa Cruz | 95076 | Watsonville | Top 25% in CA | 76.05 | 75-80% |
| 6087110400 | 7976 | Santa Cruz | 95076 | Watsonville | Top 25% in CA | 82.80 | 80-85% |
| 6095250701 | 2962 | Solano  | 94590 | Vallejo | Top 25% in CA | 86.88 | 85-90% |
| 6095250801 | 3917 | Solano  | 94592 | Vallejo | Top 25% in CA | 83.04 | 80-85% |
| 6095250900 | 2798 | Solano  | 94590 | Vallejo | Top 25% in CA | 82.09 | 80-85% |
| 6095251802 | 2538 | Solano  | 94589 | Vallejo | Top 25% in CA | 75.95 | 75-80% |
| 6095251901 | 5072 | Solano  | 94589 | Vallejo | Top 25% in CA | 75.38 | 75-80% |
| 6097153200 | 7522 | Sonoma  | 95407 | Santa Rosa | Top 25% in CA | 75.86 | 75-80% |
| 6099000202 | 6593 | Stanislaus  | 95361 | Oakdale | Top 25% in CA | 78.31 | 75-80% |
| 6099000301 | 1987 | Stanislaus  | 95367 | Riverbank | Top 25% in CA | 89.38 | 85-90% |
| 6099000302 | 2641 | Stanislaus  | 95367 | Riverbank | Top 25% in CA | 85.77 | 85-90% |
| 6099000303 | 5883 | Stanislaus  | 95367 | Riverbank | Top 25% in CA | 83.49 | 80-85% |
| 6019008302 | 6562 | Fresno  | 93640 | Mendota | Top 5% in CA | 95.01 | 95-100% (highest scores) |
| 6099002802 | 6310 | Stanislaus  | 95357 | Modesto | Top 25% in CA | 82.78 | 80-85% |
| 6099003300 | 5077 | Stanislaus  | 95363 | Patterson | Top 25% in CA | 85.89 | 85-90% |
| 6099003400 | 1601 | Stanislaus  | 95360 | Newman | Top 25% in CA | 81.83 | 80-85% |
| 6101050302 | 6071 | Sutter  | 95991 | Yuba City | Top 25% in CA | 82.03 | 80-85% |
| 6107000201 | 9406 | Tulare  | 93647 | Orosi | Top 25% in CA | 88.43 | 85-90% |
| 6107000202 | 2663 | Tulare  | 93646 | Orange Cove | Top 25% in CA | 84.82 | 80-85% |
| 6107000301 | 6717 | Tulare  | 93618 | Dinuba | Top 25% in CA | 75.36 | 75-80% |
| 6107000302 | 3427 | Tulare  | 93631 | Kingsburg | Top 25% in CA | 91.21 | 90-95% |
| 6107000401 | 5193 | Tulare  | 93618 | Dinuba | Top 25% in CA | 87.03 | 85-90% |
| 6107000501 | 6712 | Tulare  | 93618 | Dinuba | Top 25% in CA | 92.60 | 90-95% |
| 6107000502 | 3405 | Tulare  | 93618 | Dinuba | Top 25% in CA | 87.06 | 85-90% |
| 6107000600 | 6200 | Tulare  | 93615 | Cutler | Top 25% in CA | 77.36 | 75-80% |
| 6107000900 | 8171 | Tulare  | 93291 | Visalia | Top 25% in CA | 89.81 | 85-90% |
| 6107003100 | 3591 | Tulare  | 93274 | Tulare | Top 25% in CA | 85.82 | 85-90% |
| 6107003200 | 6446 | Tulare  | 93272 | Tipton | Top 25% in CA | 82.63 | 80-85% |
| 6107004200 | 6529 | Tulare  | 93256 | Pixley | Top 25% in CA | 91.25 | 90-95% |
| 6107004300 | 7682 | Tulare  | 93219 | Earlimart | Top 25% in CA | 89.32 | 85-90% |
| 6113010101 | 6645 | Yolo  | 95605 | West Sacramento | Top 25% in CA | 79.73 | 75-80% |
| 6113010102 | 7702 | Yolo  | 95837 | Sacramento | Top 25% in CA | 90.07 | 90-95% |
| 6113010203 | 5397 | Yolo  | 95691 | West Sacramento | Top 25% in CA | 93.34 | 90-95% |
| 6113010204 | 4922 | Yolo  | 95691 | West Sacramento | Top 25% in CA | 81.12 | 80-85% |
| 6115040100 | 4615 | Yuba  | 95901 | Marysville | Top 25% in CA | 81.96 | 80-85% |
| 6115040302 | 2143 | Yuba  | 95901 | Marysville | Top 25% in CA | 79.32 | 75-80% |
| 6115040400 | 5538 | Yuba  | 95961 | Olivehurst | Top 25% in CA | 86.56 | 85-90% |
| 6029003900 |  2250 | Kern | 93263 | Shafter | Highest 5% Pollution Burden |

1. [↑](#footnote-ref-2)