## Instructions
Data Template Instructions | On the "New_Resources" tab, please report each new resource (chosen from among RESOLVE candidate resource types or indicate Other_New) that the LSE plans to invest in through the IRP planning horizon. These are analogous to “candidate” resources as defined in the RESOLVE model, and incremental to any resource that was reported in the Baseline Resource Data Template, i.e. "new steel in the ground." For situations where the LSE is reporting a future contract with unknown existing resource(s) (e.g. a new RA contract with an existing unit that comes off its existing contract in a future year), do NOT report it in this workbook, rather, report it in the Baseline Resource Data Template. On the "New_Resources" tab, also report the total fixed cost of each new resource. Column heading definitions are below. On the "New_Costs" tab, please report cost projections if applicable to the reporting entity. These are costs associated with the resources in the "New_Resources" tab and incremental to any costs reported in the Baseline Resource Data Template. Report all costs in 2016 dollars, using the IEPR dollar deflator series posted to the IRP Filing Materials and Templates webpage. Explain the composition of each cost category in the text body of the Standard LSE Plan Template. Incremental revenue requirement should be the sum of the other components in this worksheet. If including new load or load modifying resource information as part of a portfolio reported in the Standard LSE Plan Template, then follow the instructions on the "Instructions_IEPR_Forms" tab of this workbook to report that data. Many cells include data validation that requires the LSE to populate cells with only the allowed values shown in the cell's drop down menu. Data entry may be done manually, with copy/paste, or with a script - but only allowed values for that cell must be entered - this is critical to ensuring clean and reconciliable data. Cells must contain only text or numerical data. Do not use the "Insert Comment" feature of Excel to comment on specific cells. Instead please comment on specific cells in the text body of the Standard LSE Plan Template.
New_Resources Column Heading | Instruction and Description
LSE_Name | Select from the drop-down menu the Load Serving Entity (LSE) name. This column must not be blank.
New_Resource_Type | Select a RESOLVE candidate resource type from the dropdown. Select "Other_New" if LSE's selected resource does not match any of the RESOLVE candidate resource types. This column must not be blank.
Other_New_Description | Default: leave blank. If LSE selects "Other_New" under column New_Resource_Type, then fill in this cell with a description of the resource technology and operational attributes.
Location | Select from the drop down menu the resource location. If the location is inside the CAISO balancing area, then select the local capacity area or select "CAISO_System" if not within any local capacity area. If the location is outside the CAISO balancing area, then select the appropriate non-CAISO location. This column must not be blank.
Year_Begin | Expected online year in yyyy format. This column must not be blank.
Year_End | Expected end of long-term contract or retirement year in yyyy format. Enter 2050 if no end date. This column must not be blank.
Nameplate_MW | Enter the resource's nameplate capacity value (MW). The nameplate capacity is the maximum rated AC output of the unit. This column must not be blank.
AnnualEnergy_GWh | Enter the resource's expected annual energy production (GWh). This column must not be blank.
Tech_Sub_Type | If applicable to the type of technology, select the sub-type from the dropdown (e.g. fixed vs. tracking solar). Otherwise leave blank.
SolarPV_InverterLoading | If resource is solar PV, enter the ratio of installed DC panel capacity to installed AC inverter capacity (unitless number between 2 and 1). Otherwise leave blank.
Storage_Depth_MWh | If resource is energy storage, enter the discharge capacity in MWh at max output. Otherwise leave blank.
Storage_Efficiency | If resource is energy storage, enter the round-trip efficiency (unitless number between 0 and 1). Otherwise leave blank.
FCDS | 1 = This resource is fully deliverable; 0 = This resource is energy-only. This column must not be blank.
New_Rsrc_Total_Fixed_Costs | In 2016 $, enter the total fixed cost of this new resource. This column must not be blank.
New_Tx_Name | If new transmission is required for this new resource, enter the new transmission project name/identifier. Otherwise leave blank.
New_Tx_LSE_Share_MW | If new transmission is required for this new resource, enter the LSE's share in MW of the total new transmission line capacity. Otherwise leave blank.
New_Tx_Total_MW | If new transmission is required for this new resource, enter the total new transmission line capacity in MW. Otherwise leave blank.
New_Tx_LSE_Share_Fixed_Costs | If new transmission is required for this new resource, enter in 2016 $ the LSE's share of the total fixed cost of the new transmission triggered by this new resource. Otherwise leave blank.
New_Tx_Total_Fixed_Costs | If new transmission is required for this new resource, enter in 2016 $ the total fixed cost of the new transmission triggered by this new resource. Otherwise leave blank.

## Instructions_IEPR_Forms
If LSEs use different load and load modifier assumptions as part of any Alternate portfolios, the LSE should report that information using the standard IEPR filing form templates associated with that information, included as additional tabs within this workbook, one tab per IEPR Form. The LSE should clearly identify the data that differs from the forms it submitted to the CEC in 2017 as part of the 2017 IEPR process. The table below indicates which standard IEPR filing forms apply to which entity. IEPR Forms may be downloaded here:
CEC IEPR Forms | http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-03/TN215680-1_20170131T142702_FINAL_2017_Electricity_Demand_Forecast_Forms.xlsx
CEC Instructions | http://docketpublic.energy.ca.gov/PublicDocuments/17-IEPR-03/TN215675_20170131T111216_FINAL_Forms_and_Instructions_for_Submitting_Electricity_Demand.pdf
|  | IOU | CCA | ESP
Form 1.1a | RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled & Direct Access | X
Form 1.1b | RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled Customers | X
Form 1.2 | DISTRIBUTION AREA NET ELECTRICITY FOR GENERATION LOAD (GWh) | X
Form 1.3 | LSE COINCIDENT PEAK DEMAND BY SECTOR (Bundled Customers) | X
Form 1.4 | DISTRIBUTION AREA COINCIDENT PEAK DEMAND | X
Form 3.2 | ENERGY EFFICIENCY - CUMULATIVE INCREMENTAL IMPACTS | X
Form 3.3 | DISTRIBUTED GENERATION - CUMULATIVE INCREMENTAL IMPACTS | X
Form 3.4 | DEMAND RESPONSE - CUMULATIVE INCREMENTAL IMPACTS | X
Form 4 | REPORT ON FORECAST METHODS AND MODELS | X | X
Form 6 | UNCOMMITTED DEMAND-SIDE PROGRAM METHODOLOGY | X
Form 7.1 | ESP DEMAND FORECAST |  |  | X
Form 7.2 | CCA DEMAND FORECAST |  | X

## Form 1.1a
FORM 1.1a
Participant Name
RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled & Direct Access | [9 empty] | MIGRATING LOAD INCLUDED IN FORECAST (GWh)
(Modify the categories below as needed to be consistent with forecast method)
YEAR | RESIDENTIAL | COMMERCIAL | INDUSTRIAL | AGRICULTURAL | WATER PUMPING | STREET- LIGHTING | OTHER [1] | ELECTRIC VEHICLES [2] | TOTAL [3] | Migrating/ Newly Served Load included in Forecast
[10 empty] | Name of LSE / IOU | Name of LSE / IOU | Newly Served Load
2000 | 28560.8478 | 31831.9052 | 16882.7043 | 3870.7601 | N/A | 415.1438 | 565.7569 |  | 82127.118
2001 | 26779.5522 | 30391.1044 | 15917.6355 | 4007.2134 | N/A | 419.1179 | 621.1724 |  | 78135.7958
2002 | 27555.7997 | 30943.4184 | 14670.09 | 4057.255 | N/A | 400.7641 | 818.8263 |  | 78446.1535
2003 | 28777.4899 | 31326.0367 | 14424.5843 | 3830.0581 | N/A | 407.6826 | 662.1085 |  | 79427.9602
2004 | 29309.6412 | 32062.4919 | 14848.4829 | 4282.9936 | N/A | 414.5486 | 579.6574 |  | 81497.8154
2005 | 29895.5173 | 32349.3946 | 15010.7924 | 3730.8663 | N/A | 422.4855 | 503.1042 |  | 81912.1602
2006 | 31068.2249 | 33204.1514 | 15310.6603 | 3880.3339 | N/A | 427.4579 | 509.1866 |  | 84400.0151
2007 | 30718.746 | 33670.2469 | 15531.0654 | 5190.3168 | N/A | 432.3811 | 536.1352 |  | 86078.8915
2008 | 31080.2384 | 33535.5832 | 16020.722 | 5581.75 | N/A | 438.9841 | 547.223 |  | 87204.5006
2009 | 31274.2549 | 33029.4021 | 14629.7276 | 5816.3762 | N/A | 445.2048 | 510.2498 |  | 85705.2153
2010 | 30832.4731 | 33070.0852 | 14543.4103 | 5000.0839 | N/A | 447.076 | 531.6617 | 0.31974 | 84424.7902
2011 | 30942.197 | 32956.7223 | 14677.3989 | 4717.4447 | N/A | 437.1897 | 585.2989 | 10.2054 | 84316.2516
2012 | 31110.5195 | 32677.0344 | 15587.8499 | 6151.5622 | N/A | 428.1388 | 692.8604 | 39.1421 | 86647.9651
2013 | 30722.5055 | 32670.2669 | 15095.8546 | 7072.0452 | N/A | 414.3282 | 669.1202 | 100.1862 | 86644.1205
2014 | 29777.8927 | 32620.1726 | 15718.4859 | 7548.8405 | N/A | 393.5863 | 683.8496 | 184.7535 | 86742.8277
2015 | 29135.1724 | 32141.4338 | 15843.9176 | 7652.5568 | N/A | 367.5668 | 702.7197 | 272.7766 | 85843.3671
2016 | 28585.0881 | 31621.9409 | 15518.875 | 6717.872 | N/A | 353.2236 | 687.5004 | 377.4077 | 83484.5
2017 | 29138.2016 | 31402.2968 | 15150.456 | 5213.5118 | N/A | 326.953 | 716.726 | 503.8208 | 81948.1452
2018 | 27664.033 | 30637.5561 | 15658.1418 | 6189.8883 | N/A | 304.575 | 680 | 514.1322 | 80774.1942
2019 | 28201.6441 | 30849.3145 | 15671.1144 | 5618.3977 | N/A | 290.561 | 740 | 939.4438 | 81371.0318
2020
2021
2022 | 28330.709 | 30675.4328 | 15627.9977 | 5860.2632 | N/A | 254.3748 | 740 |  | 81488.7775
2023 | 28385.6257 | 30563.7748 | 15633.89 | 5984.6172 | N/A | 243.5229 | 740 |  | 81551.4306
2024 | 28578.7858 | 30521.457 | 15639.3308 | 6069.3128 | N/A | 246.9737 | 740 |  | 81795.86
2025 | 29071.8772 | 30539.0482 | 15660.9418 | 6144.8041 | N/A | 255.668 | 740 |  | 82412.3393
2026 | 29569.8593 | 30660.9979 | 15707.3918 | 6260.0546 | N/A | 258.5554 | 740 |  | 83196.8589
2027 | 30065.0395 | 30837.9956 | 15766.4981 | 6386.2941 | N/A | 258.0716 | 740 |  | 84053.8989
2028 | 30613.6097 | 31057.5516 | 15839.6282 | 6526.7266 | N/A | 257.5799 | 740 |  | 85035.0958
2029 | 31212.93 | 31345.7972 | 15915.3222 | 6658.9342 | N/A | 257.0785 | 740 |  | 86130.0621
2030 | 31855.5088 | 31674.2659 | 15981.3554 | 6783.2059 | N/A | 256.5676 | 740 |  | 87290.9035
Confidential
Notes:
1) OTHER includes Public Authority, BART, Interdepartmental and Resale sales. For 2000-2003 BART sales estimated at 360 GWh annually
2) Electric vehicle sales are shown separately, however these sales are cumulative embedded historic sales, and are included in the Residential and Commercial sales forecast
3) 2018 Sales based on PG&E's 2018 ERRA Forecast (A.17-06-005). Total sales excludes BART (360 GWh)

## Form 1.1b
FORM 1.1b
Participant Name
RETAIL SALES OF ELECTRICITY BY CLASS OR SECTOR (GWh) Bundled Customers | [9 empty] | MIGRATING LOAD INCLUDED IN FORECAST (GWh)
(Modify the categories below as needed to be consistent with forecast method)
YEAR | RESIDENTIAL | NON-RESIDENTIAL | [6 empty] | TOTAL | Migrating/ Newly Served Load included in Forecast
[10 empty] | Name of LSE / IOU | Name of LSE / IOU | Newly Served Load
2000 | 28089.1374 | 44267.9221 | [6 empty] | 72357.0595
2001 | 26595.195 | 47401.1295 | [6 empty] | 73996.3245
2002 | 27448.6877 | 42424.6554 | [6 empty] | 69873.3432
2003 | 28681.549 | 41923.1055 | [6 empty] | 70604.6545
2004 | 29226.0279 | 42754.594 | [6 empty] | 71980.622
2005 | 29827.2368 | 42901.208 | [6 empty] | 72728.4449
2006 | 31012.4438 | 45559.4626 | [6 empty] | 76571.9064
2007 | 30670.9854 | 48433.4182 | [6 empty] | 79104.4036
2008 | 31041.3912 | 49705.2313 | [6 empty] | 80746.6225
2009 | 31241.0747 | 48551.2354 | [6 empty] | 79792.3101
2010 | 30741.5085 | 46874.7023 | [6 empty] | 77616.2108
2011 | 30798.3188 | 44330.9268 | [6 empty] | 75129.2456
2012 | 30800.0441 | 45851.6318 | [6 empty] | 76651.6759
2013 | 30162.8932 | 45827.9184 | [6 empty] | 75990.8116
2014 | 29007.9427 | 45869 | [6 empty] | 74876.9427
2015 | 27438.6081 | 44566.8678 | [6 empty] | 72005.476
2016 | 26532.0987 | 42074.8373 | [6 empty] | 68606.936
2017 | 24634.087 | 36444.625 | [6 empty] | 61078.712
| RESIDENTIAL | COMMERCIAL | INDUSTRIAL | AGRICULTURAL | WATER PUMPING | STREET- LIGHTING | OTHER [2] | ELECTRIC VEHICLES [3]
2018 | 18351.1711 | 16391.4645 | 7444.9601 | 5287.8393 | N/A | 190.2396 | 320 | N/A | 47985.6746
2019 | 14874.6143 | 11599.5785 | 5875.1363 | 4594.5408 | N/A | 148.7251 | 320 | N/A | 37412.595
2020 | [7 empty] | N/A
2021 | [7 empty] | N/A
2022 | 13375.439 | 11090.562 | 4654.8349 | 4617.5712 | N/A | 110.8238 | 320 | N/A | 34169.2309
2023 | 12861.2804 | 10582.389 | 4518.229 | 4603.0451 | N/A | 101.6334 | 320 | N/A | 32986.577
2024 | 12715.4315 | 10366.5716 | 4460.9481 | 4621.7792 | N/A | 101.0789 | 320 | N/A | 32585.8093
2025 | 12783.3341 | 10245.328 | 4435.6415 | 4657.4147 | N/A | 103.1359 | 320 | N/A | 32544.8542
2026 | 12893.777 | 10207.9935 | 4437.2814 | 4732.0714 | N/A | 103.1524 | 320 | N/A | 32694.2758
2027 | 12968.5695 | 10167.786 | 4441.7338 | 4820.8201 | N/A | 101.4186 | 320 | N/A | 32820.3281
2028 | 13068.0851 | 10150.1735 | 4456.4397 | 4920.2686 | N/A | 99.7586 | 320 | N/A | 33014.7254
2029 | 13251.0719 | 10216.5123 | 4486.8674 | 5014.8651 | N/A | 98.7959 | 320 | N/A | 33388.1127
2030 | 13451.0087 | 10300.45 | 4511.3089 | 5103.306 | N/A | 97.8496 | 320 | N/A | 33783.9233
Confidential
Notes:
1) Bundled sales by class is not available in the historical period. However bundled sales split between residential and non-residential is reported.
2) OTHER includes Public Authority and Interdepartmental sales.
3) Electric vehicle sales are forecasted at the system level only.

## Form 1.2
FORM 1.2
Participant Name
DISTRIBUTION AREA NET ELECTRICITY FOR GENERATION LOAD (GWh)
YEAR | SALES TO BUNDLED CUSTOMERS (from 1.1b) | DIRECT ACCESS | COMMUNITY CHOICE AGGREGATORS | Other Departed Load remaining in distribution system | OTHER (BART) | TOTAL SALES | LOSSES | TOTAL DISTRIBUTION SYSTEM ENERGY REQUIREMENTS | Total Uncommitted Impacts from Form 3.2 | Forecast Net of Uncommitted Impacts
2000 | 72357.0595 | 9410.0585 | 0 |  | 360 | 82127.118 | 7361.882 | 89489 | 0 | 89489
2001 | 73996.3245 | 3779.4713 | 0 |  | 360 | 78135.7958 | 7784.2042 | 85920 | 0 | 85920
2002 | 69873.3432 | 8212.8104 | 0 |  | 360 | 78446.1535 | 9631.8465 | 88078 | 0 | 88078
2003 | 70604.6545 | 8463.3057 | 0 |  | 360 | 79427.9602 | 8434.0398 | 87862 | 0 | 87862
2004 | 71980.622 | 9157.333 | 0 |  | 359.8605 | 81497.8154 | 9698.0451 | 91195.8605 | 0 | 91195.8605
2005 | 72728.4449 | 8827.8375 | 0 |  | 355.8779 | 81912.1602 | 10910.7177 | 92822.8779 | 0 | 92822.8779
2006 | 76571.9064 | 7464.9775 | 0 |  | 363.1312 | 84400.0151 | 10653.116 | 95053.1312 | 0 | 95053.1312
2007 | 79104.4036 | 6599.9194 | 0 |  | 374.5685 | 86078.8915 | 10386.677 | 96465.5685 | 0 | 96465.5685
2008 | 80746.6225 | 6076.7871 | 0 |  | 381.091 | 87204.5006 | 10484.5904 | 97689.091 | 0 | 97689.091
2009 | 79792.3101 | 5555.3559 | 0 |  | 357.8402 | 85705.5061 | 8926.334 | 94631.8402 | 0 | 94631.8402
2010 | 77616.2108 | 6087.5907 | 90 |  | 347.2221 | 84140.8315 | 8516.3906 | 92657.2221 | 0 | 92657.2221
2011 | 75129.2456 | 8373.4474 | 196 |  | 334.5906 | 84033.3342 | 9805.4858 | 93838.8199 | 0 | 93838.8199
2012 | 76651.6759 | 9004.4087 | 564 |  | 362.0564 | 86581.8026 | 9947.2805 | 96529.083 | 0 | 96529.083
2013 | 75990.8116 | 9356.478 | 1075 |  | 355.8858 | 86778.5461 | 9730.3133 | 96508.8595 | 0 | 96508.8595
2014 | 74876.9427 | 9651.9419 | 1845 |  | 359.9777 | 86733.8435 | 8344.74 | 95078.5835 | 0 | 95078.5835
2015 | 72005.476 | 9783.9954 | 3661 |  | 368.0388 | 85818.5322 | 7505.1352 | 93323.6674 | 0 | 93323.6674
2016 | 68606.936 | 9683.5357 | 4639 |  | 369.6239 | 83299.5395 | 6684.0652 | 89983.6047 | 0 | 89983.6047
2017 | 61078.712 | 9621.1481 | 10955 |  | 409.1164 | 82063.8236 | 6273.1962 | 88337.0198 | 0 | 88337.0198
2018 | 47985.6746 | 9728.8867 | 23059.6329 |  | 360 | 80774.1942 | 7106.0518 | 87880.246 | -1072.5442 | 88952.7902
2019 | 37412.595 | 9631.411 | 33906.7308 |  | 420 | 81371.0507 | 7131.9603 | 88503.011 | -2217.2706 | 90720.2816
2020
2021
2022 | 34169.2309 | 9631.411 | 37268.4019 |  | 420 | 81488.7964 | 7144.0341 | 88632.8304
2023 | 32986.577 | 9631.411 | 38513.6396 |  | 420 | 81551.4495 | 7156.3317 | 88707.7812
2024 | 32585.8093 | 9631.411 | 39158.7943 |  | 420 | 81795.8789 | 7180.1066 | 88975.9855
2025 | 32544.8542 | 9631.411 | 39816.1744 |  | 420 | 82412.3582 | 7256.2369 | 89668.5951
2026 | 32694.2758 | 9631.411 | 40451.2295 |  | 420 | 83196.8778 | 7347.5365 | 90544.4143
2027 | 32820.3281 | 9631.411 | 41182.1736 |  | 420 | 84053.9178 | 7442.7046 | 91496.6224
2028 | 33014.7254 | 9631.411 | 41968.9284 |  | 420 | 85035.1147 | 7545.9496 | 92581.0643
2029 | 33388.1127 | 9631.411 | 42690.4697 |  | 420 | 86130.081 | 7680.3257 | 93810.4067
2030 | 33783.9233 | 9631.411 | 43455.4608 |  | 420 | 87290.9224 | 7814.9066 | 95105.829
Confidential
Notes:
1) For period 2000-2003, BART sales estimated at 360 GWh per year.
2) Line17 operational load shown here for 2000-2017 period. Losses calculated as the difference between sales and requirements.
3) PG&E's sales forecast is developed on a mitigated basis (i.e., already includes the impacts of EE). Therefore, uncommitted
impacts are shown as negative values in order not to double count EE. Impacts in column "M" are shown as gross
(instead of net) of uncommitted EE.
4) 2018 Sales based on PG&E's 2018 ERRA Forecast (A.17-06-005). Total sales excludes BART (360 GWh)

## Form 1.3
FORM 1.3
Participant Name
LSE COINCIDENT PEAK DEMAND BY SECTOR (Bundled Customers) | [11 empty] | MIGRATING LOAD INCLUDED IN FORECAST (MW)
(MW)
(Modify categories below to be consistent with sectors or classes reported on Form 1.1)
| RESIDENTIAL |  | COMMERCIAL |  | INDUSTRIAL | AGRICULTURE |  | TCU & STREETLIGHTING |  |  | TOTAL PEAK | Migrating/ Newly Served Load included in Forecast
YEAR | BASE LOAD | WEATHER SENSITIVE | BASE LOAD | WEATHER SENSITIVE |  |  | WATER PUMPING |  | BUNDLED PEAK | LOSSES |  | Name of LSE / IOU | Name of LSE / IOU | Newly Served Load
2000
2001
2002
2003
2004
2005
2006
2007
2008
2009
2010
2011
2012
2013
2014
2015
2016
2017
2018 | [8 empty] | 10854.9759 | 1094.0954 | 11949.0713
2019 | [8 empty] | 7978.6395 | 912.6613 | 8891.3008
2020
2021
2022 | [8 empty] | 7275.8942 | 830.1942 | 8106.0884
2023 | [8 empty] | 7012.4319 | 800.5651 | 7812.997
2024 | [8 empty] | 6883.6839 | 785.4706 | 7669.1546
2025 | [8 empty] | 6811.9006 | 777.187 | 7589.0876
2026 | [8 empty] | 6782.642 | 774.7262 | 7557.3682
2027 | [8 empty] | 6741.9448 | 771.3157 | 7513.2604
2028 | [8 empty] | 6707.7518 | 768.7504 | 7476.5022
2029 | [8 empty] | 6712.2658 | 770.6841 | 7482.9499
2030 | [8 empty] | 6717.9213 | 772.8988 | 7490.8201
Confidential
Notes:
1) Bundled peak only available on forecast basis. Historical peaks available on system level only.

## Form 1.4
FORM 1.4
Participant Name
DISTRIBUTION AREA COINCIDENT PEAK DEMAND
(MW)
YEAR | BUNDLED CUSTOMER PEAK (from 1.3) | DIRECT ACCESS AND COMMUNITY CHOICE AGGREGATION |  | OTHER PUBLICLY OWNED DEPARTING LOAD |  | OTHER (DEFINE) | TOTAL PEAK DEMAND
|  | End User Peak Demand | Losses | End User Peak Demand | Losses
2000 | 0 | [5 empty] | 0
2001 | 0 | [5 empty] | 0
2002 | 0 | [5 empty] | 0
2003 | 0 | [5 empty] | 0
2004 | 0 | [5 empty] | 0
2005 | 0 | [5 empty] | 0
2006 | 0 | [5 empty] | 0
2007 | 0 | [5 empty] | 0
2008 | 0 | [5 empty] | 0
2009 | 0 | [5 empty] | 0
2010 | 0 | [5 empty] | 0
2011 | 0 | [5 empty] | 0
2012 | 0 | [5 empty] | 0
2013 | 0 | [5 empty] | 0
2014 | 0 | [5 empty] | 0
2015 | 0 | [5 empty] | 0
2016 | 0 | [5 empty] | 0
2017 | 0 | [5 empty] | 0
2018 | 10854.9759 | 5620.5094 | 553.9326 |  |  |  | 17029.4179
2019 | 8891.3008 | 7960.0508 | 828.4712 |  |  |  | 17679.8229
2020
2021
2022 | 8106.0884 | 8573.5214 | 895.8685 |  |  |  | 17575.4783
2023 | 7812.997 | 8849.6817 | 927.6372 |  |  |  | 17590.3159
2024 | 7669.1546 | 8969.71 | 941.2623 |  |  |  | 17580.1269
2025 | 7589.0876 | 9046.6205 | 950.4098 |  |  |  | 17586.118
2026 | 7557.3682 | 9117.503 | 959.892 |  |  |  | 17634.7632
2027 | 7513.2604 | 9205.1164 | 971.2331 |  |  |  | 17689.6099
2028 | 7476.5022 | 9291.2529 | 982.598 |  |  |  | 17750.353
2029 | 7482.9499 | 9356.9063 | 992.5825 |  |  |  | 17832.4388
2030 | 7490.8201 | 9426.2958 | 1003.1513 |  |  |  | 17920.2672
Confidential
Notes:
Bundled and DA/CCA Peaks are coincident with Total System Peak Demand

## Form 3.2
FORM 3.2
Participant Name
EFFICIENCY - CUMULATIVE INCREMENTAL IMPACTS
Sector | Program |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Residential | Committed | MW | 2018: 223.3367; 2019: 106.102
Residential | Committed | GWh | 2018: 631.2265; 2019: 408.8965
Residential | Committed | Therms | 2018: 29.1834; 2019: 28.381
Residential | UnCommitted | MW | 2018: 119.9524; 2019: 116.6538
Residential | UnCommitted | GWh | 2018: 513.7735; 2019: 534.1035
Residential | UnCommitted | Therms | 2018: 19.4365; 2019: 17.6409
Non-Residential | Committed | MW | 2018: 123.9066; 2019: 111.7324
Non-Residential | Committed | GWh | 2018: 471.2294; 2019: 426.377
Non-Residential | Committed | Therms | 2018: 12.8796; 2019: 12.0655
Non-Residential | UnCommitted | MW | 2018: 158.3042; 2019: 169.5479
Non-Residential | UnCommitted | GWh | 2018: 558.7706; 2019: 610.623
Non-Residential | UnCommitted | Therms | 2018: 12.2386; 2019: 12.7054
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
Confidential

## Form 3.3
FORM 3.3
Participant Name
DISTRIBUTED GENERATION - CUMULATIVE INCREMENTAL IMPACTS
Sector | Technology | Program |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Non-PV |  | MW | 2015: 113.4539; 2016: 123.9227; 2017: 157.0105; 2018: 173.4727; 2019: 187.9738
| Non-PV |  | GWh | 2015: 993.498; 2016: 1085.1919; 2017: 1375.0318; 2018: 1519.2257; 2019: 1646.2393
Therms
| PV |  | MW | 2015: 1884.8774; 2016: 2526.9755; 2017: 3190.3033; 2018: 3710.9211; 2019: 4284.1946
| PV |  | GWh | 2015: 2375.4255; 2016: 3253.9359; 2017: 4198.2566; 2018: 5078.0138; 2019: 5871.9211
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
MW
GWh
Therms
Confidential

## Form 3.4
FORM 3.4
Participant Name
DEMAND RESPONSE - CUMULATIVE INCREMENTAL IMPACTS
PROGRAM NAME | DISPATCHABLE/ NONDISPATCHABLE | Demand Response/ Interruptible |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
BIP - Day Of Notification | Dispatchable | Interruptible | MW |  |  |  | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831 | 220.5831
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CBP - Non-Residential | Dispatchable | Demand Response | MW |  |  |  | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CBP-Residential | Dispatchable | Demand Response | MW |  |  |  | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAM | Dispatchable | Demand Response | MW |  |  |  | 79.465 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Day Pricing (PDP) - Non-Residential | Dispatchable | Demand Response | MW |  |  |  | 30.928 | 36.5942 | 52.4922 | 51.8179 | 52.7108 | 52.7849 | 52.9571 | 53.1361 | 53.3188 | 53.502 | 53.6785
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SmartRateTM - Residential | Dispatchable | Demand Response | MW |  |  |  | 9.7797 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279 | 7.6279
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SmartACTM - Residential | Dispatchable | Interruptible | MW |  |  |  | 57.4351 | 58.6943 | 59.1117 | 59.5071 | 59.8831 | 60.2403 | 60.5791 | 60.9008 | 61.2065 | 61.4965 | 61.7723
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOU - Non-Residential (Embedded) | Nondispatchable | Demand Response | MW |  |  |  | 349.3967 | 349.694 | 349.8383 | 349.9849 | 350.1342 | 350.2869 | 350.443 | 350.6027 | 350.7658 | 350.9321 | 350.9321
|  |  | GWh |  |  |  | 381.243 | 383.615 | 384.5003 | 384.8851 | 385.2752 | 385.6719 | 386.0763 | 386.4895 | 386.9113 | 387.3412 | 387.7788
TOU - Non-Residential (Incremental) | Nondispatchable | Demand Response | MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | GWh |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOU - Residential (Embedded) | Nondispatchable | Demand Response | MW |  |  |  | 8.8949 | 8.3547 | 7.1863 | 3.1452 | 2.7069 | 2.2686 | 1.8303 | 1.392 | 0.95368 | 0.83145 | 0.78042
|  |  | GWh |  |  |  | 2.9319 | 2.1367 | 1.8566 | -0.92882 | -1.8059 | -2.6831 | -3.5602 | -4.4373 | -5.2805 | -5.3935 | -5.0644
TOU - Residential (Incremental) | Nondispatchable | Demand Response | MW |  |  |  | 0.35783 | 0.89772 | 1.1671 | 1.6054 | 2.0437 | 2.482 | 2.9203 | 3.3586 | 3.7969 | 3.9191 | 3.9701
|  |  | GWh |  |  |  | 0.38084 | 1.1759 | 2.1821 | 3.0592 | 3.9363 | 4.8134 | 5.6906 | 6.5677 | 7.4109 | 7.5239 | 7.1948
Permanent Load Shift (Embedded) | Nondispatchable | Demand Response | MW
GWh
Permanent Load Shift (Incremental) | Nondispatchable | Demand Response | MW |  |  |  | 1.43 | 2.874 | 2.874 | 2.874 | 2.874 | 2.872 | 2.8 | 2.729 | 2.662 | 2.595 | 2.53
|  |  | GWh |  |  |  | -0.68629 | -1.8698 | -2.0269 | -2.0269 | -2.0269 | -2.0308 | -2.1215 | -2.2099 | -2.2961 | -2.3802 | -2.4621
Notes:
Gray cells denotes confidentiality. Contains information that does not meet the 15/15 aggregation requirements in D.14-05-016 for non-residential customers
All DR load impacts are reported for the CPUC Resource Adequacy hours of 1pm - 6pm for the month of August under 1-in-2 system conditions for PG&E

## New_Resources
LSE_Name | New_Resource_Type | Other_New_Description | Location | Year_Begin | Year_End | Nameplate_MW | AnnualEnergy_GWh | Tech_Sub_Type | SolarPV_InverterLoading | Storage_Depth_MWh | Storage_Efficiency | FCDS | New_Rsrc_Total_Fixed_Costs | New_Tx_Name | New_Tx_LSE_Share_MW | New_Tx_Total_MW | New_Tx_LSE_Share_Fixed_Costs | New_Tx_Total_Fixed_Costs | Levelized_Fixed_Cost | Levelized_Variable_Cost
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 1 | CAISO_System | 2020 | 2040 | 1 | 5256 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 1 | CAISO_System | 2021 | 2041 | 8 | 42048 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 1 | CAISO_System | 2022 | 2042 | 9 | 47304 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 1 | CAISO_System | 2023 | 2043 | 9 | 47304 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 1 | CAISO_System | 2024 | 2044 | 1.047 | 5503.032 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 2 (Ag) | CAISO_System | 2020 | 2040 | 5.1 | 26805.6 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 2 (Ag) | CAISO_System | 2021 | 2041 | 2.9 | 15242.4 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 2 (Ag) | CAISO_System | 2022 | 2042 | 3 | 15768 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 2 (Ag) | CAISO_System | 2023 | 2043 | 6 | 31536 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - Generic SB1122, Category 2 (Ag) | CAISO_System | 2024 | 2044 | 1 | 5256 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - SB1122 Generic, Category 2 (Dairy) | CAISO_System | 2020 | 2040 | 8.1 | 42573.6 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - SB1122 Generic, Category 2 (Dairy) | CAISO_System | 2021 | 2041 | 0.9 | 4730.4 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - SB1122 Generic, Category 2 (Dairy) | CAISO_System | 2022 | 2042 | 1 | 5256 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Biogas - SB1122 Generic, Category 2 (Dairy) | CAISO_System | 2023 | 2043 | 2.5 | 13140 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2023 | 2043 | 2 | 10512 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2024 | 2044 | 8 | 42048 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2025 | 2045 | 12 | 63072 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2026 | 2046 | 12 | 63072 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2027 | 2047 | 12 | 63072 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2028 | 2048 | 4 | 21024 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2020 | 2040 | 13.9 | 73058.4 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2021 | 2041 | 6.1 | 32061.6 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2022 | 2042 | 12 | 63072 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2023 | 2043 | 12 | 63072 |  |  |  |  | 0
Pacific Gas and Electric | InState_Biomass |  | CAISO_System | 2024 | 2044 | 3 | 15768 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2021 | 2041 | 1.5 | 3416.4 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2022 | 2042 | 7.5 | 17082 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2023 | 2043 | 9 | 20498.4 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2024 | 2044 | 9 | 20498.4 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2025 | 2045 | 9 | 20498.4 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic SB32/ ReMAT | CAISO_System | 2026 | 2046 | 2.87 | 6536.712 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Solar PV - Generic RAM/ PV RAM | CAISO_System | 2021 | 2041 | 77.5 | 176514 | Solar_Track1axis | 1.4 |  |  | 0
Pacific Gas and Electric | Other_New | Wind - Generic SB32/reMAT | CAISO_System | 2024 | 2044 | 3 | 8409.6 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Wind - Generic SB32/reMAT | CAISO_System | 2025 | 2045 | 6 | 16819.2 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Wind - Generic SB32/reMAT | CAISO_System | 2026 | 2046 | 6 | 16819.2 |  |  |  |  | 0
Pacific Gas and Electric | Other_New | Wind - Generic SB32/reMAT | CAISO_System | 2027 | 2047 | 6.7 | 18781.44 |  |  |  |  | 0
Pacific Gas and Electric | CAISO_New_Li_Battery |  | CAISO_System | [8 empty] | 0
Pacific Gas and Electric | CAISO_New_Li_Battery |  | CAISO_System | [8 empty] | 0
Pacific Gas and Electric | CAISO_New_Li_Battery |  | CAISO_System | [8 empty] | 0
Pacific Gas and Electric | CAISO_New_Li_Battery |  | CAISO_System | [8 empty] | 0

## New_Costs
Preferred - New Resources - $2016
Cost Category | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Incremental Distribution
Incremental Transmission
Incremental Generation |  |  | 22.2704 | 50.8702 | 74.6839 | 93.0349 | 103.0305 | 112.1847 | 120.053 | 125.7676 | 124.0717 | 121.161 | 118.6558
Incremental Demand Side Programs
Incremental Other
Incremental Revenue Requirement |  |  | 22.2704 | 50.8702 | 74.6839 | 93.0349 | 103.0305 | 112.1847 | 120.053 | 125.7676 | 124.0717 | 121.161 | 118.6558

## List_Data
LSE_Type | LSE_Name_Long | LSE_Name_Short | New_Resource_Type | Location | Year_Begin | Year_End | Tech_Sub_Type | SolarPV_InverterLoading | Storage_Efficiency | FCDS
ESP | 3 Phases Renewables Inc | 3PhasesRenewable | CAISO_New_Advanced_CCGT | BigCreekVentura | yyyy | yyyy | Solar_FixedTilt | 1 <= R <= 2 | 0 <= E <= 1 | 0 or 1
ESP | Agera Energy LLC | AgeraEnergy | CAISO_New_Aero_CT | GreaterBayArea | 2018 | 2018 | Solar_Track1axis | 1 | 0 | 0
ESP | American Powernet Management | AmericanPowerNetM | CAISO_New_Conventional_DR | LABasin | 2050 | 2050 | Solar_Track2axis | 2 | 1 | 1
Co-op | Anza Electric Cooperative | AnzaElecCoop | CAISO_New_Flexible_Load_Shift | Other_PGE |  |  | Solar_Thermal
CCA | Apple Valley Choice Energy | AppleVlyChoiceEn | CAISO_New_Flow_Battery | SanDiegoImperialValley
Utility | Bear Valley Electric Service | BearValley | CAISO_New_Li_Battery | CAISO_System
ESP | Calpine Energy Solutions LLC | CalpineEnergySoln | CAISO_New_Pumped_Storage | Non_CAISO_In_State
ESP | Calpine Poweramerica-CA LLC | CalpinePowerAmCA | CAISO_New_Reciprocating_Engine | Out_Of_State
CCA | Clean Power San Francisco | CleanPowerSF | CAISO_New_Small_Hydro
ESP | Commercial Energy of California | CommercialEnergyCA | Northern_California_Solar
ESP | Constellation New Energy Inc | ConstellationNewEn | Solano_Solar
CCA | Desert Community Energy | DesertCommunityEn | Central_Valley_North_Los_Banos_Solar
ESP | Direct Energy Business | DirectEnergyBusiness | Westlands_Solar
CCA | East Bay Community Energy | EastBayCommunityEn | Greater_Carrizo_Solar
ESP | EDF Industrial Power Services CA LLC | EDFIndustrialPowerSrv | Tehachapi_Solar
ESP | Just Energy Solutions Inc | JustEnergySolutions | Kramer_Inyokern_Solar
CCA | King City CCA | KingCityCCA | Mountain_Pass_El_Dorado_Solar
CCA | Lancaster Choice Energy | LancasterChoiceEn | Southern_California_Desert_Solar
Utility | Liberty Utilities | LibertyUtilities | Riverside_East_Palm_Springs_Solar
CCA | Los Angeles Community Choice | LosAngelCommChoice | Greater_Imperial_Solar
CCA | Marin Clean Energy | MarinCleanEnergy | Distributed_Solar
CCA | Monterey Bay Community Power | MontereyBayCommPwr | Baja_California_Solar
Utility | Pacific Gas and Electric | PacificGasAndElectric | Utah_Solar
Utility | PacifiCorp | PacifiCorp | Southern_Nevada_Solar
CCA | Peninsula Clean Energy | PeninsulaCleanEnAuth | Arizona_Solar
CCA | Pico Rivera Innovative Municipal Energy | PicoRiveraInnovMuniEn | New_Mexico_Solar
ESP | Pilot Power Group Inc | PilotPowerGroup | Northern_California_Wind
CCA | Pioneer Community Energy | PioneerCommunityEn | Solano_Wind
Co-op | Plumas Sierra Rural Elec Coop | PlumasSierraCoop | Central_Valley_North_Los_Banos_Wind
CCA | Rancho Mirage Energy Authority | RanchoMirageEnAuth | Greater_Carrizo_Wind
CCA | Redwood Coast Energy | RedwoodCoastEnergy | Tehachapi_Wind
Utility | San Diego Gas and Electric | SanDiegoGasAndElectric | Kramer_Inyokern_Wind
CCA | San Jacinto Power | SanJacintoPower | Southern_California_Desert_Wind
CCA | San Jose City | SanJoseCity | Riverside_East_Palm_Springs_Wind
ESP | Shell Energy North America | ShellEnergyNorthAm | Greater_Imperial_Wind
CCA | Silicon Valley Clean Energy | SiliconVlyCleanEnAuth | Distributed_Wind
CCA | Solana Energy Alliance | SolanaEnergyAlliance | Baja_California_Wind
CCA | Sonoma Clean Power | SonomaCleanPower | Pacific_Northwest_Wind
Utility | Southern California Edison | SouthernCalEdison | NW_Ext_Tx_WIND
Co-op | Surprise Valley Electric Corp | SurpriseValleyElectric | Idaho_Wind
ESP | The Regents of the University of California | TheRegentsUnivCA | Utah_Wind
ESP | Tiger Natural Gas Inc | TigerNaturalGas | Wyoming_Wind
CCA | Valley Clean Energy Alliance | ValleyCleanEnAlliance | Southern_Nevada_Wind
Co-op | Valley Electric Association | ValleyElectricAssoc | Arizona_Wind
New_Mexico_Wind
SW_Ext_Tx_Wind
InState_Biomass
Greater_Imperial_Geothermal
Northern_California_Geothermal
Pacific_Northwest_Geothermal
Southern_Nevada_Geothermal
Other_New