## Table of Contents
#VALUE!
Table of Contents
| Worksheet Tab | Formal Title | CPUC Post-Event Report Section | Scope / Purpose
| Table 1 | PSPS Event Summary | Section 1 - Executive Summary | Headline event metrics required for the post-event filing.
| Table 2 | 2026 PG&E’s PSPS Risk-Benefit Consequence Modeling Considerations | Section 2 - Decision-Making Process | Risk-benefit consequence modeling considerations.
| Table 3 | Notification Descriptions | Section 5 - Notifications | Descriptions of notification types, intended recipients, and delivery methods.
| Table 4 | Notification Timeline Summary | Section 5 - Notifications | Summary of the timing and sequence of event notifications.
| Table 5 | Positive Notification | Section 5 - Notifications | Successful notification delivery results by notification type and recipient group.
| Table 6 | Breakdown of Notification Failure | Section 5 - Notifications | Breakdown of notification failures by notification stage, recipient group, and cause.
| Table 6A | Explanation of Failures for All Other Affected Customers Who Did Not Receive 24-to 48-Hour Watch Notification | Section 5 - Notifications | Reasons affected customers did not receive the 24- to 48-hour Watch notification.
| Table 6B | Explanation of Failures for All Other Affected Customers Who Did Not Receive 1-4 Hour Imminent Notifications | Section 5 - Notifications | Reasons affected customers did not receive the 1-hour Imminent notification.
| Table 6C | Explanation of Failures for All Other Affected Customers Who Did Not Receive Any Notifications Before De-Energization | Section 5 - Notifications | Reasons affected customers received no notification before de-energization.
| Table 6D | Explanation of Failures for Agency Entities, CFI, and All Other Affected Customers Who Did Not Receive Power Off Notification | Section 5 - Notifications | Reasons agency entities, critical facilities and infrastructure, and other affected customers did not receive the Power Off notification.
| Table 6E | Explanation of Failures for All Other Affected Customers Not Notified Immediately Before Re-energization | Section 5 - Notifications | Reasons affected customers were not notified immediately before re-energization.
| Table 6F | Explanation of Failures for All Other Affected Customers Who Did Not Receive Restore Notification | Section 5 - Notifications | Reasons affected customers did not receive the Restore notification.
| Table 7 | PSPS Data Portal Map Sharing (Date and Time) | Section 6 - Public Safety Partner Engagement | Causes and explanations of false-positive communications issued during the event.
| Table 8 | Notifications Submitted to Cal OES (Date and Time) | Section 6 - Public Safety Partner Engagement | Chronology of Cal OES submissions.
| Table 9 | Notifications Submitted to CPUC (Date and Time) | Section 6 - Public Safety Partner Engagement | Chronology of CPUC submissions.
| Table 10 | AFN Customer Programs and Support | Section 10 - Mitigations to Reduce Impact | Programs and support for access and functional needs customers.
| Table 11 | Generators Available for CFI Customers | Section 10 - Mitigations to Reduce Impact | Generator availability supporting critical facilities and infrastructure.
| Table 12 | Number and Nature of Complaints | Section 7 - Complaints & Claims | Complaint counts and categories.
| Table 13 | Circuits Requiring More than 24 Hours to Restore | Section 8 - Power Restoration | Circuits with restoration durations exceeding 24 hours.
| Table 14 | Lessons Learned | Section 11 - Lessons Learned | Event lessons and resulting improvement actions.
| Table 15 | Maximum Wind Gusts Recorded During October 23 – 24, 2026 | Section 2 - Decision-Making Process | Observed maximum wind gusts supporting the event decision record.
| Appendix A-1.1 | Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 23-24, 2026 PSPS | Section 2 - Decision-Making Process | Circuit-level distribution decision factors and weather parameters.
| Appendix B | Circuits De-Energized During the October 23, 2026 PSPS | Section 3 - De-energized Time, Place, Duration and Customers | Required circuit-level event timing, location, duration, and customer data.
| Appendix C | Public Safety Partners Contacted | Section 6 - Public Safety Partner Engagement | Inventory of contacted public safety partners.
| Appendix D | Community Resource Centers Provided by PG&E | Section 9 - Community Resource Centers | Community Resource Center locations and operating information.
| Appendix E | Definitions | Supporting Reference | Definitions and abbreviations used throughout the filing.

## Table 1
#VALUE!
Table 1: PSPS Event Summary1
| Total Customers Notified | Total Customers De-energized | Total Customers Canceled | MBL Customers De-energized | Counties | Tribes | CFI | Transmission De-energized | Unique Distribution Circuits in Scope | Distribution Circuits | Damage/ Hazard Count
| 642 | 3642 | 279 | 30 | 6 | 0 | 34 | 0 | 9 | 7 | 0 damages 0 hazards
1 The information, times, and figures referenced in this report are based on the best available information available at the time of this report’s submission. The information, times and figures herein are subject to revision based on further analysis and validation.
2 Of the customers de-energized, one customer did not receive any notifications regarding planned de-energization. See Section 5.5 for more information.

## Table 2
#VALUE!
Table 2: 2026 PG&E’s PSPS Risk-Benefit Consequence Modeling Considerations
| Consequence Type | Wildfire Consequence Considerations | PSPS Consequence Considerations
| Safety | Calculated based on maximum population impacts derived from Technosylva wildfire simulation models and a fatality ratio based on National Fire Protection Association (NFPA) data. | Calculated from an estimate of Equivalent Fatalities (EF) per Million Customer Minutes Interrupted (MMCI). The EF/MMCI ratio is estimated from previous PG&E PSPS outages and other large external outages.1
| Reliability | None. | Calculated directly from the potential number of customers impacted and outage duration based on customer minutes interrupted.
| Financial | Calculated based on maximum building impacts derived from Technosylva wildfire simulation models and a cost per structure burned previously evaluated in 2024 RAMP Report.2 | Calculated based on two financial estimates, 1) distribution of a lump sum cost of execution across all relevant circuits and 2) an estimated proxy cost per customer in scope per PSPS.3
1 Includes 2019-2021 PSPS outages, the 2003 Northeast Blackout in New York City, 2011 Southwest Blackout in San Diego, 2012 Derecho Windstorms, 2012 Superstorm Sandy, 2017 Hurricane Irma and 2021 Blackout event.
2 A.24-05-008.
3 The assumptions used in these calculations, including the proxy cost per customer per PSPS, are subject to be updated and are not intended to prejudge or create precedent with regard to the development of more precise values of resiliency or cost of PSPS metrics being considered in other ongoing proceedings at the CPUC, such as the Risk-Based Decision-Making Rulemaking [R.20.07.013] and the Microgrid and Resiliency Strategies.

## Table 3
#VALUE!
Table 3: Notification Descriptions
| Type of Notification | Recipients | Description
| PRIORITY NOTIFICATION: 48-72 hours in advance of anticipated de-energization | Public Safety Partners and CBOs1 | On October 21, our Meteorology Team noted a potential PSPS and updated the weather forecast on pge.com/weather to “elevated” in certain parts of the service area. At this time, agency representatives called each County Office of Emergency Services (OES) in PG&E’s electrical service area and select tribes and cities to inform them that PG&E was monitoring an increased potential for a PSPS. Following the EOC activation, we completed the following: · Notified CAISO of the potential PSPS (on October 22 at 12:25 PDT via email. · Submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC has been activated and that PG&E is monitoring for a potential PSPS. · Agency representatives called potentially impacted County OES and select tribes and cities to inform them that PG&E is monitoring a potential PSPS. Sent notifications to other Public Safety Partners,2 via call, text and e-mail, which included information such as: o Estimated window of the de-energization time. o When weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o For agency partners and distribution level customers: Links to the PSPS Data Portal where PSPS-specific maps and information are available. o For Transmission-level customers only: Transmission Substation Name and Line name serving substation.
| WATCH NOTIFICATION: 24-48 hours in advance of Advanced Notice of anticipated de-energization | Public Safety Partners, CBOs, and All Customers (including MBL and SIV customers) | During this time, we completed the following: · Submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC has been activated and that PG&E is monitoring for a potential PSPS. · Sent notifications to other Public Safety Partners,3 and customers via call, text and e-mail, which included information such as: o Estimated window of the de-energization time. o When weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o For Public Safety Partners Only: Links to the PSPS Data Portal where PSPS-specific maps and information are available. o For customers only: Potentially impacted addresses, links to PSPS Update Page with CRC information, and resources for AFN customers, including but not limited to information on the MBL Program, language support, and the Portable Battery Program (PBP). · Sent notifications to MBL customers, including tenants of master metered accounts, and SIV customers. For more information regarding MBL Program notifications, see Section 5.3. Customer notifications are provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications are provided in English.
| WARNING NOTIFICATION: 1-4 hours in advance of anticipated de-energization, if possible | Public Safety Partners, CBOs, and All Customers (including MBL and SIV customers) | During this time, we completed the following: · Submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E has made the decision to de-energize. · Sent notifications to Public Safety Partners and customers which included the same key information and resources as Watch Notifications. · Sent notifications to MBL customers, including tenants of master metered accounts, and SIV customers. For more information regarding MBL Program notifications, see Section 5.3. · Sent Cancellation Notifications to Public Safety Partners and customers within two hours of being removed from scope to inform them that their power would not be shut off. Customer notifications are provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications are provided in English.
| POWER OFF NOTIFICATION: When de-energization is initiated | Public Safety Partners, CBOs, and All Customers (including MBL and SIV customers) | When de-energization was initiated, we completed the following: · Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC to notify them that de-energization has been initiated. · Sent notifications to Public Safety Partners and customers via call, text messages and e-mail, which included: o De-energization time. o When weather is anticipated to pass. o For customers only: Impacted addresses. o For customers only: Links to the PSPS Updates Page with CRC information, and resources for AFN customers, including but not limited to information on the MBL Program, Meals on Wheels, language support, and the PBP. · Sent notifications to MBL customers, including tenants of master metered accounts, and SIV customers. For more information regarding MBL Program notifications, see Section 5.3. Customer notifications are provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications are provided in English.
| WEATHER “ALL-CLEAR”/ETOR UPDATE NOTIFICATION: Immediately before re-energization begins | Public Safety Partners, CBOs, and All Customers (including MBL and SIV customers) | After weather conditions had passed and areas were deemed safe to begin patrols and restoration, we completed the following: · Submitted a PSPS State Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E is initiating re-energization patrols. · Sent notifications to other Public Safety Partners and customers, via call, text message and e-mail, which included the ETOR. · Sent “update” notifications to customers if their ETOR changed. Two ways that an ETOR may change include: o New field or meteorology conditions. o Damage found during patrols and repair was needed. Customer notifications are provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications are provided in English.
| RESTORATION NOTIFICATION: When re-energization is complete | Public Safety Partners, CBOs, and All Customers (including MBL and SIV customers) | Once all customers were restored, we completed the following: · Sent a notification to Public Safety Partners via call, text and e-mail. · Submitted the final PSPS State Notification Form to Cal OES. · Sent an e-mail to the CPUC confirming restoration of PSPS outages and reclassification of customers if applicable. Once customers, including MBL and SIV customers, were restored, they received automated notifications via call, text, and e-mail. Customer notifications are provided in English, with information on how to receive PSPS information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications are provided in English.
1 D.21-06-034, Appendix A, page A9, Section G. MBL Program and AFN Communities, No. 4, Each electric investor-owned utility must provide proactive notification and impacted zip code information to paratransit agencies that may serve all the known transit- or paratransit-dependent persons that may need access to a CRC during a PSPS.
2 Other Public Safety Partners refers to first/emergency responders at the local, state, and federal level, water, wastewater, and communication service providers, affected CCAs, publicly owned utilities/electrical cooperatives, the CPUC, the California Governor’s Office of Emergency Services, and the CAL FIRE.
3 Other Public Safety Partners refers to first/emergency responders at the local, state, and federal level, water, wastewater, and communication service providers, affected CCAs, publicly owned utilities/electrical cooperatives, the CPUC, the California Governor’s OES and the CAL FIRE.

## Table 4
#VALUE!
Table 4: Notification Timeline Summary
| Jurisdiction or Circuit Type | Jurisdiction or Circuit Name | Notification Requirement | Time of First Notification (PDT) | PG&E Remarks
| County | Butte | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Butte | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Butte | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Butte | At De-energization Initiation | 2026-10-23 23:59
| County | Butte | Immediately Before Re-energization | 2026-10-24 12:53
| County | Butte | When Re-energization is Complete | 2026-10-24 16:18
| County | Lake | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Lake | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Lake | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Lake | At De-energization Initiation | 2026-10-23 19:32 | As explained in Table 6D: these agency entities received a delayed Power Off notification because their de-energization was initiated by a non-PG&E party and PG&E was not informed of de-energization in time to send timely Power Off notifications. The delayed notification timestamp is reported here.
| County | Lake | Immediately Before Re-energization | 2026-10-24 12:27
| County | Lake | When Re-energization is Complete | 2026-10-24 16:39
| County | Napa | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Napa | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Napa | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Napa | At De-energization Initiation | 2026-10-23 19:38
| County | Napa | Immediately Before Re-energization | 2026-10-24 12:02
| County | Napa | When Re-energization is Complete | 2026-10-24 14:08
| County | Shasta | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Shasta | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Shasta | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Shasta | Cancellation Notification | 2026-10-24 08:26
| County | Solano | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Solano | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Solano | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Solano | At De-energization Initiation | 2026-10-23 20:06
| County | Solano | Immediately Before Re-energization | 2026-10-24 12:02
| County | Solano | When Re-energization is Complete | 2026-10-24 13:19
| County | Sonoma | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Sonoma | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Sonoma | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Sonoma | At De-energization Initiation | 2026-10-23 19:32 | As explained in Table 6D: these agency entities received a delayed Power Off notification because their de-energization was initiated by a non-PG&E party and PG&E was not informed of de-energization in time to send timely Power Off notifications. The delayed notification timestamp is reported here.
| County | Sonoma | Immediately Before Re-energization | 2026-10-24 12:27
| County | Sonoma | When Re-energization is Complete | 2026-10-24 16:39
| County | Yolo | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| County | Yolo | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| County | Yolo | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| County | Yolo | At De-energization Initiation | 2026-10-23 19:59
| County | Yolo | Immediately Before Re-energization | 2026-10-24 10:12
| County | Yolo | When Re-energization is Complete | 2026-10-24 11:02
| Tribe | Pit River Tribes | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| Tribe | Pit River Tribes | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| Tribe | Pit River Tribes | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| Tribe | Pit River Tribes | Cancellation Notification | 2026-10-24 08:26
| CCA | Napa County, MCE Clean Energy | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| CCA | Napa County, MCE Clean Energy | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| CCA | Napa County, MCE Clean Energy | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| CCA | Napa County, MCE Clean Energy | At De-energization Initiation | 2026-10-23 19:38
| CCA | Napa County, MCE Clean Energy | Immediately Before Re-energization | 2026-10-24 12:02
| CCA | Napa County, MCE Clean Energy | When Re-energization is Complete | 2026-10-24 14:08
| CCA | Solano County, MCE Clean Energy | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| CCA | Solano County, MCE Clean Energy | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| CCA | Solano County, MCE Clean Energy | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| CCA | Solano County, MCE Clean Energy | At De-energization Initiation | 2026-10-23 20:06
| CCA | Solano County, MCE Clean Energy | Immediately Before Re-energization | 2026-10-24 12:02
| CCA | Solano County, MCE Clean Energy | When Re-energization is Complete | 2026-10-24 13:19
| CCA | Sonoma County, Sonoma Clean Power | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| CCA | Sonoma County, Sonoma Clean Power | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| CCA | Sonoma County, Sonoma Clean Power | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| CCA | Sonoma County, Sonoma Clean Power | At De-energization Initiation | 2026-10-23 19:32 | As explained in Table 6D: these agency entities received a delayed Power Off notification because their de-energization was initiated by a non-PG&E party and PG&E was not informed of de-energization in time to send timely Power Off notifications. The delayed notification timestamp is reported here.
| CCA | Sonoma County, Sonoma Clean Power | Immediately Before Re-energization | 2026-10-24 12:27
| CCA | Sonoma County, Sonoma Clean Power | When Re-energization is Complete | 2026-10-24 16:39
| CCA | Yolo County, Valley Clean Energy | 48-72 Hour Advance Notification (Priority) | 2026-10-21 16:51
| CCA | Yolo County, Valley Clean Energy | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:44
| CCA | Yolo County, Valley Clean Energy | 1-4 Hour Imminent Notification | 2026-10-23 15:45
| CCA | Yolo County, Valley Clean Energy | At De-energization Initiation | 2026-10-23 19:59
| CCA | Yolo County, Valley Clean Energy | Immediately Before Re-energization | 2026-10-24 10:12
| CCA | Yolo County, Valley Clean Energy | When Re-energization is Complete | 2026-10-24 11:02
| Distribution Circuit | BIG BEND 1101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | BIG BEND 1101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | BIG BEND 1101 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | BIG BEND 1101 | At De-energization Initiation | 2026-10-23 23:59
| Distribution Circuit | BIG BEND 1101 | Immediately Before Re-energization | 2026-10-24 12:53
| Distribution Circuit | BIG BEND 1101 | When Re-energization is Complete | 2026-10-24 15:47
| Distribution Circuit | CALISTOGA 1101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | CALISTOGA 1101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | CALISTOGA 1101 | 1-4 Hour Imminent Notification | 2026-10-23 18:41
| Distribution Circuit | CALISTOGA 1101 | At De-energization Initiation | 2026-10-23 19:38
| Distribution Circuit | CALISTOGA 1101 | Immediately Before Re-energization | 2026-10-24 12:53
| Distribution Circuit | CALISTOGA 1101 | When Re-energization is Complete | 2026-10-24 14:08
| Distribution Circuit | CALPINE 1144 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | CALPINE 1144 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | CALPINE 1144 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | CALPINE 1144 | At De-energization Initiation | 2026-10-23 19:35 | As explained in Table 6D: these customers received a delayed Power Off notification because their de-energization was initiated by a non-PG&E party and PG&E was not informed of de-energization in time to send timely Power Off notifications. The delayed notification timestamp is reported here.
| Distribution Circuit | CALPINE 1144 | Immediately Before Re-energization | 2026-10-24 12:27
| Distribution Circuit | CALPINE 1144 | When Re-energization is Complete | 2026-10-24 16:39
| Distribution Circuit | CALPINE 1146 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | CALPINE 1146 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | CALPINE 1146 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | CALPINE 1146 | At De-energization Initiation | 2026-10-23 19:35 | As explained in Table 6D: these customers received a delayed Power Off notification because their de-energization was initiated by a non-PG&E party and PG&E was not informed of de-energization in time to send timely Power Off notifications. The delayed notification timestamp is reported here.
| Distribution Circuit | CALPINE 1146 | Immediately Before Re-energization | 2026-10-24 12:27
| Distribution Circuit | CALPINE 1146 | When Re-energization is Complete | 2026-10-24 16:39
| Distribution Circuit | CEDAR CREEK 1101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | CEDAR CREEK 1101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | CEDAR CREEK 1101 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | CEDAR CREEK 1101 | Cancellation Notification | 2026-10-24 08:36
| Distribution Circuit | CRESTA 1101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | CRESTA 1101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | CRESTA 1101 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | CRESTA 1101 | At De-energization Initiation | 2026-10-24 00:12
| Distribution Circuit | CRESTA 1101 | Immediately Before Re-energization | 2026-10-24 12:53
| Distribution Circuit | CRESTA 1101 | When Re-energization is Complete | 2026-10-24 16:14
| Distribution Circuit | MADISON 2101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | MADISON 2101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | MADISON 2101 | 1-4 Hour Imminent Notification | 2026-10-23 17:36
| Distribution Circuit | MADISON 2101 | At De-energization Initiation | 2026-10-23 19:59
| Distribution Circuit | MADISON 2101 | Immediately Before Re-energization | 2026-10-24 10:20
| Distribution Circuit | MADISON 2101 | When Re-energization is Complete | 2026-10-24 11:02
| Distribution Circuit | MONTICELLO 1101 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | MONTICELLO 1101 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | MONTICELLO 1101 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | MONTICELLO 1101 | Cancellation Notification | 2026-10-24 08:36
| Distribution Circuit | VACAVILLE 1108 | 48-72 Hour Advance Notification (Priority) | 2026-10-21 17:02
| Distribution Circuit | VACAVILLE 1108 | 24-48 Hour Advance Notification (Watch) | 2026-10-22 14:53
| Distribution Circuit | VACAVILLE 1108 | 1-4 Hour Imminent Notification | 2026-10-23 15:55
| Distribution Circuit | VACAVILLE 1108 | At De-energization Initiation | 2026-10-23 20:06
| Distribution Circuit | VACAVILLE 1108 | Immediately Before Re-energization | 2026-10-24 12:08
| Distribution Circuit | VACAVILLE 1108 | When Re-energization is Complete | 2026-10-24 12:52

## Table 5
#VALUE!
Table 5: Positive Notification
| Designation | Total Number of Customers | Number of Notification Attempts Made1 | Timing of Attempts | Who Made the Notification Attempt | Successful Positive Notification
| MBL in scope2 | 56 | 56 | Daily | PG&E | 56
| SIV | 27 | 27 | Daily | PG&E | 26
1 Count of “Notification Attempts Made” includes doorbell rings and Live Agent phone calls.
2 Residential tenants of master-metered customers can also qualify for MBL quantities. The MBL category for the purposes of Table 5 includes MBL customers who are master meter tenants.

## Table 6
#VALUE!
Table 6: Breakdown of Notification Failure
| Notifications Sent to | Notification Failure Description | Number of Entities or Customer Account | Explanation of Failure
| Public Safety Partners excluding CFI 1 | Entities who did not receive 48-to 72-hour priority notification | 0 | No failures.
|  | Entities who did not receive 24-48 hour advance notification | 0 | No failures.
|  | Entities who did not receive 1-4-hour imminent notification | 0 | No failures.
|  | Entities who did not receive any notifications before de-energization | 0 | No failures.
|  | Entities who were not notified at de-energization initiation | 18* | See Table 6D for explanations.
|  | Entities who were not notified immediately before re-energization | 0 | No failures.
|  | Entities who were not notified when re-energization is complete | 0 | No failures.
|  | Entities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
| CFI 2 | Facilities who did not receive 48-72-hour priority notification | 0 | No failures.
|  | Facilities who did not receive 24-48 hour advance notification | 0 | No failures.
|  | Facilities who did not receive 1-4-hour imminent notification | 0 | No failures.
|  | Facilities who did not receive any notifications before de-energization | 0 | No failures.
|  | Facilities who were not notified at de-energization initiation | 3* | See Table 6D for explanations.
|  | Facilities who were not notified immediately before re-energization | 0 | No failures.
|  | Facilities who were not notified when re-energization is complete | 0 | No failures.
|  | Facilities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
| All other affected customers | Customers who did not receive 24-48-hour advance notifications | 3* | See Table 6A for explanations.
|  | Customers who did not receive 1-4-hour imminent notifications | 3* | See Table 6B for explanations.
|  | Customers who did not receive any notifications before de-energization | 1* ** | See Table 6C for explanations.
|  | Customers who were not notified at de-energization initiation | 5* | See Table 6D for explanations.
|  | Customers who were not notified immediately before re-energization | 2* | See Table 6E for explanations.
|  | Customers who were not notified when re-energization is complete | 2* | See Table 6F for explanations.
|  | Customers who did not receive cancellation notification within two hours of the decision to cancel | 0 | No failures.
1 Only includes tribes, cities, counties, and CCAs.
2 Includes Public Safety Partners who are CFI customers.
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06-034.)
**This category is duplicative with other notification failure categories in this report, meaning all customers reported in this category are already included in the count of notification failures PG&E reported for the more specific notification categories. As a result, the count from this category should not be included in the sum of total notification failures for this PSPS.

## Table 6A
#VALUE!
Table 6A: Explanation of Failures for All Other Affected Customers Who Did Not Receive 24-to 48-Hour Watch Notification
| Total Customers | Explanation
| 3 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 6B
#VALUE!
Table 6B: Explanation of Failures for All Other Affected Customers Who Did Not Receive 1-4 Hour Imminent Notifications
| Total Customers | Explanation
| 3 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 6C
#VALUE!
Table 6C: Explanation of Failures for Agency Entities, CFI, and All Other Affected Customers Who Did Not Receive Power Off Notification
| Total Customers | Explanation
| 1 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 6D
#VALUE!
Table 6D: Explanation of Failures for Agency Entities, CFI, and All Other Affected Customers Who Did Not Receive Power Off Notification
| Total (Agency Entities) | Total CFI | Total (Non-CFI Customers) | Explanation
| 18 | 3 | 3 | These agency entities and customers received a late Power Off notification because their de-energization was initiated by a third party, and PG&E was not informed of de-energization in time to meet Power Off notifications requirements.* We are only able to manually report their de-energization in PG&E’s internal outage management system to trigger Power Off notifications after PG&E is informed by the non-PG&E party. As a result, the Power Off notification was sent approximately 2.4 hours after de-energization initiation.
| 0 | 0 | 2 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 6E
#VALUE!
Table 6E: Explanation of Failures for All Other Affected Customers Not Notified Immediately Before Re-energization.
| Total Customers | Explanation
| 2 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 6F
#VALUE!
Table 6E: Explanation of Failures for All Other Affected Customers Who Did Not Receive Restore Notification.
| Total Customers | Explanation
| 2 | These customers did not receive notifications during this PSPS as no valid contact information for the main customer of record was provided to PG&E.*
*PG&E does not consider these to be notification failures as we operated within the discretionary parameters prescribed in the CPUC’s PSPS guidelines for utilities. (See D.19-05-042, D.21-06 034.)

## Table 7
#VALUE!
Table 7: PSPS Data Portal Map Sharing (Date and Time)
| Date | Time PDF and GIS Maps Shared (PDT)
| 2026-10-21 | 17:19
| 2026-10-22 | 12:33
| 2026-10-24 | 8:25

## Table 8
#VALUE!
Table 8: Notifications Submitted to Cal OES (Date and Time)
| Date | Time Submitted (PDT)
| 2026-10-21 | 16:26
| 2026-10-22 | 6:36
| 2026-10-22 | 14:58
| 2026-10-23 | 6:19
| 2026-10-23 | 14:33
| 2026-10-23 | 19:29
| 2026-10-23 | 20:16
| 2026-10-24 | 0:04
| 2026-10-24 | 7:52
| 2026-10-24 | 8:30
| 2026-10-24 | 14:58
| 2026-10-24 | 16:58

## Table 9
#VALUE!
Table 9: Notifications Submitted to CPUC (Date and Time)
| Date | Time Submitted (PDT)
| 2026-10-21 | 16:09
| 2026-10-23 | 15:05
| 2026-10-23 | 16:50
| 2026-10-23 | 19:44
| 2026-10-24 | 7:57
| 2026-10-24 | 9:41
| 2026-10-24 | 16:35

## Table 10
#VALUE!
Table 10: AFN Customer Programs and Support
| Resource/Program | Resources Provided
| Disability Disaster Access and Resource Program (DDAR) | Partnered with three local ILCs across seven counties to provide aid to 130 customers who rely on power for medical or independent living needs, including: • 1 generator fuel voucher • 6 batteries previously distributed in impacted counties Although we partner with DDAR to provide hotel accommodations, food vouchers, generator fuel vouchers and accessible transportation, we did not receive any requests for these services during this PSPS.
| PBP | Supported 21 customers in scope by providing batteries through the PBP. Since July 2020, over 30,641 battery units have been delivered through the PBP across our service area.
| Food Bank Partnerships | Partnered with seven local food banks that serve six counties to provide boxes of food for families.
| Meals on Wheels Partnerships | Partnered with 10 Meals on Wheels Organizations in six counties to provide services to customers in scope for the de-energization.
| CA 211 Providers Network | Partnered with seven CA 211 network centers across seven counties to assist 59 customers with resources. The direct assistance resources provided during this activation included: • 22 food vouchers • 6 hotel accommodations • 3 generator fuel vouchers Although PG&E partners with CA 211 to provide water bladders and accessible transportation,we did not receive any requests for these services during this PSPS.
| Accessible Transportation Partnerships | Partnered with two organizations across three counties in preparation for the possibility of any transportation needs.1 However, we did not receive any transportation requests for this PSPS. Any area that was not in scope for our accessible transportation partners is deferred as AFN transportation requests to our DDAR and CA 211 Network Providers, who also provide transportation assistance.
| Ad-Hoc AFN Backup Generation Solutions | We granted temporary generation exceptions to one AFN customers experiencing critical circumstances. This included transportation limitations and medical device requirements that CBO resources were unable to resolve during this PSPS. After exploring all viable options, PG&E delivered backup generation to these individuals who rely on power for their health and safety. These specific situations do not meet our typical temporary generation process and procedures standards. However, given the unique circumstances, we went beyond our usual practices to ensure safety for our customers.
1 PG&E partnered with Dignity Health Connected Living and Vivalon during this PSPS.

## Table 11
#VALUE!
Table 11: Generators Available for CFI Customers
| Number of Units | Individual Size (MW) | Run Time (Hrs.)1 | Description
| 2 | 0.032 | 37.6 | Two units on reserve in Sacramento.
| 1 | 0.036 | 37.6 | One unit on reserve in Sacramento.
| 1 | 0.056 | 50 | One unit on reserve in Sacramento.
| 3 | 0.065 | 31 | Three units on reserve in San Leandro.
| 6 | 0.1 | 25.3 | Six units on reserve in Sacramento
| 1 | 0.125 | 25 | One unit on reserve in San Leandro
| 3 | 0.15 | 30.3 | Three units on reserve in Sacramento
| 4 | 0.2 | 22.9 | Four units on reserve in San Leandro
| 1 | 0.23 | 22.9 | One unit on reserve in San Leandro
| 1 | 0.275 | 26 | One unit on reserve in Sacramento
| 3 | 0.5 | 24.1 | Three units on reserve in Sacramento
| 7 | 1 | 35 | Seven units on reserve in Sacramento
| 10 | 1.14 | 24 | Ten units on reserve in San Leandro
| 5 | 1.5 | 10 | Five units on reserve in Benecia
| 12 | 2 | 27.7 | Nine units on reserve in San Leandro; three units on reserve in Sacramento
1 Estimated based on a 75% load. Barring mechanical failure and refueling the temporary generators have the ability to operate continuously throughout a typical PSPS.

## Table 12
#VALUE!
Table 12: Number and Nature of Complaints
| Nature of Complaints | Number of Complaints
| Communications/Notifications Including, but not limited to complaints regarding lack of notice, excessive notices, confusing notice, false alarm notice, problems with getting up-to-date information, inaccurate information provided, not being able to access information in the prevalent languages and/or information accessibility, complaints about website, Public Safety Partner Portal, Representational State Transfer (REST)/Digital Asset Manager (DAM) sites (as applicable). | 5
| PSPS Frequency/Duration Including, but not limited to complaints regarding the frequency and/or duration of PSPS, including delays in restoring power, scope of PSPS and dynamic of weather conditions. | 6
| Safety/Health Concern Including, but not limited to complaints regarding difficulties experienced by AFN/MBL populations, traffic accidents due to non-operating traffic lights, inability to get medical help, well water or access to clean water, inability to keep property cool/warm during outage raising health concern. | 2
| General PSPS Dissatisfaction/Other Including, but not limited to complaints about being without power during PSPS and related hardships such as food loss, income loss, inability to work/attend school, plus any PSPS-related complaints that do not fall into any other category. | 11
| Outreach/Assistance Including, but not limited to complaints regarding CRCs, community crew vehicles, backup power, hotel vouchers, and other assistance provided by utility to mitigate impact of PSPS. | 1

## Table 13
#VALUE!
Table 13: Circuits Requiring More than 24 Hours to Restore
| Circuit Name | Reason the Utility was Unable to Restore the Circuit Within 24 Hours
| None | None

## Table 14
#VALUE!
Table 14: Lessons Learned
| Issue | Discussion | Resolution
| None | None | None

## Table 15
#VALUE!
Table 15: Maximum Wind Gusts Recorded During October 23 – 24, 2026
| County | Maximum Wind Gust (mph) | Station Name
| Sonoma | 63 | Mt. St. Helena West
| Lake | 62 | Santa Fe Geothermal
| Butte | 55 | Jarbo Gap
| Yolo | 44 | Bald Mountain Tower
| Shasta | 40 | Terry Mill Road
| Solano | 41 | Blue Ridge Road South
| Napa | 34 | Mt. Hood

## Appendix A-1.1
#VALUE!
Appendix A-1.1 - Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 23-24, 2026 PSPS
| Circuit Name | Time Place | De-energization Date/ Time | Restoration Date/ Time | Threshold | [9 empty] | Forecast | [9 empty] | Observed | [9 empty] | Qualitative Factors
[5 empty] | WS MPH | Flame Length ft 8hr | Rate of Spread Chhr 8hr | RH % | Prob Cat | DFM 10hr | DFM 100 hr | CFPD | NVDI | Benefit to Risk Ratio | WS MPH | Flame Length ft 8hr | Rate of Spread Chhr 8hr | RH % | Prob Cat | DFM 10hr | DFM 100 hr | CFPD | NVDI | Benefit to Risk Ratio | WS MPH | Flame Length ft 8hr | Rate of Spread Chhr 8hr | RH % | Prob Cat | DFM 10hr | DFM 100 hr | CFPD | NVDI | Benefit to Risk Ratio | GACC (Yes/ No) | Open PSPS Tags (Yes/ No) | Tx Impacts (Yes/ No)
| BIG BEND 1101 | TP 02 | 2026-10-23 23:46 | 2026-10-24 15:38 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 20 | 8.6 | 47.3 | 10.3 | 0.456 | 0.065 | 0.103 | 8.0767 | 0.237 | 89.7057 | 37 | No observed values available | No observed values available | 27 | 0.3 | 0.08 | No observed values available | 4.55 | 0.13 | No observed values available | No | Yes | No
| CALISTOGA 1101 | TP 04 | 2026-10-23 18:59 | 2026-10-24 14:00 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 18 | 10.7 | 56 | 11.1 | 0.292 | 0.072 | 0.117 | 2.3981 | 0.26 | 1325.4998 | 58 | No observed values available | No observed values available | 20 | 0.28 | No observed values available | No observed values available | 3.12 | 0.2 | No observed values available | Yes | Yes | No
| CALPINE 1144 | TP 03 | 2026-10-23 17:13 | 2026-10-24 16:03 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 22 | 10.6 | 69.8 | 9.6 | 0.357 | 0.07 | 0.103 | 1.2727 | 0.247 | 1546.3772 | 51 | No observed values available | No observed values available | 20 | 0.3 | 0.08 | No observed values available | 5.72 | 0.08 | No observed values available | Yes | Yes | No
| CALPINE 1146 | TP 03 | 2026-10-23 17:13 | 2026-10-24 16:03 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 20 | 10.9 | 51.2 | 10.4 | 0.372 | 0.071 | 0.114 | 0.94708 | 0.253 | 6419.0753 | 51 | No observed values available | No observed values available | 20 | 0.29 | 0.08 | No observed values available | 1.2 | 0.08 | No observed values available | Yes | Yes | No
| CRESTA 1101 | TP 02 | 2026-10-23 23:49 | 2026-10-24 16:08 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 18 | 6.7 | 39 | 12.3 | 0.339 | 0.069 | 0.111 | 3.9585 | 0.241 | 111.5804 | 37 | No observed values available | No observed values available | 33 | 0.24 | 0.08 | No observed values available | 2.17 | 0.12 | No observed values available | No | Yes | No
| MADISON 2101 | TP 05 | 2026-10-23 19:48 | 2026-10-24 10:52 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 19 | 8.9 | 91.9 | 9.8 | 0.369 | 0.071 | 0.107 | 0.88326 | 0.202 | 7551.3952 | 28 | No observed values available | No observed values available | 25 | 0.23 | 0.07 | No observed values available | 0.46 | 0.02 | No observed values available | No | Yes | No
| VACAVILLE 1108 | TP 07 | 2026-10-23 19:56 | 2026-10-24 13:07 | 19 | 10 | 30 | 30 | 0.2 | 0.09 | 0.12 | 10 | 0.36 | 1 | 21 | 6.5 | 39.3 | 10.9 | 0.258 | 0.067 | 0.105 | 0.61444 | 0.226 | 828.8868 | 29 | No observed values available | No observed values available | 25 | 0.19 | No observed values available | No observed values available | 0.52 | 0.1 | No observed values available | No | Yes | No

## Appendix B
#VALUE!
Appendix B - Circuits De-Energized During the October 23, 2026 PSPS
Circuits labeled as “non-HFTD” are located outside of the CPUC High Fire-Threat District (HFTD). We use a High Fire Risk Area (HFRA) classification which PG&E utilizes in addition to HFTD to determine PSPS scope – these circuits intersected PG&E's HFRA despite not entering HFTD Tier 2 or Tier 3. Circuits with an asterisk (*) were sectionalized during the PSPS to further reduce customer impact. The de-energization date and time represents the time the first customer was de-energized on the circuit and the restoration time represents the date and time of the last customer restored on a circuit by circuit.
| Distribution / Transmission | Circuit Name | De-Energization Date and Time (PDT) | All-Clear Date and Time (PDT) | Restoration Date and Time (PDT) | Key Counties | HFTD Tier(s) | Total Customers | Residential Customers | Commercial / Industrial Customers | MBL Program Customers | AFN other than MBL Program Customers | Other Customers
| Distribution | BIG BEND 1101 | 2026-10-23 23:46 | 2026-10-24 12:34 | 2026-10-24 15:38 | Butte | Tier 2, Tier 3 | 278 | 253 | 23 | 26 | 99 | 2
| Distribution | CALISTOGA 1101* | 2026-10-23 18:59 | 2026-10-24 12:34 | 2026-10-24 14:00 | Sonoma, Napa, Lake | Tier 3 | 9 | 0 | 8 | 0 | 0 | 1
| Distribution | CALPINE 1144 | 2026-10-23 17:13 | 2026-10-24 10:34 | 2026-10-24 16:03 | Sonoma, Lake | Tier 2, Tier 3 | 5 | 2 | 3 | 0 | 0 | 0
| Distribution | CALPINE 1146 | 2026-10-23 17:13 | 2026-10-24 10:34 | 2026-10-24 16:03 | Lake | Tier 3 | 1 | 0 | 1 | 0 | 0 | 0
| Distribution | CRESTA 1101 | 2026-10-23 23:49 | 2026-10-24 12:34 | 2026-10-24 16:08 | Butte | Tier 2, Tier 3 | 6 | 1 | 3 | 0 | 0 | 2
| Distribution | MADISON 2101* | 2026-10-23 19:48 | 2026-10-24 09:37 | 2026-10-24 10:52 | Yolo | Tier 2 | 9 | 0 | 9 | 0 | 0 | 0
| Distribution | VACAVILLE 1108* | 2026-10-23 19:56 | 2026-10-24 10:35 | 2026-10-24 13:07 | Solano, Napa | Partially Outside HFTD, Tier 2 | 56 | 27 | 24 | 4 | 4 | 5
| Total | [6 empty] | 364 | 283 | 71 | 30 | 103 | 10

## Appendix C
#VALUE!
Appendix C - Public Safety Partners Contacted
| Jurisdiction | Agency/Organization | HFTD or HFRA Tier1 | Date/Time Contacted (PDT)
| Butte County | Butte County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | Butte County, County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | CAL FIRE | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | CAL FIRE Butte Unit | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | CAL FIRE, CAL FIRE/Biggs & Gridley Fire Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | CAL FIRE/Butte County Fire Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | CAL FIRE/Oroville Fire Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | County General Services | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | County Public Health | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | County Public Works | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | DESS | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | Emergency Management, Office of Emergency Management (OEM) | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | Office of Emergency Management (OEM) | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Butte County | Sheriff's Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | Board of Supervisors, County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | CAL FIRE | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | City Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | City of Lakeport | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | Fire Department, Lake County Fire Protection District | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | OES | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | Sheriff's Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | US Forest Service Fire | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Lake County | USDA, US Forest Service Fire | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | CAL FIRE | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | County Administration | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | EMS, Napa County | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | EOC | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | MHOAC | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | Napa Co Fire Dept/Cal Fire | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | Napa County Assessor-Recorder-County Clerk Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | Napa County Sheriff's Office | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | OES | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County | Sheriff's Department | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Napa County CCA | MCE Clean Energy | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Burney Fire; Burney Fire District | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | CAL FIRE | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | City of Shasta Lake Station, Shasta County Sheriff's Office | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | EMS; Sierra-Sacramento Valley EMS Agency | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Pit River Tribes | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | SHASCOM | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Shasta County Sheriff's Office | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Sheriff's Office | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Sheriff's Office OES | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County | Sierra-Sacramento Valley EMS Agency | Tier 2, Tier 3 | 10/21/2026 16:51 PDT
| Shasta County Tribal | Pit River Tribes | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | Benicia Fire Department | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | CHP Golden Gate Division Dispatch | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | County Administration, Solano County Board of Supervisors | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | County Administration, Solano County Board of Supervisors | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | County Administration, Solano County, California | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | EMS | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | OES | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | Sheriff's Department | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | Sheriff's Office | Tier 2 | 10/21/2026 16:51 PDT
| Solano County | Solano County, California; County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Solano County CCA | MCE Clean Energy | Tier 2 | 10/21/2026 16:51 PDT
| Sonoma County | CAL FIRE, Fire Department | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | County Administration | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | County Administration | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | County Administration, County of Sonoma | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | County of Sonoma, Emergency Management | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Department Emergency Management; OES | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Department of Health Services | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | EMS | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Fire Department | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | North Sonoma Coast Fire Protection District | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | OES | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | REDCOM Fire Dispatch | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Sheriff's Department | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Sheriff's Dept | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Sheriff's Office | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County | Sonoma County Department of Emergency Management | Tier 3 | 10/21/2026 16:51 PDT
| Sonoma County CCA | Sonoma Clean Power | Tier 3 | 10/21/2026 16:51 PDT
| Yolo County | County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | County Administration, Yolo County | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | County Administration, Yolo County Board of Supervisors | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | County Administration, Yolo County, California | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | County Adminsistrator's Office | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | Fire Department | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | OES | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | OES, Yolo County | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | Sheriff's Department | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | Sheriff's Office | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | Valley Clean Energy | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County | Yolo County Board of Supervisors; County Administration | Tier 2 | 10/21/2026 16:51 PDT
| Yolo County CCA | Valley Clean Energy | Tier 2 | 10/21/2026 16:51 PDT
1 Catastrophic Fire Behavior runs both in and outside of High Fire Risk Areas (HFRA). The PG&E Meteorology Team evaluates non-HFRA areas for catastrophic wildfire risk in unusual circumstances.

## Appendix D
#VALUE!
Appendix D - Community Resource Centers Provided by PG&E
| # | County | Site Name | Address | Operating Hours (PDT) |  | Total Visitors | Indoor / Outdoor | Amenities Provided | Communities, Time Places, or Potential Circuits Supported
[5 empty] | Day 1 (10/23/26) | Day 2 (10/24/26)
| 1 | Butte | Concow Elementary School | 11679 Nelson Bar Rd, Concow CA 95965 | 18:00 - 22:00 | 8:00 - 18:00 | 44 | Outdoor | Wi-Fi, ADA Restrrom, Bottled Water, Device Charging, Snacks, Seating | TP 2

## Appendix E
#VALUE!
Appendix E - DEFINITIONS
| Term | Unit/Value | Definition
| Access and Functional Needs (AFN) Populations | None | Includes individuals who have developmental or intellectual disabilities, physical disabilities, chronic conditions, injuries, limited English proficiency or who are non-English speaking, older adults, children, people living in institutionalized settings, or those who are low income, homeless, or transportation disadvantaged, including, but not limited to, those who are dependent on public transit or those who are pregnant.
| AFN Characteristics | None | Includes blind/low vision, deaf/hard of hearing, senior, non-English speaking, durable medical equipment, assistive technology, low income, or life support. In accordance with D.21-06-034, PG&E includes customers who have voluntarily indicated they are “dependent on electricity for durable medical equipment or assistive technology” in an effort to identify customers “above and beyond those in the medical baseline population” or self-identified vulnerable population to include persons reliant on electricity to maintain necessary life functions including for durable medical equipment and assistive technology. This includes Assistive Technology, Blind, Disabled, Durable Medical Equipment, Hearing Disability–Deaf or Hard of Hearing, Senior or Vision Disability-Low Vision.
| Benefit to Risk Ratio | Fraction – Max (Threshold, Forecast Factor) | Adverse impact to customers due to a catastrophic fire prevented by PSPS de-energization divided by adverse impact to customers due to PSPS de-energization. No observed value is available for this factor.
| California Alternate Rates for Energy (CARE) | None | A state mandated program. As determined by PU Code Section 739.1(a), annual household must be no greater than 200% of the federal poverty guideline levels.
| Catastrophic Fire Probability Distribution (CFPD) | Scaled Probability – Max (Threshold, Forecast, Observed Factor) | The probability of fire ignitions due to weather impacting the Distribution electric system combined with the probability that a fire will be catastrophic if it starts. In Appendix A-1.1, this is the product of catastrophic fire (Prob Cat) and Ignition Probability Weather (IPW) minus probability of ignition (Prob Ignition). Scaled by 1000 to convert to an integer value.
| Catastrophic Fire Probability Transmission (CFPT) | Scaled Probability – Max (Threshold, Forecast and Observed Factor) | In Appendix A-2.1, this is the product of probability of catastrophic fire (Prob Cat) and Operability Assessment Probability of Failure. This product is called the (CFPT) Catastrophic Fire Probability Transmission model. Scaled by 1000 to convert to an integer value.
| Critical Facilities and Infrastructure (CFI) | None | “Critical Facilities” and “Critical Infrastructure” refer to facilities and infrastructure that are essential to public safety and require additional assistance and advance planning to ensure resiliency during de-energization. The CPUC adopted the following interim list of CFI, as aligned with Department of Homeland Security’s Critical Infrastructure Sectors: • Emergency Services Sector: Police Stations, Fire Stations, Emergency Operations Centers • Government Facilities Sector: Schools, Jails and Prisons • Healthcare and Public Health Sector: Public Health Departments, Medical facilities, including hospitals, skilled nursing facilities, nursing homes, blood banks, health care facilities, dialysis centers and hospice facilities • Energy Sector: Public and private utility facilities vital to maintaining or restoring normal service, including, but not limited to, interconnected publicly owned utilities and electric cooperatives • Water and Wastewater Systems Sector: Facilities associated with the provision of drinking water or processing of wastewater including facilities used to pump, divert, transport, store, treat and deliver water or wastewater • Communications Sector: Communication carrier infrastructure including selective routers, central offices, head ends, cellular switches, remote terminals and cellular sites • Chemical Sector: Facilities associated with the provision of manufacturing, maintaining, or distributing hazardous materials and chemicals • Note: Some customers meet the criteria of being both a Public Safety Partner & Critical Facility, which include Emergency services sector, water and wastewater providers, communication service providers and emergency hospitals.
| Customer or Customer Accounts | None | Active service points or meter.
| Dead Fuel Moisture Content (DFM) 10hr | Fuel Moisture Fraction – Min (Threshold, Forecast, Observed Factor) | The amount of moisture in dead vegetation (i.e. fallen leaves, tree branches, and logs). In Appendix A-1.1, “DFM 10hr” is Dead Fuel Moisture provided in 10-hour fuel moisture class. Can be scaled to percentage by multiplying by 100.
| Dead Fuel Moisture Content (DFM) 100hr | Fuel Moisture Fraction – Min (Threshold, Forecast Factor) | The amount of moisture in dead vegetation (i.e. fallen leaves, tree branches, and logs). In Appendix A-1.1, “DFM 100hr” is Dead Fuel Moisture provided in 100-hour moisture class. Can be scaled to percentage by multiplying by 100. No observed value is available for this factor.
| Emergency Operations Center (EOC) | None | A central command and control facility responsible for carrying out the principles of emergency preparedness and emergency management, or disaster management functions at a strategic level during an emergency and ensuring the continuity of operation of a company.
| EV charging station levels | None | • Level 1 Charging: 120-Volt; Connectors Used: J1772, NACS/J3400; Charging Speed: 3 to 5 Miles Per Hour • Level 2 Charging: 208-Volt to 240-Volt; Connectors Used: J1772, NACS/J3400; Charging Speed: 12 to 80 Miles Per Hour • Level 3 Charging: 400-Volt to 900-Volt (DC Fast Charge & Supercharging); Connectors Used: Combined Charging System (Combo), CHAdeMO & NACS/J3400; Charging Speed: 3 to 20 Miles Per Minute
| Family Electric Rate Assistance Program (FERA) | None | CPUC established program for households of any size with incomes between 200% and 250% of federal poverty guidelines. (PU Code Section 739.12)
| Fire Index Area (FIA) | None | Boundaries originally designated by the California Department of Forestry and Fire Protection and United States Forest Service for the purpose of establishing a fire-danger rating for that area based on local conditions. There are 109 rating areas in PG&E’s service area.
| Fire Index Rating | None | A rating used by fire agencies to determine the risk of fire and its likely behavior. Its calculation considers fuel moisture, humidity, wind speed, air temperature, and historical fire occurrence. These ratings are as follows: • R1: Very little or no fire danger • R2: Moderate fire danger • R3: When fire danger is so high that care must be taken using fire-starting equipment. Local conditions may limit the use of machinery and equipment to certain hours of the day • R4: Fire danger is critical. The use of equipment and open flames are limited to specific areas and times • R5: Fire danger is so critical that the use of equipment and open flames are not allowed at any time • R5-Plus: Fire danger is at R5 "plus" high risk weather trigger of strong wind
| First/Emergency Responders | None | Individuals who, in the early stages of an incident, are responsible for the protection and preservation of life, property, evidence, and the environment, including emergency response providers. The term “emergency response providers” includes federal, state, and local governmental and nongovernmental public safety, fire, law enforcement, emergency response, emergency medical services providers (including hospital emergency facilities), and related personnel, agencies and authorities.
| Flame Length ft 8hr | Feet – Max (Threshold, Forecast Factor) | Flame length in feet on fire front for first eight hours of fire spread simulation from Technosylva. No observed value is available for this factor.
| Full-Scale Exercise (FSE) | None | A complex, resource-intensive operations-based exercise often involving multiple agencies, jurisdictions/organizations, and real-time movement of resources.
| Functional Exercise (FE) | None | An operations-based exercise designed to test and evaluate capabilities and functions in a realistic, real-time environment. Movement of resources is usually simulated.
| Geographic Area Coordination Center (GACC) | Yes/No During PSPS (Qualitative Factor) | High fire risk issued by the Federal North or South Operations Predictive Services.
| Hazard Awareness and Center (HAWC) | None | The operations center that monitors for wildfires. HAWC leadership communicates and informs other PG&E Business Units and Executive Leadership about threats from wildfires in the service area.
| High Fire Risk Area (HFRA) | None | Area where risk factors for the potential of catastrophic fire from utility infrastructure ignition during offshore wind events is higher than others. HFRA boundaries were developed based on the CPUC’s HFTD boundaries.
| High Fire Threat Districts (HFTDs) | None | Per D.17-01-009, areas of the State designated by the CPUC and California Department of Forestry & Fire Protection (CAL FIRE) to have elevated wildfire risk, indicating where utilities must take additional action (per GO 95, GO 165, and GO 166) to mitigate wildfire risk. The districts have three levels: • Zone 1: High Hazard Zones on the U.S. Forest Service-California Department of Forestry and CAL FIRE joint map of Tree Mortality High Hazard Zones • Tier 2: Elevated risk for utility-associated wildfires • Tier 3: Extreme risk for utility-associated wildfires
| High Impact Critical Customers | None | Non-residential customers that may present a significant community impact in the event they experience a sustained outage but do not meet the CPUC criteria for a Critical Facility Customer.
| High Priority Vegetation Tag | None | “Priority 1” and “Priority 2” vegetation tags are created when trained vegetation inspectors identify trees or limbs that currently present elevated risk and must be worked on an expedited basis. Inspectors use Priority 1 tags for vegetation (i) in contact or showing signs of previous contact with a primary conductor; (ii) actively failing or at immediate risk of failing and which could strike PG&E’s facilities; or (iii) presenting an immediate risk to PG&E’s facilities. Inspectors use Priority 2 tags for vegetation that does not rise to the level of Priority 1 but has encroached within the PG&E minimum clearance requirements or has an identifiable potential safety issue requiring expedited work.
| High Wind Advisory | Yes/No During PSPS (Qualitative Factor) | Advisory of high winds issued by the Federal National Weather Service.
| High Wind Warning (HWW) | Yes/No During PSPS (Qualitative Factor) | Warning of high winds issued by the Federal National Weather Service.
| Life Support | None | Customers that require critical life support equipment in their home.
| Medical Baseline (MBL) Program | None | This program assists residential customers who rely on power for certain medical needs, as certified by a licensed medical practitioner. Eligible customers receive an extra monthly allotment of energy or discount, depending on their current rate plan. The program also includes additional notifications in advance of a PSPS.
| Monitoring Stage | None | The seven days ahead of a weather event when weather patterns are being monitored. Utility provides seven-day proactive de-energization potential rolling forecast or implements an escalating notification system similar to the National Weather Service’s “weather watch” and “weather warning” system on its public website.
| National Oceanic and Atmospheric Administration (NOAA) | Yes/No During PSPS (Qualitative Factor) | Fire weather forecast issued by NOAA (SPC).
| Officer-in-Charge (OIC) | None | A position specific to PSPS to engage higher-level management accountability in the decision to de-energize and restore power while also enabling rapid decision-making during real-time. The OIC approves all PSPS Decision Records and associated documentation following a PSPS.
| Open PSPS Tags | Yes/No During PSPS (Qualitative Factor) | PSPS-Qualified Tags include P1 (tree represents an immediate risk) and P2 (tree is damaged or diseased and could fall into nearby power lines) tree tags and Electric Corrective tags (Priority A - emergency, B - urgent, and E/F - risk-based).
| Page View | None | The number of times a web page was viewed by individual users.
| Patrol Inspection | None | In accordance with GO 165, a visual inspection of applicable utility equipment and structures that is designed to identify obvious structural problems and hazards. Patrol inspections may be carried out during other company business.
| Prob Cat | Probability Outputs – Max (Threshold, Forecast, Observed Factor) | Fire Potential Index (FPI) Model Output minus Probability of a catastrophic fire if an ignition were to occur. FPI component of the CFPD model.
| PSPS Mitigation | None | The efforts taken to avoid de-energization including backup generation, backup storage, distribution microgrid, islanding, patrols, sectionalization, switching, temporary substation microgrid, Transmission switching and vegetation management (expedite priority trees that prevent circuit from being removed from scope).
| Public Safety Partner | None | First/emergency response providers at the federal, state and local levels including, water, wastewater and communication service providers, affected community choice aggregators, publicly owned utilities/electrical cooperatives, the CPUC, the California Governor’s Office of Emergency Services (OES) and the California Department of Forestry and Fire Protection. The term “emergency response providers” includes federal, state, and local governmental and nongovernmental public safety, fire, law enforcement, emergency response, emergency medical services providers (including hospital emergency facilities), and related personnel, agencies and authorities.
| Rate of Spread Chhr 8hr | Chains/Hour – Max (Threshold, Forecast Factor) | Rate of fire spread in chains per hour for first eight hours of fire spread simulation from Technosylva. No observed value is available for this factor.
| Red Flag Warning (RFW) | Yes/No During PSPS (Qualitative Factor) | Red Flag Warning from the Federal National Weather Service.
| Relative Humidity (RH) | Percentage – Min (Threshold, Forecast, Observed Factor) | Relative Humidity in percent at two meters above ground level. For observed values, this is the minimum relative humidity recorded by all weather stations mapped to each circuit from planned de-energization time to anticipated All-Clear time.
| Self-Identified Vulnerable (SIV) | None | Customers who have indicated they are “dependent on electricity for durable medical equipment or assistive technology” as well as customers that are not enrolled or qualify for the MBL Program and “certify that they have a serious illness or condition that could become life threatening if service is disconnected.” In accordance with D.21-06-034, PG&E includes customers who have indicated they are “dependent on electricity for durable medical equipment or assistive technology” in an effort to identify customers “above and beyond those in the medical baseline population” to include persons reliant on electricity to maintain necessary life functions including for durable medical equipment and assistive technology. This designation remains on their account for one year, at which a customer can recertify their SIV Status.
| Site Visit | None | A continuous session that begins when a user arrives on a site and ends after either 30 minutes of inactivity or 12 hours of continuous activity.
| SIV Program | None | A PG&E program inclusive of customers who have indicated they are “dependent on electricity for durable medical equipment or assistive technology” as well as customers that are not enrolled or qualify for the MBL Program and “certify that they have a serious illness or condition that could become life threatening if service is disconnected.” In accordance with D.21-06-034, PG&E includes customers who have indicated they are “dependent on electricity for durable medical equipment or assistive technology” in an effort to identify customers “above and beyond those in the medical baseline population” to include persons reliant on electricity to maintain necessary life functions including for durable medical equipment and assistive technology. This designation remains on their account for one year, at which a customer can recertify their SIV Status.
| Sustained Wind | None | The average observed wind speed value over a two-minute period.
| Tabletop Exercise (TTX) | None | A discussion-based exercise in response to a scenario, intended to generate a dialogue of various issues to facilitate a conceptual understanding, identify strengths and areas for improvement, and/or achieve changes in perceptions about plans, policies, or procedures.
| Time Place (TP) | None | A portion of the PG&E grid that is electrically and geographically coherent and is forecast to experience consistent timing for severe fire weather. TPs are identified for each PSPS and receive consistent treatment for notifications and de-energization. Once actual weather conditions occur, Weather “All-Clear” and service restoration times may vary due to actual weather conditions across various TPs as well as within a TP.
| Transmission (Tx) Impacts | Yes/No During PSPS (Qualitative Factor) | Distribution lines that would have been de-energized due to de-energization of upstream Transmission lines, regardless of whether those Distribution lines would have also been de-energized due to direct Distribution PSPS.
| Vulnerable Populations | None | Individuals who have physical, developmental, intellectual disabilities; chronic conditions or injuries, are limited English proficient or non-English speaking; older adults, children, people living in institutionalized settings, low-income, homeless and/or transportation-disadvantaged (i.e., dependent on public transit) and pregnant women. This term is also used interchangeable with AFN.
| Weather “All-Clear” | None | When severe weather has passed, the OIC gives approval to start patrols and restoration for all impacted areas at once or for specific areas.
| Wind Gust | None | A rapid fluctuation of wind speed with variations of ten knots or more between peaks and lulls, typically, determined by averaging observed values over a three-second period.
| WS MPH | MPH – Max (Threshold, Forecast, Observed Factor) | Sustained windspeed in miles per hour at 10 meters above ground level. The observed values show the maximum sustained wind speed recorded by weather stations mapped to each circuit from planned de-energization time to anticipated All-Clear time.