## Table 1
Table 1: Customers Notified and De-energized
Total Customers |  |  | Medical Baseline (MBL) Customers | Number of Counties | Number of Tribes | Number of Circuits |  |  | Damage / Hazard Count1 | Critical Facilities and Infrastructure De-energized2
Notified | De-energized3 | Cancelled | De-energized4 | De-energized5 | De-energized6 | Transmission De-energized7 | Unique Distribution Circuits in Any Version of Scope | Distribution Circuits De-energized8
916 | N/A | 9159 | N/A | N/A | N/A | N/A | 11 | N/A | N/A | N/A
1PG&E did not de-energize customers, therefore Damages/Hazards Counts are not applicable.
2PG&E did not de-energize customers, therefore Critical Facilities and Infrastructure is not applicable.
3 PG&E did not de-energize customers, therefore total customers de-energized is not applicable.
4 PG&E did not de-energize customers, therefore MBL customers de-energized is not applicable.
5 PG&E did not de-energize customers, therefore number of counties is not applicable.
6 PG&E did not de-energize customers, therefore number of Tribes is not applicable.
7 PG&E did not de-energize customers, therefore transmission lines de-energized is not applicable.
8 PG&E did not de-energize customers, therefore distribution circuits de-energized is not applicable.
9 One PG&E customer ended service during the potential December 15, 2023 PSPS, therefore, this customer did not receive a cancellation notification.

## Table 2
Table 2: Notification Descriptions
Type of Notification | Recipients | Description
PRIORITY NOTIFICATION: 48-72 hours in advance of anticipated de-energization | Public Safety Partners, CBOs1 | Following PG&E’s activation of its EOC, the following was completed: • PG&E’s Meteorology Team noted a potential PSPS and updated the weather forecast on pge.com/weather to “elevated” in certain parts of the service area. • PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC has been activated and that PG&E is monitoring for potential PSPS. • PG&E sent notifications to other Public Safety Partners via call, text and e-mail; these notifications included the following information: o Estimated window of the de-energization time. o When weather is anticipated to pass. o Estimated Time of Restoration (ETOR). o Links to the PSPS Portal where event-specific maps and information are available. • Local PG&E representatives called potentially impacted County OES and select Tribes to inform them that PG&E is monitoring an increased potential of PSPS.
WATCH NOTIFICATION: 24-48 hours in advance of anticipated de-energization | Public Safety Partners, CBOs, All Customers (including MBL program customers and SIV customers)3 | During this time, the following was completed: • PG&E submitted a PSPS Notification Form to Cal OES. • PG&E sent notifications to other Public Safety Partners, and all customers via call, text message and e-mail; these notifications included the following information: o Estimated window of the de-energization time. o When the adverse weather is anticipated to pass. o ETOR. o For Public Safety Partners only: Links to the PSPS Portal. o For Customers only: Potentially impacted addresses, links to PSPS Updates webpage with CRC information, and resources AFN customers, including but not limited to information on the MBL program, language support, and the Portable Battery Program. • PG&E sent notifications to MBL program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirmed receipt of the notification. Customer notifications were provided in English, with information on how to get event information in 15 non-English languages, referred to herein as “translated languages” . Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
WARNING NOTIFICATION: 1-4 hours in advance of anticipated de-energization, if possible | Public Safety Partners, CBOs, and All Customers (including MBL program customers, SIV customers) | During this time, the following was completed: • PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E has made the decision to de-energize. • PG&E sent notifications to other Public Safety Partners, and customers; these notifications included the same key event timing information and resource links as the “Watch Notification.” • PG&E sent notifications to MBL program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirmed receipt of the notification. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
CANCELLATION NOTIFICATION: Within 2-hours of decision to cancel | Public Safety Partners, CBOs, All Customers (including MBL program customers, SIV customers) | When it was determined that de-energization was not needed for safety, the following was completed: • PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC. • PG&E sent notifications to other Public Safety Partners, customers and MBL program customers, including tenants of master metered accounts, and SIV customers; these notifications included confirmation that they would no longer be de-energized, along with PG&E information resource links. Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
1 Other Public Safety Partners refers to first/emergency responders at the local, state, and federal level, water, wastewater, and communication service providers, affected CCAs, publicly-owned utilities/electrical cooperatives, the CPUC, the California Governor’s Office of Emergency Services, and the California Department of Forestry and Fire Protection.
2 Translated languages refers to Spanish, Chinese (Mandarin and Cantonese), Vietnamese, Tagalog, Korean, Russian, Arabic, Punjabi, Farsi, Japanese, Khmer, Hmong, Thai, Hindi, and Portuguese. A language is prevalent if it is spoken by 1,000 or more persons in the utility’s territory or if it’s spoken by five percent or more of the population within a “public safety answering point” in the utility territory (D.20-03-004). Details on the community outreach efforts for PSPS and wildfire-related outreach including efforts to reach all languages prevalent in PG&E’s service area can be found in PG&E’s Notification Plan, include in our 2023 PSPS Pre-Season Report.

## Table 3
Table 3: Customer Notification Timeline Summary
Event Order | Minimum Timeline1 | Notification Sent to: | Approximate Time Sent (PDT) | Message | Notes | Who made the Notification
Prior to De-energization | 72-48 hours | Tribal/Local Governments and CCAs* | 2023-12-13 08:42 | Priority |  | PG&E
|  | Public Safety Partners** | 2023-12-13 08:00 | Priority |  | PG&E
|  | Public Safety Partners** | 2023-12-13 09:30 | Priority | Shared Customers | SCE
| 48-24 hours | Tribal/Local Governments and CCAs* | 2023-12-13 14:51 | Watch |  | PG&E
|  | Public Safety Partners** | 2023-12-13 15:00 | Watch |  | PG&E
|  | Public Safety Partners** | 2023-12-13 15:30 | Watch | Shared Customers | SCE
|  | All Customers*** | 2023-12-13 14:58 | Watch |  | PG&E
|  | All Customers*** | 2023-12-13 15:30 | Watch | Shared Customers | SCE
| 24-12 hours2 | Tribal/Local Governments and CCAs* | 2023-12-14 10:34 | Watch |  | PG&E
|  | Public Safety Partners** | 2023-12-14 10:28 | Watch |  | PG&E
|  | Public Safety Partners** | 2023-12-14 11:00 | Watch | Shared Customers | SCE
|  | All Customers*** | 2023-12-14 11:00 | Watch | Shared Customers | SCE
|  | All Customers*** | 2023-12-14 10:27 | Watch |  | PG&E
| 4-1 hours | Tribal/Local Governments and CCAs* | 2023-12-15 05:50 | Warning |  | PG&E
|  | Public Safety Partners** | 2023-12-15 05:46 | Warning |  | PG&E
|  | Public Safety Partners** | 2023-12-15 07:15 | Warning | Shared Customers | SCE
|  | All Customers*** | 2023-12-15 07:15 | Warning | Shared Customers | SCE
|  | All Customers*** | 2023-12-15 05:44 | Warning |  | PG&E
Cancellation | Cancellation within 2-hours of decision to cancel**** | Tribal/Local Governments and CCAs* | 2023-12-15 17:26 | Cancel | Only Tribal/Local Governments and CCAs removed from scope received the cancel notification | PG&E
|  | Tribal/Local Governments and CCAs* | 2023-12-16 11:02 | Cancel | Only Tribal/Local Governments and CCAs removed from scope received the cancel notification | PG&E
|  | Public Safety Partners** | 2023-12-14 20:04 | Cancel | Only Public Safety Partners removed from scope received the cancel notification | PG&E
|  | Public Safety Partners** | 2023-12-15 17:26 | Cancel | Only Public Safety Partners removed from scope received the cancel notification | PG&E
|  | Public Safety Partners** | 2023-12-16 11:04 | Cancel | Only Public Safety Partners removed from scope received the cancel notification | PG&E
|  | Public Safety Partners** | 2023-12-16 10:30 | Cancel | Only Shared Customer Public Safety Partners removed from scope received the cancel notification | SCE
|  | All Customers*** | 2023-12-14 20:04 | Cancel | Only Customers removed from scope received the cancel notification | PG&E
|  | All Customers*** | 2023-12-15 17:26 | Cancel | Only Customers removed from scope received the cancel notification | PG&E
|  | All Customers*** | 2023-12-16 11:04 | Cancel | Only Customers removed from scope received the cancel notification | PG&E
1 D.19-05-042
2 While not a CPUC requirement, PG&E provides an additional 24-12 hour notification to Tribal/Local Governments, Public Safety Partners and Customers.
*A subset of Public Safety Partners, including Tribes, cities, counties, and CCAs.
**A subset of Public Safety Partners, including water, wastewater, and communication service providers.
***All Customers, including MBL program customers and SIV customers.

## Table 4
Table 4: Notifications to Customers where Positive or Affirmative Notification was Attempted1
Designation | Total Number of customers2 | Notification Attempts Made 3 | Timing of Attempts (PST)4 | Who made the Notification Attempt | Successful Positive Notification 5
MBL6 | 44 | 44Watch Notifications | 2023-12-13 14:58 | PG&E | 39 Watch Notifications
|  | 44 Warning Notifications | 2023-12-14 09:26 |  | 28 Warning Notifications
|  | 88 Overall Notifications | 2023-12-13 14:58 |  | 67 Overall Notifications
MBL behind a master meter7 | 0 | 0 Watch Notifications | N/A | PG&E | 0 Watch Notifications
|  | 0 Warning Notifications | N/A |  | 0 Warning Notifications
|  | 0 Overall Notifications | N/A |  | 0 Overall Notifications
SIV | 7 | 7 Watch Notifications | 2023-12-13 14:58 | PG&E | 6 Watch Notifications
|  | 7 Warning Notifications | 2023-12-14 12:04 |  | 6 Warning Notifications
|  | 14 Overall Notifications | 2023-12-13 14:58 |  | 12 Overall Notifications
1 Counts of “Notification Attempts Made” will not reflect the actual total of customers notified as both MBL and SIV customers can appear in both subset groups.
2 Total number of customers notified where notification was attempted. Count includes customers that may have been removed from scope or received Cancellation Notifications prior to de-energization, but still received Watch and/or Warning notifications.
3 Count of Warning Notifications includes doorbell rings and Live Agent phone calls.
4 Initial start time notification was sent.
5 PG&E considers successful positive notifications as those in which the notification was successfully delivered to the customer (i.e., no bounce back) and the customer acknowledges receipt of the notification.
6 Residential tenants of master-metered customers can also qualify for MBL quantities. The MBL category for the purposes of Table 4 does not include MBL program customers who are master meter tenants. The MBL category for the purposes of Table 6 does not include MBL program customers who are master meter tenants.
7 PG&E has additional processes in place to ensure MBL customers are notified. Master meter tenants are contacted directly to be considered a positive notification. Contacting the property or building manager does not count as a positive notification.

## Table 5
Table 5: Notification Failure Causes
Notifications Sent to: | Notification Failure Description | Number of Entities or Customer Account | Explanation of Failure
Public Safety Partners excluding Critical Facilities and Infrastructure1 | Entities who did not receive 48-to 72-hour priority notification | N/A | N/A
| Entities who did not receive 1–4-hour imminent notification | N/A | N/A
| Entities who did not receive any notifications before de-energization | N/A | N/A
| Entities who were not notified immediately before re-energization | N/A | N/A
| Entities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No notification failures
Critical Facilities and Infrastructure2 | Facilities who did not receive 48-to 72-hour priority notification | N/A | N/A
| Facilities who did not receive 1–4-hour imminent notification | N/A | N/A
| Facilities who did not receive any notifications before de-energization | N/A | N/A
| Facilities who were not notified immediately before de-energization initiation | N/A | N/A
| Facilities who were not notified immediately before re-energization | N/A | N/A
| Facilities who were not notified when re-energization is complete | N/A | N/A
| Facilities who did not receive cancellation notification within two hours of the decision to cancel | 0 | No notification failures
All other affected customers | Customers who did not receive 24–48-hour priority notifications | N/A | N/A
| Customers who did not receive 1–4-hour imminent notifications | N/A | N/A
| Customers who did not receive any notifications before de-energization | N/A | N/A
| Customers who were not notified at de-energization initiation | N/A | N/A
| Customers who were not notified immediately before re-energization | N/A | N/A
| Customers who were not notified when re-energization is complete | N/A | N/A
| Customers who did not receive cancellation notification within two hours of the decision to cancel | 0 | No notification failures
1 Only includes Tribes, cities, counties, and community choice aggregators.
2 Includes Public Safety Partners who are critical facilities and infrastructure customers.

## Table 6
Table 6: PSPS Portal Time & Date for Map Sharing
Date | Time PDF Maps Shared | Time GIS Layers Shared
2023-12-13 | 7:24 PST | 7:24 PST
2023-12-14 | 10:02 PST | 10:02 PST
2023-12-14 | 20:24 PST | 20:24 PST
2023-12-15 | 17:06 PST | 17:06 PST

## Table 7
Table 7: Customer Notifications Based on Language Preference
Language | Total Notifications1 | Percent
English | 162849 | 99.85%
Spanish | 248 | 0.152%
Total | 163097 | 100%
1 Total notifications do not include doorbell rings and Live Agent phone calls.

## Table 8
Table 8: Call Center Support Services1
Total Calls Handled | PSPS Calls Handled | Average Response Time for PSPS-related Calls (Seconds) | Number of calls handled by Call Center Translation Services | Number of languages Supported by Call Center Translation Services
64110 | 334 | 8 | 1056 | 290+
1 Metrics are provided from December 13, 2023 through December 16, 2023.

## Table 9
Table 9: PG&E Website Traffic for the Potential December 15, 2023 PSPS
Web Page | Unique Visitors | Visits | Page Views
PG&E’s Website (pge.com) | 745581 | 829840 | 1167979
PG&E’s Emergency Website (pgealerts.alerts.pge.com) 1, 2 | 28674 | 40356 | 70439
1 The PSPS Updates page is at the following link: pgealerts.alerts.pge.com/updates. PG&E also uses the following shortened URL for the same site: www.pge.com/pspsupdates.
2 The emergency website metrics are a subset of the pge.com/ website traffic reported.

## Table 10
Table 10: Unique Visitors to the Translated Versions of PG&E’s Website for the Potential December 15, 2023 PSPS1
Language | Unique Visitors | Percent
English | 716996 | 96.2%
Spanish | 12526 | 1.7%
Chinese | 1308 | 0.2%
Thai | 1231 | 0.2%
Russian | 1151 | 0.2%
Japanese | 1148 | 0.2%
Arabic | 1144 | 0.2%
Portuguese | 1130 | 0.2%
Vietnamese | 1129 | 0.2%
Korean | 1124 | 0.2%
Tagalog | 1118 | 0.1%
Hmong | 1109 | 0.1%
Hindi | 1100 | 0.1%
Panjabi | 1096 | 0.1%
Farsi | 615 | 0.1%
Khmer | 113 | 0%
Grand Total2 | 745581 | 100%
1 Not all webpages within PG&E’s Website are offered in the translated languages listed. If the language is not included in the selector on the webpage, the visitor can call 1-833-208-4167 for assistance in 290+ other languages.
2 There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.

## Table 11
Table 11: Unique Visitors to the Translated Versions of PG&E’s Emergency Website for the Potential December 15, 2023 PSPS 1
Language | Unique Visitors | Percent
English | 28323 | 98.8%
Spanish | 116 | 0.4%
Chinese | 11 | 0%
Farsi | 5 | 0%
Panjabi | 4 | 0%
Arabic | 4 | 0%
Vietnamese | 4 | 0%
Hindi | 3 | 0%
Khmer | 3 | 0%
Thai | 3 | 0%
Hmong | 3 | 0%
Portuguese | 2 | 0%
Tagalog | 2 | 0%
Japanese | 2 | 0%
Korean | 2 | 0%
Russian | 1 | 0%
Grand Total2 | 28674 | 100%
1 PG&E’s emergency website is available to be translated in 15 non-English languages.
2 There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.

## Table 12
Table 12: Number and Nature of Complaints due to the December 15, 2023 PSPS 1
Nature of Complaints | Number of Complaints
Communications/Notifications Including, but not limited to complaints regarding lack of notice, excessive notices, confusing notice, false alarm notice, problems with getting up-to-date information, inaccurate information provided, not being able to get information in the prevalent languages and/or information accessibility, complaints about website, Public Safety Partner Portal, Representational State Transfer (REST)/Digital Asset Manager (DAM) sites (as applicable). | 1
PSPS Frequency/Duration Including, but not limited to complaints regarding the frequency and/or duration of PSPS events, including delays in restoring power, scope of PSPS and dynamic of weather conditions. | 2
Safety/Health Concern Including, but not limited to complaints regarding difficulties experienced by AFN/MBL populations, traffic accidents due to non-operating traffic lights, inability to get medical help, well water or access to clean water, inability to keep property cool/warm during outage raising health concern. | 3
General PSPS Dissatisfaction/Other Including, but not limited to complaints about being without power during PSPS event and related hardships such as food loss, income loss, inability to work/attend school, plus any PSPS-related complaints that do not fall into any other category. | 7
Outreach/Assistance Including, but not limited to complaints regarding CRCs, community crew vehicles, backup power, hotel vouchers, other assistance provided by utility to mitigate impact of PSPS. | 0
1 PG&E reports PSPS complaints based on the CPUC-issued PSPS Post-Event Report template. Further complaints details will be provided in the 2023 PSPS Post-Season Report.

## Table 13
Table 13: Lessons Learned from the PSPS Event
Issue | Discussion | Resolution
Data Quality | An address in Santa Barbara County was mapped incorrectly in our database which caused an area within the County to be shown as in scope. The information was reflected on the PSPS Portal and the Emergency Web. | This address was corrected in the source system.

## Table A-1.1
Table A-1.1: Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized for the Potential December 15, 2023 PSPS
Circuit Name | Time Place | Forecast | [18 empty] | Agency Observed |  |  |  | Observed
|  | WS_mph | ws_ mph_ 50m | wg_ ec_ mph | temp_ 2m_ f | flame_ length_ ft_2hr | rate_ of_ spread_chhr_2hr | area_ acres_ 8hr | rh_ 2m | vpd2m_mb | prob_cat | dfm_ 10hr | dfm_ 100hr | dfm_ 1000hr | lfm_ herb | lfm_ woody | lfm_ chamise_new | sum_ tree ovr | prob_ ignition | cfpd | HWW | HWA | RFW | GACC_High Risk | Observed ws_ mph | Observed wg_ mph | Observed temp_f | Observed RH_% | Observed ws_ mph_ AC | Observed wg_ mph_ AC | Observed temp_f_ AC | Observed RH_%_ AC | Open_PSPS_tags | Tx impacts_Yes_No | PSPS Potential Risk Consequence | PSPS Potential Benefit
CAL WATER 1102 | TP 7 | 28 | 35 | 45 | 77 | 11.7 | 166.7 | 17140 | 10.8 | 27.7 | 0.841 | 0.051 | 0.094 | 0.115 | 30 | 73 | 64 | 4.3 | 0.000879 | 4 | N/A | N/A | N/A | N/A | 35 | 47 | 71 | 12 | 10 | 15 | 66 | 15 | N/A | N/A | N/A | N/A
LAMONT 1104 | TP 6 | 34 | 45 | 56 | 76 | 13.8 | 238.1 | 37232 | 12.1 | 26.4 | 0.832 | 0.056 | 0.095 | 0.116 | 30 | 73 | 63 | -99 | 0.004286 | 19.6 | N/A | N/A | N/A | N/A | 35 | 47 | 75 | 12 | 10 | 15 | 66 | 16 | N/A | N/A | N/A | N/A
MAGUNDEN 1108 | TP 6 | 30 | 39 | 49 | 77 | 10.9 | 148.7 | 20709 | 11.6 | 26.9 | 0.784 | 0.056 | 0.1 | 0.122 | 30 | 73 | 64 | -99 | 0.002578 | 9.2 | N/A | N/A | N/A | N/A | 35 | 47 | 75 | 12 | 10 | 15 | 66 | 16 | N/A | N/A | N/A | N/A
POSO MOUNTAIN 2101 | TP 8 | 15 | 23 | 25 | 68 | 9.2 | 103.6 | 14181 | 15.7 | 19.7 | 0.821 | 0.061 | 0.1 | 0.12 | 30 | 73 | 66 | 40.3 | 0.000695 | 3.6 | N/A | N/A | N/A | N/A | 13 | 20 | 75 | 10 | 3 | 5 | 68 | 18 | N/A | N/A | N/A | N/A
POSO MOUNTAIN 2103 | TP 8 | 21 | 30 | 39 | 73 | 11.8 | 166.8 | 22732 | 12.1 | 24.2 | 0.849 | 0.056 | 0.097 | 0.119 | 30 | 73 | 64 | 63 | 0.000971 | 5.5 | N/A | N/A | N/A | N/A | 15 | 27 | 70 | 12 | 6 | 7 | 67 | 18 | N/A | N/A | N/A | N/A
SANTA YNEZ 1101 | TP 10 | 18 | 30 | 42 | 73 | 13.5 | 42.9 | 3681.9 | 13.6 | 23.3 | 0.906 | 0.059 | 0.092 | 0.131 | 37 | 76 | 70 | 326.4 | 0.002236 | 11 | N/A | N/A | N/A | N/A | 19 | 27 | 77 | 11 | 4 | 6 | 70 | 23 | N/A | N/A | N/A | N/A
SANTA YNEZ 1102 | TP 10 | 20 | 32 | 47 | 74 | 26.9 | 39.8 | 2102.7 | 16.9 | 23.2 | 0.881 | 0.066 | 0.098 | 0.135 | 39 | 73 | 71 | 751.5 | 0.002104 | 11.7 | N/A | N/A | N/A | N/A | 18 | 31 | 79 | 7 | 5 | 11 | 70 | 17 | N/A | N/A | N/A | N/A
SCE REFUGIO 1701 | TP 10 | 12 | 19 | 29 | 67 | 15.9 | 39.8 | 2102.7 | 24.8 | 16 | 0.793 | 0.076 | 0.111 | 0.135 | 40 | 73 | 71 | 9.6 | 0.001048 | 3.4 | N/A | N/A | N/A | N/A | 18 | 31 | 75 | 13 | 5 | 11 | 70 | 17 | N/A | N/A | N/A | N/A
TEJON 1102 | TP 3 | 42 | 53 | 69 | 69 | 46.4 | 271.9 | 28440 | 13.3 | 20.6 | 0.895 | 0.056 | 0.094 | 0.115 | 32 | 68 | 64 | 2474.7 | 0.004411 | 27.4 | N/A | N/A | N/A | N/A | 34 | 54 | 72 | 12 | 21 | 27 | 65 | 13 | N/A | N/A | N/A | N/A
TEJON 1103 | TP 4 | 16 | 23 | 25 | 76 | 13.4 | 210.2 | 7696.3 | 13.2 | 26.4 | 0.759 | 0.061 | 0.104 | 0.123 | 35 | 73 | 65 | 3.8 | 0.000536 | 1.5 | N/A | N/A | N/A | N/A | 13 | 19 | 66 | 28 | 4 | 4 | 60 | 41 | N/A | N/A | N/A | N/A
ZACA 1102 | TP 9 | 24 | 36 | 49 | 74 | 13.4 | 59.5 | 8294.6 | 12.5 | 24.7 | 0.916 | 0.058 | 0.085 | 0.119 | 34 | 70 | 67 | 559.9 | 0.00206 | 10.2 | N/A | N/A | N/A | N/A | 19 | 27 | 80 | 7 | 3 | 6 | 66 | 16 | N/A | N/A | N/A | N/A

## Table A-1.2
Table A-1.2: Description, Units, and Value provided for Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized for the Potential December 15, 2023 PSPS
Forecast / Agency / Observed | Value | Name | Unit | Value provided | Description
Observed | Observed wg_mph | Observed Peak Wind Gust during Event | mph | max | The maximum wind gust recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all- clear time.
Observed | Observed temp_f | Observed Temperature during Event | degrees F | max | The maximum temperature recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.
Observed | Observed RH_% | Observed Relative Humidity During Event | % | min | Minimum relative humidity recorded by all weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.
Observed | Observed ws_mph_AC | Observed Sustained Wind Speed at All Clear | mph | max | The maximum sustained wind speed recorded by weather stations mapped to each circuit at the all-clear time. Please note, N/A as
PG&E did not de-energize customers during the October 22 – 24 Weather Event
Observed | Observed wg_mph_AC | Observed Peak Wind Gust at All Clear | mph | max | The maximum wind gust recorded by weather stations mapped to each circuit at the all-clear time.
Observed | Observed temp_f_AC | Observed Temperature at All Clear | degrees F | max | The maximum temperature recorded by weather stations mapped to each circuit at the all-clear time.
Observed | Observed RH_%_AC | Observed Relative Humidity at All Clear | % | min | Minimum relative humidity recorded by all weather stations mapped to each circuit at the all-clear time.
Observed | open_psps_tags | Open PSPS Qualified Tags | N/A | Yes/No During Event | PSPS-Qualified Tags include P1 (tree represents an immediate risk) and P2 (tree is damaged or diseased and could fall into nearby power lines) tree tags and Electric Corrective tags (Priority A - emergency, B - urgent, and E/F - risk-based)
Observed | Tx_impacts_yes_no | Impacted by Transmission | N/A | Yes/No During Event | Distribution lines that would have been de-energized due to de- energization of upstream transmission lines, regardless of whether those distribution lines would have also been de- energized due to direct distribution PSPS.
Forecast | ws_mph | Sustained wind speeds | mph | max | Sustained windspeed in miles per hour at 10 meters above ground level.
Forecast | ws_mph_50m | Sustained wind speeds at 50 m | mph | max | Sustained windspeed in miles per hour at 50 meters above ground level.
Forecast | wg_ec_mph | Forecasted Peak Wind Gust | mph | max | Wind gust in miles per hour at 10 meters above ground level.
Forecast | temp_2m_f | Temperature | degrees F | max | Temperature in Fahrenheit at 2 meters above ground level.
Forecast | flame_length_ft_2hr | Flame length | ft | max | Flame length in feet on fire front for first 2 hours of fire spread simulation from Technosylva.
Forecast | rate_of_spread_chhr_2hr | Rate of spread | chains/hr | max | Rate of fire spread in chains per hour for first 2 hours of fire spread simulation from Technosylva.
Forecast | area_acres_8hr | Acres burned | acres | max | Acres burned in the 8-hour fire spread simulation from Technosylva.
Forecast | rh_2m | Relative Humidity | % | min | Relative Humidity in percent at 2 meters above ground level.
Forecast | vpd2m_mb | Vapor Pressure Deficit | mb | max | Vapor Pressure Deficit in millibar at 2m above surface.
Agency | HWW | High Wind Warning | N/A | Yes/No during event | High Wind Warning from the Federal National Weather Service.
Agency | HWA | High Wind Advisory | N/A | Yes/No during event | High Wind Advisory from the Federal National Weather Service.
Agency | RFW | Red Flag Warning | N/A | Yes/No during event | Red Flag Warning from the Federal National Weather Service.
Agency | GACC_HighRisk | GACC High Risk | N/A | Yes/No during event | High Risk issued by the Federal North or South Operations Predictive Services.
Forecast | prob_cat | Fire Potential Index (FPI) | probability outputs | max | Fire Potential Index (FPI) Model Output - Probability of a catastrophic fire if an ignition were to occur. FPI component of the CFPD model.
Forecast | dfm_10hr | Dead Fuel Moisture Content 10 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 10-hour fuel moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | dfm_100hr | Dead Fuel Moisture Content 100 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 100-hour moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | dfm_1000hr | Dead Fuel Moisture Content 1000 hrs | fuel moisture fraction | min | Dead Fuel Moisture in 1000-hour moisture class. Can be scaled to percentage by multiplying by 100.
Forecast | lfm_herb | Live Fuel Moisture Content-herbacous | % | min | Live Fuel Moisture Percentage of herbaceous plant species. (% of species that is comprised of water)
Forecast | lfm_woody | Live Fuel Moisture Content-woody | % | min | Live Fuel Moisture Percentage of woody plant species. (% of species that is comprised of water)
Forecast | lfm_chamise_new | Live Fuel Moisture Content-shrub | % | min | Live Fuel Moisture Percentage of Chamise (shrub) plant species. (% of species that is comprised of water)
Forecast | sum_tree_ovr | Tree Overstike | ft | max | Sum of tree overstrike in a 2 x 2 km grid cell area in ft.
Forecast | prob_ignition | Ignition Probability Weather (IPW) Model Output | Probability | max | Ignition Probability Weather (IPW) Model Output - Probability of Ignition based on the probability of outages by cause. Ignition component of the CFPD model. Ignition Probability Weather Model - A model that provides estimates of the probability of an ignition given an outage on an hourly basis
Forecast | cfpd | Catastrophic Fire Probability (CFPD) | Scaled Probability | max | The product of probability of catastrophic fire (Prob_Cat) and IPW - probability of ignition (prob_ignition). This product is called the (CFPD) Catastrophic Fire Probability distribution model. Scaled by 1000 to covert to an integer value.
Observed | Observed ws_mph | Observed Sustained Wind Speed during Event | mph | max | The maximum sustained wind speed recorded by weather stations mapped to each circuit from planned de-energization time to anticipated all-clear time.

## Table B-1
Table B-1. Public Safety Partners Contacted
Organization/Jurisdiction | Title | HFTD Tier1 | Date/Time Contacted
KERN County Communication Facility | AMERICAN TOWER CORPORATION | Tier 2 | 12/13/2023 08:00 PST
KERN County Communication Facility | AT&T MOBILITY LLC | Tier 2 | 12/13/2023 08:00 PST
KERN County Communication Facility | AT&T SERVICES INC | Tier 2 | 12/13/2023 08:00 PST
KERN County Communication Facility | T-MOBILE WEST LLC | Tier 2 | 12/13/2023 08:00 PST
KERN County Communication Facility | VERIZON | Tier 2 | 12/13/2023 08:00 PST
KERN County Emergency Services Facility | CALIFORNIA HIGHWAY PATROL | Tier 2 | 12/13/2023 08:00 PST
KERN County Emergency Services Facility | COUNTY OF KERN | Tier 2 | 12/13/2023 08:00 PST
KERN County Other Facility | CROWN CASTLE USA INC | Tier 2 | 12/13/2023 08:00 PST
KERN County Other Facility | HARL, ELIZABETH | Tier 2 | 12/13/2023 08:00 PST
KERN County Water and Waste Water Facility | LEBEC COUNTY WATER DISTRICT | Tier 2 | 12/13/2023 08:00 PST
Kern County | Board Chair | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | County Administrative Officer | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | County Clerk | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | Emergency | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 08:29 PST
Kern County | Emergency Supervisor | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 08:29 PST
Kern County | Fire Chief | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | MHOAC | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | Manager | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | Sheriff | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County | Supervisor | HFTD Tier 2, Tier 3, Zone 1, HFRA | 12/13/2023 07:33 PST
Kern County Arvin | Police Department | N/A* | 12/13/2023 07:33 PST
Kern County Arvin | Arvin Fire | N/A* | 12/13/2023 08:29 PST
Kern County Arvin | City Clerk | N/A* | 12/13/2023 07:33 PST
Kern County Arvin | City Manager | N/A* | 12/13/2023 07:33 PST
Kern County Arvin | Council Member | N/A* | 12/13/2023 07:33 PST
Kern County Arvin | Mayor | N/A* | 12/13/2023 07:33 PST
Kern County Arvin | Mayor Pro Tem | N/A* | 12/13/2023 07:33 PST
Kern County Bakersfield | City Clerk | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Bakersfield | Chief | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Bakersfield | City Hall | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Bakersfield | Deputy Chief | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Bakersfield | General | HFTD Tier 2, HFRA | 12/13/2023 08:29 PST
Kern County Bakersfield | Mayor | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Bakersfield | Police Chief | HFTD Tier 2, HFRA | 12/13/2023 07:33 PST
Kern County Tribal | Chairperson | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Environmental Director | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Historic Preservation Officer | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Housing Committee | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Tribal Administrator | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Tribal Chair | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
Kern County Tribal | Tribal Chairman | HFTD Tier 2, Tier 3, Zone 1, HFRA** | 12/13/2023 07:33 PST
SANTA BARBARA County Communication Facility | AMERICAN TOWER CORPORATION | Tier 3 | 12/13/2023 08:00 PST
SANTA BARBARA County Communication Facility | CROWN CASTLE INTERNATIONAL | Tier 3 | 12/13/2023 08:00 PST
SANTA BARBARA County Communication Facility | FRONTIER COMMUNICATIONS CORPORATION DIP | Tier 3 | 12/13/2023 08:00 PST
SANTA BARBARA County Communication Facility | SBA TOWERS | Tier 3 | 12/13/2023 08:00 PST
SANTA BARBARA County Communication Facility | T-MOBILE WEST LLC | Tier 3 | 12/13/2023 08:00 PST
SANTA BARBARA County Communication Facility | VERIZON | Tier 3 | 12/13/2023 08:00 PST
Santa Barbara County | Fire Chief | HFTD Tier 2, Tier 3, HFRA | 12/13/2023 07:33 PST
Santa Barbara County | OEM Duty Officer | HFTD Tier 2, Tier 3, HFRA | 12/13/2023 07:33 PST
Santa Barbara County | OES Director | HFTD Tier 2, Tier 3, HFRA | 12/13/2023 07:33 PST
Santa Barbara County | Sheriff | HFTD Tier 2, Tier 3, HFRA | 12/13/2023 07:33 PST
Santa Barbara County CCA | General | HFTD Tier 2, Tier 3, HFRA | 12/13/2023 07:33 PST
Santa Barbara County Tribal | Chairperson | HFTD Tier 2, Tier 3, HFRA** | 12/13/2023 07:33 PST
1PG&E uses a High Fire Risk Area (HFRA) classification in addition to HFTD to determine PSPS scope. Any area outside of HFTD is re-classified as HFRA.
* PG&E’s circuits can run miles long and span across multiple jurisdictions. Some Public Safety Partners outside of HFRA and HFTD were also in the potentially impacted scope in order to deenergize areas within HFRA and HFTD for safety.
** Impacted federally and non-federally recognized Tribes' HFRA/HFTD classifications reflect county designations.

## Table C-1
Table C-1. Community Resource Centers Provided by PG&E
# | County | Site Name | Address | Operating Hours (PDT) |  | Total Visitors | Indoor / Outdoor | Amenities Provided
|  |  |  | Day 1 | Day 2
|  |  |  | 2023-09-20 | 2023-09-21
1 | Kern | Lebec Post Office | 2132 Lebec Road | 0800-2200 | 0800-1030 | N/A | 170 | Outdoor