## Questions 2-7 and 9-10
|  |  | 2018 |  |  | 2019 |  |  | 2020 |  |  | 2021
Question | Type of inspection | Type of quality control review | Number reviewed by QC | Number with no mistakes | Number with failed review | Number reviewed by QC | Number with no mistakes | Number with failed review | Number reviewed by QC | Number with no mistakes | Number with failed review | Number reviewed by QC | Number with no mistakes | Number with failed review | Comments
2 | Transmission, climbing inspections | Desktop quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | System Inspection (SI) Desktop Quality Control (QC) did not provide QC of completed Climbing inpsections for 2018 through 2021.
3 | Transmission, drone inspections | Desktop quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | System Inspection (SI) Desktop Quality Control (QC) did not provide QC of completed Drone inpsections for 2018 through 2021.
4 | Transmission, detailed ground inspections | Desktop quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | 8093 | 3376 | 2634 | Desktop QC began in 2020 as a pilot. The pilot did not include the gathering and reporting of QC results. Reporting was developed as part of the 2021 implementation phase.
5 | Transmission, climbing inspections | Field quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | System Inspection (SI) Field Quality Control (QC) did not provide QC of completed Climbing inpsections for 2018 through 2021.
6 | Transmission, drone inspections | Field quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | System Inspection (SI) Field Quality Control (QC) did not provide QC of completed Drone inpsections for 2018 through 2021.
7 | Transmission, detailed ground inspections | Field quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1294 | 1043 | 110 | Field QC Review was a pilot in 2021 and did not occurr prior to 2021.
9 | Distribution, detailed inspections | Desktop quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | 46280 | 27675 | 5976 | Desktop QC began in 2020 as a pilot. The pilot did not include the gathering and reporting of QC results. Reporting was developed as part of the 2021 implementation phase.
10 | Distribution, detailed inspections | Field quality control | NA | NA | NA | NA | NA | NA | NA | NA | NA | 20121 | 8606 | 4103 | Field QC Review was a pilot in 2021 and did not occurr prior to 2021.