## Sheet1
| a) Fully covered conductor segments in HFTD/HFRA (miles) | b) "Bare wire" condcutor in HFTD/HFRA (miles) | c) Number of wires down associated with a covered conductor circuit segment in HFTD/HFRA | d) Number of wires down associated with a "bare wire" conductor circuit segment in the HFTD/HFRA | e) Reportable Ignitions for fully covered condcutor circuit segments in HFTD/HFRA | f) Reprotable ignitions for fully "bare wire" conductor circuit segments in HFTD/HFRA | h) Outages attirbutable to infrastructure on fully "bare wire" conductor circuit segments in HFTD/HFRA | i) Outages attributable to infrastrucutre on fully covered conductor circuit segments in HFTD/HFRA
2021 | 803.0369 | 25047.177 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001 | 752 | 1 | 111 | 33101 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001
2022 | 1095.9595 | 24569.9828 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001 | 514 | 1 | 70 | 28761 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001
2023 | 1273.3937 | 24194.2906 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001 | 735 | 1 | 44 | 25914 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001
2024 | 1390.7134 | 23856.6791 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001 | 629 | 0 | 72 | 24542 | Please see WMP-Discovery2026-2028_DR_MGRA_003-Q001