## Dataset
WDRM_v4_sub_model | scoring_method | feature_name | value
capacitor bank | total gain | estimated_age_years | 81.066
capacitor bank | total gain | totalkvar | 42.6685
capacitor bank | total gain | ctrating | 23.7898
capacitor bank | total gain | supervisory_control_ind | 8.9356
capacitor bank | total gain | winter_off_ind | 3.6217
capacitor bank | total gain | summer_precip_avg | 105.3945
capacitor bank | total gain | summer_max_ws_avg | 53.3696
capacitor bank | total gain | summer_max_temp_avg | 76.7566
capacitor bank | total gain | summer_vpd_avg | 106.6003
capacitor bank | total gain | winter_vpd_avg | 74.407
capacitor bank | total gain | percent_diff_summer_vpd_avg | 95.3245
capacitor bank | total gain | percent_diff_winter_max_temp_avg | 15.5567
capacitor bank | total gain | percent_diff_winter_vpd_avg | 73.5222
capacitor bank | total gain | population_density | 81.7216
capacitor bank | total gain | switch_type_encoded_Oil | 5.7679
capacitor bank | total gain | switchposition_encoded_NA | 7.1813
dpd | total gain | estimated_age_years | 19.4374
dpd | total gain | faultduty | 11.3814
dpd | total gain | summer_max_ws_avg | 40.4594
dpd | total gain | winter_max_ws_avg | 16.3368
dpd | total gain | percent_diff_summer_max_ws_avg | 9.1343
dpd | total gain | percent_diff_winter_vpd_avg | 8.9504
dpd | total gain | percent_diff_winter_rel_humidity_avg | 58.1388
dpd | total gain | soil_erosion_kffact | 30.4808
fuse | total gain | estimated_age_years | 641.5803
fuse | total gain | linkrating | 502.1411
fuse | total gain | operating_voltage | 287.2361
fuse | total gain | numberofphases | 208.0037
fuse | total gain | complexdeviceidc_ind | 18.4868
fuse | total gain | bypassswitch_ind | 8.2772
fuse | total gain | corrosion_zone_ind | 324.3796
fuse | total gain | hftd_ind | 26.7126
fuse | total gain | summer_max_temp_avg | 188.5881
fuse | total gain | summer_precip_avg | 205.992
fuse | total gain | summer_vpd_avg | 312.8512
fuse | total gain | winter_vpd_avg | 77.4952
fuse | total gain | summer_rel_humidity_avg | 307.7292
fuse | total gain | winter_rel_humidity_avg | 128.0276
fuse | total gain | percent_diff_summer_max_temp_avg | 91.8441
fuse | total gain | percent_diff_summer_max_ws_avg | 68.6002
fuse | total gain | percent_diff_summer_vpd_avg | 79.3824
fuse | total gain | percent_diff_summer_rel_humidity_avg | 86.2393
fuse | total gain | percent_diff_winter_max_temp_avg | 92.1779
fuse | total gain | percent_diff_winter_max_ws_avg | 38.5196
fuse | total gain | percent_diff_winter_vpd_avg | 43.5982
fuse | total gain | percent_diff_winter_rel_humidity_avg | 87.2998
fuse | total gain | local_topography | 67.8566
fuse | total gain | population_density | 172.2274
fuse | total gain | satelite_strike_tree_count | 231.3115
fuse | total gain | soil_erosion_kffact | 88.1855
fuse | total gain | linktype_encoded_FT | 145.0877
fuse | total gain | region_encoded_Bay_Area | 9.1335
fuse | total gain | manufacturer_encoded_S_&_C | 8.4647
primary conductor - wire down | total gain | estimated_age_years | 282.9032
primary conductor - wire down | total gain | conductorcount | 1964.408
primary conductor - wire down | total gain | conductor_length_ft | 251.8353
primary conductor - wire down | total gain | pole_height_ft | 876.5599
primary conductor - wire down | total gain | lidar_max_sag | 63.0651
primary conductor - wire down | total gain | lidar_val_60_90mph | 12.2529
primary conductor - wire down | total gain | lidar_val_fault3000a | 39.8138
primary conductor - wire down | total gain | conductor_cross_sectional_area_min | 667.9482
primary conductor - wire down | total gain | conductor_ultimate_strength_lbs_max | 370.1853
primary conductor - wire down | total gain | conductor_weight_lbs_max | 273.1062
primary conductor - wire down | total gain | splice_ind | 63.8053
primary conductor - wire down | total gain | all_open_tag_ind | 112.1381
primary conductor - wire down | total gain | corrosion_zone_ind | 21.0889
primary conductor - wire down | total gain | coastalidc_ind | 327.956
primary conductor - wire down | total gain | hftd_ind | 13.3294
primary conductor - wire down | total gain | protected_ind | 102.1369
primary conductor - wire down | total gain | summer_max_temp_avg | 193.5691
primary conductor - wire down | total gain | winter_max_temp_avg | 332.3187
primary conductor - wire down | total gain | summer_max_ws_avg | 485.6036
primary conductor - wire down | total gain | summer_precip_avg | 800.4178
primary conductor - wire down | total gain | winter_precip_avg | 404.764
primary conductor - wire down | total gain | summer_vpd_avg | 505.3503
primary conductor - wire down | total gain | winter_vpd_avg | 273.1718
primary conductor - wire down | total gain | summer_rel_humidity_avg | 2107.6594
primary conductor - wire down | total gain | winter_rel_humidity_avg | 350.6474
primary conductor - wire down | total gain | percent_diff_summer_max_temp_avg | 201.4957
primary conductor - wire down | total gain | percent_diff_summer_max_ws_avg | 217.7983
primary conductor - wire down | total gain | percent_diff_summer_vpd_avg | 288.6549
primary conductor - wire down | total gain | percent_diff_summer_rel_humidity_avg | 432.5486
primary conductor - wire down | total gain | percent_diff_winter_max_temp_avg | 121.1164
primary conductor - wire down | total gain | percent_diff_winter_max_ws_avg | 150.4823
primary conductor - wire down | total gain | percent_diff_winter_vpd_avg | 44.9517
primary conductor - wire down | total gain | percent_diff_winter_rel_humidity_avg | 79.4679
primary conductor - wire down | total gain | local_topography | 67.202
primary conductor - wire down | total gain | nonburnable_land_index | 2531.3594
primary conductor - wire down | total gain | satelite_strike_tree_count | 271.5967
primary conductor - wire down | total gain | soil_erosion_kffact | 1060.8589
primary conductor - wire down | total gain | construction_type_encoded_Horizontal | 10.919
primary conductor - line slap | total gain | estimated_age_years | 62.9358
primary conductor - line slap | total gain | conductorcount | 420.5575
primary conductor - line slap | total gain | conductor_length_ft | 110.6521
primary conductor - line slap | total gain | pole_height_ft | 152.9958
primary conductor - line slap | total gain | operating_voltage | 11.1737
primary conductor - line slap | total gain | spacing | 85.0507
primary conductor - line slap | total gain | lidar_framing_level_count | 11.8275
primary conductor - line slap | total gain | lidar_max_sag | 12.1078
primary conductor - line slap | total gain | lidar_val_60_90mph | 82.3352
primary conductor - line slap | total gain | lidar_val_fault3000a | 44.5541
primary conductor - line slap | total gain | conductor_cross_sectional_area_min | 80.6084
primary conductor - line slap | total gain | conductor_ultimate_strength_lbs_max | 49.8898
primary conductor - line slap | total gain | conductor_weight_lbs_max | 101.8319
primary conductor - line slap | total gain | hftd_ind | 7.0747
primary conductor - line slap | total gain | summer_max_temp_avg | 35.4251
primary conductor - line slap | total gain | summer_max_ws_avg | 157.4665
primary conductor - line slap | total gain | winter_precip_avg | 158.3688
primary conductor - line slap | total gain | summer_vpd_avg | 156.7769
primary conductor - line slap | total gain | winter_vpd_avg | 60.162
primary conductor - line slap | total gain | summer_rel_humidity_avg | 99.9421
primary conductor - line slap | total gain | winter_rel_humidity_avg | 41.8239
primary conductor - line slap | total gain | percent_diff_summer_max_temp_avg | 76.47
primary conductor - line slap | total gain | percent_diff_summer_max_ws_avg | 127.2475
primary conductor - line slap | total gain | percent_diff_summer_vpd_avg | 51.5995
primary conductor - line slap | total gain | percent_diff_summer_rel_humidity_avg | 129.3732
primary conductor - line slap | total gain | percent_diff_winter_max_temp_avg | 36.7687
primary conductor - line slap | total gain | percent_diff_winter_max_ws_avg | 104.6093
primary conductor - line slap | total gain | percent_diff_winter_vpd_avg | 113.9384
primary conductor - line slap | total gain | percent_diff_winter_rel_humidity_avg | 39.2454
primary conductor - line slap | total gain | local_topography | 83.7126
primary conductor - line slap | total gain | population_density | 165.0439
primary conductor - line slap | total gain | satelite_strike_tree_count | 51.7838
primary conductor - line slap | total gain | soil_erosion_kffact | 61.6466
primary conductor - other | total gain | estimated_age_years | 176.7502
primary conductor - other | total gain | conductorcount | 1777.7299
primary conductor - other | total gain | conductor_length_ft | 209.5866
primary conductor - other | total gain | pole_height_ft | 389.5147
primary conductor - other | total gain | operating_voltage | 13.2507
primary conductor - other | total gain | lidar_pole_elevation | 51.288
primary conductor - other | total gain | lidar_framing_level_count | 80.0289
primary conductor - other | total gain | lidar_max_sag | 53.3399
primary conductor - other | total gain | lidar_val_35_60mph | 10.0941
primary conductor - other | total gain | conductor_cross_sectional_area_min | 34.4519
primary conductor - other | total gain | conductor_weight_lbs_max | 238.2048
primary conductor - other | total gain | coastalidc_ind | 89.2531
primary conductor - other | total gain | hftd_ind | 10.1668
primary conductor - other | total gain | treewire_idc | 44.1918
primary conductor - other | total gain | protected_ind | 10.7308
primary conductor - other | total gain | summer_max_temp_avg | 78.8785
primary conductor - other | total gain | winter_max_temp_avg | 73.6015
primary conductor - other | total gain | summer_max_ws_avg | 138.8465
primary conductor - other | total gain | summer_precip_avg | 273.2371
primary conductor - other | total gain | winter_precip_avg | 137.2654
primary conductor - other | total gain | summer_vpd_avg | 346.8699
primary conductor - other | total gain | winter_vpd_avg | 24.4751
primary conductor - other | total gain | summer_rel_humidity_avg | 765.2504
primary conductor - other | total gain | winter_rel_humidity_avg | 83.3265
primary conductor - other | total gain | percent_diff_summer_max_temp_avg | 132.312
primary conductor - other | total gain | percent_diff_summer_max_ws_avg | 170.4885
primary conductor - other | total gain | percent_diff_summer_vpd_avg | 139.6418
primary conductor - other | total gain | percent_diff_summer_rel_humidity_avg | 70.8765
primary conductor - other | total gain | percent_diff_winter_max_temp_avg | 66.2171
primary conductor - other | total gain | percent_diff_winter_max_ws_avg | 69.4931
primary conductor - other | total gain | percent_diff_winter_vpd_avg | 79.2458
primary conductor - other | total gain | percent_diff_winter_rel_humidity_avg | 134.855
primary conductor - other | total gain | local_topography | 119.2829
primary conductor - other | total gain | nonburnable_land_index | 1133.1069
primary conductor - other | total gain | satelite_strike_tree_count | 47.6355
primary conductor - other | total gain | soil_erosion_kffact | 524.6414
support structure - equipment | total gain | estimated_age_years | 2985.0115
support structure - equipment | total gain | pole_original_volume | 1198.201
support structure - equipment | total gain | percentatmcu | 1843.2435
support structure - equipment | total gain | corrosion_zone_ind | 17.0774
support structure - equipment | total gain | all_open_tag_ind | 47.598
support structure - equipment | total gain | summer_max_temp_avg | 399.0742
support structure - equipment | total gain | summer_max_ws_avg | 198.3686
support structure - equipment | total gain | summer_precip_avg | 236.1668
support structure - equipment | total gain | winter_precip_avg | 197.2497
support structure - equipment | total gain | summer_vpd_avg | 346.1037
support structure - equipment | total gain | winter_vpd_avg | 58.9897
support structure - equipment | total gain | summer_rel_humidity_avg | 281.0367
support structure - equipment | total gain | winter_rel_humidity_avg | 199.0505
support structure - equipment | total gain | percent_diff_summer_max_temp_avg | 202.0349
support structure - equipment | total gain | percent_diff_summer_max_ws_avg | 262.4673
support structure - equipment | total gain | percent_diff_summer_vpd_avg | 234.1037
support structure - equipment | total gain | percent_diff_summer_rel_humidity_avg | 691.0533
support structure - equipment | total gain | percent_diff_winter_vpd_avg | 83.7284
support structure - equipment | total gain | percent_diff_winter_rel_humidity_avg | 574.5615
support structure - equipment | total gain | local_topography | 101.735
support structure - equipment | total gain | nonburnable_land_index | 562.2656
support structure - equipment | total gain | satelite_strike_tree_count | 149.7222
support structure - equipment | total gain | soil_erosion_kffact | 225.4731
support structure - equipment | total gain | soil_annual_flood_freq | 32.5724
support structure - equipment | total gain | years_since_last_ptt | 208.6384
support structure - equipment | total gain | ptt_circumference_pct_diff_from_original | 365.3655
support structure - equipment | total gain | pole_remaining_strength | 647.3109
support structure - equipment | total gain | local_topography_times_kffact | 164.4743
support structure - equipment | total gain | species_encoded___unknown | 59.4705
support structure - equipment | total gain | originaltreatmenttype_encoded_penta | 25.9133
support structure - equipment | total gain | originaltreatmenttype_encoded___unknown | 59.5018
support structure - electrical | total gain | estimated_age_years | 2407.4072
support structure - electrical | total gain | attachment_count | 5.7421
support structure - electrical | total gain | pole_original_volume | 2106.6052
support structure - electrical | total gain | corrosion_zone_ind | 372.9703
support structure - electrical | total gain | percentatmcu | 1335.1385
support structure - electrical | total gain | all_open_tag_ind | 7.1814
support structure - electrical | total gain | summer_max_temp_avg | 53.6267
support structure - electrical | total gain | summer_max_ws_avg | 324.2875
support structure - electrical | total gain | summer_precip_avg | 696.3738
support structure - electrical | total gain | winter_precip_avg | 509.8559
support structure - electrical | total gain | summer_vpd_avg | 427.0158
support structure - electrical | total gain | winter_vpd_avg | 374.2653
support structure - electrical | total gain | summer_rel_humidity_avg | 570.4844
support structure - electrical | total gain | winter_rel_humidity_avg | 207.9116
support structure - electrical | total gain | percent_diff_summer_max_temp_avg | 772.8929
support structure - electrical | total gain | percent_diff_summer_max_ws_avg | 388.6147
support structure - electrical | total gain | percent_diff_summer_vpd_avg | 76.7732
support structure - electrical | total gain | percent_diff_summer_rel_humidity_avg | 1728.5729
support structure - electrical | total gain | percent_diff_winter_vpd_avg | 202.6215
support structure - electrical | total gain | percent_diff_winter_rel_humidity_avg | 261.1839
support structure - electrical | total gain | local_topography | 248.8291
support structure - electrical | total gain | population_density | 336.0246
support structure - electrical | total gain | nonburnable_land_index | 485.9737
support structure - electrical | total gain | satelite_strike_tree_count | 573.8993
support structure - electrical | total gain | soil_erosion_kffact | 105.1642
support structure - electrical | total gain | soil_annual_flood_freq | 153.7406
support structure - electrical | total gain | years_since_last_ptt | 194.1829
support structure - electrical | total gain | originaltreatmenttype_encoded_penta | 24.6246
support structure - electrical | total gain | originaltreatmenttype_encoded_gas | 11.6747
support structure - electrical | total gain | originaltreatmenttype_encoded___unknown | 14.4209
support structure - electrical | total gain | division_encoded_Yosemite | 9.3344
support structure - electrical | total gain | division_encoded_Kern | 11.1525
support structure - electrical | total gain | division_encoded_Central_Coast | 7.1069
support structure - electrical | total gain | division_encoded_Sacramento | 12.1137
support structure - electrical | total gain | division_encoded_San_Jose | 5.7887
support structure - electrical | total gain | division_encoded_Peninsula | 22.2362
support structure - electrical | total gain | division_encoded_North_Bay | 102.314
support structure - electrical | total gain | division_encoded_East_Bay | 478.3377
support structure - electrical | total gain | division_encoded_Mission | 173.6848
support structure - electrical | total gain | species_encoded_Douglas_Fir | 7.4794
support structure - electrical | total gain | species_encoded_Western_Red_Cedar | 255.7283
support structure - electrical | total gain | species_encoded_Not_Available | 10.738
support structure - electrical | total gain | species_encoded___unknown | 7.7951
Transformer - failure | total gain | estimated_age_years | 5406.6646
Transformer - failure | total gain | rated_kva | 850.2397
Transformer - failure | total gain | coastal_corrosive_ind | 670.4221
Transformer - failure | total gain | replacement_open_tag_ind | 55.1586
Transformer - failure | total gain | population_density | 3387.1377
Transformer - failure | total gain | nonburnable_land_index | 687.3271
Transformer - failure | total gain | satelite_strike_tree_count | 1402.3085
Transformer - failure | total gain | soil_erosion_kffact | 1578.2391
Transformer - failure | total gain | local_topography | 1470.7283
Transformer - failure | total gain | summer_max_temp_avg | 2716.6914
Transformer - failure | total gain | winter_max_temp_avg | 2367.7847
Transformer - failure | total gain | summer_max_ws_avg | 1644.6949
Transformer - failure | total gain | percent_diff_summer_max_temp_avg | 5234.959
Transformer - failure | total gain | percent_diff_winter_max_temp_avg | 3019.0273
Transformer - failure | total gain | txfmr_load_factor_12m | 2445.4539
Transformer - failure | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 7586.0806
Transformer - failure | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 3707.4126
Transformer - failure | total gain | unit_max_peak_kva_percent_capability_12m | 4261.3745
Transformer - failure | total gain | unit_mean_peak_kva_percent_capability_12m | 611.3965
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AS | 145.5341
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_HI | 113.9725
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_PP | 122.5978
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_GE | 153.5449
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_KU | 129.7412
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_WE | 17.1454
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ME | 41.0773
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_XX | 65.8111
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_RT | 8.4212
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AB | 10.3806
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_CP | 80.9042
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_DS | 113.9192
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_FP | 39.7242
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ER | 7.5192
Transformer - leaking | total gain | estimated_age_years | 441.4491
Transformer - leaking | total gain | rated_kva | 176.3955
Transformer - leaking | total gain | coastal_corrosive_ind | 30.677
Transformer - leaking | total gain | population_density | 254.7561
Transformer - leaking | total gain | nonburnable_land_index | 44.3157
Transformer - leaking | total gain | satelite_strike_tree_count | 82.6939
Transformer - leaking | total gain | soil_erosion_kffact | 143.2042
Transformer - leaking | total gain | local_topography | 81.6514
Transformer - leaking | total gain | summer_max_temp_avg | 262.2135
Transformer - leaking | total gain | winter_max_temp_avg | 238.3505
Transformer - leaking | total gain | summer_max_ws_avg | 132.6824
Transformer - leaking | total gain | percent_diff_summer_max_temp_avg | 311.6464
Transformer - leaking | total gain | percent_diff_winter_max_temp_avg | 375.7184
Transformer - leaking | total gain | txfmr_load_factor_12m | 185.2396
Transformer - leaking | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 331.2431
Transformer - leaking | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 348.9574
Transformer - leaking | total gain | unit_max_peak_kva_percent_capability_12m | 304.1648
Transformer - leaking | total gain | unit_mean_peak_kva_percent_capability_12m | 64.2051
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_AS | 38.815
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_HI | 47.6439
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_PP | 46.7589
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_GE | 29.9776
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_KU | 19.8145
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_ME | 16.9586
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_XX | 56.682
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_DS | 88.7895
Switch | total gain | estimated_age_years | 76.181
Switch | total gain | ccrating | 113.071
Switch | total gain | summer_max_temp_avg | 24.3297
Switch | total gain | winter_max_temp_avg | 116.4057
Switch | total gain | winter_vpd_avg | 9.6391
Switch | total gain | summer_rel_humidity_avg | 54.5859
Switch | total gain | percent_diff_summer_max_temp_avg | 18.8957
Switch | total gain | percent_diff_summer_rel_humidity_avg | 41.189
Switch | total gain | percent_diff_winter_max_temp_avg | 8.1986
Switch | total gain | percent_diff_winter_vpd_avg | 35.8113
Switch | total gain | percent_diff_winter_rel_humidity_avg | 29.4419
Switch | total gain | local_topography | 13.2152
Switch | total gain | population_density | 8.0097
Switch | total gain | soil_erosion_kffact | 18.656
Switch | total gain | switch_type_encoded_SCADA_Switch | 164.695
voltage regulator | total gain | estimated_age_years | 9.538
voltage regulator | total gain | ratedamps | 141.4699
voltage regulator | total gain | operating_voltage | 28.5003
voltage regulator | total gain | pole_height | 10.3941
voltage regulator | total gain | summer_max_ws_avg | 24.7123
voltage regulator | total gain | winter_precip_avg | 65.2281
voltage regulator | total gain | winter_max_temp_avg | 61.2261
voltage regulator | total gain | winter_vpd_avg | 52.0967
voltage regulator | total gain | summer_rel_humidity_avg | 48.6288
voltage regulator | total gain | winter_rel_humidity_avg | 30.4894
voltage regulator | total gain | percent_diff_summer_max_temp_avg | 19.8788
voltage regulator | total gain | percent_diff_summer_max_ws_avg | 32.1467
voltage regulator | total gain | percent_diff_summer_rel_humidity_avg | 46.6779
voltage regulator | total gain | percent_diff_winter_vpd_avg | 57.1823
voltage regulator | total gain | percent_diff_winter_rel_humidity_avg | 32.7978
voltage regulator | total gain | nonburnable_land_index | 24.6166
voltage regulator | total gain | satelite_strike_tree_count | 28.8567
voltage regulator | total gain | soil_erosion_kffact | 9.7002
other_equipment_type | permutation importance | nonburnable_land_index | 16.9812
other_equipment_type | permutation importance | subtypecd | 16.2405
other_equipment_type | permutation importance | merged_strike_tree_count | 15.1806
other_equipment_type | permutation importance | conductor_size_and_material | 13.5547
other_equipment_type | permutation importance | impervious | 5.3287
other_equipment_type | permutation importance | precipitation_avg | 2.2726
other_equipment_type | permutation importance | merged_strike_tree_height_max | 1.9911
other_equipment_type | permutation importance | operatingvoltage | 1.3313
other_equipment_type | permutation importance | merged_strike_tree_height_avg | 1.2165
other_equipment_type | permutation importance | satelite_canopy_density | 0.7881
other_equipment_type | permutation importance | cwhr_montane_hardwood | 0.4328
other_equipment_type | permutation importance | tier_2 | 0.4085
other_equipment_type | permutation importance | coastal | 0.3576
other_equipment_type | permutation importance | soil_SLOPE | 0.3264
other_equipment_type | permutation importance | psps_segment | 0.3131
other_equipment_type | permutation importance | cwhr_montane_hardwood_conifer | 0.285
other_equipment_type | permutation importance | soil_CLAY | 0.2202
other_equipment_type | permutation importance | cwhr_douglas_fir | 0.1883
other_equipment_type | permutation importance | soil_erosion_kffact | 0.1697
other_equipment_type | permutation importance | specific_humidity_avg | 0.1252
other_equipment_type | permutation importance | gusty_summer_day_pct | 0.1229
other_equipment_type | permutation importance | cwhr_closed_cone_pine_cypress | 0.1212
other_equipment_type | permutation importance | soil_DRAIN | 0.1194
other_equipment_type | permutation importance | soil_THICK | 0.0947
other_equipment_type | permutation importance | soil_HYGRP | 0.0848
other_equipment_type | permutation importance | soil_IFHYDRIC | 0.0805
other_equipment_type | permutation importance | soil_annual_flood_freq | 0.0744
other_equipment_type | permutation importance | windy_summer_day_pct | 0.0717
other_equipment_type | permutation importance | cwhr_redwood | 0.0688
other_equipment_type | permutation importance | local_topography | 0.064
other_equipment_type | permutation importance | soil_PERM | 0.0611
other_equipment_type | permutation importance | cwhr_eucalyptus | 0.0587
other_equipment_type | permutation importance | cwhr_klamath_mixed_conifer | 0.0502
other_equipment_type | permutation importance | 100_hour_fuels_avg | 0.0394
other_equipment_type | permutation importance | tree_species_treemap | 0.0385
other_equipment_type | permutation importance | cwhr_coastal_oak_woodland | 0.0343
other_equipment_type | permutation importance | cwhr_valley_oak_woodland | 0.0289
other_equipment_type | permutation importance | cwhr_juniper | 0.0225
other_equipment_type | permutation importance | cwhr_ponderosa_pine | 0.0158
other_equipment_type | permutation importance | cwhr_montane_riparian | 0.0137
other_equipment_type | permutation importance | burn_index_avg | 0.0117
other_equipment_type | permutation importance | daily_max_temperature_avg | 0.0086
other_equipment_type | permutation importance | wind_max | 0.0084
other_equipment_type | permutation importance | soil_OM | 0.0066
other_equipment_type | permutation importance | cwhr_sierran_mixed_conifer | 0.0065
secondary_conductor | permutation importance | merged_strike_tree_count_perlinemile | 41.9562
secondary_conductor | permutation importance | merged_strike_tree_count | 25.9601
secondary_conductor | permutation importance | nonburnable_land_index | 11.8892
secondary_conductor | permutation importance | impervious | 3.5591
secondary_conductor | permutation importance | merged_strike_tree_height_avg | 2.6302
secondary_conductor | permutation importance | burn_index_avg | 1.9945
secondary_conductor | permutation importance | vapor_pressure_deficit_avg | 1.3958
secondary_conductor | permutation importance | cwhr_redwood | 1.2092
secondary_conductor | permutation importance | daily_max_temperature_avg | 1.0847
secondary_conductor | permutation importance | soil_OM | 1.0439
secondary_conductor | permutation importance | soil_THICK | 0.7963
secondary_conductor | permutation importance | gusty_summer_day_pct | 0.7671
secondary_conductor | permutation importance | subtypecd | 0.6713
secondary_conductor | permutation importance | cwhr_eucalyptus | 0.5927
secondary_conductor | permutation importance | merged_strike_tree_height_max | 0.5785
secondary_conductor | permutation importance | wind_max | 0.5412
secondary_conductor | permutation importance | 100_hour_fuels_avg | 0.4733
secondary_conductor | permutation importance | windy_summer_day_pct | 0.2739
secondary_conductor | permutation importance | tier_2 | 0.2577
secondary_conductor | permutation importance | cwhr_valley_oak_woodland | 0.2426
secondary_conductor | permutation importance | merged_strike_tree_height_min | 0.221
secondary_conductor | permutation importance | cwhr_montane_hardwood | 0.2057
secondary_conductor | permutation importance | soil_SLOPE | 0.1985
secondary_conductor | permutation importance | soil_AWC | 0.1758
secondary_conductor | permutation importance | soil_PERM | 0.1713
secondary_conductor | permutation importance | cwhr_coastal_oak_woodland | 0.1337
secondary_conductor | permutation importance | soil_annual_flood_freq | 0.1215
secondary_conductor | permutation importance | local_topography | 0.1171
secondary_conductor | permutation importance | satelite_canopy_density | 0.0933
secondary_conductor | permutation importance | tree_species_treemap | 0.0857
secondary_conductor | permutation importance | cwhr_eastside_pine | 0.0807
secondary_conductor | permutation importance | cwhr_ponderosa_pine | 0.0738
secondary_conductor | permutation importance | soil_IFHYDRIC | 0.0724
secondary_conductor | permutation importance | soil_CLAY | 0.0549
secondary_conductor | permutation importance | operatingvoltage | 0.0513
secondary_conductor | permutation importance | cwhr_montane_hardwood_conifer | 0.0403
secondary_conductor | permutation importance | cwhr_blue_oak_woodland | 0.0389
secondary_conductor | permutation importance | specific_humidity_avg | 0.0375
secondary_conductor | permutation importance | soil_HYGRP | 0.0314
secondary_conductor | permutation importance | precipitation_avg | 0.0197
secondary_conductor | permutation importance | cwhr_aspen | 0.018
secondary_conductor | permutation importance | cwhr_montane_riparian | 0.0155
secondary_conductor | permutation importance | cwhr_closed_cone_pine_cypress | 0.013
secondary_conductor | permutation importance | wind_avg | 0.0074
secondary_conductor | permutation importance | energy_release_avg | 0.0043
animal_bird | permutation importance | subtypecd | 17.6651
animal_bird | permutation importance | merged_strike_tree_count_perlinemile | 17.4654
animal_bird | permutation importance | nonburnable_land_index | 12.0149
animal_bird | permutation importance | operatingvoltage | 11.2651
animal_bird | permutation importance | impervious | 10.1348
animal_bird | permutation importance | merged_strike_tree_count | 8.5268
animal_bird | permutation importance | conductor_size_and_material | 3.0548
animal_bird | permutation importance | merged_strike_tree_height_max | 1.8513
animal_bird | permutation importance | cwhr_montane_hardwood_conifer | 1.8034
animal_bird | permutation importance | satelite_canopy_density | 1.4764
animal_bird | permutation importance | merged_strike_tree_height_avg | 1.4588
animal_bird | permutation importance | windy_summer_day_pct | 1.1536
animal_bird | permutation importance | soil_SLOPE | 1.1529
animal_bird | permutation importance | psps_segment | 1.1453
animal_bird | permutation importance | precipitation_avg | 1.105
animal_bird | permutation importance | soil_erosion_kffact | 0.8137
animal_bird | permutation importance | cwhr_ponderosa_pine | 0.6775
animal_bird | permutation importance | cwhr_douglas_fir | 0.6755
animal_bird | permutation importance | specific_humidity_avg | 0.667
animal_bird | permutation importance | cwhr_valley_oak_woodland | 0.5804
animal_bird | permutation importance | soil_OM | 0.5443
animal_bird | permutation importance | cwhr_closed_cone_pine_cypress | 0.5137
animal_bird | permutation importance | tier_2 | 0.4362
animal_bird | permutation importance | tree_species_treemap | 0.3484
animal_bird | permutation importance | vapor_pressure_deficit_avg | 0.3052
animal_bird | permutation importance | soil_HYGRP | 0.2794
animal_bird | permutation importance | cwhr_blue_oak_foothill_pine | 0.2768
animal_bird | permutation importance | cwhr_blue_oak_woodland | 0.2752
animal_bird | permutation importance | local_topography | 0.2609
animal_bird | permutation importance | 100_hour_fuels_avg | 0.2189
animal_bird | permutation importance | soil_CLAY | 0.1988
animal_bird | permutation importance | 1000_hour_fuels_avg | 0.198
animal_bird | permutation importance | energy_release_avg | 0.1556
animal_bird | permutation importance | soil_LL | 0.1403
animal_bird | permutation importance | gusty_summer_day_pct | 0.1373
animal_bird | permutation importance | wind_avg | 0.1357
animal_bird | permutation importance | merged_strike_tree_height_min | 0.1209
animal_bird | permutation importance | tier_3 | 0.1142
animal_bird | permutation importance | soil_PERM | 0.1083
animal_bird | permutation importance | daily_max_temperature_avg | 0.1082
animal_bird | permutation importance | soil_DRAIN | 0.0942
animal_bird | permutation importance | soil_THICK | 0.0898
animal_bird | permutation importance | cwhr_eucalyptus | 0.0877
animal_bird | permutation importance | cwhr_aspen | 0.0734
animal_bird | permutation importance | soil_IFHYDRIC | 0.0381
animal_bird | permutation importance | cwhr_juniper | 0.0132
animal_bird | permutation importance | soil_AWC | 0.012
animal_bird | permutation importance | wind_max | 0.0105
animal_bird | permutation importance | cwhr_montane_hardwood | 0.0103
animal_bird | permutation importance | soil_annual_flood_freq | 0.0067
animal_bird | permutation importance | cwhr_redwood | 0.0001
animal_squirrel | permutation importance | impervious | 43.1471
animal_squirrel | permutation importance | precipitation_avg | 13.5134
animal_squirrel | permutation importance | nonburnable_land_index | 12.2243
animal_squirrel | permutation importance | merged_strike_tree_count_perlinemile | 5.0828
animal_squirrel | permutation importance | 100_hour_fuels_avg | 3.9876
animal_squirrel | permutation importance | merged_strike_tree_count | 3.8472
animal_squirrel | permutation importance | subtypecd | 1.4598
animal_squirrel | permutation importance | 1000_hour_fuels_avg | 1.3957
animal_squirrel | permutation importance | soil_HYGRP | 1.2844
animal_squirrel | permutation importance | soil_SLOPE | 1.1873
animal_squirrel | permutation importance | cwhr_montane_hardwood | 0.9914
animal_squirrel | permutation importance | soil_LL | 0.8571
animal_squirrel | permutation importance | conductor_size_and_material | 0.7991
animal_squirrel | permutation importance | windy_summer_day_pct | 0.7988
animal_squirrel | permutation importance | cwhr_coastal_oak_woodland | 0.7972
animal_squirrel | permutation importance | soil_annual_flood_freq | 0.7168
animal_squirrel | permutation importance | cwhr_douglas_fir | 0.716
animal_squirrel | permutation importance | daily_max_temperature_avg | 0.6277
animal_squirrel | permutation importance | merged_strike_tree_height_max | 0.5823
animal_squirrel | permutation importance | coastal | 0.5792
animal_squirrel | permutation importance | specific_humidity_avg | 0.5288
animal_squirrel | permutation importance | soil_THICK | 0.5058
animal_squirrel | permutation importance | vapor_pressure_deficit_avg | 0.4876
animal_squirrel | permutation importance | cwhr_valley_oak_woodland | 0.407
animal_squirrel | permutation importance | cwhr_blue_oak_woodland | 0.3986
animal_squirrel | permutation importance | satelite_canopy_density | 0.3457
animal_squirrel | permutation importance | wind_max | 0.3213
animal_squirrel | permutation importance | soil_erosion_kffact | 0.3094
animal_squirrel | permutation importance | cwhr_eucalyptus | 0.2639
animal_squirrel | permutation importance | merged_strike_tree_height_avg | 0.2606
animal_squirrel | permutation importance | operatingvoltage | 0.2344
animal_squirrel | permutation importance | cwhr_montane_hardwood_conifer | 0.1926
animal_squirrel | permutation importance | psps_segment | 0.162
animal_squirrel | permutation importance | tier_2 | 0.1486
animal_squirrel | permutation importance | cwhr_montane_riparian | 0.1184
animal_squirrel | permutation importance | soil_CLAY | 0.1147
animal_squirrel | permutation importance | gusty_summer_day_pct | 0.1103
animal_squirrel | permutation importance | wind_avg | 0.1101
animal_squirrel | permutation importance | cwhr_sierran_mixed_conifer | 0.0801
animal_squirrel | permutation importance | burn_index_avg | 0.0756
animal_squirrel | permutation importance | tree_species_treemap | 0.0537
animal_squirrel | permutation importance | cwhr_valley_foothill_riparian | 0.0532
animal_squirrel | permutation importance | local_topography | 0.0387
animal_squirrel | permutation importance | cwhr_eastside_pine | 0.036
animal_squirrel | permutation importance | cwhr_closed_cone_pine_cypress | 0.021
animal_squirrel | permutation importance | cwhr_ponderosa_pine | 0.0137
animal_squirrel | permutation importance | soil_PERM | 0.0084
animal_squirrel | permutation importance | soil_AWC | 0.0024
animal_squirrel | permutation importance | soil_IFHYDRIC | 0.0023
animal_other | permutation importance | nonburnable_land_index | 18.9358
animal_other | permutation importance | merged_strike_tree_count | 15.2437
animal_other | permutation importance | merged_strike_tree_count_perlinemile | 11.5358
animal_other | permutation importance | vapor_pressure_deficit_avg | 6.1669
animal_other | permutation importance | specific_humidity_avg | 5.2298
animal_other | permutation importance | subtypecd | 3.0951
animal_other | permutation importance | psps_segment | 3.0352
animal_other | permutation importance | wind_avg | 2.531
animal_other | permutation importance | conductor_size_and_material | 2.3048
animal_other | permutation importance | impervious | 2.2236
animal_other | permutation importance | windy_summer_day_pct | 2.085
animal_other | permutation importance | operatingvoltage | 2.0414
animal_other | permutation importance | satelite_canopy_density | 2.0105
animal_other | permutation importance | cwhr_douglas_fir | 1.9812
animal_other | permutation importance | soil_THICK | 1.8076
animal_other | permutation importance | gusty_summer_day_pct | 1.7305
animal_other | permutation importance | soil_DRAIN | 1.6793
animal_other | permutation importance | soil_PERM | 1.6739
animal_other | permutation importance | soil_LL | 1.3901
animal_other | permutation importance | soil_annual_flood_freq | 1.3006
animal_other | permutation importance | daily_max_temperature_avg | 1.1367
animal_other | permutation importance | soil_SLOPE | 0.9828
animal_other | permutation importance | wind_max | 0.8752
animal_other | permutation importance | tree_species_treemap | 0.864
animal_other | permutation importance | tier_3 | 0.796
animal_other | permutation importance | soil_CLAY | 0.7768
animal_other | permutation importance | cwhr_coastal_oak_woodland | 0.6965
animal_other | permutation importance | soil_HYGRP | 0.6732
animal_other | permutation importance | 100_hour_fuels_avg | 0.6326
animal_other | permutation importance | soil_OM | 0.5828
animal_other | permutation importance | cwhr_closed_cone_pine_cypress | 0.5208
animal_other | permutation importance | soil_erosion_kffact | 0.4653
animal_other | permutation importance | cwhr_blue_oak_woodland | 0.4357
animal_other | permutation importance | burn_index_avg | 0.347
animal_other | permutation importance | coastal | 0.2839
animal_other | permutation importance | 1000_hour_fuels_avg | 0.2568
animal_other | permutation importance | soil_AWC | 0.2373
animal_other | permutation importance | merged_strike_tree_height_avg | 0.2298
animal_other | permutation importance | cwhr_montane_hardwood | 0.2276
animal_other | permutation importance | merged_strike_tree_height_min | 0.1934
animal_other | permutation importance | precipitation_avg | 0.1685
animal_other | permutation importance | energy_release_avg | 0.168
animal_other | permutation importance | cwhr_eucalyptus | 0.1466
animal_other | permutation importance | cwhr_montane_riparian | 0.1072
animal_other | permutation importance | cwhr_valley_oak_woodland | 0.0989
animal_other | permutation importance | cwhr_redwood | 0.0847
animal_other | permutation importance | soil_IFHYDRIC | 0.01
third_party_vehicle | permutation importance | nonburnable_land_index | 31.3807
third_party_vehicle | permutation importance | impervious | 14.5586
third_party_vehicle | permutation importance | merged_strike_tree_count_perlinemile | 12.1466
third_party_vehicle | permutation importance | subtypecd | 9.204
third_party_vehicle | permutation importance | conductor_size_and_material | 8.6659
third_party_vehicle | permutation importance | merged_strike_tree_count | 7.0183
third_party_vehicle | permutation importance | merged_strike_tree_height_max | 2.8879
third_party_vehicle | permutation importance | precipitation_avg | 1.5528
third_party_vehicle | permutation importance | vapor_pressure_deficit_avg | 1.2183
third_party_vehicle | permutation importance | windy_summer_day_pct | 1.217
third_party_vehicle | permutation importance | satelite_canopy_density | 1.1561
third_party_vehicle | permutation importance | 1000_hour_fuels_avg | 1.1519
third_party_vehicle | permutation importance | soil_SLOPE | 1.002
third_party_vehicle | permutation importance | gusty_summer_day_pct | 0.7979
third_party_vehicle | permutation importance | daily_max_temperature_avg | 0.792
third_party_vehicle | permutation importance | soil_PERM | 0.6084
third_party_vehicle | permutation importance | merged_strike_tree_height_avg | 0.5158
third_party_vehicle | permutation importance | local_topography | 0.4597
third_party_vehicle | permutation importance | burn_index_avg | 0.3969
third_party_vehicle | permutation importance | operatingvoltage | 0.312
third_party_vehicle | permutation importance | tree_species_treemap | 0.2234
third_party_vehicle | permutation importance | soil_HYGRP | 0.2193
third_party_vehicle | permutation importance | psps_segment | 0.2115
third_party_vehicle | permutation importance | cwhr_ponderosa_pine | 0.1969
third_party_vehicle | permutation importance | cwhr_coastal_oak_woodland | 0.1908
third_party_vehicle | permutation importance | soil_LL | 0.1825
third_party_vehicle | permutation importance | soil_AWC | 0.1725
third_party_vehicle | permutation importance | cwhr_montane_hardwood_conifer | 0.1652
third_party_vehicle | permutation importance | tier_3 | 0.1565
third_party_vehicle | permutation importance | soil_IFHYDRIC | 0.1483
third_party_vehicle | permutation importance | cwhr_blue_oak_foothill_pine | 0.1136
third_party_vehicle | permutation importance | soil_DRAIN | 0.1012
third_party_vehicle | permutation importance | cwhr_juniper | 0.0969
third_party_vehicle | permutation importance | wind_avg | 0.0915
third_party_vehicle | permutation importance | cwhr_blue_oak_woodland | 0.087
third_party_vehicle | permutation importance | soil_erosion_kffact | 0.0869
third_party_vehicle | permutation importance | cwhr_sierran_mixed_conifer | 0.0855
third_party_vehicle | permutation importance | cwhr_eucalyptus | 0.067
third_party_vehicle | permutation importance | 100_hour_fuels_avg | 0.0655
third_party_vehicle | permutation importance | cwhr_montane_hardwood | 0.0642
third_party_vehicle | permutation importance | cwhr_closed_cone_pine_cypress | 0.0538
third_party_vehicle | permutation importance | soil_annual_flood_freq | 0.0496
third_party_vehicle | permutation importance | tier_2 | 0.0436
third_party_vehicle | permutation importance | soil_THICK | 0.0328
third_party_vehicle | permutation importance | cwhr_valley_oak_woodland | 0.0238
third_party_vehicle | permutation importance | soil_CLAY | 0.0153
third_party_vehicle | permutation importance | cwhr_redwood | 0.0124
third_party_balloon | permutation importance | impervious | 49.2799
third_party_balloon | permutation importance | nonburnable_land_index | 11.0744
third_party_balloon | permutation importance | merged_strike_tree_count_perlinemile | 8.1177
third_party_balloon | permutation importance | subtypecd | 7.3952
third_party_balloon | permutation importance | merged_strike_tree_height_avg | 2.7815
third_party_balloon | permutation importance | specific_humidity_avg | 2.587
third_party_balloon | permutation importance | merged_strike_tree_count | 1.9902
third_party_balloon | permutation importance | windy_summer_day_pct | 1.6461
third_party_balloon | permutation importance | satelite_canopy_density | 1.3276
third_party_balloon | permutation importance | cwhr_blue_oak_foothill_pine | 1.0975
third_party_balloon | permutation importance | precipitation_avg | 1.0689
third_party_balloon | permutation importance | daily_max_temperature_avg | 1.0641
third_party_balloon | permutation importance | gusty_summer_day_pct | 0.9921
third_party_balloon | permutation importance | burn_index_avg | 0.8041
third_party_balloon | permutation importance | merged_strike_tree_height_max | 0.7519
third_party_balloon | permutation importance | conductor_size_and_material | 0.751
third_party_balloon | permutation importance | soil_erosion_kffact | 0.7267
third_party_balloon | permutation importance | soil_annual_flood_freq | 0.695
third_party_balloon | permutation importance | operatingvoltage | 0.6694
third_party_balloon | permutation importance | wind_max | 0.6306
third_party_balloon | permutation importance | tier_2 | 0.5997
third_party_balloon | permutation importance | vapor_pressure_deficit_avg | 0.5962
third_party_balloon | permutation importance | psps_segment | 0.5468
third_party_balloon | permutation importance | soil_THICK | 0.4908
third_party_balloon | permutation importance | soil_CLAY | 0.3297
third_party_balloon | permutation importance | cwhr_closed_cone_pine_cypress | 0.3156
third_party_balloon | permutation importance | cwhr_sierran_mixed_conifer | 0.2707
third_party_balloon | permutation importance | cwhr_red_fir | 0.254
third_party_balloon | permutation importance | soil_SLOPE | 0.1625
third_party_balloon | permutation importance | soil_OM | 0.1398
third_party_balloon | permutation importance | energy_release_avg | 0.1367
third_party_balloon | permutation importance | cwhr_redwood | 0.1224
third_party_balloon | permutation importance | tier_3 | 0.1109
third_party_balloon | permutation importance | soil_DRAIN | 0.0928
third_party_balloon | permutation importance | soil_HYGRP | 0.0889
third_party_balloon | permutation importance | soil_AWC | 0.0627
third_party_balloon | permutation importance | soil_IFHYDRIC | 0.0456
third_party_balloon | permutation importance | merged_strike_tree_height_min | 0.0436
third_party_balloon | permutation importance | cwhr_eucalyptus | 0.0406
third_party_balloon | permutation importance | wind_avg | 0.0336
third_party_balloon | permutation importance | soil_LL | 0.0234
third_party_balloon | permutation importance | tree_species_treemap | 0.0234
third_party_balloon | permutation importance | cwhr_valley_oak_woodland | 0.0174
third_party_balloon | permutation importance | cwhr_montane_riparian | 0.001
third_party_other | permutation importance | nonburnable_land_index | 23.9353
third_party_other | permutation importance | impervious | 22.7121
third_party_other | permutation importance | merged_strike_tree_count_perlinemile | 16.9113
third_party_other | permutation importance | merged_strike_tree_count | 10.932
third_party_other | permutation importance | conductor_size_and_material | 5.7999
third_party_other | permutation importance | subtypecd | 5.294
third_party_other | permutation importance | merged_strike_tree_height_max | 3.5648
third_party_other | permutation importance | cwhr_coastal_oak_woodland | 1.593
third_party_other | permutation importance | satelite_canopy_density | 1.2925
third_party_other | permutation importance | precipitation_avg | 0.7048
third_party_other | permutation importance | soil_SLOPE | 0.6779
third_party_other | permutation importance | soil_THICK | 0.6683
third_party_other | permutation importance | operatingvoltage | 0.5918
third_party_other | permutation importance | specific_humidity_avg | 0.4621
third_party_other | permutation importance | merged_strike_tree_height_avg | 0.4128
third_party_other | permutation importance | windy_summer_day_pct | 0.3987
third_party_other | permutation importance | vapor_pressure_deficit_avg | 0.33
third_party_other | permutation importance | soil_annual_flood_freq | 0.3297
third_party_other | permutation importance | tier_3 | 0.3283
third_party_other | permutation importance | tier_2 | 0.304
third_party_other | permutation importance | daily_max_temperature_avg | 0.2512
third_party_other | permutation importance | soil_LL | 0.2447
third_party_other | permutation importance | cwhr_klamath_mixed_conifer | 0.2419
third_party_other | permutation importance | local_topography | 0.2111
third_party_other | permutation importance | cwhr_valley_foothill_riparian | 0.1954
third_party_other | permutation importance | soil_IFHYDRIC | 0.1907
third_party_other | permutation importance | cwhr_pinyon_juniper | 0.1703
third_party_other | permutation importance | cwhr_blue_oak_woodland | 0.1658
third_party_other | permutation importance | soil_DRAIN | 0.1266
third_party_other | permutation importance | soil_PERM | 0.1023
third_party_other | permutation importance | cwhr_blue_oak_foothill_pine | 0.1012
third_party_other | permutation importance | psps_segment | 0.0981
third_party_other | permutation importance | soil_HYGRP | 0.0981
third_party_other | permutation importance | gusty_summer_day_pct | 0.0905
third_party_other | permutation importance | cwhr_montane_hardwood | 0.0838
third_party_other | permutation importance | soil_CLAY | 0.0783
third_party_other | permutation importance | cwhr_sierran_mixed_conifer | 0.0771
third_party_other | permutation importance | soil_AWC | 0.0653
third_party_other | permutation importance | cwhr_juniper | 0.0536
third_party_other | permutation importance | wind_avg | 0.0381
third_party_other | permutation importance | cwhr_eucalyptus | 0.0361
third_party_other | permutation importance | cwhr_desert_riparian | 0.0174
third_party_other | permutation importance | cwhr_ponderosa_pine | 0.0097
third_party_other | permutation importance | energy_release_avg | 0.0074
third_party_other | permutation importance | wind_max | 0.0018
vegetation_branch | permutation importance | merged_strike_tree_count | 57.8491
vegetation_branch | permutation importance | merged_strike_tree_count_perlinemile | 8.1762
vegetation_branch | permutation importance | merged_strike_tree_height_max | 7.4861
vegetation_branch | permutation importance | impervious | 6.5456
vegetation_branch | permutation importance | subtypecd | 4.8244
vegetation_branch | permutation importance | nonburnable_land_index | 2.9064
vegetation_branch | permutation importance | merged_strike_tree_height_avg | 1.9194
vegetation_branch | permutation importance | daily_max_temperature_avg | 1.8949
vegetation_branch | permutation importance | precipitation_avg | 1.1793
vegetation_branch | permutation importance | normalized_wind_dmg_and_stk_potential | 0.8858
vegetation_branch | permutation importance | cwhr_montane_hardwood_conifer | 0.6594
vegetation_branch | permutation importance | tier_2 | 0.5438
vegetation_branch | permutation importance | cwhr_blue_oak_foothill_pine | 0.4779
vegetation_branch | permutation importance | operatingvoltage | 0.4683
vegetation_branch | permutation importance | wind_dmg_and_stk_potential | 0.3768
vegetation_branch | permutation importance | coastal | 0.3303
vegetation_branch | permutation importance | soil_HYGRP | 0.3008
vegetation_branch | permutation importance | cwd_4yr_max | 0.2831
vegetation_branch | permutation importance | cwhr_valley_foothill_riparian | 0.2282
vegetation_branch | permutation importance | cwhr_douglas_fir | 0.2258
vegetation_branch | permutation importance | soil_PERM | 0.2172
vegetation_branch | permutation importance | specific_humidity_avg | 0.2009
vegetation_branch | permutation importance | soil_SLOPE | 0.1863
vegetation_branch | permutation importance | gusty_summer_day_pct | 0.1847
vegetation_branch | permutation importance | hist_wind_dir_stk_potential | 0.135
vegetation_branch | permutation importance | soil_annual_flood_freq | 0.1329
vegetation_branch | permutation importance | soil_DRAIN | 0.112
vegetation_branch | permutation importance | cwhr_coastal_oak_woodland | 0.1029
vegetation_branch | permutation importance | satelite_canopy_density | 0.0918
vegetation_branch | permutation importance | avg_20yr_spei | 0.0913
vegetation_branch | permutation importance | normalized_hist_wind_dir_stk_potential | 0.0874
vegetation_branch | permutation importance | local_topography | 0.0856
vegetation_branch | permutation importance | soil_IFHYDRIC | 0.0834
vegetation_branch | permutation importance | windy_summer_day_pct | 0.0833
vegetation_branch | permutation importance | cwhr_closed_cone_pine_cypress | 0.0768
vegetation_branch | permutation importance | cwd_4yr_CoV | 0.0678
vegetation_branch | permutation importance | energy_release_avg | 0.0651
vegetation_branch | permutation importance | wind_avg | 0.0601
vegetation_branch | permutation importance | 100_hour_fuels_avg | 0.0569
vegetation_branch | permutation importance | tree_species_treemap | 0.0536
vegetation_branch | permutation importance | vapor_pressure_deficit_avg | 0.053
vegetation_branch | permutation importance | soil_LL | 0.0526
vegetation_branch | permutation importance | tier_2_tree_mortality | 0.0386
vegetation_branch | permutation importance | soil_THICK | 0.0384
vegetation_branch | permutation importance | soil_CLAY | 0.0252
vegetation_branch | permutation importance | cwhr_lodgepole_pine | 0.0165
vegetation_branch | permutation importance | soil_erosion_kffact | 0.0111
vegetation_branch | permutation importance | cwhr_blue_oak_woodland | 0.0107
vegetation_branch | permutation importance | cwhr_eucalyptus | 0.0093
vegetation_branch | permutation importance | cwd_20yr_max | 0.0082
vegetation_trunk | permutation importance | merged_strike_tree_count | 63.616
vegetation_trunk | permutation importance | merged_strike_tree_height_max | 12.0433
vegetation_trunk | permutation importance | subtypecd | 8.0488
vegetation_trunk | permutation importance | merged_strike_tree_count_perlinemile | 2.4587
vegetation_trunk | permutation importance | normalized_hist_wind_dir_stk_potential | 1.6562
vegetation_trunk | permutation importance | impervious | 1.5773
vegetation_trunk | permutation importance | nonburnable_land_index | 1.2957
vegetation_trunk | permutation importance | gusty_summer_day_pct | 0.7637
vegetation_trunk | permutation importance | hist_wind_dir_stk_potential | 0.7203
vegetation_trunk | permutation importance | specific_humidity_avg | 0.6006
vegetation_trunk | permutation importance | precipitation_avg | 0.5745
vegetation_trunk | permutation importance | cwhr_montane_hardwood_conifer | 0.5564
vegetation_trunk | permutation importance | soil_SLOPE | 0.5475
vegetation_trunk | permutation importance | daily_max_temperature_avg | 0.466
vegetation_trunk | permutation importance | 1000_hour_fuels_avg | 0.427
vegetation_trunk | permutation importance | vapor_pressure_deficit_avg | 0.3554
vegetation_trunk | permutation importance | soil_HYGRP | 0.3279
vegetation_trunk | permutation importance | cwhr_eucalyptus | 0.327
vegetation_trunk | permutation importance | cwd_20yr_max | 0.3107
vegetation_trunk | permutation importance | satelite_canopy_density | 0.2941
vegetation_trunk | permutation importance | soil_CLAY | 0.2922
vegetation_trunk | permutation importance | wind_avg | 0.2463
vegetation_trunk | permutation importance | normalized_wind_dmg_and_stk_potential | 0.2452
vegetation_trunk | permutation importance | soil_PERM | 0.2354
vegetation_trunk | permutation importance | tier_2_tree_mortality | 0.1997
vegetation_trunk | permutation importance | cwhr_blue_oak_foothill_pine | 0.1989
vegetation_trunk | permutation importance | cwhr_juniper | 0.1421
vegetation_trunk | permutation importance | wind_dmg_and_stk_potential | 0.137
vegetation_trunk | permutation importance | avg_20yr_spei | 0.1236
vegetation_trunk | permutation importance | cwd_4yr_CoV | 0.1225
vegetation_trunk | permutation importance | cwd_20yr_CoV | 0.1149
vegetation_trunk | permutation importance | tree_species_treemap | 0.1112
vegetation_trunk | permutation importance | soil_THICK | 0.1033
vegetation_trunk | permutation importance | burn_index_avg | 0.0936
vegetation_trunk | permutation importance | local_topography | 0.0798
vegetation_trunk | permutation importance | cwhr_white_fir | 0.0727
vegetation_trunk | permutation importance | operatingvoltage | 0.0617
vegetation_trunk | permutation importance | cwhr_closed_cone_pine_cypress | 0.0613
vegetation_trunk | permutation importance | cwhr_valley_foothill_riparian | 0.0536
vegetation_trunk | permutation importance | windy_summer_day_pct | 0.0487
vegetation_trunk | permutation importance | cwhr_coastal_oak_woodland | 0.0462
vegetation_trunk | permutation importance | cwhr_montane_riparian | 0.0446
vegetation_trunk | permutation importance | merged_strike_tree_height_avg | 0.0433
vegetation_trunk | permutation importance | energy_release_avg | 0.0408
vegetation_trunk | permutation importance | soil_erosion_kffact | 0.0214
vegetation_trunk | permutation importance | cwhr_sierran_mixed_conifer | 0.0183
vegetation_trunk | permutation importance | cwhr_red_fir | 0.0137
vegetation_trunk | permutation importance | soil_DRAIN | 0.0129
vegetation_trunk | permutation importance | cwd_4yr_max | 0.0093
vegetation_trunk | permutation importance | cwhr_pinyon_juniper | 0.0083
vegetation_trunk | permutation importance | soil_IFHYDRIC | 0.0074
vegetation_trunk | permutation importance | tier_3 | 0.0073
vegetation_trunk | permutation importance | cwhr_ponderosa_pine | 0.0053
vegetation_trunk | permutation importance | cwhr_subalpine_conifer | 0.004
vegetation_trunk | permutation importance | coastal | 0.0034
vegetation_trunk | permutation importance | max_20yr_spei | 0.0032
vegetation_trunk | permutation importance | cwhr_douglas_fir | 0.0001
vegetation_other | permutation importance | merged_strike_tree_count | 52.4822
vegetation_other | permutation importance | merged_strike_tree_count_perlinemile | 15.5433
vegetation_other | permutation importance | impervious | 9.3023
vegetation_other | permutation importance | subtypecd | 5.1405
vegetation_other | permutation importance | nonburnable_land_index | 4.2617
vegetation_other | permutation importance | merged_strike_tree_height_avg | 2.6846
vegetation_other | permutation importance | vapor_pressure_deficit_avg | 1.7375
vegetation_other | permutation importance | merged_strike_tree_height_max | 1.5968
vegetation_other | permutation importance | normalized_hist_wind_dir_stk_potential | 0.6435
vegetation_other | permutation importance | max_20yr_spei | 0.59
vegetation_other | permutation importance | precipitation_avg | 0.4847
vegetation_other | permutation importance | wind_dmg_and_stk_potential | 0.4609
vegetation_other | permutation importance | tier_2_tree_mortality | 0.4536
vegetation_other | permutation importance | burn_index_avg | 0.4185
vegetation_other | permutation importance | operatingvoltage | 0.3789
vegetation_other | permutation importance | CoV_20yr_spei | 0.298
vegetation_other | permutation importance | cwhr_coastal_oak_woodland | 0.2701
vegetation_other | permutation importance | cwhr_blue_oak_woodland | 0.2384
vegetation_other | permutation importance | soil_AWC | 0.2154
vegetation_other | permutation importance | soil_HYGRP | 0.2095
vegetation_other | permutation importance | avg_20yr_spei | 0.2029
vegetation_other | permutation importance | soil_erosion_kffact | 0.1963
vegetation_other | permutation importance | tier_3 | 0.1656
vegetation_other | permutation importance | energy_release_avg | 0.158
vegetation_other | permutation importance | wind_max | 0.1541
vegetation_other | permutation importance | soil_PERM | 0.1328
vegetation_other | permutation importance | satelite_canopy_density | 0.1266
vegetation_other | permutation importance | cwhr_closed_cone_pine_cypress | 0.1179
vegetation_other | permutation importance | hist_wind_dir_stk_potential | 0.1136
vegetation_other | permutation importance | windy_summer_day_pct | 0.1111
vegetation_other | permutation importance | tree_species_treemap | 0.1007
vegetation_other | permutation importance | soil_SLOPE | 0.0989
vegetation_other | permutation importance | soil_OM | 0.0946
vegetation_other | permutation importance | cwhr_ponderosa_pine | 0.0864
vegetation_other | permutation importance | specific_humidity_avg | 0.0848
vegetation_other | permutation importance | soil_annual_flood_freq | 0.0809
vegetation_other | permutation importance | 1000_hour_fuels_avg | 0.065
vegetation_other | permutation importance | soil_LL | 0.0629
vegetation_other | permutation importance | gusty_summer_day_pct | 0.061
vegetation_other | permutation importance | cwhr_valley_foothill_riparian | 0.0604
vegetation_other | permutation importance | cwhr_klamath_mixed_conifer | 0.0539
vegetation_other | permutation importance | local_topography | 0.0436
vegetation_other | permutation importance | cwhr_montane_riparian | 0.0361
vegetation_other | permutation importance | normalized_wind_dmg_and_stk_potential | 0.0356
vegetation_other | permutation importance | soil_CLAY | 0.0338
vegetation_other | permutation importance | cwhr_juniper | 0.0311
vegetation_other | permutation importance | cwhr_jeffrey_pine | 0.0302
vegetation_other | permutation importance | cwhr_montane_hardwood_conifer | 0.0217
vegetation_other | permutation importance | min_20yr_spei | 0.016
vegetation_other | permutation importance | cwhr_redwood | 0.0115
vegetation_other | permutation importance | wind_avg | 0.0012

## Sheet3
WDRM_v4_sub_model | scoring_method | feature_name | value | From: | workflow_rada_asset_pipelines
dpd | total gain | estimated_age_years | 19.4374 |  | model_fit.py
dpd | total gain | faultduty | 11.3814 |  | output = model_fit
dpd | total gain | summer_max_ws_avg | 40.4594 |  | stages
dpd | total gain | winter_max_ws_avg | 16.3368 |  | SparkXGBClassifierModel
dpd | total gain | percent_diff_summer_max_ws_avg | 9.1343 |  | Details
dpd | total gain | percent_diff_winter_vpd_avg | 8.9504
dpd | total gain | percent_diff_winter_rel_humidity_avg | 58.1388
dpd | total gain | soil_erosion_kffact | 30.4808
fuse | total gain | estimated_age_years | 641.5803
fuse | total gain | linkrating | 502.1411
fuse | total gain | operating_voltage | 287.2361
fuse | total gain | numberofphases | 208.0037
fuse | total gain | complexdeviceidc_ind | 18.4868
fuse | total gain | bypassswitch_ind | 8.2772
fuse | total gain | corrosion_zone_ind | 324.3796
fuse | total gain | hftd_ind | 26.7126
fuse | total gain | summer_max_temp_avg | 188.5881
fuse | total gain | summer_precip_avg | 205.992
fuse | total gain | summer_vpd_avg | 312.8512
fuse | total gain | winter_vpd_avg | 77.4952
fuse | total gain | summer_rel_humidity_avg | 307.7292
fuse | total gain | winter_rel_humidity_avg | 128.0276
fuse | total gain | percent_diff_summer_max_temp_avg | 91.8441
fuse | total gain | percent_diff_summer_max_ws_avg | 68.6002
fuse | total gain | percent_diff_summer_vpd_avg | 79.3824
fuse | total gain | percent_diff_summer_rel_humidity_avg | 86.2393
fuse | total gain | percent_diff_winter_max_temp_avg | 92.1779
fuse | total gain | percent_diff_winter_max_ws_avg | 38.5196
fuse | total gain | percent_diff_winter_vpd_avg | 43.5982
fuse | total gain | percent_diff_winter_rel_humidity_avg | 87.2998
fuse | total gain | local_topography | 67.8566
fuse | total gain | population_density | 172.2274
fuse | total gain | satelite_strike_tree_count | 231.3115
fuse | total gain | soil_erosion_kffact | 88.1855
fuse | total gain | linktype_encoded_FT | 145.0877
fuse | total gain | region_encoded_Bay_Area | 9.1335
fuse | total gain | manufacturer_encoded_S_&_C | 8.4647
primary conductor - wire down | total gain | estimated_age_years | 282.9032
primary conductor - wire down | total gain | conductorcount | 1964.408
primary conductor - wire down | total gain | conductor_length_ft | 251.8353
primary conductor - wire down | total gain | pole_height_ft | 876.5599
primary conductor - wire down | total gain | lidar_max_sag | 63.0651
primary conductor - wire down | total gain | lidar_val_60_90mph | 12.2529
primary conductor - wire down | total gain | lidar_val_fault3000a | 39.8138
primary conductor - wire down | total gain | conductor_cross_sectional_area_min | 667.9482
primary conductor - wire down | total gain | conductor_ultimate_strength_lbs_max | 370.1853
primary conductor - wire down | total gain | conductor_weight_lbs_max | 273.1062
primary conductor - wire down | total gain | splice_ind | 63.8053
primary conductor - wire down | total gain | all_open_tag_ind | 112.1381
primary conductor - wire down | total gain | corrosion_zone_ind | 21.0889
primary conductor - wire down | total gain | coastalidc_ind | 327.956
primary conductor - wire down | total gain | hftd_ind | 13.3294
primary conductor - wire down | total gain | protected_ind | 102.1369
primary conductor - wire down | total gain | summer_max_temp_avg | 193.5691
primary conductor - wire down | total gain | winter_max_temp_avg | 332.3187
primary conductor - wire down | total gain | summer_max_ws_avg | 485.6036
primary conductor - wire down | total gain | summer_precip_avg | 800.4178
primary conductor - wire down | total gain | winter_precip_avg | 404.764
primary conductor - wire down | total gain | summer_vpd_avg | 505.3503
primary conductor - wire down | total gain | winter_vpd_avg | 273.1718
primary conductor - wire down | total gain | summer_rel_humidity_avg | 2107.6594
primary conductor - wire down | total gain | winter_rel_humidity_avg | 350.6474
primary conductor - wire down | total gain | percent_diff_summer_max_temp_avg | 201.4957
primary conductor - wire down | total gain | percent_diff_summer_max_ws_avg | 217.7983
primary conductor - wire down | total gain | percent_diff_summer_vpd_avg | 288.6549
primary conductor - wire down | total gain | percent_diff_summer_rel_humidity_avg | 432.5486
primary conductor - wire down | total gain | percent_diff_winter_max_temp_avg | 121.1164
primary conductor - wire down | total gain | percent_diff_winter_max_ws_avg | 150.4823
primary conductor - wire down | total gain | percent_diff_winter_vpd_avg | 44.9517
primary conductor - wire down | total gain | percent_diff_winter_rel_humidity_avg | 79.4679
primary conductor - wire down | total gain | local_topography | 67.202
primary conductor - wire down | total gain | nonburnable_land_index | 2531.3594
primary conductor - wire down | total gain | satelite_strike_tree_count | 271.5967
primary conductor - wire down | total gain | soil_erosion_kffact | 1060.8589
primary conductor - wire down | total gain | construction_type_encoded_Horizontal | 10.919
primary conductor - line slap | total gain | estimated_age_years | 62.9358
primary conductor - line slap | total gain | conductorcount | 420.5575
primary conductor - line slap | total gain | conductor_length_ft | 110.6521
primary conductor - line slap | total gain | pole_height_ft | 152.9958
primary conductor - line slap | total gain | operating_voltage | 11.1737
primary conductor - line slap | total gain | spacing | 85.0507
primary conductor - line slap | total gain | lidar_framing_level_count | 11.8275
primary conductor - line slap | total gain | lidar_max_sag | 12.1078
primary conductor - line slap | total gain | lidar_val_60_90mph | 82.3352
primary conductor - line slap | total gain | lidar_val_fault3000a | 44.5541
primary conductor - line slap | total gain | conductor_cross_sectional_area_min | 80.6084
primary conductor - line slap | total gain | conductor_ultimate_strength_lbs_max | 49.8898
primary conductor - line slap | total gain | conductor_weight_lbs_max | 101.8319
primary conductor - line slap | total gain | hftd_ind | 7.0747
primary conductor - line slap | total gain | summer_max_temp_avg | 35.4251
primary conductor - line slap | total gain | summer_max_ws_avg | 157.4665
primary conductor - line slap | total gain | winter_precip_avg | 158.3688
primary conductor - line slap | total gain | summer_vpd_avg | 156.7769
primary conductor - line slap | total gain | winter_vpd_avg | 60.162
primary conductor - line slap | total gain | summer_rel_humidity_avg | 99.9421
primary conductor - line slap | total gain | winter_rel_humidity_avg | 41.8239
primary conductor - line slap | total gain | percent_diff_summer_max_temp_avg | 76.47
primary conductor - line slap | total gain | percent_diff_summer_max_ws_avg | 127.2475
primary conductor - line slap | total gain | percent_diff_summer_vpd_avg | 51.5995
primary conductor - line slap | total gain | percent_diff_summer_rel_humidity_avg | 129.3732
primary conductor - line slap | total gain | percent_diff_winter_max_temp_avg | 36.7687
primary conductor - line slap | total gain | percent_diff_winter_max_ws_avg | 104.6093
primary conductor - line slap | total gain | percent_diff_winter_vpd_avg | 113.9384
primary conductor - line slap | total gain | percent_diff_winter_rel_humidity_avg | 39.2454
primary conductor - line slap | total gain | local_topography | 83.7126
primary conductor - line slap | total gain | population_density | 165.0439
primary conductor - line slap | total gain | satelite_strike_tree_count | 51.7838
primary conductor - line slap | total gain | soil_erosion_kffact | 61.6466
primary conductor - other | total gain | estimated_age_years | 176.7502
primary conductor - other | total gain | conductorcount | 1777.7299
primary conductor - other | total gain | conductor_length_ft | 209.5866
primary conductor - other | total gain | pole_height_ft | 389.5147
primary conductor - other | total gain | operating_voltage | 13.2507
primary conductor - other | total gain | lidar_pole_elevation | 51.288
primary conductor - other | total gain | lidar_framing_level_count | 80.0289
primary conductor - other | total gain | lidar_max_sag | 53.3399
primary conductor - other | total gain | lidar_val_35_60mph | 10.0941
primary conductor - other | total gain | conductor_cross_sectional_area_min | 34.4519
primary conductor - other | total gain | conductor_weight_lbs_max | 238.2048
primary conductor - other | total gain | coastalidc_ind | 89.2531
primary conductor - other | total gain | hftd_ind | 10.1668
primary conductor - other | total gain | treewire_idc | 44.1918
primary conductor - other | total gain | protected_ind | 10.7308
primary conductor - other | total gain | summer_max_temp_avg | 78.8785
primary conductor - other | total gain | winter_max_temp_avg | 73.6015
primary conductor - other | total gain | summer_max_ws_avg | 138.8465
primary conductor - other | total gain | summer_precip_avg | 273.2371
primary conductor - other | total gain | winter_precip_avg | 137.2654
primary conductor - other | total gain | summer_vpd_avg | 346.8699
primary conductor - other | total gain | winter_vpd_avg | 24.4751
primary conductor - other | total gain | summer_rel_humidity_avg | 765.2504
primary conductor - other | total gain | winter_rel_humidity_avg | 83.3265
primary conductor - other | total gain | percent_diff_summer_max_temp_avg | 132.312
primary conductor - other | total gain | percent_diff_summer_max_ws_avg | 170.4885
primary conductor - other | total gain | percent_diff_summer_vpd_avg | 139.6418
primary conductor - other | total gain | percent_diff_summer_rel_humidity_avg | 70.8765
primary conductor - other | total gain | percent_diff_winter_max_temp_avg | 66.2171
primary conductor - other | total gain | percent_diff_winter_max_ws_avg | 69.4931
primary conductor - other | total gain | percent_diff_winter_vpd_avg | 79.2458
primary conductor - other | total gain | percent_diff_winter_rel_humidity_avg | 134.855
primary conductor - other | total gain | local_topography | 119.2829
primary conductor - other | total gain | nonburnable_land_index | 1133.1069
primary conductor - other | total gain | satelite_strike_tree_count | 47.6355
primary conductor - other | total gain | soil_erosion_kffact | 524.6414
support structure - equipment | total gain | estimated_age_years | 2985.0115
support structure - equipment | total gain | pole_original_volume | 1198.201
support structure - equipment | total gain | percentatmcu | 1843.2435
support structure - equipment | total gain | corrosion_zone_ind | 17.0774
support structure - equipment | total gain | all_open_tag_ind | 47.598
support structure - equipment | total gain | summer_max_temp_avg | 399.0742
support structure - equipment | total gain | summer_max_ws_avg | 198.3686
support structure - equipment | total gain | summer_precip_avg | 236.1668
support structure - equipment | total gain | winter_precip_avg | 197.2497
support structure - equipment | total gain | summer_vpd_avg | 346.1037
support structure - equipment | total gain | winter_vpd_avg | 58.9897
support structure - equipment | total gain | summer_rel_humidity_avg | 281.0367
support structure - equipment | total gain | winter_rel_humidity_avg | 199.0505
support structure - equipment | total gain | percent_diff_summer_max_temp_avg | 202.0349
support structure - equipment | total gain | percent_diff_summer_max_ws_avg | 262.4673
support structure - equipment | total gain | percent_diff_summer_vpd_avg | 234.1037
support structure - equipment | total gain | percent_diff_summer_rel_humidity_avg | 691.0533
support structure - equipment | total gain | percent_diff_winter_vpd_avg | 83.7284
support structure - equipment | total gain | percent_diff_winter_rel_humidity_avg | 574.5615
support structure - equipment | total gain | local_topography | 101.735
support structure - equipment | total gain | nonburnable_land_index | 562.2656
support structure - equipment | total gain | satelite_strike_tree_count | 149.7222
support structure - equipment | total gain | soil_erosion_kffact | 225.4731
support structure - equipment | total gain | soil_annual_flood_freq | 32.5724
support structure - equipment | total gain | years_since_last_ptt | 208.6384
support structure - equipment | total gain | ptt_circumference_pct_diff_from_original | 365.3655
support structure - equipment | total gain | pole_remaining_strength | 647.3109
support structure - equipment | total gain | local_topography_times_kffact | 164.4743
support structure - equipment | total gain | species_encoded___unknown | 59.4705
support structure - equipment | total gain | originaltreatmenttype_encoded_penta | 25.9133
support structure - equipment | total gain | originaltreatmenttype_encoded___unknown | 59.5018
support structure - electrical | total gain | estimated_age_years | 2407.4072
support structure - electrical | total gain | attachment_count | 5.7421
support structure - electrical | total gain | pole_original_volume | 2106.6052
support structure - electrical | total gain | corrosion_zone_ind | 372.9703
support structure - electrical | total gain | percentatmcu | 1335.1385
support structure - electrical | total gain | all_open_tag_ind | 7.1814
support structure - electrical | total gain | summer_max_temp_avg | 53.6267
support structure - electrical | total gain | summer_max_ws_avg | 324.2875
support structure - electrical | total gain | summer_precip_avg | 696.3738
support structure - electrical | total gain | winter_precip_avg | 509.8559
support structure - electrical | total gain | summer_vpd_avg | 427.0158
support structure - electrical | total gain | winter_vpd_avg | 374.2653
support structure - electrical | total gain | summer_rel_humidity_avg | 570.4844
support structure - electrical | total gain | winter_rel_humidity_avg | 207.9116
support structure - electrical | total gain | percent_diff_summer_max_temp_avg | 772.8929
support structure - electrical | total gain | percent_diff_summer_max_ws_avg | 388.6147
support structure - electrical | total gain | percent_diff_summer_vpd_avg | 76.7732
support structure - electrical | total gain | percent_diff_summer_rel_humidity_avg | 1728.5729
support structure - electrical | total gain | percent_diff_winter_vpd_avg | 202.6215
support structure - electrical | total gain | percent_diff_winter_rel_humidity_avg | 261.1839
support structure - electrical | total gain | local_topography | 248.8291
support structure - electrical | total gain | population_density | 336.0246
support structure - electrical | total gain | nonburnable_land_index | 485.9737
support structure - electrical | total gain | satelite_strike_tree_count | 573.8993
support structure - electrical | total gain | soil_erosion_kffact | 105.1642
support structure - electrical | total gain | soil_annual_flood_freq | 153.7406
support structure - electrical | total gain | years_since_last_ptt | 194.1829
support structure - electrical | total gain | originaltreatmenttype_encoded_penta | 24.6246
support structure - electrical | total gain | originaltreatmenttype_encoded_gas | 11.6747
support structure - electrical | total gain | originaltreatmenttype_encoded___unknown | 14.4209
support structure - electrical | total gain | division_encoded_Yosemite | 9.3344
support structure - electrical | total gain | division_encoded_Kern | 11.1525
support structure - electrical | total gain | division_encoded_Central_Coast | 7.1069
support structure - electrical | total gain | division_encoded_Sacramento | 12.1137
support structure - electrical | total gain | division_encoded_San_Jose | 5.7887
support structure - electrical | total gain | division_encoded_Peninsula | 22.2362
support structure - electrical | total gain | division_encoded_North_Bay | 102.314
support structure - electrical | total gain | division_encoded_East_Bay | 478.3377
support structure - electrical | total gain | division_encoded_Mission | 173.6848
support structure - electrical | total gain | species_encoded_Douglas_Fir | 7.4794
support structure - electrical | total gain | species_encoded_Western_Red_Cedar | 255.7283
support structure - electrical | total gain | species_encoded_Not_Available | 10.738
support structure - electrical | total gain | species_encoded___unknown | 7.7951
Transformer - failure | total gain | estimated_age_years | 5406.6646
Transformer - failure | total gain | rated_kva | 850.2397
Transformer - failure | total gain | coastal_corrosive_ind | 670.4221
Transformer - failure | total gain | replacement_open_tag_ind | 55.1586
Transformer - failure | total gain | population_density | 3387.1377
Transformer - failure | total gain | nonburnable_land_index | 687.3271
Transformer - failure | total gain | satelite_strike_tree_count | 1402.3085
Transformer - failure | total gain | soil_erosion_kffact | 1578.2391
Transformer - failure | total gain | local_topography | 1470.7283
Transformer - failure | total gain | summer_max_temp_avg | 2716.6914
Transformer - failure | total gain | winter_max_temp_avg | 2367.7847
Transformer - failure | total gain | summer_max_ws_avg | 1644.6949
Transformer - failure | total gain | percent_diff_summer_max_temp_avg | 5234.959
Transformer - failure | total gain | percent_diff_winter_max_temp_avg | 3019.0273
Transformer - failure | total gain | txfmr_load_factor_12m | 2445.4539
Transformer - failure | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 7586.0806
Transformer - failure | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 3707.4126
Transformer - failure | total gain | unit_max_peak_kva_percent_capability_12m | 4261.3745
Transformer - failure | total gain | unit_mean_peak_kva_percent_capability_12m | 611.3965
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AS | 145.5341
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_HI | 113.9725
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_PP | 122.5978
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_GE | 153.5449
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_KU | 129.7412
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_WE | 17.1454
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ME | 41.0773
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_XX | 65.8111
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_RT | 8.4212
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AB | 10.3806
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_CP | 80.9042
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_DS | 113.9192
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_FP | 39.7242
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ER | 7.5192
Transformer - leaking | total gain | estimated_age_years | 441.4491
Transformer - leaking | total gain | rated_kva | 176.3955
Transformer - leaking | total gain | coastal_corrosive_ind | 30.677
Transformer - leaking | total gain | population_density | 254.7561
Transformer - leaking | total gain | nonburnable_land_index | 44.3157
Transformer - leaking | total gain | satelite_strike_tree_count | 82.6939
Transformer - leaking | total gain | soil_erosion_kffact | 143.2042
Transformer - leaking | total gain | local_topography | 81.6514
Transformer - leaking | total gain | summer_max_temp_avg | 262.2135
Transformer - leaking | total gain | winter_max_temp_avg | 238.3505
Transformer - leaking | total gain | summer_max_ws_avg | 132.6824
Transformer - leaking | total gain | percent_diff_summer_max_temp_avg | 311.6464
Transformer - leaking | total gain | percent_diff_winter_max_temp_avg | 375.7184
Transformer - leaking | total gain | txfmr_load_factor_12m | 185.2396
Transformer - leaking | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 331.2431
Transformer - leaking | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 348.9574
Transformer - leaking | total gain | unit_max_peak_kva_percent_capability_12m | 304.1648
Transformer - leaking | total gain | unit_mean_peak_kva_percent_capability_12m | 64.2051
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_AS | 38.815
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_HI | 47.6439
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_PP | 46.7589
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_GE | 29.9776
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_KU | 19.8145
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_ME | 16.9586
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_XX | 56.682
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_DS | 88.7895
Switch | total gain | estimated_age_years | 76.181
Switch | total gain | ccrating | 113.071
Switch | total gain | summer_max_temp_avg | 24.3297
Switch | total gain | winter_max_temp_avg | 116.4057
Switch | total gain | winter_vpd_avg | 9.6391
Switch | total gain | summer_rel_humidity_avg | 54.5859
Switch | total gain | percent_diff_summer_max_temp_avg | 18.8957
Switch | total gain | percent_diff_summer_rel_humidity_avg | 41.189
Switch | total gain | percent_diff_winter_max_temp_avg | 8.1986
Switch | total gain | percent_diff_winter_vpd_avg | 35.8113
Switch | total gain | percent_diff_winter_rel_humidity_avg | 29.4419
Switch | total gain | local_topography | 13.2152
Switch | total gain | population_density | 8.0097
Switch | total gain | soil_erosion_kffact | 18.656
Switch | total gain | switch_type_encoded_SCADA_Switch | 164.695
voltage regulator | total gain | estimated_age_years | 9.538
voltage regulator | total gain | ratedamps | 141.4699
voltage regulator | total gain | operating_voltage | 28.5003
voltage regulator | total gain | pole_height | 10.3941
voltage regulator | total gain | summer_max_ws_avg | 24.7123
voltage regulator | total gain | winter_precip_avg | 65.2281
voltage regulator | total gain | winter_max_temp_avg | 61.2261
voltage regulator | total gain | winter_vpd_avg | 52.0967
voltage regulator | total gain | summer_rel_humidity_avg | 48.6288
voltage regulator | total gain | winter_rel_humidity_avg | 30.4894
voltage regulator | total gain | percent_diff_summer_max_temp_avg | 19.8788
voltage regulator | total gain | percent_diff_summer_max_ws_avg | 32.1467
voltage regulator | total gain | percent_diff_summer_rel_humidity_avg | 46.6779
voltage regulator | total gain | percent_diff_winter_vpd_avg | 57.1823
voltage regulator | total gain | percent_diff_winter_rel_humidity_avg | 32.7978
voltage regulator | total gain | nonburnable_land_index | 24.6166
voltage regulator | total gain | satelite_strike_tree_count | 28.8567
voltage regulator | total gain | soil_erosion_kffact | 9.7002