## Slide 1: Decision: ECOP Top 20% - PM 35192280 – Clayton 22122951 H01 (Example)
WMP-Discovery2026-2028_DR_SPD_004-Q007Atch01
Mitigation Decision Tree
PSPS
PSS
Tree Strike
Are there Egress / Ingress concerns expressed by PSS team?
Area of impact identified, relocate to UG preferred and pursue relevant path
Can the concern be safely mitigated utilizing intumescent wrapped or composite poles?
Area of impact identified, relocate to underground preferred
No area of impact identified, OH in place preferred
Are there areas identified with tree strike potential within the circuit segment?
Low (0-5) Moderate (6-14) High (15+)
Area of impact identified, relocate to underground preferred
No area of impact identified, OH in place preferred
Yes
Yes
Yes
Moderate / High
No
No
No
Low
Decision
Step
Key
10-year Lookback
PSS Report
Is OH hardening an acceptable mitigation using distribution line exclusion?
Yes
Is the area being considered for HFRA Add/Remove?
Consider potential scope adjustments
No
Yes
Removal / Buy Out
Is the project a candidate for Removal or Buy Out / Remote Grid?
No
Proceed with evaluation of Removal / Buy Out / Remote Grid
Yes
No area of impact identified, OH in place preferred
Is this an area that is impacted directly by PSPS (>8 Frequency or >1,200 Cust Impact)?
Are there any critical customers within zone necessary to protect?
OR
No
Full PSPS Project
Mitigate within zone
EASOP
WGC
Compile execution risks, costs and risk reduction and identify the highest RSE
If alternatives fall within a 25% range, is there additional benefit to choosing an alternative that is not the top ranked RSE?
Identify target locations, underground preferred
Recommend OH/Hybrid alternative and present alternative cost for decision
Present alternatives, RSE, Execution Timelines, PSS, PSPS, and Tree Strike flags for Wildfire Governance Committee approval
Was the recommendation approved?
Was an alternative recommendation approved?
Identify PSPS, PSS, and Tree Strike flags for alternate construction method.
Proceed with recommendation, relocate to UG areas of impact or concern
Proceed with recommendation, update materials in EDRS to reflect approved mitigation method and proceed to execution
Take actions and develop new alternatives based on the feedback and re-submit to the Wildfire Governance Committee for approval
Yes
No
No
FSD
No
Yes
Yes
Review areas of impact for additional land/bio/cultural/constructability
Are there any significant dependency or constructability limitations in the areas of impact?
(Threshold: 2+ year incremental delay)
Identify areas of concern, impacts, and review economic analysis for pref. option
Identify target locations, UG preferred
No
Yes
Does the CPZ meet ECOP threshold (>25% structures warrant replacement) and result in a more timely mitigation method preferred (e.g., OH)?
No
Yes
Key Questions | Key Questions | Outcome | Outcome | Outcome
PSPS | Is this an area that is impacted directly by PSPS (>8 Frequency or >1,200 Cust Impact)? | Y | N* | 1 event, OH preferred
PSPS | Are there any critical customers within zone necessary to protect? | Y | N* | 
PSPS | Is OH hardening an acceptable mitigation using distribution line exclusion? | Y | N | N/A
PSS | Is the area being considered for HFRA Add/Remove? | Y | N* | 
PSS | Ingress/Egress concerns identified by PSS professionals cannot be mitigated by utilizing intumescent wrapped or composite poles. | Y* | N | Ingress / Egress concerns
Tree Strike | Moderate (6-14) or high (15+) strike tree potential areas in the segment. | Y | N* | 
FSD | Are there any significant dependency or constructability limitations in the areas of impact? (Threshold: 2+ year incremental delay) | Y | N* | 
FSD | Does the CPZ meet ECOP threshold (>25% structures warrant replacement) and result in a more timely mitigation method preferred (e.g., OH)? | Y* | N | 
EASOP | If alternatives fall within a 100% range, is there additional benefit to choosing an alternative that is not the top ranked RSE? | Y* | N | Hybrid and UG within 100%
*Hybrid Preferred

## Slide 2: PG&E-23-05-06A
WMP-Discovery2026-2028_DR_SPD_004-Q007Atch01
PSPS
PSS
Tree Strike
Are there Egress / Ingress concerns expressed by PSS team?
Area of impact identified, relocate to UG preferred and pursue relevant path
Can the concern be safely mitigated utilizing intumescent wrapped or composite poles?
Area of impact identified, relocate to underground preferred
No area of impact identified, OH in place preferred
Are there areas identified with tree strike potential within the circuit segment?
Low (0-5) Moderate (6-14) High (15+)
Area of impact identified, relocate to underground preferred
No area of impact identified, OH in place preferred
Yes
Yes
Yes
Moderate / High
No
No
No
Low
10-year Lookback
PSS Report
Is the area being considered for HFRA Add/Remove?
Consider potential scope adjustments
No
Yes
Removal / Buy Out
Is the project a candidate for Removal or Buy Out / Remote Grid?
No
Proceed with evaluation of Removal / Buy Out / Remote Grid
Yes
No area of impact identified, OH in place preferred
Is this an area that is impacted directly by PSPS (>8 Frequency or >1,200 Cust Impact)?
Are there any critical customers within zone necessary to protect?
OR
Full PSPS Project
Mitigate within zone
Continued on next slide
Decision
Step
Key

## Slide 3: PG&E-23-05-06B
WMP-Discovery2026-2028_DR_SPD_004-Q007Atch01
EASOP
WGC
Compile execution risks, costs and risk reduction and identify the highest RSE
If alternatives fall within a 100% range, is there additional benefit to choosing an alternative that is not the top ranked RSE?
Identify target locations, underground preferred
Recommend OH/Hybrid alternative and present alternative cost for decision
Present alternatives, RSE, Execution Timelines, PSS, PSPS, and Tree Strike flags for Wildfire Governance Committee approval
Was the recommendation approved?
Was an alternative recommendation approved?
Identify PSPS, PSS, and Tree Strike flags for alternate construction method.
Proceed with recommendation, relocate to UG areas of impact or concern
Proceed with recommendation, update materials in EDRS to reflect approved mitigation method and proceed to execution
Take actions and develop new alternatives based on the feedback and re-submit to the Wildfire Governance Committee for approval
Yes
No
No
FSD
No
Yes
Yes
Review areas of impact for additional land/bio/cultural/constructability
Are there any significant dependency or constructability limitations in the areas of impact?
(Threshold: 2+ year incremental delay)
Identify areas of concern, impacts, and review economic analysis for pref. option
Identify target locations, UG preferred
No
Yes
Does the CPZ meet ECOP threshold (>25% structures warrant replacement) and result in a more timely mitigation method preferred (e.g., OH)?
No
Yes
Decision
Step
Key
Continued from last slide