## Slide 1: 2026-2028 WMP Figure 5.2.1-1, Page 56
WFC v4 Components
WFC v4 Base
Fatalities / Structure
Acres
Fatalities
Structures Destroyed
Suppression Access
Model adjusts structures destroyed based on asset location terrain
Structures Destroyed
TDI
Egress
Model adjusts the fatalities / structures destroyed based on asset location demographic data
Fatalities /
Structure
AFN
WFC v4 E&S
Fatalities / Structure
Acres
Fatalities
Structures Destroyed
(TDI, AFN)
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 2: 2026-2028 WMP Figure 5-2-1, Page 60
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01
Distribution Ignition Probability Calculation Schematic
Inputs
Asset Data
Models
Intermediate
Results
Meteorology
Vegetation
Wind Speed
Fuels
Event Data
Outputs
Ignition Probability
Maintenance Tags
Outage Probability
Equipment
Outage Probability
Vegetation
Outage Probability
Contact from Object
Outage Probability
Causal Results
Ignition given Outage

## Slide 3: 2026-2028 WMP Figure 5-2-2, Page 61
Inputs
Asset Data
Models
Intermediate
Results
Meteorology
Vegetation
Event Data
Outputs
Ignition Probability
Maintenance Tags
Failure Probability
Hazards
Failure Probability
Threats
Failure Probability
Causal Results
Transmission Ignition Likelihood Calculation Schematic
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 4: 2026-2028 WMP Figure 5-2-3, Page 63
Inputs
Asset Data
Models
Intermediate
Results
Meteorology
Customer Data
Outputs
PSPS Risk
Meteorology PSPS Protocol Back-cast
Enterprise PSPS Cost Benefit Approach Model
PSPS Likelihood
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 5: 2026-2028 WMP Figure 5-2-4, Page 64
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01
EPSS Risk Calculation Procedure Schematic
Inputs
Asset Data
Models
Intermediate
Results
WDRM Data
Customer Data
Outputs
EPSS Risk
EPSS Likelihood Model
EPSS Consequence Model
EPSS Risk
Model
EPSS Likelihoods
EPSS Consequence

## Slide 6: 2026-2028 WMP Figure 5-2-5, Page 67
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01
WFC Calculation Procedure Schematic
Inputs
Asset Data
Models
Intermediate
Results
Meteorology
Vegetation
Topology
CalFire Fire Data
VIIRS Fire Data
Outputs
Consequence Pixel Values
Demographics
Meteorology Fire Potential Index
Technosylva Models*
EORM Risk Model
FPI-R
Wildfire Consequence
Ignition Simulations:
Rate of Spread
Flame Length
Acres Burned
Structures Destroyed
Fatalities
Terrain Difficulty Index (TDI)
Multi-Attribute Value function (MAVf)

## Slide 7: 2026-2028 WMP Figure 5.2.2.2-1, Page 68
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01
Consequence Modeling Process
CALFIRE
Fire Outcomes
VIIRS Historic Fire Data
Technosylva 24-hr Simulations
Fire Potential Index (FPI)
MAVf using historic:
Acres burned
Buildings destroyed
Fatalities
Aggregate for each historical:
Fire day
Fire location
Aggregate for each fire season day at each:
Fire location
Predict Consequence for each:
Modeling day
Fire location
Aggregate Consequence across all days for each:
Fire location
FPI >= 4
OR
Flame Length >= 5
and
Rate of Spread >= 12
Adjust for:
Suppression Access
Public Egress
WFC v4 Consequence Model
Historic Consequence | HFRA | Dry Wind | Predictive Destructive
0.37 | False | False | False
8.64 | False | False | True
0.46 | False | True | False
1.80 | False | True | True
1.96 | True | False | False
180.1 | True | False | True
1.78 | True | True | False
501.5 | True | True | True

## Slide 8: 2026-2028 WMP Figure PG&E-6.1.3.1-4, Page 125
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 9: 2026-2028 WMP PG&E-8-1-1, Page 228
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 10: 2026-2028 WMP PG&E-8-1-1, Page 228 (Remade for Powerpoint)
Transmission
OH Assets
GO 165
WECC
TD-8123P-100
TD-1001M
Scope &
Confirm
Inspection
Plan Units
Generate
Maintenance
Plan &
Order #s
Review of
mapping updates
& quarterly
validation
to ensure
compliance &
accuracy of
scope
Create
Can’t Get In
(CGI) LC
Can Inspector
Access Structure?
Dispatch
to Inspector
Generate
Attainment
Report
Address
CGI Issue
Execute Inspection
Aerial Inspection:
Imagery Captured
followed by
Desktop Inspection
Are there
any Maintenance
Issues
Identified?
Is the issue
an Emergency?
Create S5
Notification
Reviewed &
Gate Kept
by CIRT
Create
Emergency LC,
Follow
Emergency
Procedures
Submit
Completed
Inspection
NO
YES
NO
NO
YES
YES
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 11: 2026-2028 WMP PG&E-8-1-2, Page 231
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01

## Slide 12: 2026-2028 WMP PG&E-8-1-2, Page 231(Remade for Powerpoint)
Transmission
OH Conductor
GO 165
WECC
TD-8123P-100
TD-1001P-14
TD-1001M
Scope &
Confirm
Inspection
Plan Units
Generate
Maintenance
Plan &
Order #s
Review of
mapping
updates
& quarterly
validation
to ensure
compliance
& accuracy
of scope
Schedule
Inspection
Based on
Available
Loading
Review
Historical Data
to Determine
Circuit Peak
Loading Month(s)
Generate
Attainment
Report
Are there
any Maintenance
Issues
Identified?
Create S5
Notification
Reviewed &
Gate Kept
by CIRT
Submit
Completed
Inspection
Execute
Inspection
NO
YES
WMP-Discovery2026-2028_DR_SPD_004-Q008Supp01Atch01