## Sheet1
WMP-Discovery2026-2028_DR_SPD_004-Q037Atch01
Average Annual Cost per Mile Examples |  | Cost per Mile for Scenario |  | Avoided Costs
O&M Annual Costs | Unit | Unhardened Baseline Scenario (A) | UG Primary (B) | UG Primary (C) | Time Scale for Data Inputs
Patrols & Inspections (D) | $K/mile/year | 6.7 | 0.648 | 6.052 | 4 year average 2023-2026 GRC forecast
Vegetation Management (E) | $K/mile/year | 20.5 | 0 | 20.5 | 1 year 2024 historical
Maintenance & Repair (F) | $K/mile/year | 8.74 | 6.715 | 2.025 | 4 year average 2023-2026 GRC forecast
Assumptions
A. Unhardened baseline is the hypothetical baseline for a given circuit segment that has no system hardening mitigation applied.
B. Cost per mile for scenario is the average annual cost for a mitigation.
C. The avoided cost is the difference between the Baseline scenario and mitigation scenario.
D. It is assumed that the cost for patrols and inspections significantly decrease for undergrounded miles based on the type of patrols and inspections required.
E. It is assumed that no vegetation management is required for miles that have been fully undergrounded. The vegetation management costs provided are an average cost per mile. It is expected that the cost of vegetation management will vary by CPZ.
F. The cost of maintenance and repairs is assumed to decrease for undergrounded lines based on 2023-2026 GRC forecast.