## TURN_003_Q007
Index | Start Date | Suspected Initiating Event | Failure Sub Driver | Equipment Involved With Ignition | Structures Destroyed | Fatalities | Injuries | Red Flag Warning | Acreage
20180134 | 2018-04-27 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180240 | 2018-06-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180282 | 2018-06-13 | Contact - Animal - Bird | Contact - Animal - Bird | Unknown |  |  |  | No
20180330 | 2018-06-20 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20180383 | 2018-06-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180385 | 2018-06-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180387 | 2018-06-28 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180404 | 2018-06-30 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | Yes
20180413 | 2018-07-01 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | Yes
20180425 | 2018-07-04 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180458 | 2018-07-10 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20180478 | 2018-07-14 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20180482 | 2018-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180497 | 2018-07-17 | Vegetation | Contact - Vegetation | Crossarm |  |  |  | No
20180501 | 2018-07-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180528 | 2018-07-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180531 | 2018-07-21 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180602 | 2018-08-03 | Contact - Animal - Other | Contact - Animal - Other | Unknown |  |  |  | No | 1
20180630 | 2018-08-07 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20180646 | 2018-08-08 | Contact - Animal - Bird | Contact - Animal - Bird | Transformer |  |  |  | No
20180676 | 2018-08-14 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20180691 | 2018-08-20 | Contact - 3rd Party | Contact - Other |  |  |  |  | No
20180697 | 2018-08-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180699 | 2018-08-22 | Unknown | Unknown | Unknown |  |  |  | No
20180706 | 2018-08-24 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No
20180709 | 2018-08-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180718 | 2018-08-28 | Contact - Animal - Other | Contact - Animal - Other | Pothead |  |  |  | No
20180729 | 2018-08-31 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180736 | 2018-09-01 | Contact - Animal - Bird | Contact - Animal - Bird | Unknown |  |  |  | No
20180740 | 2018-09-02 | Equipment - PG&E | Capacitor bank failure | Capacitor Bank |  |  |  | No
20180751 | 2018-09-05 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180805 | 2018-09-21 | Contact - Animal - Bird | Contact - Animal - Bird | Unknown |  |  |  | No
20180937 | 2018-11-07 | Equipment - PG&E | Capacitor bank failure | Capacitor Bank |  |  |  | No
20180974 | 2018-11-13 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20181052 | 2018-12-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190165 | 2019-05-17 | Contact - Animal - Bird | Contact - Animal - Bird | Pole |  |  |  | No
20190240 | 2019-05-31 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20190249 | 2019-06-03 | Equipment - Overloaded | Other | Transformer |  |  |  | No
20190251 | 2019-06-03 | Unknown | Unknown | Unknown |  |  |  | No
20190278 | 2019-06-06 | Contact - Animal - Other | Contact - Animal - Other | Splice/Clamp/Connector |  |  |  | No
20190281 | 2019-06-06 | Contact - 3rd Party | Contact - Other | Circuit Breaker |  |  |  | No
20190391 | 2019-06-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190402 | 2019-06-18 | Contact - Animal - Bird | Contact - Animal - Bird | Transformer |  |  |  | No
20190408 | 2019-06-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190462 | 2019-06-27 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No | 6
20190586 | 2019-07-15 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190639 | 2019-07-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190641 | 2019-07-21 | Equipment - PG&E | Conductor failure-all | Splice/Clamp/Connector |  |  |  | No
20190655 | 2019-07-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190730 | 2019-08-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190866 | 2019-08-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190900 | 2019-08-22 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190925 | 2019-08-25 | Vegetation | Contact - Vegetation | Transformer |  |  |  | No
20190988 | 2019-09-05 | Vegetation | Contact - Vegetation | Fuse |  |  |  | No
20191028 | 2019-09-11 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20191054 | 2019-09-15 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20191135 | 2019-09-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191156 | 2019-09-30 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20191341 | 2019-10-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191565 | 2019-12-18 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20191611 | 2019-10-23 | Equipment - PG&E | Other | Jumper | 374 |  | 4 | Yes | 77758
20200384 | 2020-05-08 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20200537 | 2020-06-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200563 | 2020-06-10 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20200585 | 2020-06-14 | Equipment - PG&E | Pole failure | Conductor - Primary |  |  |  | No | 696
20200594 | 2020-06-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200610 | 2020-06-18 | Contact - 3rd Party | Contact - Vehicle | Service Drop |  |  |  | No
20200651 | 2020-06-22 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200655 | 2020-06-23 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20200657 | 2020-06-23 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20200658 | 2020-06-23 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  | No
20200684 | 2020-06-27 | Contact - 3rd Party | Contact - Airstrike | Conductor - Primary |  |  |  | No
20200706 | 2020-07-01 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20200771 | 2020-07-06 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20200789 | 2020-07-08 | Contact - 2nd Party | Contact - Other | Conductor - Transmission |  |  |  | No
20200822 | 2020-07-14 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20200853 | 2020-07-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20200855 | 2020-07-19 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20200951 | 2020-08-04 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20200968 | 2020-08-07 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No | 10
20200981 | 2020-08-09 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20201032 | 2020-08-16 | Weather - Lightning | Weather - Lightning | Conductor - Primary |  |  |  | Yes | 3
20201037 | 2020-08-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20201068 | 2020-08-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201069 | 2020-08-19 | Contact - 3rd Party | Contact - Vegetation | Conductor - Secondary |  |  |  | No
20201090 | 2020-08-17 | Weather - Lightning | Weather - Lightning | Insulator |  |  |  | No
20201104 | 2020-08-21 | Equipment - Overloaded | Insulator failure | Insulator |  |  |  | No
20201184 | 2020-09-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20201185 | 2020-09-06 | Equipment - Overloaded | Transformer failure | Transformer |  |  |  | No
20201193 | 2020-09-07 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20201276 | 2020-09-21 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20201310 | 2020-09-28 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | Yes
20201353 | 2020-10-05 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No | 5
20201462 | 2020-10-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201473 | 2020-10-30 | Equipment - PG&E | Guy/Span Wire failure | Pole |  |  |  | No | 1
20201491 | 2020-10-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20201543 | 2020-11-11 | Utility work / Operation | Utility work / Operation | Master Grounds |  |  |  | No
20201604 | 2020-08-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201605 | 2020-08-24 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201638 | 2020-11-30 | Equipment - Overloaded | Conductor failure-all | Service Drop |  |  |  | No
20201658 | 2020-05-20 | Vegetation | Contact - Vegetation | Fuse |  |  |  | No
20210025 | 2021-01-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210039 | 2021-01-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210053 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210055 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210067 | 2021-01-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210086 | 2021-01-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210166 | 2021-02-24 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210283 | 2021-03-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210348 | 2021-04-08 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20210428 | 2021-04-23 | Equipment - PG&E | Tie wire failure | Crossarm |  |  |  | No
20210440 | 2021-04-26 | Equipment - PG&E | Splice/Clamp/Connector | Jumper |  |  |  | No
20210450 | 2021-04-28 | Equipment - PG&E | Pole failure | Pole | 1 |  |  | No | 8
20210538 | 2021-05-10 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | Yes
20210645 | 2021-05-24 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210716 | 2021-06-03 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210820 | 2021-06-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210823 | 2021-06-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20210857 | 2021-06-19 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No
20210871 | 2021-06-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210905 | 2021-06-24 | Equipment - PG&E | Splice/Clamp/Connector | Conductor - Primary |  |  |  | No
20210910 | 2021-06-26 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20210960 | 2021-06-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes | 277
20211046 | 2021-07-12 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20211048 | 2021-07-12 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No | 10
20211058 | 2021-07-13 | Vegetation | Contact - Vegetation | Conductor - Primary | 1329 | 1 | 3 | No | 963309
20211061 | 2021-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20211101 | 2021-07-21 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20211123 | 2021-07-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211154 | 2021-07-31 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20211219 | 2021-08-08 | Contact - Animal - Bird | Contact - Animal - Bird | Recloser |  |  |  | No
20211225 | 2021-08-09 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20211285 | 2021-08-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211333 | 2021-08-30 | Equipment - PG&E | Conductor failure-all | Conductor - Insulated Secondary |  |  |  | No
20211506 | 2021-09-19 | Contamination | Tracking | Pole |  |  |  | No
20211648 | 2021-09-30 | Contamination | Tracking | Crossarm |  |  |  | No
20211782 | 2021-10-14 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20212429 | 2021-06-28 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No
20220056 | 2022-01-22 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20220118 | 2022-02-05 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No
20220133 | 2022-02-08 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220309 | 2022-03-22 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | No
20220450 | 2022-04-18 | Utility work / Operation | Improper Construction | Splice/Clamp/Connector |  |  |  | No
20220483 | 2022-04-23 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20220626 | 2022-05-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220657 | 2022-05-23 | Contact - 3rd Party | Contact - Vehicle | Chance Clamp |  |  |  | No
20220724 | 2022-05-31 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220754 | 2022-06-04 | Contamination | Tracking | Pole |  |  |  | No
20220816 | 2022-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20221276 | 2022-07-27 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No | 40
20221347 | 2022-08-09 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No | 1
20221349 | 2022-08-09 | Utility work / Operation | Improper Construction | Service Drop |  |  |  | No
20221377 | 2022-08-14 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No | 1
20221478 | 2022-08-30 | Contact - 3rd Party | Com-line Strike | Conductor - Open Wire Secondary |  |  |  | No
20221555 | 2022-09-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221636 | 2022-09-16 | Utility work / Operation | Re-energized into fault after patrol | Pole |  |  |  | No
20221824 | 2022-10-16 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20221826 | 2022-10-17 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221854 | 2022-10-23 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20221862 | 2022-10-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20230126 | 2023-02-21 | Utility work / Operation | Improper Construction | Conductor - Secondary
20230148 | 2023-02-21 | Equipment - PG&E | Other | Jumper |  |  |  |  | 2
20230175 | 2023-03-01 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  |  | 1
20230257 | 2023-04-04 | Vegetation | Contact - Vegetation | Grounding Wire
20230693 | 2023-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary
20230788N | 2023-07-27 | Equipment - PG&E | Splice/Clamp/Connector | Connector |  |  |  |  | 34
20230792 | 2023-07-28 | Vegetation | Contact - Vegetation | Conductor - Primary
20230868 | 2023-08-09 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20230875 | 2023-08-11 | Equipment - PG&E | Fuse failure | Fuse
20230895 | 2023-08-16 | Utility work / Operation | Improper Construction | Guy/Span Wire
20230912 | 2023-08-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20231004 | 2023-09-05 | Vegetation | Contact - Vegetation | Conductor - Primary
20231074 | 2023-09-22 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary
20231083 | 2023-09-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  |  | 2
20231136 | 2023-10-07 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary
20231165N | 2023-10-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  |  | 2
20231247N | 2023-11-04 | Contact - 3rd Party | Contact - Vehicle | Pole
20240167 | 2024-03-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240177 | 2024-03-15 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240309 | 2024-04-20 | Contact - 3rd Party | Other | Crossarm |  |  |  | No
20240309N | 2024-04-20 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20240590N | 2024-05-28 | Equipment - PG&E | Unknown | Unknown |  |  |  | No
20240608 | 2024-06-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240630 | 2024-06-11 | Utility work / Operation | Improper Construction | Connector |  |  |  | No
20240814 | 2024-07-02 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | Yes
20240867 | 2024-07-05 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20240869 | 2024-07-05 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  | No | 2
20240875N | 2024-07-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 5
20240879 | 2024-07-06 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No | 78
20240881 | 2024-07-06 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20240899 | 2024-07-08 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No | 1
20240905 | 2024-07-09 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20240927 | 2024-07-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240932 | 2024-07-12 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20240994 | 2024-07-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20241101 | 2024-08-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241118N | 2024-08-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No | 60
20241124 | 2024-08-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241201 | 2024-08-23 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | No | 13
20241272 | 2024-09-03 | Equipment - Overloaded | Splice/Clamp/Connector | Connector |  |  |  | No | 1
20241325 | 2024-09-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241346 | 2024-09-15 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241351 | 2024-09-16 | Equipment - PG&E | Splice/Clamp/Connector | Connector |  |  |  | No
20241369 | 2024-09-19 | Contamination | Tracking | Transformer Bushing |  |  |  | No
20241371N | 2024-09-18 | Utility work / Operation | Utility work / Operation | Conductor - Primary |  |  |  | No
20241460 | 2024-10-08 | Equipment - PG&E | Other | Jumper |  |  |  | No | 1
20241461 | 2024-10-08 | Vegetation | Contact - Vegetation | Pole |  |  |  | No | 220
20241550 | 2024-10-25 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241646 | 2024-11-11 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20241709 | 2024-11-19 | Unknown | Unknown | Pole |  |  |  | No | 2
20241869N | 2024-02-04 | Under Investigation | Under Investigation | Unknown
FAS234831 | 2020-10-03 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
MIA20187176 | 2018-10-16 | Contact - 3rd Party | Contact - Vehicle | Conductor |  |  |  | No
20180024 | 2018-01-16 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180042 | 2018-02-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180103 | 2018-03-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180156 | 2018-05-09 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180185 | 2018-05-19 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20180238 | 2018-06-05 | Contact - Animal - Other | Contact - Animal - Other | Fuse |  |  |  | No
20180257 | 2018-06-08 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180259 | 2018-06-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20180285 | 2018-06-13 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180301 | 2018-06-15 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No
20180311 | 2018-06-16 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180341 | 2018-06-22 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20180403 | 2018-06-30 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180406 | 2018-06-30 | Equipment - PG&E | Conductor failure-all | Transformer |  |  |  | Yes
20180479 | 2018-07-14 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180480 | 2018-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180502 | 2018-07-17 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20180526 | 2018-07-20 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20180547 | 2018-07-23 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180569 | 2018-07-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180577 | 2018-07-29 | Wire-Wire Contact | Conductor failure-all | Transformer |  |  |  | No
20180583 | 2018-07-30 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No | 5
20180591 | 2018-08-01 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180631 | 2018-08-07 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20180637 | 2018-08-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180645 | 2018-08-08 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180661 | 2018-08-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180672 | 2018-08-14 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20180698 | 2018-08-22 | Equipment - PG&E | Other | Jumper |  |  |  | No
20180838 | 2018-09-29 | Contact - 3rd Party | Contact - Vegetation | Unknown |  |  |  | No
20180887 | 2018-10-14 | Vegetation | Contact - Vegetation | Unknown |  |  |  | Yes
20180890 | 2018-10-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180891 | 2018-10-14 | Vegetation | Contact - Vegetation | Unknown |  |  |  | Yes | 1
20180911 | 2018-10-24 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20180913 | 2018-10-24 | Vandalism | Vandalism | Unknown |  |  |  | No | 10
20180917 | 2018-10-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180941 | 2018-11-08 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180947 | 2018-11-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | Yes
20180979 | 2018-11-15 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20181050 | 2018-12-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190091 | 2019-04-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190123 | 2019-04-28 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20190148 | 2019-05-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190159 | 2019-05-15 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190214 | 2019-05-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 121
20190226 | 2019-05-29 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20190228 | 2019-05-30 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20190289 | 2019-06-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190334 | 2019-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190568 | 2019-07-13 | Equipment - PG&E | Splice/Clamp/Connector | Conductor - Primary |  |  |  | No
20190607 | 2019-07-17 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20190616 | 2019-07-18 | Equipment - PG&E | Other | Lightning Arrestor |  |  |  | No
20190617 | 2019-07-18 | Equipment - PG&E | Booster failure | Booster |  |  |  | No
20190622 | 2019-07-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190653 | 2019-07-22 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190672 | 2019-07-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190680 | 2019-07-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190692 | 2019-07-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190765 | 2019-08-06 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20190826 | 2019-08-13 | Equipment - PG&E | Other | Insulator |  |  |  | No
20190841 | 2019-08-14 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No
20190862 | 2019-08-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190954 | 2019-08-31 | Contact - 3rd Party | Com-line Strike | Fuse |  |  |  | No
20191051 | 2019-09-15 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20191068 | 2019-09-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 13
20191137 | 2019-09-28 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20191248 | 2019-10-15 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No
20191261 | 2019-10-17 | Contact - Animal - Bird | Contact - Animal - Bird | Splice/Clamp/Connector |  |  |  | No
20191340 | 2019-10-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191367 | 2019-10-30 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | Yes
20191405 | 2019-11-03 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No | 10
20191440 | 2019-11-10 | Contact - Animal - Bird | Contact - Animal - Bird | Jumper |  |  |  | No
20191486 | 2019-11-22 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No
20191513 | 2019-11-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200098 | 2020-02-09 | Wire-Wire Contact | Conductor failure-all | Conductor - Primary |  |  |  | No
20200100 | 2020-02-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200101 | 2020-02-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200102 | 2020-02-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200184 | 2020-03-05 | Contact - 3rd Party | Contact - Vehicle | Insulator |  |  |  | No
20200227 | 2020-03-17 | Vegetation | Contact - Vegetation | Service Drop | 1 |  |  | No
20200260 | 2020-04-02 | Vegetation | Contact - Vegetation | Conductor - Transmission |  |  |  | No
20200370 | 2020-05-06 | Equipment - Overloaded | Conductor failure-all | Conductor - Primary |  |  |  | No
20200497 | 2020-06-02 | Contact - 2nd Party | Contact - Airstrike | Pole |  | 3 | 3 | No | 7
20200513 | 2020-06-04 | Contact - 3rd Party | Contact - Balloon | Conductor - Transmission |  |  |  | No | 19
20200579 | 2020-06-12 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  | No
20200608 | 2020-06-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200614 | 2020-06-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200618 | 2020-06-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200656 | 2020-06-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200672 | 2020-06-26 | Equipment - Overloaded | Transformer failure | Transformer |  |  |  | No
20200675 | 2020-06-26 | Vandalism | Vandalism | Conductor - Primary |  |  |  | No
20200696 | 2020-06-29 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200803 | 2020-07-11 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20200810 | 2020-07-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200848 | 2020-07-19 | Contact - Animal - Bird | Contact - Animal - Bird | Bushing Mounted Cutout |  |  |  | No
20200851 | 2020-07-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200890 | 2020-07-27 | Wire-Wire Contact | Conductor failure-all | Conductor - Primary |  |  |  | No | 10
20200957 | 2020-08-05 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20201039 | 2020-08-16 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | Yes
20201057 | 2020-08-18 | Wire-Wire Contact | Conductor failure-all | Conductor - Secondary |  |  |  | No
20201089 | 2020-08-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 14
20201139 | 2020-08-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20201141 | 2020-08-25 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20201168 | 2020-09-03 | Wire-Wire Contact | Other | Conductor - Primary |  |  |  | No
20201176 | 2020-09-05 | Equipment - PG&E | Switch failure | Switch |  |  |  | No
20201182 | 2020-09-06 | Equipment - Overloaded | Transformer failure | Service Drop |  |  |  | No
20201225 | 2020-09-09 | Equipment - PG&E | Recloser failure | Recloser |  |  |  | Yes | 2
20201330 | 2020-10-02 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201381 | 2020-10-15 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20201432 | 2020-10-22 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | Yes
20201435 | 2020-10-22 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201436 | 2020-10-22 | Contamination | Tracking | Fuse |  |  |  | No
20201457 | 2020-10-26 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | Yes
20201589 | 2020-04-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201590 | 2020-05-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201593 | 2020-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20201646 | 2020-11-30 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20201662 | 2020-12-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20210004 | 2021-01-04 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210045 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210049 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210052 | 2021-01-19 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20210058 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 37
20210170 | 2021-02-26 | Equipment - PG&E | Splice/Clamp/Connector | Conductor - Primary |  |  |  | No
20210215 | 2021-01-19 | Vegetation | Contact - Vegetation | Transformer |  |  |  | No
20210418 | 2021-04-21 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20210445 | 2021-04-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210488 | 2021-05-04 | Contact - 3rd Party | Contact - Vehicle | Transformer |  |  |  | No
20210539 | 2021-05-10 | Vegetation | Contact - Vegetation | Conductor - Insulated Primary |  |  |  | Yes
20210594 | 2021-05-16 | Contact - Animal - Bird | Contact - Animal - Bird | Recloser |  |  |  | No | 1
20210600 | 2021-05-17 | Unknown | Unknown | Unknown |  |  |  | No
20210647 | 2021-05-20 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210677 | 2021-05-29 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20210709 | 2021-06-02 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20210816 | 2021-06-16 | Equipment - PG&E | Crossarm failure | Crossarm |  |  |  | No
20210976 | 2021-07-03 | Contact - Animal - Other | Contact - Animal - Other | Service Drop |  |  |  | No
20211013 | 2021-07-07 | Equipment - PG&E | Switch failure | Jumper |  |  |  | No | 6
20211016 | 2021-07-08 | Contamination | Tracking | Crossarm |  |  |  | No
20211021 | 2021-07-08 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20211038 | 2021-07-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211059 | 2021-07-13 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211205 | 2021-08-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211263 | 2021-08-17 | Unknown | Unknown | Conductor - Primary |  |  |  | No
20211293 | 2021-08-25 | Utility work / Operation | Utility work / Operation | Service Drop | 3 |  | 2 | No | 10
20211322 | 2021-08-29 | Contact - 3rd Party | Contact - Other | Riser |  |  |  | No
20211380 | 2021-09-08 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211494 | 2021-09-17 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20211507 | 2021-09-19 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20211698 | 2021-10-05 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20211762 | 2021-10-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 10
20211998 | 2021-10-09 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20212312 | 2021-12-24 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20212450 | 2021-07-13 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20220069 | 2022-01-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220176 | 2022-02-20 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220326 | 2022-03-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220398 | 2022-04-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220431 | 2022-04-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220458 | 2022-04-20 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20220609 | 2022-05-16 | Contact - Animal - Other | Contact - Animal - Other | Recloser |  |  |  | No
20220654 | 2022-05-23 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No | 92
20220777 | 2022-06-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220819 | 2022-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220982 | 2022-06-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20220991 | 2022-06-26 | Utility work / Operation | Improper Construction | Fuse |  |  |  | No
20221014 | 2022-06-28 | Equipment - PG&E | Voltage Regulator failure | Voltage Regulator |  |  |  | No
20221022 | 2022-06-29 | Utility work / Operation | Utility work / Operation | Conductor - Primary |  |  |  | No
20221070 | 2022-07-05 | Unknown | Unknown | Unknown |  |  |  | No
20221229 | 2022-07-21 | Equipment - Overloaded | Conductor failure-all | Service Drop |  |  |  | No
20221403 | 2022-08-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221506 | 2022-09-03 | Vegetation | Contact - Vegetation | Tree Connect |  |  |  | No
20221547 | 2022-09-07 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | No
20221563 | 2022-09-06 | Under Investigation | Under Investigation |  | 78 |  | 2 | No | 76788
20221577 | 2022-09-09 | Contact - Animal - Other | Contact - Animal - Other | Conductor - Primary |  |  |  | No
20221614 | 2022-09-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221767 | 2022-10-04 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221842 | 2022-10-20 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | No
20230100 | 2023-02-13 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary
20230129 | 2023-02-21 | Utility work / Operation | Re-energized into fault | Conductor - Primary |  |  |  |  | 2
20230135 | 2023-02-21 | Vegetation | Contact - Vegetation | Conductor - Primary
20230140 | 2023-02-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  |  | 1
20230267 | 2023-04-09 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector
20230272N | 2023-04-11 | Contact - 2nd Party | Airstrike | Conductor - Primary
20230282 | 2023-04-17 | Vegetation | Contact - Vegetation | Conductor - Primary
20230417 | 2023-05-20 | Vegetation | Contact - Vegetation | Conductor - Primary
20230468N | 2023-06-04 | Vandalism | Other | Insulator |  |  |  |  | 79
20230530 | 2023-06-16 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary
20230692 | 2023-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  |  | 1
20230707N | 2023-07-15 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice
20230782N | 2023-07-26 | Vegetation | Contact - Vegetation | Conductor - Primary
20230823 | 2023-08-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  |  | 1
20230862 | 2023-08-08 | Equipment - PG&E | Splice/Clamp/Connector | Splice Box
20230973 | 2023-08-29 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  |  | 6
20230976N | 2023-08-29 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  |  | 1
20231006 | 2023-09-05 | Vegetation | Contact - Vegetation | Conductor - Primary
20231045 | 2023-09-13 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  |  | 5
20231057N | 2023-09-15 | Contact - Animal - Bird | Other | Pole |  |  |  |  | 2
20240137 | 2024-03-02 | Under Investigation | Under Investigation | Unknown | 1 |  |  | No
20240223 | 2024-03-26 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20240397 | 2024-05-10 | Contamination | Tracking | Insulator |  |  |  | No
20240448 | 2024-05-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240458 | 2024-05-22 | Utility work / Operation | Improper Construction | Conductor - Primary |  |  |  | No
20240468 | 2024-05-23 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20240559 | 2024-06-01 | Utility work / Operation | Improper Construction | Connector |  |  |  | No
20240605 | 2024-06-07 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20240610 | 2024-06-08 | Equipment - Overloaded | Riser failure | Service Drop |  |  |  | No
20240677 | 2024-06-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes | 19195
20240704 | 2024-06-20 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20240860 | 2024-07-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240949 | 2024-07-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241040N | 2024-07-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241048 | 2024-07-29 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No | 1
20241154 | 2024-08-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241158 | 2024-08-16 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20241181N | 2024-08-20 | Unknown | Unknown | Unknown |  |  |  | No | 15
20241233N | 2024-08-27 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No | 3
20241335 | 2024-09-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20241397 | 2024-09-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 17
20241408 | 2024-09-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241412 | 2024-09-30 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241422 | 2024-10-02 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20241526 | 2024-10-20 | Unknown | Unknown | Service Drop |  |  |  | No
20241704 | 2024-11-17 | Unknown | Unknown | Unknown |  |  |  | No
20241706 | 2024-11-19 | Contamination | Tracking | Crossarm |  |  |  | No
20241773 | 2024-12-03 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
MIT20180030 | 2018-10-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180054 | 2018-02-12 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180077 | 2018-03-02 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180163 | 2018-05-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180164 | 2018-05-11 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180270 | 2018-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180297 | 2018-06-15 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20180312 | 2018-06-16 | Wire-Wire Contact | Other | Unknown |  |  |  | No
20180328 | 2018-06-19 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20180407 | 2018-06-30 | Vegetation | Contact - Vegetation | Crossarm |  |  |  | Yes
20180410 | 2018-07-01 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180411 | 2018-07-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180417 | 2018-07-02 | Vegetation | Contact - Vegetation | Fuse |  |  |  | No
20180447 | 2018-07-09 | Contact - Animal - Bird | Contact - Animal - Bird | Fuse |  |  |  | No
20180470 | 2018-07-13 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180517 | 2018-07-19 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20180518 | 2018-07-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180532 | 2018-07-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 30
20180555 | 2018-07-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180576 | 2018-07-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180598 | 2018-08-02 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No | 5
20180635 | 2018-08-07 | Equipment - Overloaded | Other | Splice/Clamp/Connector |  |  |  | No
20180651 | 2018-08-10 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20180655 | 2018-08-10 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20180668 | 2018-08-13 | Vegetation | Contact - Vegetation | Transformer |  |  |  | No
20180674 | 2018-08-14 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20180732 | 2018-08-31 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180742 | 2018-09-03 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20180806 | 2018-09-21 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180820 | 2018-09-24 | Contact - Animal - Other | Contact - Animal - Other | Conductor - Transmission |  |  |  | Yes | 33
20180831 | 2018-09-27 | Contact - Animal - Other | Contact - Animal - Other | Insulator |  |  |  | No
20180832 | 2018-09-27 | Contact - 2nd Party | Contact - Airstrike | Conductor - Transmission |  |  |  | No | 1
20180863 | 2018-10-07 | Vegetation | Contact - Vegetation | Unknown |  |  |  | Yes | 5
20180876 | 2018-10-08 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20180927 | 2018-11-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180938A | 2018-11-08 | Equipment - PG&E | Other | Other | 18804 | 85 | 3 | Yes | 153336
20180949 | 2018-11-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180960 | 2018-11-11 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No
20180982 | 2018-11-16 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20190067 | 2019-03-13 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20190076 | 2019-03-19 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20190305 | 2019-06-08 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190329 | 2019-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190335 | 2019-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190372 | 2019-06-14 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No
20190455 | 2019-06-26 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No
20190483 | 2019-07-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190558 | 2019-07-11 | Vegetation | Contact - Vegetation | Pole |  |  |  | No | 15
20190600 | 2019-07-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190649 | 2019-07-22 | Contact - Animal - Bird | Contact - Animal - Bird | Jumper |  |  |  | No
20190658 | 2019-07-23 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20190671 | 2019-07-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190695 | 2019-07-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190696 | 2019-07-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190721 | 2019-07-30 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190774 | 2019-08-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190957 | 2019-09-01 | Unknown | Unknown | Pole |  |  |  | No | 66
20191016 | 2019-09-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191026 | 2019-09-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191031 | 2019-09-12 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191099 | 2019-09-22 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20191130 | 2019-09-26 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No
20191177 | 2019-10-04 | Equipment - Overloaded | Conductor failure-all | Service Drop |  |  |  | No
20191375 | 2019-10-31 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20191442 | 2019-11-11 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20191523 | 2019-11-29 | Equipment - PG&E | Pole failure | Pole |  |  |  | No
20200086 | 2020-02-06 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20200335 | 2020-04-29 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20200361 | 2020-05-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200462 | 2020-05-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200680 | 2020-06-27 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No
20200796 | 2020-07-10 | Equipment - PG&E | Voltage Regulator failure | Voltage Regulator |  |  |  | No
20200806 | 2020-07-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200825 | 2020-07-15 | Vegetation | Contact - Vegetation | Conductor - Primary | 2 |  |  | No | 48
20200887 | 2020-07-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200904 | 2020-07-29 | Contact - Animal - Nest | Contact - Animal - Nest | Insulator |  |  |  | No
20200910 | 2020-07-31 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200924 | 2020-08-02 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No
20200960 | 2020-08-05 | Vandalism | Vandalism | Switch |  |  |  | No
20200964 | 2020-08-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 10
20200986 | 2020-08-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20200987 | 2020-08-10 | Utility work / Operation | Utility work / Operation | Master Grounds |  |  |  | No | 11
20200990 | 2020-08-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201007 | 2020-08-14 | Equipment - Overloaded | Conductor failure-all | Service Drop |  |  |  | No
20201087 | 2020-08-20 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20201095 | 2020-08-19 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20201158 | 2020-09-01 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20201195 | 2020-09-07 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20201197 | 2020-09-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201281 | 2020-09-07 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20201415 | 2020-10-15 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | Yes
20201595 | 2020-06-16 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20201600 | 2020-07-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201623 | 2020-09-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20201792 | 2020-07-05 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20201816 | 2020-05-06 | Wire-Wire Contact | Conductor failure-all | Service Connector |  |  |  | No
20201838 | 2020-10-19 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20201839 | 2020-07-28 | Equipment - PG&E | Fault Tamer Failure | Fault Tamer |  |  |  | No | 5
20210040 | 2021-01-18 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20210044 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210063 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210185 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20210188 | 2021-03-01 | Contact - 3rd Party | Contact - Other | Conductor - Primary |  |  |  | No
20210315 | 2021-03-30 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20210384 | 2021-04-17 | Contamination | Tracking | Crossarm |  |  |  | No
20210401 | 2021-04-18 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20210468 | 2021-05-02 | Equipment - PG&E | Fault Tamer Failure | Fault Tamer |  |  |  | No
20210559 | 2021-05-12 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20210620 | 2021-05-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210632 | 2021-05-21 | Equipment - Overloaded | Transformer failure | Splice/Clamp/Connector |  |  |  | No
20210733 | 2021-06-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 50
20210740 | 2021-06-07 | Unknown | Unknown | Conductor - Open Wire Secondary |  |  |  | No
20210766 | 2021-06-10 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No
20210768 | 2021-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210903 | 2021-06-24 | Contact - 2nd Party | Contact - Vegetation | Conductor - Insulated Secondary |  |  |  | No
20210914 | 2021-06-26 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211020 | 2021-07-08 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No | 2
20211104 | 2021-07-21 | Equipment - Overloaded | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20211133 | 2021-07-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211156 | 2021-07-31 | Equipment - Overloaded | Transformer failure | Splice/Clamp/Connector |  |  |  | No
20211258 | 2021-08-10 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20211275 | 2021-08-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20211330 | 2021-08-30 | Contamination | Tracking | Crossarm |  |  |  | No
20211619 | 2021-09-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220163 | 2022-02-15 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20220379 | 2022-04-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220438 | 2022-04-15 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20220440 | 2022-04-16 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20220642 | 2022-05-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 25
20220643 | 2022-05-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 36
20220699 | 2022-05-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220815 | 2022-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20220918 | 2022-06-21 | Under Investigation | Under Investigation | Conductor - Primary |  |  |  | No | 20
20220980 | 2022-06-24 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221039 | 2022-07-02 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221096 | 2022-07-07 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221100 | 2022-07-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221163 | 2022-07-15 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221256 | 2022-07-25 | Utility work / Operation | Re-energized into fault after patrol | Splice/Clamp/Connector |  |  |  | No | 5
20221264 | 2022-07-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221265 | 2022-07-26 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221323 | 2022-08-04 | Equipment - Overloaded | Conductor failure-all | Service Drop |  |  |  | No
20221362 | 2022-08-11 | Vegetation | Contact - Vegetation | Transformer |  |  |  | No
20221457 | 2022-08-26 | Equipment - Overloaded | Conductor failure-all | Conductor - Transmission |  |  |  | No
20221514 | 2022-09-04 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20230440 | 2023-05-28 | Equipment - PG&E | Fuse failure | Fuse
20230659 | 2023-07-07 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No | 29
20230700 | 2023-07-15 | Equipment - PG&E | Conductor failure-all | Conductor - Insulated Secondary
20230854 | 2023-08-07 | Contact - Animal - Bird | Contact - Animal - Bird | Switch
20230874 | 2023-08-10 | Vegetation | Contact - Vegetation | Service Drop |  |  |  |  | 9
20230888 | 2023-08-15 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary
20230930 | 2023-08-21 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  |  | 3
20230966 | 2023-08-28 | Utility work / Operation | Improper Construction | Compression Connector
20230981 | 2023-08-30 | Vegetation | Contact - Vegetation | Conductor - Primary
20231053 | 2023-09-15 | Contact - Animal - Bird | Other | Conductor - Transmission
20240441N | 2024-05-20 | Vegetation | Contact - Vegetation | Crossarm |  |  |  | No
20240489 | 2024-05-24 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  | No | 1
20240583 | 2024-06-05 | Equipment - PG&E | Cutout failure | Cutout failure |  |  |  | No
20240655 | 2024-06-15 | Equipment - PG&E | Splice/Clamp/Connector | Connector |  |  |  | No
20240771 | 2024-06-28 | Utility work / Operation | Improper Construction | Connector |  |  |  | No
20240826 | 2024-07-03 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240922 | 2024-07-11 | Contact - 2nd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241029 | 2024-07-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241105N | 2024-08-07 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No | 10
20241157 | 2024-08-16 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20241189 | 2024-08-21 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No | 12
20241219 | 2024-08-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241240 | 2024-08-28 | Equipment - PG&E | Splice/Clamp/Connector | Tap Clamp |  |  |  | No | 1
20241296 | 2024-09-06 | Equipment - PG&E | Splice/Clamp/Connector | Connector |  |  |  | No | 3
20241353 | 2024-09-16 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No | 20
20241487 | 2024-10-14 | Equipment - PG&E | Capacitor bank failure | Fuse |  |  |  | No | 2
20241539 | 2024-10-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
MIA20184977 | 2018-06-22 | Equipment - PG&E | Splice/Clamp/Connector | Service Connector |  |  |  | No
MIA201910961 | 2019-11-26 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No
20180043 | 2018-02-07 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20180066 | 2018-02-26 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No
20180083 | 2018-03-06 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180232 | 2018-06-04 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180275 | 2018-06-11 | Contact - 3rd Party | Contact - Vehicle | Service Drop |  |  |  | No
20180337 | 2018-06-21 | Unknown | Unknown | Unknown |  |  |  | No
20180346 | 2018-06-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20180390 | 2018-06-28 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20180506 | 2018-07-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180533 | 2018-07-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180545 | 2018-07-23 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180572 | 2018-07-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180619 | 2018-08-05 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No | 10
20180641 | 2018-08-07 | Unknown | Unknown | Unknown |  |  |  | No
20180643 | 2018-08-08 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180680 | 2018-08-17 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20180687 | 2018-08-20 | Contact - 3rd Party | Other | Conductor - Primary |  |  |  | No
20180705 | 2018-08-24 | Equipment - PG&E | Booster failure | Booster |  |  |  | No
20180733 | 2018-08-31 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180752 | 2018-09-05 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180758 | 2018-09-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20180765 | 2018-09-10 | Equipment - PG&E | Insulator failure | Conductor - Primary |  |  |  | No | 152
20180767 | 2018-09-11 | Contact - Animal - Other | Contact - Animal - Other | Transformer |  |  |  | No
20180784 | 2018-09-16 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180787 | 2018-09-16 | Vandalism | Vandalism | Conductor - Transmission |  |  |  | No
20180814 | 2018-09-23 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No | 54
20180892 | 2018-10-15 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | Yes
20180894 | 2018-10-16 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180895 | 2018-10-16 | Vegetation | Contact - Vegetation | Unknown |  |  |  | No
20180901 | 2018-10-20 | Equipment - PG&E | Other | Tie Wire |  |  |  | No | 1
20180905 | 2018-10-21 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20180915 | 2018-10-25 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20180919 | 2018-10-28 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180956 | 2018-11-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20180977 | 2018-11-15 | Unknown | Unknown | Service Drop |  |  |  | No
20180985 | 2018-11-17 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20180993 | 2018-11-21 | Vandalism | Vandalism | Conductor - Primary |  |  |  | No
20190093 | 2019-04-09 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20190106 | 2019-04-20 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20190141 | 2019-05-08 | Equipment - PG&E | Splice/Clamp/Connector | Service Connector |  |  |  | No
20190164 | 2019-05-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190190 | 2019-05-24 | Equipment - Overloaded | Pole failure | Pole |  |  |  | No | 7
20190317 | 2019-06-09 | Equipment - PG&E | Recloser failure | Recloser |  |  |  | No
20190367 | 2019-06-13 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190386 | 2019-06-17 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190525 | 2019-07-06 | Equipment - PG&E | Conductor failure-all | Splice/Clamp/Connector |  |  |  | No
20190688 | 2019-07-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190760 | 2019-08-05 | Equipment - Overloaded | Transformer failure | Transformer |  |  |  | No
20190812 | 2019-08-11 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20190821 | 2019-08-12 | Vegetation | Contact - Vegetation | Pole |  |  |  | No
20190878 | 2019-08-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191033 | 2019-09-13 | Equipment - PG&E | Conductor failure-all | Splice/Clamp/Connector |  |  |  | No
20191042 | 2019-09-13 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20191100 | 2019-09-22 | Equipment - PG&E | Conductor failure-all | Pole |  |  |  | No
20191111 | 2019-09-24 | Contact - Animal - Bird | Contact - Animal - Bird | Crossarm |  |  |  | No
20191200 | 2019-10-08 | Contamination | Tracking | Crossarm |  |  |  | No
20191276 | 2019-10-20 | Equipment - PG&E | Conductor failure-all | Service Drop |  |  |  | No
20191345 | 2019-10-28 | Vegetation | Contact - Vegetation | Transformer |  |  |  | No
20191355 | 2019-10-29 | Vegetation | Contact - Vegetation | Cable |  |  |  | No
20191376 | 2019-10-31 | Vegetation | Contact - Vegetation | Splice/Clamp/Connector |  |  |  | No
20191413 | 2019-11-04 | Wire-Wire Contact | Wire-Wire Contact | Conductor - Primary |  |  |  | No
20191443 | 2019-11-11 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20191478 | 2019-11-21 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20191504 | 2019-11-26 | Equipment - PG&E | Conductor failure-all | Jumper |  |  |  | No
20191509 | 2019-11-27 | Unknown | Unknown | Fuse |  |  |  | No
20200189 | 2020-03-06 | Contact - Animal - Other | Contact - Animal - Other | Jumper |  |  |  | No
20200342 | 2020-04-30 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200387 | 2020-05-09 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No
20200519 | 2020-06-04 | Equipment - PG&E | Voltage Regulator failure | Voltage Regulator |  |  |  | No | 2
20200525 | 2020-06-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 45
20200627 | 2020-06-20 | Equipment - PG&E | Riser failure | Splice/Clamp/Connector |  |  |  | No
20200679 | 2020-06-27 | Contamination | Tracking | Insulator |  |  |  | No
20200681 | 2020-06-27 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No
20200742 | 2020-07-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200775 | 2020-07-06 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20200813 | 2020-07-12 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20200886 | 2020-07-28 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No
20200889 | 2020-07-28 | Vegetation | Contact - Vegetation | Conductor - Secondary |  |  |  | No
20200931 | 2020-08-02 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20200958 | 2020-08-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201042 | 2020-08-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20201050 | 2020-08-17 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | Yes
20201106 | 2020-08-21 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20201120 | 2020-08-25 | Equipment - Overloaded | Transformer failure | Transformer |  |  |  | No
20201174 | 2020-09-05 | Contact - Animal - Other | Contact - Animal - Other | Conductor - Primary |  |  |  | No
20201190 | 2020-09-06 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | No
20201244 | 2020-09-12 | Contact - 3rd Party | Contact - Vehicle | Service Drop |  |  |  | No | 4
20201300 | 2020-09-27 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | Yes
20201368 | 2020-09-27 | Vegetation | Contact - Vegetation | Conductor - Primary | 204 | 4 | 1 | Yes | 56338
20201380 | 2020-10-15 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | Yes
20201389 | 2020-10-16 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20201458 | 2020-10-26 | Equipment - PG&E | Tie wire failure | Tie Wire |  |  |  | Yes
20201481 | 2020-10-31 | Equipment - PG&E | Conductor failure-all | Conductor - Transmission |  |  |  | No | 2
20201488 | 2020-11-02 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20201493 | 2020-11-02 | Contact - Animal - Bird | Contact - Animal - Bird | Insulator |  |  |  | No | 8
20201533 | 2020-11-07 | Equipment - PG&E | Other | Jumper |  |  |  | No | 1
20201588 | 2020-02-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 10
20201594 | 2020-06-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20201597 | 2020-07-02 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20201657 | 2020-12-07 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20201663 | 2020-12-07 | Wire-Wire Contact | Conductor failure-all | Jumper |  |  |  | No
20210051 | 2021-01-18 | Vegetation | Contact - Vegetation | Conductor - Transmission |  |  |  | No | 2
20210066 | 2021-01-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 20
20210070 | 2021-01-21 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20210074 | 2021-01-22 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210183 | 2021-03-01 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No | 2
20210186 | 2021-01-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210293 | 2021-03-27 | Equipment - PG&E | Insulator failure | Conductor - Primary |  |  |  | No
20210381 | 2021-04-15 | Equipment - PG&E | Other | Insulator |  |  |  | No
20210466 | 2021-05-02 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No
20210522 | 2021-05-08 | Contact - 3rd Party | Contact - Vehicle | Conductor - Primary |  |  |  | Yes
20210549 | 2021-05-11 | Wire-Wire Contact | Conductor failure-all | Conductor - Primary |  |  |  | No
20210612 | 2021-05-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 3
20210697 | 2021-05-31 | Vegetation | Contact - Vegetation | Conductor - Racked Secondary |  |  |  | No | 30
20210818 | 2021-06-16 | Contact - Animal - Bird | Contact - Animal - Bird | Transformer | 1 |  |  | No
20210839 | 2021-06-18 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 1
20210859 | 2021-06-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210867 | 2021-06-20 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20210911 | 2021-06-26 | Contact - 3rd Party | Contact - Vegetation | Service Drop |  |  |  | No
20210966 | 2021-07-02 | Contact - 3rd Party | Contact - Vehicle | Fuse |  |  |  | No
20210979 | 2021-07-04 | Contact - Animal - Other | Contact - Animal - Other | Recloser |  |  |  | No
20211017 | 2021-07-08 | Equipment - PG&E | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20211042 | 2021-07-10 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No
20211056 | 2021-07-12 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20211068 | 2021-06-16 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No
20211090 | 2021-07-19 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | Yes
20211110 | 2021-07-10 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211113 | 2021-07-22 | Vegetation | Contact - Vegetation | Unknown | 2 |  |  | No | 4300
20211246 | 2021-08-13 | Contact - Animal - Bird | Contact - Animal - Bird | Transformer |  |  |  | No
20211249 | 2021-08-13 | Equipment - PG&E | Splice/Clamp/Connector | Automatic Wire Splice |  |  |  | No
20211301 | 2021-08-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211309 | 2021-08-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211326 | 2021-08-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20211336 | 2021-08-31 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20211714 | 2021-10-07 | Weather - Lightning | Weather - Lightning | Lightning Arrestor |  |  |  | No
20211718 | 2021-09-30 | Equipment - PG&E | Crossarm failure | Conductor - Primary |  |  |  | No
20211910 | 2021-10-24 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | No
20220202 | 2022-02-26 | Equipment - PG&E | Transformer failure | Transformer Bushing |  |  |  | No
20220310 | 2022-03-23 | Contact - Animal - Bird | Contact - Animal - Bird | Fuse |  |  |  | No
20220337 | 2022-03-27 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220387 | 2022-04-07 | Contact - 2nd Party | Com-line Strike | Pole |  |  |  | No
20220500 | 2022-04-27 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220531 | 2022-05-02 | Contact - 2nd Party | Contact - Vegetation | Conductor - Insulated Primary |  |  |  | No
20220568 | 2022-05-09 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220659 | 2022-05-23 | Contact - 2nd Party | Contact - Other | Jumper |  |  |  | No
20220735 | 2022-06-01 | Contact - 3rd Party | Com-line Strike | Conductor - Primary |  |  |  | No
20220848 | 2022-06-14 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20220981 | 2022-06-25 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221021 | 2022-06-10 | Equipment - PG&E | Fuse failure | Fuse |  |  |  | No
20221071 | 2022-07-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No | 2
20221236 | 2022-06-16 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Primary |  |  |  | No
20221267 | 2022-07-26 | Utility work / Operation | Improper Construction | Conductor - Open Wire Secondary |  |  |  | No
20221335 | 2022-08-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221385 | 2022-08-15 | Vegetation | Contact - Vegetation | Conductor - Open Wire Secondary |  |  |  | No
20221462 | 2022-08-26 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20221590 | 2022-09-10 | Contamination | Tracking | Insulator |  |  |  | No
20221738 | 2022-09-26 | Equipment - Overloaded | Splice/Clamp/Connector | Splice/Clamp/Connector |  |  |  | No
20221759 | 2022-10-02 | Contact - 3rd Party | Contact - Vehicle | Pole |  |  |  | No | 5
20221871 | 2022-10-26 | Equipment - PG&E | Switch failure | Fuse |  |  |  | No
20222013 | 2022-11-16 | Equipment - PG&E | Crossarm failure | Conductor - Primary |  |  |  | No
20230113 | 2023-02-17 | Equipment - PG&E | Conductor failure-all | Conductor - Insulated Secondary
20230127 | 2023-02-21 | Vegetation | Contact - Vegetation | Conductor - Primary
20230231N | 2023-03-25 | Vegetation | Contact - Vegetation | Conductor - Primary
20230259 | 2023-04-06 | Vegetation | Contact - Vegetation | Conductor - Primary
20230279 | 2023-04-16 | Equipment - PG&E | Fault Tamer Failure | Fault Tamer
20230330 | 2023-04-28 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission
20230399 | 2023-05-17 | Equipment - PG&E | Conductor failure-all | Conductor - Primary
20230424 | 2023-05-23 | Equipment - PG&E | Splice/Clamp/Connector | Compression Connector
20230599 | 2023-06-27 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  |  | 1
20230676 | 2023-07-10 | Equipment - PG&E | Transformer failure | Transformer
20230903 | 2023-08-18 | Vegetation | Contact - Vegetation | Pole
20230953 | 2023-08-25 | Utility work / Operation | Re-energized into fault after patrol | Riser
20231016 | 2023-09-08 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary
20231071 | 2023-09-20 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  |  | 4
20231073 | 2023-09-22 | Equipment - PG&E | Insulator failure | Insulator |  |  |  |  | 1
20231242 | 2023-11-03 | Vegetation | Contact - Vegetation | Conductor - Primary
20231356 | 2023-12-15 | Equipment - PG&E | Bonding Wire failure | Connector |  |  |  |  | 181
20240133N | 2024-02-27 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
20240347 | 2024-05-01 | Contact - 3rd Party | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240431 | 2024-05-18 | Equipment - Overloaded | Splice/Clamp/Connector | Connector |  |  |  | No
20240434 | 2024-05-18 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No | 7
20240531 | 2024-05-29 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240602 | 2024-06-07 | Vegetation | Contact - Vegetation | Crossarm |  |  |  | No | 1
20240753 | 2024-06-25 | Equipment - PG&E | Splice/Clamp/Connector | Connector |  |  |  | No
20240770N | 2024-06-27 | Equipment - PG&E | Transformer failure | Transformer |  |  |  | No
20240862 | 2024-07-05 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20240909N | 2024-07-09 | Contact - Animal - Bird | Contact - Animal - Bird | Conductor - Transmission |  |  |  | No | 2
20240916N | 2024-05-21 | Utility work / Operation | Utility work / Operation | Conductor - Primary |  |  |  |  | 1
20240953 | 2024-07-15 | Equipment - PG&E | Insulator failure | Insulator |  |  |  | No | 2
20241108 | 2024-08-08 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No | 1
20241317 | 2024-09-10 | Unknown | Unknown | Unknown |  |  |  | No
20241430 | 2024-10-03 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
20241489 | 2024-10-14 | Contact - 3rd Party | Contact - Balloon | Conductor - Primary |  |  |  | No | 4
20241509 | 2024-10-18 | Utility work / Operation | Re-energized into fault after patrol | Conductor - Primary |  |  |  | Yes
20241707 | 2024-11-19 | Contact - Animal - Other | Contact - Animal - Other | Crossarm |  |  |  | No | 1
20241714 | 2024-11-20 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No | 50
20241795N | 2024-12-09 | Equipment - PG&E | Conductor failure-all | Conductor - Transmission |  |  |  | No
20241797 | 2024-12-09 | Wire-Wire Contact | Conductor failure-all | Conductor - Open Wire Secondary |  |  |  | No
CAP20184176 | 2018-08-01 | Utility work / Operation | Utility work / Operation | Grounding Wire |  |  |  | No
EIR20180148 | 2018-09-16 | Equipment - PG&E | Other | Conductor - Transmission |  |  |  | No | 51
EIR20180150 | 2018-09-27 | Contact - 2nd Party | Contact - Airstrike | Conductor |  |  |  | No
FAS253713 | 2018-10-10 | Equipment - PG&E | Conductor failure-all | Conductor - Primary |  |  |  | No
MIA201913598 | 2019-10-27 | Equipment - PG&E | Switch failure | Pole |  |  |  | Yes
MIA20196973 | 2019-09-16 | Vegetation | Contact - Vegetation | Conductor |  |  |  | No
MIT20190032 | 2019-09-23 | Vegetation | Contact - Vegetation | Conductor - Primary |  |  |  | No
MIT20190034 | 2019-11-01 | Vegetation | Contact - Vegetation | Service Drop |  |  |  | No