## CalAdvocates_003-Q004-Atch01
Circuit Name | Circuit ID number (ETL #) | Circuit miles removed or decommissioned in Non-HFTD Areas | Circuit miles removed or decommissioned in Other HFTD | Circuit miles removed or decommissioned in HFTD Tier 2 | Circuit miles removed or decommissioned in HFTD Tier 3 | Reason(s) for removal or decommissioning
Agnew Tap 115kV | ETL.3122 | 1.32 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Brighton - Grand Island #'s 1 & 2 115kv - Phase 2 | ETL.1150 | 2.4 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Brighton-Clayton #'s 1&2 115kV - Phase 2 | ETL.1130 | 0 | N/A | 1.5 | 0 | Determined to have no present use for the time, or potential future use
Brighton-Davis 115kV - Pt. 1 | ETL.1140 | 4.5 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Brighton-Davis 115kV - Pt. 2 | ETL.1140 | 13 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Brighton-Oleum - Phase 2 | ETL.1162 | 0.65 | N/A | 0.85 | 0 | Determined to have no present use for the time, or potential future use
California Avenue-Kearney | ETL.8530 | 3.22 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Caribou Palermo | ETL.3190 | 5 | N/A | 13 | 5 | Determined to have no present use for the time, or potential future use
Caribou Table Mtn - Guest | ETL.4440 | 0 | N/A | 0.13 | 0 | Determined to have no present use for the time, or potential future use
Caribou-Westwood 60kV | ETL.6300 | 0.07 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Christie Franklin #1 & #2 | ETL.6350 | 1.6 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Chualar Tap | ETL.8012 | 1.43 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Cic Tap | ETL.6971 | 0.13 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Contra Costa - Moraga #2 | ETL.5453 | 0.12 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Contra Costa-Du Pont | ETL.6530 | 0.32 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Contra Costa-Shell Chemical #1 | ETL.6550 | 9.55 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Cordelia Interim pumps tap | ETL.8183 | 0.36 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Dean Foods Tap | ETL.6972 | 0.45 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Divide-Zaca-Lompoc (Distribution) | ETL.8631 | 10.52 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Drum-Higgins 115 kV | ETL.4393 | 0 | N/A | 2.456 | 1.574 | Determined to have no present use for the time, or potential future use
DU PONT TAP | ETL.8421 | 0.52 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Eagle Rock-Fulton-Silverado | ETL.4392 | 0 | N/A | 0 | 0.34 | Determined to have no present use for the time, or potential future use
Fulton Molino Cotati | ETL.6910 | 0.36 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Fulton-Lakeville-Ignacio 230kV | ETL.2823 | 2.5 | N/A | 6 | 7.3 | Determined to have no present use for the time, or potential future use
Geysers #17-Fulton 230 kV | ETL.4770 | 0 | N/A | 0 | 0.34 | Determined to have no present use for the time, or potential future use
Gish Tap | ETL.4031 | 0.8 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
GWF #4 TAP | ETL.6531 | 0.25 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
GWF Hanford Cogen Tap | ETL.8723 | 0.32 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Heinz Tap | ETL.2193 | 0.8 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Herdlyn Balfour | ETL.7050 | 4.14 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
JR WOODS TAP | ETL.1034 | 0.23 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
KERMAN (HWY 145 & CHURCH AVE) | ETL.8870 | 0.1 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Kern Oil- Mt Poso. | ETL.1212 | 1.08 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Kern-Kern Oil-Famoso | ETL.8870 | 24.69 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Kilarc-Deschutes | ETL.7300 | 1.138 | N/A | 2.772 | 0 | Determined to have no present use for the time, or potential future use
Lawrence-Livermore Labs #2 115kV Phase 2 | ETL.3981 | 6.4 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Lee Tap Idle Removal | ETL.7461 | 3.24 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Lightner Tap | ETL.8542 | 3.06 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Llagas-Hollister | ETL.2911 | 21.56 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Los Banos Mercy Springs SW STA | ETL.8929 | 0.03 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
LOS BANOS PACHECO 70KV | ETL.8960 | 4.48 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Mendocino # 1 | ETL.7530 | 1 | N/A | 8.2 | 0 | Determined to have no present use for the time, or potential future use
Metcalf-Hicks #1 and #2 | ETL.4317 | 3.795 | N/A | 2.825 | 0 | Determined to have no present use for the time, or potential future use
Metcalf-Salinas #1 115kV | ETL.1721 | 1.94 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Metcalf-Salinas #2 115kV | ETL.1731 | 6.8 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Newark-Decoto | ETL.7650 | 6.28 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Newark-Lawrence Lab 115kV | ETL.3060 | 9.137 | N/A | 3.073 | 0 | Determined to have no present use for the time, or potential future use
Newark-Sierra PPRBRD Tap | ETL.8111 | 0.29 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Pacific Oroville Power | ETL.7731 | 0.77 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
PENN ZIER TAP | ETL.8575 | 0.22 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Pit #1-Hat Creek #2-Burney (foreign section) | ETL.7040 | 0 | N/A | 0.4 | 0 | Determined to have no present use for the time, or potential future use
Pittsburg #1 Tap | ETL.6551 | 1.15 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
PORT COSTA BRICK TAP | ETL.6371 | 0 | N/A | 1.9 | 0 | Determined to have no present use for the time, or potential future use
Rio Bravo-Kern Oil 115kV | ETL.1922 | 2.3 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
San Francisco #2 | ETL.3279 | 3.15 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
San Joaquin Cogen | ETL.4012 | 0.04 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Sanger-California Ave #1 | ETL.9120 | 9.23 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Santa Maria Cogen Tap 115kV | ETL.2461 | 0.24 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Sargent Canyon SW STA-Hollister | ETL.2870 | 1.54 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Semitropic - Midway #2 | ETL.3640 | 1.92 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Senter #1 Tap | ETL.6841 | 0.23 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Sierra 115kV - # 1 & 2 | ETL.3670 | #1: 5.47 #2: 4.86 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Smartville-Camp Far West | ETL.7970 | 7.23 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Standard #1 and #2 | ETL.9490 | 4.2 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Stanislaus-Newark #1 & #2 115kV Phase 4 Idle Removal | ETL.3850 | 2.81 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Stanislaus-Newark #1 115kV - Phase 3 | ETL.3850 | 4 | N/A | 4 | 0 | Determined to have no present use for the time, or potential future use
Stanislaus-Newark #2 115kV - Phase 3 | ETL.3860 | 4 | N/A | 4 | 0 | Determined to have no present use for the time, or potential future use
Stockton-Newark | ETL.8150 | 14.5 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Thermal Energy Tap | ETL.4011 | 0.72 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Vaca - Lakeville #1 | ETL.5840 | 0.07 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Wilson-Dairyland 115kV | ETL.1284 | 11.41 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use
Wilson-Oro Loma 115kV | ETL.4200 | 2.76 | N/A | 0 | 0 | Determined to have no present use for the time, or potential future use