## a
Circuits with OH to UG conversion completed in 2020 | Average peak load to circuit ampacity in percent from 2017 to 2019
AUBERRY 1101 | 65.39%
COLUMBIA HILL 1101 | 61.05%
FULTON 1107 | 90.09%
KANAKA 1101 | 43.47%
LOS GATOS 1106 | 44.88%
MORAGA 1101 | 74.71%
MORAGA 1102 | 70.63%
OAKLAND X 1104 | 44.76%
POINT MORETTI 1101 | 33.49%

## b
Circuits with OH to UG conversion completed in 2021 | Average peak load to circuit ampacity in percent from 2018 to 2020
ANTLER 1101 | 54.4%
BIG BEND 1102 | 30.62%
MIWUK 1702 | 45.99%
RINCON 1103 | 57.93%
RINCON 1104 | 84.04%
ROSSMOOR 1108 | 77.83%
SHADY GLEN 1101 | 63.78%
WYANDOTTE 1103 | 90.22%

## c
Circuits with OH to UG conversion completed in 2022 | Average peak load to circuit ampacity in percent from 2019 to 2021
BIG BASIN 1102 | 32.17%
BIG BEND 1102 | 34.58%
BIG MEADOWS 2101 | 75.7%
Brunswick 1103 | 65.74%
BRUNSWICK 1106 | 82.21%
BRUNSWICK 1110 | 72.89%
CLARKSVILLE 2104 | 89.89%
DESCHUTES 1104 | 88.31%
Diamond Springs 1106 | 84.76%
DIAMOND SPRINGS 1107 | 72.01%
ECHO SUMMIT 1101 | 57.14%
EL DORADO PH 2101 | 54.72%
FULTON 1107 | 89.87%
GANSNER 1101 | 38.31%
GARBERVILLE 1102 | 62.4%
HALF MOON BAY 1103 | 59.46%
Higgins 1109 | 58.6%
KANAKA 1101 | 40.73%
KESWICK 1101 | 33.2%
LAS GALLINAS A 1105 | 64.78%
MARTELL 1101 | 65.16%
MIDDLETOWN 1101 | 51.24%
MIDDLETOWN 1102 | 82.7%
MIDDLETOWN 1103 | 6.571%
Mirabel 1102 | 49.81%
MORAGA 1103 | 72.27%
MOUNTAIN QUARRIES 2101 | 72.57%
OAKHURST 1101 | 59.54%
OREGON TRAIL 1103 | 65.27%
PASO ROBLES 1103 | 88.14%
PLACERVILLE 1112 | 61.55%
PLACERVILLE 2106 | 67.78%
POINT MORETTI 1101 | 34.78%
POTTER VALLEY P H 1105 | 57.09%
PUTAH CREEK 1102 | 35.99%
ROSSMOOR 1106 | 65.16%
ROSSMOOR 1108 | 76.04%
SHADY GLEN 1101 | 66.19%
SHINGLE SPRINGS 2109 | 69.86%
SILVERADO 2104 | 72.73%
SNEATH LANE 1107 | 35.65%
STANISLAUS 1702 | 61.77%
TIDEWATER 2106 | 72.22%
VACAVILLE 1104 | 85.29%
VOLTA 1101 | 56.17%
WYANDOTTE 1103 | 87.39%

## d
Circuits that will be undergrounded in 2023 | Average peak load to circuit ampacity in percent from 2020 to 2022
ANDERSON 1103 | 36.76%
AUBERRY 1101 | 71.65%
BANGOR 1101 | 100.8%
BELL 1108 | 96.66%
BIG BASIN 1101 | 39.16%
BIG BASIN 1102 | 30.79%
BIG BEND 1102 | 32.19%
BIG MEADOWS 2101 | 83.61%
BRUNSWICK 1106 | 86.35%
BUCKS CREEK 1101 | 3.462%
BUCKS CREEK 1102 | 8.696%
CLARK ROAD 1102 | 52.39%
CLAYTON 2212 | 60.85%
CORNING 1102 | 93.39%
COTTONWOOD 1102 | 71.14%
CRESCENT MILLS 2101 | 15.72%
CURTIS 1701 | 80.61%
DESCHUTES 1104 | 87.57%
DUNBAR 1101 | 69.15%
EL DORADO PH 2101 | 54.47%
ELK CREEK 1101 | 76.02%
FLINT 1101 | 56.61%
FORESTHILL 1101 | 75.39%
FROGTOWN 1702 | 82.61%
GANSNER 1101 | 38.55%
GRAYS FLAT 0401 | 15.52%
HALF MOON BAY 1103 | 57.78%
HARTLEY 1101 | 86.21%
HIGHLANDS 1102 | 85.81%
HIGHLANDS 1104 | 65.05%
HORSESHOE 1101 | 68.83%
JAMESON 1102 | 90.85%
JAMESON 1105 | 96.5%
JESSUP 1102 | 67.46%
JESSUP 1103 | 53.25%
KANAKA 1101 | 41.07%
KESWICK 1101 | 32.76%
KIRKER 2104 | 85.39%
LAS GALLINAS A 1105 | 64.48%
LINCOLN 1104 | 70.22%
MARIPOSA 2101 | 68.58%
MARIPOSA 2102 | 67.23%
MARTELL 1101 | 66.45%
MIDDLETOWN 1101 | 53.96%
MIDDLETOWN 1103 | 6.881%
MOUNTAIN QUARRIES 2101 | 76.35%
PANORAMA 1101 | 55.84%
PINE GROVE 1102 | 82.61%
PLACERVILLE 1112 | 68.03%
PLACERVILLE 2106 | 69.94%
POINT MORETTI 1101 | 33.65%
POTTER VALLEY P H 1105 | 59.05%
REDBUD 1101 | 49.76%
SHINGLE SPRINGS 2109 | 71.97%
SPANISH CREEK 4401 | 11.01%
STANISLAUS 1701 | 33.21%
STANISLAUS 1702 | 65.74%
TIDEWATER 2106 | 64.58%
UPPER LAKE 1101 | 62.93%
VACAVILLE 1104 | 83.2%
VACAVILLE 1108 | 81.05%
VACAVILLE 1111 | 81.42%
VOLTA 1101 | 55%
WILLOW CREEK 1103 | 50.26%
WYANDOTTE 1103 | 84.61%
WYANDOTTE 1109 | 97.96%
WYANDOTTE 1110 | 94.24%

## e
Circuits that will be undergrounded in 2024 | Average peak load to circuit ampacity in percent from 2020 to 2022
APPLE HILL 1104 | 52.8%
APPLE HILL 2102 | 87.29%
BELL 1108 | 96.66%
BIG BASIN 1102 | 30.79%
BONNIE NOOK 1102 | 27.12%
BRUNSWICK 1102 | 39.41%
BRUNSWICK 1106 | 86.35%
BUELLTON 1102 | 57.75%
CLARK ROAD 1102 | 52.39%
CLAYTON 2215 | 88.89%
DIAMOND SPRINGS 1107 | 74.43%
DUNBAR 1101 | 69.15%
ECHO SUMMIT 1101 | 55.57%
El Cerrito G 1105 | 64.55%
EL DORADO PH 2101 | 54.47%
FLINT 1101 | 56.61%
FORESTHILL 1101 | 75.39%
GOLDTREE 1105 | 29.26%
HALF MOON BAY 1103 | 57.78%
JAMESON 1105 | 96.5%
LOS OSITOS 2103 | 39.64%
MARIPOSA 2101 | 68.58%
MIDDLETOWN 1101 | 53.96%
MIDDLETOWN 1102 | 85.73%
Molino 1102 | 89.31%
MOUNTAIN QUARRIES 2101 | 76.35%
NORTH BRANCH 1101 | 57.96%
OREGON TRAIL 1103 | 68.53%
ORO FINO 1102 | 44.01%
Paradise 1104 | 44.34%
PINE GROVE 1102 | 82.61%
PIT NO 3 2101 | 16.75%
PLACERVILLE 2106 | 69.94%
PUEBLO 2103 | 96.86%
REDBUD 1101 | 49.76%
SHADY GLEN 1101 | 68.44%
SILVERADO 2104 | 73.22%
SILVERADO 2105 | 64.48%
STANISLAUS 1701 | 33.21%
STANISLAUS 1702 | 65.74%
TEJON 1102 | 76.35%
TIGER CREEK 0201 | 29%
VACAVILLE 1108 | 81.05%
VACAVILLE 1111 | 81.42%
VOLTA 1101 | 55%
WOODSIDE 1101 | 60.24%
WYANDOTTE 1110 | 94.24%

## f
Adjacent circuits to the circuits that have OH to UG conversion projects in 2023 | Average peak load to circuit ampacity in percent from 2020 to 2022
ANDERSON 1101 | 65.51%
ANDERSON 1103 | 36.76%
APPLE HILL 1103 | 43%
APPLE HILL 1104 | 52.8%
APPLE HILL 2102 | 87.29%
AUBERRY 1102 | 60.82%
AUBURN 1101 | 19.21%
AUBURN 1102 | 40.92%
BEAR VALLEY 2101 | 25.4%
BELL 1107 | 75.11%
BELL 1109 | 43.36%
BELL 1110 | 86.01%
BEN LOMOND 1101 | 26.51%
BIG BASIN 1101 | 39.16%
BIG BASIN 1102 | 30.79%
BIG BEND 1101 | 19.98%
BIG BEND 1102 | 32.19%
BROWNS VALLEY 1101 | 57.72%
BRUNSWICK 1102 | 39.41%
BRUNSWICK 1104 | 68.28%
BRUNSWICK 1107 | 44.82%
CALAVERAS CEMENT 1101 | 88.72%
CALISTOGA 1101 | 45.43%
CALPELLA 1101 | 63.66%
CHALLENGE 1102 | 45.38%
CLARK ROAD 1101 | 48.31%
CLARKSVILLE 2104 | 90.48%
CLAYTON 2211 | 60.51%
CLAYTON 2213 | 67.31%
CLAYTON 2215 | 88.89%
CLAYTON 2217 | 84.24%
CLAYTON 2218 | 26.61%
CLEAR LAKE 1102 | 54.48%
CORDELIA 1110 | 59.94%
CORDELIA 1112 | 85.93%
CORNING 1101 | 99.75%
CORNING 1103 | 74.67%
CORNING 1104 | 81.14%
COTTONWOOD 1101 | 78.66%
COTTONWOOD 1103 | 78.78%
CRESCENT MILLS. 2101 | 15.72%
CURTIS 1703 | 73.34%
CURTIS 1704 | 40.31%
DEL MAR 2106 | 64.86%
DESCHUTES 1101 | 41.7%
DESCHUTES 1104 | 87.57%
DIAMOND SPRINGS 1103 | 82.14%
DIAMOND SPRINGS 1106 | 89.57%
DOBBINS 1101 | 41.07%
DUNBAR 1102 | 53.94%
DUNBAR 1103 | 87.85%
EAST QUINCY 1101 | 45.48%
ECHO SUMMIT 1101 | 55.57%
EL DORADO PH 2102 | 47.55%
ELECTRA 1101 | 67.78%
FAIRVIEW 2207 | 56.27%
FLINT 1102 | 24.35%
FORESTHILL 1102 | 53.62%
FROGTOWN 1701 | 59.82%
FROGTOWN 1702 | 82.61%
GERBER 1101 | 50.75%
GIRVAN 1102 | 59.48%
GLENN 1101 | 80.73%
GRASS VALLEY 1101 | 34.56%
HALF MOON BAY 1101 | 53.66%
HALF MOON BAY 1102 | 61.93%
HALF MOON BAY 1103 | 57.78%
HALSEY 1101 | 81.32%
HAMILTON BRANCH 1101 | 53.42%
HARTLEY 1101 | 86.21%
HARTLEY 1102 | 62.33%
HIGGINS 1104 | 78.22%
HIGGINS 1109 | 54.97%
HIGHLANDS 1102 | 85.81%
HIGHLANDS 1103 | 85.86%
HIGHLANDS 1104 | 65.05%
HONCUT 1102 | 72.05%
HORSESHOE 1104 | 59.01%
HORSESHOE 1106 | 79.24%
JAMESON 1101 | 70.39%
JAMESON 1102 | 90.85%
JAMESON 1103 | 57.29%
JAMESON 1104 | 61.1%
JAMESON 1105 | 96.5%
JESSUP 1101 | 61.89%
JESSUP 1102 | 67.46%
JESSUP 1103 | 53.25%
KANAKA 1101 | 41.07%
KERCKHOFF 1101 | 27.48%
KIRKER 2103 | 71.52%
KIRKER 2104 | 85.39%
KIRKER 2105 | 86.84%
KIRKER 2107 | 60.4%
KONOCTI 1102 | 70.76%
LAS GALLINAS A 1104 | 70.72%
LAS GALLINAS A 1106 | 63.97%
LINCOLN 1101 | 71.45%
LINCOLN 2108 | 84.22%
LOGAN CREEK 2102 | 62.83%
LOS GATOS 1106 | 45.18%
LOS MOLINOS 1102 | 70.23%
LUCERNE 1103 | 62.21%
LUCERNE 1106 | 76.51%
MARIPOSA 2101 | 68.58%
MARIPOSA 2102 | 67.23%
MARTELL 1101 | 66.45%
MARTELL 1103 | 60.51%
MENLO 1102 | 87.53%
MENLO 1103 | 54.11%
MIDDLETOWN 1101 | 53.96%
MIDDLETOWN 1102 | 85.73%
MIDDLETOWN 1103 | 6.881%
MONTICELLO 1101 | 60.65%
MOUNTAIN QUARRIES 2101 | 76.35%
NAPA 1112 | 83.62%
OLETA 1101 | 55.93%
OLETA 1102 | 56.02%
OREGON TRAIL 1103 | 68.53%
OREGON TRAIL 1104 | 58.66%
OROVILLE 1104 | 52.68%
PANORAMA 1102 | 75.6%
PARADISE 1104 | 44.34%
PAUL SWEET 2107 | 46.98%
PEABODY 2108 | 79.72%
PENRYN 1103 | 62.51%
PENRYN 1105 | 54.6%
PENRYN 1107 | 96.75%
PEORIA FLAT 1704 | 94.48%
PINE GROVE 1101 | 76.07%
PINE GROVE 1102 | 82.61%
PLACER 1101 | 32.22%
PLACERVILLE 1109 | 15.97%
PLACERVILLE 1110 | 50.96%
PLACERVILLE 1111 | 58.87%
PLACERVILLE 2106 | 69.94%
POINT MORETTI 1101 | 33.65%
POTTER VALLEY P H 1104 | 25.04%
RACETRACK 1703 | 72.3%
REDBUD 1101 | 49.76%
REDBUD 1102 | 70.3%
SALT SPRINGS 2102 | 59.71%
SHADY GLEN 1102 | 24.25%
SHINGLE SPRINGS 2105 | 68.55%
SHINGLE SPRINGS 2109 | 71.97%
SONOMA 1102 | 80.38%
STANISLAUS 1701 | 33.21%
STANISLAUS 1702 | 65.74%
STELLING 1110 | 90.63%
SUISUN 1109 | 108.9%
TIDEWATER 2104 | 79.68%
TIDEWATER 2105 | 80.44%
TIDEWATER 2106 | 64.58%
UPPER LAKE 1101 | 62.93%
VACA DIXON 1101 | 67.26%
VACAVILLE 1103 | 81.55%
VACAVILLE 1104 | 83.2%
VACAVILLE 1108 | 81.05%
VACAVILLE 1109 | 91.66%
VACAVILLE 1111 | 81.42%
VACAVILLE 1112 | 85.85%
VOLTA 1102 | 60.83%
WEST POINT 1101 | 67.25%
WEST POINT 1102 | 82.82%
WHEATLAND 1104 | 45.15%
WHEATLAND 1105 | 39.01%
WILLOW CREEK 1101 | 44.78%
WILLOW CREEK 1102 | 10.44%
WILLOW PASS 2108 | 77.19%
WISE 1101 | 36.53%
WISE 1102 | 52.22%
WOODACRE 1101 | 18.54%
WYANDOTTE 1102 | 85.56%
WYANDOTTE 1103 | 84.61%
WYANDOTTE 1105 | 44.54%
WYANDOTTE 1106 | 80.44%
WYANDOTTE 1107 | 82.99%
WYANDOTTE 1109 | 97.96%
WYANDOTTE 1110 | 94.24%

## g
Adjacent circuits to the circuits that have OH to UG conversion projects in 2024 | Average peak load to circuit ampacity in percent from 2020 to 2022
APPLE HILL 1103 | 43%
APPLE HILL 1104 | 52.8%
APPLE HILL 2102 | 87.29%
ARLINGTON 0401 | 27.57%
AUBURN 1101 | 19.21%
AUBURN 1102 | 40.92%
BEAR VALLEY 2101 | 25.4%
BELL 1107 | 75.11%
BELL 1109 | 43.36%
BELL 1110 | 86.01%
BERKELEY F 1105 | 63.78%
BIG BASIN 1101 | 39.16%
BIG BEND 1101 | 19.98%
BONNIE NOOK 1101 | 27.75%
BRUNSWICK 1102 | 39.41%
BRUNSWICK 1104 | 68.28%
BRUNSWICK 1106 | 86.35%
BRUNSWICK 1107 | 44.82%
BUELLTON 1101 | 83.81%
BURNEY 1101 | 61.76%
CALAVERAS CEMENT 1101 | 88.72%
CALISTOGA 1101 | 45.43%
CALISTOGA 1102 | 81.68%
CLARK ROAD 1101 | 48.31%
CLARK ROAD 1102 | 52.39%
CLAYTON 2212 | 60.85%
CLAYTON 2216 | 68.8%
CORDELIA 1110 | 59.94%
CORDELIA 1112 | 85.93%
CORRAL 1101 | 75.76%
CORRAL 1102 | 107.8%
COTATI 1105 | 54.63%
CURTIS 1704 | 40.31%
DESCHUTES 1104 | 87.57%
DIAMOND SPRINGS 1103 | 82.14%
DIAMOND SPRINGS 1105 | 82.69%
DIAMOND SPRINGS 1106 | 89.57%
DUNBAR 1102 | 53.94%
DUNBAR 1103 | 87.85%
ECHO SUMMIT 1101 | 55.57%
EL CERRITO G 1108 | 67.27%
EL CERRITO G 1112 | 70.78%
EL DORADO PH 2101 | 54.47%
EL DORADO PH 2102 | 47.55%
ELECTRA 1101 | 67.78%
FLINT 1102 | 24.35%
FORESTHILL 1102 | 53.62%
FROGTOWN 1701 | 59.82%
FROGTOWN 1702 | 82.61%
GOLDTREE 1108 | 50.47%
GRASS VALLEY 1101 | 34.56%
HALF MOON BAY 1101 | 53.66%
HALF MOON BAY 1102 | 61.93%
HALSEY 1101 | 81.32%
HIGGINS 1104 | 78.22%
HIGGINS 1109 | 54.97%
HIGGINS 1110 | 50.88%
HIGHLANDS 1102 | 85.81%
HIGHLANDS 1103 | 85.86%
JAMESON 1101 | 70.39%
JAMESON 1102 | 90.85%
JAMESON 1103 | 57.29%
JAMESON 1104 | 61.1%
KING CITY 1106 | 68.51%
KONOCTI 1102 | 70.76%
LAKEWOOD 2112 | 84.68%
LAKEWOOD 2227 | 32.76%
LAURELES 1111 | 25.96%
LOS COCHES 1101 | 48.52%
LOS OSITOS 2101 | 47.48%
LUCERNE 1106 | 76.51%
MARIPOSA 2102 | 67.23%
MARTELL 1101 | 66.45%
MENLO 1102 | 87.53%
MENLO 1103 | 54.11%
MIDDLETOWN 1101 | 53.96%
MIDDLETOWN 1102 | 85.73%
MIDDLETOWN 1103 | 6.881%
MIRABEL 1101 | 53.28%
MOLINO 1101 | 71.64%
MOLINO 1103 | 82%
MOLINO 1104 | 76.54%
MONTE RIO 1112 | 29.86%
MONTICELLO 1101 | 60.65%
MORAGA 1101 | 66.55%
MOUNTAIN QUARRIES 2101 | 76.35%
NAPA 1102 | 64.7%
NAPA 1110 | 87.8%
NOTRE DAME 1104 | 69.56%
OAK 0401 | 36.37%
OLETA 1102 | 56.02%
OREGON TRAIL 1102 | 41.99%
OREGON TRAIL 1104 | 58.66%
ORO FINO 1101 | 48.6%
OROVILLE 1104 | 52.68%
PARADISE 1103 | 33.51%
PARADISE 1104 | 44.34%
PARADISE 1105 | 51.64%
PENRYN 1103 | 62.51%
PINE GROVE 1101 | 76.07%
PIT NO 5 1101 | 42.31%
PLACER 1101 | 32.22%
PLACERVILLE 1109 | 15.97%
PLACERVILLE 1110 | 50.96%
PLACERVILLE 2106 | 69.94%
POINT MORETTI 1101 | 33.65%
PUEBLO 2101 | 48.96%
PUEBLO 2102 | 87.12%
REDBUD 1102 | 70.3%
SALMON CREEK 1101 | 44.68%
SALT SPRINGS 2102 | 59.71%
SAN LUIS OBISPO 1101 | 56.31%
SAN LUIS OBISPO 1105 | 65.04%
SANTA YNEZ 1102 | 64.11%
SHADY GLEN 1102 | 24.25%
SHINGLE SPRINGS 2109 | 71.97%
SHINGLE SPRINGS 2110 | 42.66%
SILVERADO 2102 | 55.42%
SILVERADO 2104 | 73.22%
SILVERADO 2105 | 64.48%
SONOMA 1102 | 80.38%
STANISLAUS 1701 | 33.21%
STANISLAUS 1702 | 65.74%
STELLING 1110 | 90.63%
STILLWATER 1102 | 75.52%
TASSAJARA 2103 | 76.85%
TEJON 1103 | 84.46%
TEJON 1105 | 54.39%
TEJON 1106 | 47.67%
TEJON 1107 | 34.33%
VACA DIXON 1101 | 67.26%
VACAVILLE 1103 | 81.55%
VACAVILLE 1104 | 83.2%
VACAVILLE 1108 | 81.05%
VACAVILLE 1111 | 81.42%
VACAVILLE 1112 | 85.85%
VOLTA 1102 | 60.83%
WEIMAR 1101 | 57.67%
WEST POINT 1101 | 67.25%
WEST POINT 1102 | 82.82%
WHEELER RIDGE 1101 | 91.48%
WISE 1101 | 36.53%
WYANDOTTE 1103 | 84.61%
WYANDOTTE 1105 | 44.54%
WYANDOTTE 1107 | 82.99%
WYANDOTTE 1109 | 97.96%