## ETL OH & UG Lines
Circuit ID # | Transmission Line Name | 2022 Normal Capacity (Amps) | 2022 Peak Loading (Amps)
ETL.1000 | STELLING-MONTA VISTA | 1104 | 486.196
ETL.1002 | LAS AGUILAS SW STA-PANOCHE #2 | 742 | 565.7
ETL.1003 | LAS AGUILAS SW STA-PANOCHE #1 | 742 | 643.8
ETL.1010 | WHISMAN-MONTA VISTA | 839 | 813.2
ETL.1020 | ATWATER-EL CAPITAN | 631 | 149.565
ETL.1024 | FULTON-WINDSOR | 1126 | 395.0804
ETL.1030 | ATWATER-LIVINGSTON-MERCED | 440 | 284.2
ETL.1033 | ATWATER-CRESSEY | 440 | 186.2
ETL.1036 | GALLO-CRESSEY | 631 | 106.5096
ETL.1040 | BAIR-BELMONT | 1144 | 389.7
ETL.1042 | IGNACIO-STAFFORD | 461 | 520.4
ETL.1050 | BALCH-SANGER | 440 | 207.2108
ETL.1051 | PANOCHE-CAL PEAK-STARWOOD | 440 | 780.4
ETL.1060 | BARTON-AIRWAYS-SANGER | 825 | 739.7
ETL.1062 | RIPON-MANTECA | 303 | 307.692
ETL.1070 | BELLOTA-RIVERBANK-MELONES SW STA | 440 | 322.344
ETL.1071 | TULLOCH TAP | 440
ETL.1073 | MI-WUK-CURTIS | 493 | 492.104
ETL.1082 | BORDEN-GREGG #1 | 742 | 564.3
ETL.1092 | LOS BANOS-PADRE FLAT SW STA | 825 | 966.2
ETL.1100 | BOGUE-RIO OSO | 825 | 1566.2999
ETL.1101 | GREENLEAF #1 TAP | 600 | 317
ETL.1103 | LAS GALLINAS-SAN RAFAEL | 448 | 799.2676
ETL.1110 | BRIDGEVILLE-COTTONWOOD | 397 | 1249.6
ETL.1112 | INDIAN FLAT-YOSEMITE | 303 | 33.8023
ETL.1132 | SANTA TERESA-EDENVALE | 1200 | 568.8
ETL.1140 | BRIGHTON-DAVIS | 449 | 292.5
ETL.1140 | BRIGHTON-DAVIS | 449 | 292.5
ETL.1141 | BARKER SLOUGH TAP | 297
ETL.1143 | TEVIS #2 TAP | 631 | 216.849
ETL.1144 | TEVIS #1 TAP | 631 | 210.989
ETL.1145 | ADOBE SW STA #1 TAP | 440 | 150.0262
ETL.1150 | BRIGHTON-GRAND ISLAND #1 | 325 | 273.9341
ETL.1160 | BRIGHTON-GRAND ISLAND #2 | 325 | 469.7409
ETL.1170 | BRITTON-MONTA VISTA | 1000 | 669.6
ETL.1172 | MUSTANG SW STA-CABALLO-SLATE | 1893 | 1163.5
ETL.1174 | AMES-MOUNTAIN VIEW | 703 | 612.8
ETL.1180 | BUTTE VALLEY-CARIBOU | 493 | 203.565
ETL.1190 | BUTTE-SYCAMORE CREEK | 297 | 1430.1
ETL.1192 | PITTSBURG-BLACK DIAMOND ENERGY STORAGE | 896 | 645.3826
ETL.1200 | CABRILLO-SANTA YNEZ SW STA | 703 | 239.916
ETL.1201 | BUELLTON TAP | 328
ETL.1210 | CALLENDER SW STA-MESA | 328 | 237.65
ETL.1220 | CAMP EVERS-PAUL SWEET | 703 | 504.029
ETL.1223 | GATES-CASTANEA | 3000 | 654.9
ETL.1230 | CAMANCHE PUMPING PLANT TAP | 825
ETL.1233 | COLUMBUS-MAGUNDEN | 440 | 316.4835
ETL.1240 | CASCADE-COTTONWOOD | 416 | 569.3
ETL.1243 | HENRIETTA-AMERICAN KINGS | 1200 | 1126.6406
ETL.1250 | CHOWCHILLA-KERCKHOFF | 325 | 441.123
ETL.1251 | SHARON PRISON TAP | 297
ETL.1252 | OAKHURST TAP | 297
ETL.1254 | PITTSBURG-DELTA ENERGY CENTER #1 | 2700 | 2153.8459
ETL.1260 | CHRISTIE-SOBRANTE | 461 | 476.5
ETL.1266 | TEICHERT TAP | 297
ETL.1270 | CLAYTON-MEADOW LANE | 759 | 441.663
ETL.1272 | MOSS LANDING - DALLAS | 2778 | 447.3403
ETL.1280 | CONTRA COSTA #1 | 325 | 260.347
ETL.1283 | LEPRINO FOODS (TRACY) TAP | 297
ETL.1290 | CONTRA COSTA #2 | 325 | 74.1713
ETL.1291 | FIBREBOARD TAP | 297
ETL.1300 | COOLEY LANDING-PALO ALTO | 780 | 252.8772
ETL.1302 | EAST GRAND - SOUTH SAN FRANSICO TRACTION POWER #1 | 703 | 230.9955
ETL.1304 | EAST GRAND - SOUTH SAN FRANSICO TRACTION POWER #2 | 703 | 230.9955
ETL.1310 | CORCORAN-OLIVE SW STA | 825 | 566.8
ETL.1310 | CORCORAN-OLIVE SW STA | 825 | 566.8
ETL.1311 | QUEBEC TAP | 297
ETL.1320 | RIO OSO-LINCOLN | 825 | 308.945
ETL.1330 | CORTINA-MENDOCINO #1 | 588 | 329.6
ETL.1331 | LUCERNE #1 TAP | 303
ETL.1340 | COTTONWOOD-PANORAMA | 440 | 230.5931
ETL.1350 | CRAG VIEW-CASCADE | 416 | 412.088
ETL.1360 | DAIRYLAND-MENDOTA | 975 | 1199.8901
ETL.1370 | DIVIDE-CABRILLO #2 | 703 | 239.916
ETL.1371 | CITY #2 TAP | 488
ETL.1372 | MANVILLE TAP | 328
ETL.1380 | DIVIDE-CABRILLO #1 | 703 | 239.916
ETL.1381 | SURF TAP | 488
ETL.1382 | CITY #1 TAP | 488
ETL.1390 | DIXON LANDING-MCKEE | 1144 | 584.185
ETL.1400 | DONNELLS-MI-WUK | 493 | 491.5
ETL.1401 | BEARDSLEY TAP | 303
ETL.1402 | SPRING GAP TAP | 493
ETL.1403 | SANDBAR TAP | 493
ETL.1404 | FIBREBOARD STANDARD TAP | 440 | 336.3842
ETL.1410 | DEL MAR-ATLANTIC #1 | 998 | 827.076
ETL.1412 | HIGGINS-BELL | 631 | 421.5217
ETL.1413 | BIRDS LANDING SW STA-SHILOH | 752 | 431.9
ETL.1420 | DRUM-RIO OSO #1 | 325 | 383.617
ETL.1421 | DUTCH FLAT #2 TAP | 493 | 116.4586
ETL.1422 | BRUNSWICK #1 TAP | 493
ETL.1430 | DRUM-RIO OSO #2 | 325 | 341.209
ETL.1431 | BRUNSWICK #2 TAP | 493
ETL.1440 | DRUM-SUMMIT #1 | 416 | 836.1583
ETL.1450 | DRUM-SUMMIT #2 | 375 | 417.2735
ETL.1460 | DUMBARTON-NEWARK | 1542 | 701.6
ETL.1470 | EAGLE ROCK-CORTINA | 493 | 1456.5
ETL.1480 | EAGLE ROCK-REDBUD | 297 | 312.9002
ETL.1481 | LOWER LAKE-HOMESTAKE | 297 | 400.5249
ETL.1490 | EAST GRAND-SAN MATEO | 488 | 607.2
ETL.1495 | EASTSHORE-DUMBARTON | 2288 | 696.948
ETL.1500 | EASTSHORE-MT EDEN #1 | 839 | 646.5243
ETL.1501 | EASTSHORE-MT EDEN #2 | 839 | 587.252
ETL.1510 | EL CAPITAN-WILSON | 759 | 482.8
ETL.1520 | EL PATIO-SAN JOSE A | 1066 | 890.8
ETL.1530 | EL DORADO-MISSOURI FLAT #1 | 389 | 148.3932
ETL.1531 | APPLE HILL #1 TAP | 297
ETL.1540 | EL DORADO-MISSOURI FLAT #2 | 325 | 91.409
ETL.1541 | APPLE HILL #2 TAP | 440
ETL.1550 | SAN JOSE B-STONE-EVERGREEN | 284 | 811.373
ETL.1551 | NORTECH-NORTHERN RECEIVING STATION | 1542 | 1061.433
ETL.1555 | H-P #3 | 650 | 357.7
ETL.1560 | EXCHEQUER-LE GRAND | 343 | 479.1
ETL.1570 | FELLOWS-MIDSUN | 297 | 219.7333
ETL.1580 | FELLOWS-TAFT | 440 | 440.04
ETL.1581 | MIDSET TAP | 600
ETL.1590 | FULTON JCT-VACA | 325 | 254.4104
ETL.1591 | AMERIGAS TAP | 600
ETL.1600 | FULTON-PUEBLO | 297 | 195.2696
ETL.1601 | RINCON #1 TAP | 440
ETL.1602 | MONTICELLO PH TAP | 297
ETL.1610 | SILVERADO-FULTON JCT | 297 | 188.5
ETL.1611 | RINCON #2 TAP | 440
ETL.1620 | FULTON-SANTA ROSA #1 | 1000 | 476.6015
ETL.1630 | FULTON-SANTA ROSA #2 | 1126 | 525.4555
ETL.1650 | GEYSERS #3-CLOVERDALE | 631 | 1074.251
ETL.1651 | MISSION POWER TAP | 493 | 127.9845
ETL.1660 | GEYSERS #3-EAGLE ROCK | 631 | 509.7
ETL.1670 | GEYSERS #5-GEYSERS #3 | 631 | 499.4781
ETL.1680 | GEYSERS #7-EAGLE ROCK | 600 | 503.3357
ETL.1690 | GOLD HILL-BELLOTA-LOCKEFORD | 325 | 226.6
ETL.1690 | GOLD HILL-BELLOTA-LOCKEFORD | 325 | 226.6
ETL.1691 | CAMANCHE TAP | 297
ETL.1700 | GRANT-EASTSHORE #1 | 920 | 507.936
ETL.1701 | GRANT-EASTSHORE #2 | 920 | 500.122
ETL.1710 | GREEN VALLEY-CAMP EVERS | 703 | 803
ETL.1720 | GREEN VALLEY-LLAGAS | 428 | 1201.465
ETL.1730 | GREEN VALLEY-PAUL SWEET | 703 | 852.258
ETL.1737 | HENRIETTA-LEPRINO SW STA | 825 | 787.6912
ETL.1738 | LEPRINO SW STA-HENRIETTA PV | 825 | 506.3
ETL.1739 | KANSAS PV-LEPRINO SW STA | 825 | 97.6
ETL.1740 | LEPRINO SW STA-GWF HANFORD SW STA | 825 | 633.8572
ETL.1741 | LEPRINO FOODS-LEPRINO SW STA | 631 | 172.3
ETL.1742 | GILL RANCH TAP | 631
ETL.1743 | GWF-KINGSBURG | 297 | 821.8024
ETL.1744 | PARAMOUNT FARMS TAP | 297 | 1451
ETL.1750 | HERNDON-BARTON | 954 | 689.23
ETL.1760 | HERNDON-BULLARD #1 | 631 | 680.439
ETL.1770 | HERNDON-BULLARD #2 | 631 | 569.67
ETL.1780 | HERNDON-MANCHESTER | 1126 | 704.859
ETL.1790 | HERNDON-WOODWARD | 825 | 735.335
ETL.1800 | HUMBOLDT BAY-HUMBOLDT #1 | 310 | 323.5527
ETL.1810 | HUMBOLDT-BRIDGEVILLE | 538 | 674.4
ETL.1820 | HUMBOLDT-TRINITY | 303 | 398.8
ETL.1830 | IGNACIO-MARE ISLAND #1 | 310 | 276
ETL.1831 | CARQUINEZ #1 TAP | 488
ETL.1832 | SKAGGS ISLAND #1 TAP | 328
ETL.1833 | JAMESON CANYON PUMPING PLANT TAP | 297
ETL.1840 | IGNACIO-MARE ISLAND #2 | 310 | 377.7
ETL.1841 | CARQUINEZ #2 TAP | 488
ETL.1842 | SKAGGS ISLAND #2 TAP | 328
ETL.1850 | IGNACIO-SAN RAFAEL #1 | 550 | 398.3
ETL.1860 | IGNACIO-LAS GALLINAS | 582 | 389.9
ETL.1870 | JARVIS-CRYOGENICS | 703
ETL.1880 | KERCKHOFF #1-KERCKHOFF #2 | 325 | 134.212
ETL.1890 | KERCKHOFF-CLOVIS-SANGER #1 | 631 | 1178.9
ETL.1895 | WOODWARD-SHEPHERD | 825 | 504.6924
ETL.1900 | KERCKHOFF-CLOVIS-SANGER #2 | 631 | 124254
ETL.1910 | KERN OIL-DEXZEL | 631 | 191.4
ETL.1920 | KERN OIL-WITCO | 416 | 333.5
ETL.1921 | DISCOVERY TAP | 297 | 143.1984
ETL.1923 | OLIVE SW STA-SMYRNA | 825 | 800.17
ETL.1930 | KERN-KERN FRONT | 631 | 898.8385
ETL.1931 | DOUBLE C (PSE) TAP | 600 | 355.7976
ETL.1932 | BADGER CREEK (PSE) TAP | 600 | 218.8374
ETL.1933 | SIERRA (PSE) TAP | 600
ETL.1940 | KERN-STOCKDALE-LAMONT #2 | 631 | 2686.9739
ETL.1942 | LAMONT-GRIMMWAY MALAGA | 297 | 200.1564
ETL.1950 | LERDO-KERN OIL-7TH STANDARD | 440 | 1803.9369
ETL.1960 | KERN-LIVE OAK | 416 | 434.778
ETL.1970 | KERN-MAGUNDEN-WITCO | 416 | 602.1978
ETL.1971 | KERNWATER TAP | 297
ETL.1972 | WITCO (REFINERY) TAP | 297
ETL.1980 | KERN-ROSEDALE | 600 | 401.465
ETL.1981 | 7TH STANDARD-KERN | 631 | 454.1
ETL.1982 | WHEELER RIDGE-ADOBE SW STA | 440 | 150.0262
ETL.1990 | KERN-STOCKDALE-LAMONT #1 | 440 | 1061.2
ETL.1990 | KERN-STOCKDALE-LAMONT #1 (21KV) | 440
ETL.2000 | KERN-WESTPARK #1 | 631 | 4955.311
ETL.2010 | KERN-WESTPARK #2 | 631 | 367.3208
ETL.2020 | KIFER-FMC | 839 | 798.9
ETL.2021 | FMC-SAN JOSE B | 1542 | 657.6
ETL.2030 | KINGS RIVER-SANGER-REEDLEY | 416 | 304.2
ETL.2031 | RAINBOW TAP | 440
ETL.2040 | KINGSBURG-CORCORAN #1 | 343 | 344.5662
ETL.2050 | KINGSBURG-WAUKENA SW STA | 343 | 554.5
ETL.2060 | FORT BRAGG-ELK | 488 | 687.7163
ETL.2061 | PENNGROVE SUB TAP | 297
ETL.2062 | STONY POINT TAP | 297
ETL.2063 | LAKEVILLE-SONOMA #1 | 1126 | 281.2
ETL.2070 | LAKEVILLE-SONOMA #2 | 631 | 271.6636
ETL.2080 | LAKEWOOD-MEADOW LANE-CLAYTON | 759 | 633.417
ETL.2080 | LAKEWOOD-MEADOW LANE-CLAYTON | 759 | 633.417
ETL.2081 | EBMUD TAP | 281
ETL.2082 | LAKEWOOD-CLAYTON | 1200 | 466.615
ETL.2090 | LAWRENCE-MONTA VISTA | 461 | 430.3
ETL.2100 | LE GRAND-DAIRYLAND | 631 | 3070.3999
ETL.2110 | LE GRAND-CHOWCHILLA | 343 | 1199.2
ETL.2111 | CERTAINTEED TAP | 297
ETL.2112 | CHOWCHILLA #1 TAP | 440 | 423.0636
ETL.2113 | MENDOTA-NORTH STAR SOLAR | 631 | 487.2
ETL.2120 | LERDO-FAMOSO | 440 | 294.7
ETL.2121 | ULTRAPOWER (OGLE) TAP | 825 | 290.3
ETL.2122 | CAWELO C TAP | 440
ETL.2130 | LIVE OAK TAP | 600
ETL.2140 | LIVE OAK-KERN OIL | 631 | 390.49
ETL.2141 | VEDDER TAP | 257
ETL.2142 | VALLEY CHILDRENS HOSPITAL TAP | 297
ETL.2150 | LLAGAS-GILROY FOODS | 440 | 1237.802
ETL.2151 | GILROY ENERGY TAP | 1518 | 2182.001
ETL.2152 | CRAZY HORSE CANYON-SAN BENITO | 310 | 2079.3999
ETL.2153 | CRAZY HORSE CANYON-HOLLISTER | 310 | 278.681
ETL.2170 | MADISON-VACA | 281 | 267
ETL.2180 | MANCHESTER-AIRWAYS-SANGER | 825 | 4897.1001
ETL.2181 | LAS PALMAS TAP | 297
ETL.2190 | MANTECA-VIERRA | 400 | 3008.6421
ETL.2191 | HOWLAND ROAD TAP | 297
ETL.2193 | HEINZ TAP | 297
ETL.2200 | MARTIN-DALY CITY #1 | 488 | 370.6
ETL.2210 | MARTIN-DALY CITY #2 | 488 | 399.7
ETL.2211 | SERRAMONTE TAP | 488 | 73.615
ETL.2220 | MARTIN-EAST GRAND | 1300 | 509.8
ETL.2230 | MARTIN-MILLBRAE #1 | 900 | 437.6
ETL.2240 | MARTIN-SF AIRPORT | 900 | 455.7
ETL.2241 | UNITED COGEN INC TAP | 488
ETL.2241 | UNITED COGEN INC TAP | 488
ETL.2270 | MARTINEZ-SOBRANTE | 416 | 271.3
ETL.2275 | FAIRVIEW-MARTINEZ SW STA | 440 | 289.4
ETL.2290 | MCCALL-KINGSBURG #1 | 631 | 1374.5
ETL.2291 | KINGSBURG COGEN TAP | 440 | 1310
ETL.2292 | GUARDIAN #2 TAP | 297
ETL.2293 | PANOCHE-PANOCHE ENERGY CENTER | 1650 | 1071.1
ETL.2294 | MALAGA-KRCD | 825 | 512.956
ETL.2300 | MCCALL-KINGSBURG #2 | 631 | 6693.5
ETL.2301 | GUARDIAN #1 TAP | 297
ETL.2310 | MCCALL-MALAGA | 600 | 878.9
ETL.2311 | RANCHERS COTTON TAP | 440
ETL.2312 | RIO BRAVO (FRESNO) TAP | 297
ETL.2314 | AIR PRODUCTS TAP | 297
ETL.2320 | MCCALL-REEDLEY | 493 | 727.4
ETL.2330 | MCCALL-SANGER #1 | 975 | 3768.0999
ETL.2340 | MCCALL-SANGER #2 | 825 | 635.7
ETL.2350 | MCCALL-SANGER #3 | 825 | 1015
ETL.2360 | CALIFORNIA AVE-MCCALL | 975 | 347.4
ETL.2361 | WEST FRESNO-CALIFORNIA AVE | 631 | 279.6
ETL.2362 | DANISH CREAMERY TAP | 297
ETL.2370 | MCCALL-WEST FRESNO #2 | 975 | 427.7
ETL.2379 | MCKEE-PIERCY | 1144 | 704.273
ETL.2380 | LOS ESTEROS-MONTAGUE | 1300 | 3503.646
ETL.2390 | MELONES-CURTIS | 493 | 453.235
ETL.2391 | PEORIA TAP | 493
ETL.2392 | CHINESE CAMP (ULTRA POWER) TAP | 303 | 158.6
ETL.2393 | RACETRACK TAP | 440
ETL.2394 | OCEANO-CALLENDER SW STA | 328 | 214.1
ETL.2400 | MELONES-RACETRACK | 416 | 327.619
ETL.2410 | MENDOCINO-REDBUD | 416 | 273.9341
ETL.2411 | LUCERNE #2 TAP | 303
ETL.2420 | MENDOCINO-UKIAH | 297 | 245.4176
ETL.2430 | MESA-DIVIDE #1 | 703 | 431.3
ETL.2440 | MESA-DIVIDE #2 | 703 | 359.8
ETL.2450 | MESA-SANTA MARIA | 703 | 503.7019
ETL.2451 | FAIRWAY #1 TAP | 380
ETL.2460 | MESA-SISQUOC | 703 | 346.7513
ETL.2470 | METCALF-COYOTE PUMPING PLANT | 488 | 3276.7
ETL.2480 | METCALF-SANTA TERESA | 703 | 596.9
ETL.2481 | IBM HARRY RD #2 TAP | 488
ETL.2482 | AMES DISTRIBUTION-AMES | 703 | 696.92
ETL.2490 | METCALF-EDENVALE #2 | 1200 | 489.5
ETL.2491 | IBM BAILEY AVE TAP | 488
ETL.2500 | METCALF-EL PATIO #1 | 703 | 723.9
ETL.2501 | IBM HARRY RD #1 TAP | 488
ETL.2510 | METCALF-EL PATIO #2 | 703 | 2990.752
ETL.2520 | METCALF-EVERGREEN #1 | 1030 | 863
ETL.2530 | STONE-EVERGREEN-METCALF | 488 | 877.099
ETL.2540 | METCALF-GREEN VALLEY | 359 | 2997.2534
ETL.2550 | LOS ESTEROS-TRIMBLE | 1406 | 760.399
ETL.2560 | MONTAGUE-TRIMBLE | 703 | 315.829
ETL.2570 | METCALF-MORGAN HILL | 839 | 543.316
ETL.2580 | MIDSUN-MIDWAY | 440 | 345.3
ETL.2582 | CYMRIC TAP | 440
ETL.2590 | MIDWAY-RENFRO-TUPMAN | 416 | 607.765
ETL.2592 | TUPMAN-NORCO TAP | 440 | 71.7307
ETL.2593 | COLES LEVEE TAP | 297 | 275.8923
ETL.2600 | MIDWAY-TUPMAN-RIO BRAVO-RENFRO | 344 | 378.299
ETL.2602 | FRITO LAY TAP | 297
ETL.2603 | GOLDEN VALLEY TAP | 297
ETL.2604 | GATES-MUSTANG SW STA #1 | 1893 | 1220.6
ETL.2605 | GATES-MUSTANG SW STA #2 | 1893 | 1225.6
ETL.2610 | MIDWAY-SHAFTER | 343 | 229.4
ETL.2620 | MIDWAY-TAFT | 631 | 1470
ETL.2621 | CHARCA-FAMOSO | 416 | 491.1649
ETL.2630 | MIDWAY-TEMBLOR | 397 | 421.4
ETL.2631 | BELRIDGE TAP | 297
ETL.2632 | PSE MCKITTRICK TAP | 600 | 541
ETL.2640 | MILLBRAE-SAN MATEO #1 | 1200 | 647.7858
ETL.2650 | MILPITAS-SWIFT | 1144 | 646.821
ETL.2651 | MABURY TAP | 440
ETL.2653 | LAS PLUMAS TAP | 488
ETL.2660 | MISSOURI FLAT-GOLD HILL #1 | 631 | 380.5292
ETL.2670 | MISSOURI FLAT-GOLD HILL #2 | 631 | 542.2529
ETL.2680 | STELLING-WOLFE | 703 | 139.75
ETL.2690 | LOS ESTEROS-AGNEW | 703 | 460.097
ETL.2700 | MORAGA-CLAREMONT #1 | 495 | 425.7
ETL.2710 | MORAGA-CLAREMONT #2 | 495 | 10411.9004
ETL.2720 | MORAGA-OAKLAND #1 | 359 | 286.999
ETL.2730 | MORAGA-OAKLAND #2 | 359 | 262.4
ETL.2740 | MORAGA-OAKLAND #3 | 359 | 254.1
ETL.2750 | MORAGA-OAKLAND #4 | 359 | 260.399
ETL.2760 | MORAGA-OAKLAND J | 640 | 548.117
ETL.2770 | MORAGA-SAN LEANDRO #1 | 495 | 384.082
ETL.2780 | MORAGA-SAN LEANDRO #2 | 495 | 364.077
ETL.2790 | MORAGA-SAN LEANDRO #3 | 640 | 388.082
ETL.2800 | MORGAN HILL-LLAGAS | 759 | 564.12
ETL.2810 | MORRO BAY-SAN LUIS OBISPO #1 | 703 | 315.439
ETL.2820 | MORRO BAY-SAN LUIS OBISPO #2 | 703 | 405.92
ETL.2821 | GOLDTREE TAP | 488
ETL.2830 | MOSS LANDING-DEL MONTE #1 | 488 | 6848.3999
ETL.2840 | MOSS LANDING-DEL MONTE #2 | 488 | 957.9
ETL.2850 | MOSS LANDING-GREEN VALLEY #1 | 1311 | 1707.2
ETL.2860 | MOSS LANDING-GREEN VALLEY #2 | 1030 | 1065.9
ETL.2880 | MOSS LANDING-SALINAS #1 | 1144 | 716.8
ETL.2881 | DOLAN RD #1 TAP | 380 | 66.3
ETL.2890 | MOSS LANDING-SALINAS #2 | 1144 | 701.7
ETL.2891 | DOLAN RD #2 TAP | 359 | 33.7339
ETL.2900 | CRAZY HORSE CANYON-SALINAS-SOLEDAD #1 | 310 | 600.1
ETL.2901 | SAN BENITO-HOLLISTER | 1126 | 200.1564
ETL.2910 | CRAZY HORSE CANYON-SALINAS-SOLEDAD #2 | 310 | 434.3
ETL.2920 | MTN VIEW-MONTA VISTA | 839 | 835.7
ETL.2930 | MOSS LANDING-CRAZY HORSE CANYON #1 | 488 | 405.8
ETL.2940 | NEWARK-AMES #1 | 461 | 262
ETL.2950 | NEWARK-AMES #2 | 415 | 3003.3
ETL.2960 | NEWARK-AMES #3 | 415 | 309.823
ETL.2970 | NEWARK-LOS ESTEROS | 1840 | 1649.816
ETL.2980 | NEWARK-APPLIED MATERIALS | 600 | 3616.3999
ETL.2981 | LOCKHEED #2 TAP | 488 | 200.3032
ETL.2983 | MOSS LANDING-CRAZY HORSE CANYON #2 | 488 | 784.9
ETL.2990 | NEWARK-DIXON LANDING | 600 | 866.2
ETL.3000 | NEWARK-FREMONT #1 | 920 | 1374.399
ETL.3010 | NEWARK-FREMONT #2 | 920 | 272.1
ETL.3020 | NEWARK-JARVIS #1 | 600 | 393.3
ETL.3030 | NEWARK-JARVIS #2 | 488 | 365.4
ETL.3040 | NEWARK-KIFER | 839 | 756.9
ETL.3041 | ZANKER #2 TAP | 328
ETL.3050 | NEWARK-LAWRENCE | 703 | 527.7
ETL.3051 | LOCKHEED #1 TAP | 488 | 232.844
ETL.3052 | MOFFETT FIELD TAP | 328 | 100
ETL.3060 | NEWARK-LAWRENCE LAB | 703
ETL.3070 | NEWARK-MILPITAS #1 | 802 | 368.3
ETL.3080 | NEWARK-MILPITAS #2 | 920 | 326.0116
ETL.3090 | NEWARK-NUMMI | 415 | 296.8
ETL.3100 | NEWARK-NORTHERN RECEIVING STATION #1 | 839 | 687.8
ETL.3101 | NORTHERN RECEIVING STATION-SCOTT #1 | 1421 | 1044.6647
ETL.3110 | NEWARK-NORTHERN RECEIVING STATION #2 | 839 | 661
ETL.3111 | NORTHERN RECEIVING STATION-SCOTT #2 | 1421 | 1014.8946
ETL.3120 | NEWARK-TRIMBLE | 839 | 609.8
ETL.3121 | ZANKER #1 TAP | 600
ETL.3125 | P-X #2 | 530 | 312.1692
ETL.3130 | NORTH TOWER-MARTINEZ JCT #1 (21KV) | 369
ETL.3135 | OAKLAND C-MARITIME | 330 | 722.832
ETL.3137 | OAKLAND C-TURBINES | 703 | 379.78
ETL.3140 | OAKLAND J-GRANT | 600 | 284.835
ETL.3142 | EDES #2 TAP | 703 | 487.347
ETL.3150 | OLEUM-G #1 | 415 | 293
ETL.3151 | VALLEY VIEW #1 TAP | 600
ETL.3160 | OLEUM-G #2 | 461 | 138.6
ETL.3161 | VALLEY VIEW #2 TAP | 600
ETL.3170 | OLEUM-MARTINEZ | 416 | 391.6
ETL.3180 | OLEUM-NORTH TOWER-CHRISTIE | 359 | 290.3076
ETL.3200 | PALERMO-BOGUE | 440 | 425.4
ETL.3201 | HONCUT TAP | 297
ETL.3210 | PALERMO-NICOLAUS | 297 | 1723.734
ETL.3220 | PALERMO-PEASE | 825 | 468.099
ETL.3230 | PANOCHE-MENDOTA | 1126 | 1031
ETL.3231 | CHENEY #1 TAP | 440
ETL.3240 | PANOCHE-ORO LOMA | 463 | 847.3
ETL.3241 | OXFORD TAP | 297
ETL.3242 | WESTLANDS #1 RA PUMPING PLANT TAP | 297
ETL.3243 | SAN LUIS #5 TAP | 297
ETL.3244 | SAN LUIS #3 TAP | 493
ETL.3245 | DE FRANCESCO TAP | 297
ETL.3247 | EXCELSIOR SW STA-CRE FIVE POINTS PV | 631 | 4800.7002
ETL.3248 | EXCELSIOR SW STA-SCHINDLER #1 | 440 | 2596.8
ETL.3249 | EXCELSIOR SW STA-SCHINDLER #2 | 440 | 183.1
ETL.3250 | PANOCHE-EXCELSIOR SW STA #1 | 416 | 361.5
ETL.3251 | CANTUA TAP | 440 | 131.2296
ETL.3252 | WESTLANDS #18 RA TAP | 297
ETL.3253 | KAMM TAP | 297
ETL.3260 | PANOCHE-EXCELSIOR SW STA #2 | 416 | 8000.6997
ETL.3261 | CHENEY #2 TAP | 440
ETL.3270 | PEASE-RIO OSO | 297 | 1199.9
ETL.3280 | PITTSBURG-CLAYTON #1 | 1518 | 731.623
ETL.3290 | PITTSBURG-CLAYTON #3 | 1289 | 785.347
ETL.3291 | PITTSBURG-CLAYTON #4 | 1262 | 769.2308
ETL.3300 | PITTSBURG-COLUMBIA STEEL | 600 | 276.859
ETL.3302 | LINDE TAP | 440
ETL.3304 | PITTSBURG-LOS MEDANOS #1 | 1380 | 2162.637
ETL.3305 | PITTSBURG-LOS MEDANOS #2 | 1380 | 2189.01
ETL.3310 | PITTSBURG-KIRKER-COLUMBIA STEEL | 514 | 569.548
ETL.3315 | PITTSBURG-DELTA ENERGY CENTER #2 | 2700 | 2152.3799
ETL.3320 | PITTSBURG-MARTINEZ #1 | 1126 | 1166.1
ETL.3321 | BOLLMAN #1 TAP | 297
ETL.3322 | IMHOFF TAP | 297
ETL.3330 | PITTSBURG-MARTINEZ #2 | 1126 | 536.3
ETL.3331 | BOLLMAN #2 TAP | 297
ETL.3340 | PLACER-GOLD HILL #1 | 440 | 565.9597
ETL.3341 | FLINT TAP | 297 | 133.319
ETL.3360 | RAVENSWOOD-AMES #1 | 1144 | 1579.3929
ETL.3370 | RAVENSWOOD-AMES #2 | 1144 | 495.238
ETL.3380 | RAVENSWOOD-BAIR #1 | 550 | 353.55
ETL.3381 | SHREDDER TAP | 310
ETL.3385 | RAVENSWOOD-BAIR #2 | 703 | 465.934
ETL.3390 | RAVENSWOOD-COOLEY LANDING #1 | 1144 | 607.5
ETL.3400 | RAVENSWOOD-COOLEY LANDING #2 | 1144 | 446.3
ETL.3410 | RAVENSWOOD-PALO ALTO #1 | 839 | 610.8783
ETL.3420 | RAVENSWOOD-PALO ALTO #2 | 839 | 367.8
ETL.3430 | RAVENSWOOD-SAN MATEO | 461 | 356.8763
ETL.3440 | RIO OSO-NICOLAUS | 825 | 752.4
ETL.3450 | RIO OSO-WEST SACRAMENTO | 416 | 383.434
ETL.3460 | RIO OSO-WOODLAND #1 | 325 | 567.4246
ETL.3470 | RIO OSO-WOODLAND #2 | 325 | 1619.068
ETL.3471 | ZAMORA TAP | 440
ETL.3480 | BELLOTA-RIVERBANK | 297 | 224.1
ETL.3500 | SALT SPRINGS-TIGER CREEK | 375 | 198.4924
ETL.3510 | SAN JOSE A-SAN JOSE B | 920 | 815.238
ETL.3520 | SAN LEANDRO-OAKLND J #1 | 839 | 2049.4185
ETL.3521 | EDES #1 TAP | 703 | 560.82
ETL.3530 | SAN LUIS OBISPO-OCEANO | 440 | 182.466
ETL.3540 | SAN LUIS OBISPO-SANTA MARIA | 415 | 645.47
ETL.3550 | SAN MATEO-BAY MEADOWS #1 | 488 | 312.533
ETL.3560 | SAN MATEO-BAY MEADOWS #2 | 488 | 337.534
ETL.3570 | SAN MATEO-BELMONT | 550 | 278.951
ETL.3580 | SAN MATEO-MARTIN #3 | 900 | 559.1
ETL.3590 | SAN MATEO-MARTIN #6 | 488 | 478.9
ETL.3600 | SANGER-MALAGA | 631 | 370.989
ETL.3610 | SANTA MARIA-SISQUOC | 703 | 253.0909
ETL.3611 | FAIRWAY #2 TAP | 488
ETL.3620 | SEMITROPIC-CHARCA | 440 | 503.6386
ETL.3630 | SEMITROPIC-MIDWAY #1 | 825 | 1237.2161
ETL.3640 | SEMITROPIC-MIDWAY #2 | 297 | 256.312
ETL.3640 | SEMITROPIC-MIDWAY #2 | 297 | 256.312
ETL.3641 | WASCO PRISON TAP | 297 | 114.9103
ETL.3650 | SF AIRPORT-SAN MATEO | 1311 | 553.846
ETL.3660 | SHAFTER-RIO BRAVO | 343 | 132.7
ETL.3690 | SISQUOC-GAREY | 488 | 599.6887
ETL.3700 | SISQUOC-SANTA YNEZ SW STA | 328 | 594.9644
ETL.3701 | SANTA YNEZ TAP | 488
ETL.3710 | SMYRNA-SEMITROPIC-MIDWAY | 440 | 1123.7
ETL.3720 | SOBRANTE-G #1 | 600 | 1954.817
ETL.3730 | SOBRANTE-G #2 | 703 | 563.5
ETL.3740 | SOBRANTE-GRIZZLY-CLAREMONT #1 | 488 | 565.7
ETL.3741 | MORAGA-LAKEWOOD | 650 | 1200
ETL.3742 | SOBRANTE-MORAGA | 911 | 672.2
ETL.3745 | LAKEVILLE-IGNACIO #2 | 825 | 532
ETL.3750 | SOBRANTE-GRIZZLY-CLAREMONT #2 | 488 | 3276.7
ETL.3790 | SOBRANTE-STANDARD OIL SW STA #2 | 703 | 30610.4004
ETL.3791 | SAN PABLO #2 TAP | 703 | 587.3605
ETL.3792 | POINT PINOLE TAP | 328
ETL.3792 | POINT PINOLE TAP | 328
ETL.3800 | SOBRANTE-STANDARD OIL SW STA #1 | 703 | 587.3605
ETL.3801 | SAN PABLO #1 TAP | 703 | 587.3605
ETL.3810 | SONOMA-PUEBLO | 528 | 999.9695
ETL.3820 | STANISLAUS-MANTECA #2 | 281 | 322.055
ETL.3830 | STANISLAUS-MELONES SW STA-MANTECA #1 | 281 | 275.457
ETL.3831 | FROGTOWN #1 TAP | 281
ETL.3840 | STANISLAUS-MELONES SW STA-RIVERBANK JCT SW STA | 281 | 268.057
ETL.3841 | RIVERBANK JCT SW STA-RIPON | 303 | 228.848
ETL.3843 | FROGTOWN #2 TAP | 281
ETL.3870 | MONTA VISTA-WOLFE | 703 | 431.3
ETL.3880 | STOCKTON A-LOCKEFORD-BELLOTA #1 | 325 | 459.8
ETL.3890 | STOCKTON A-LOCKEFORD-BELLOTA #2 | 325 | 3653.5
ETL.3891 | KYOHO TAP | 440
ETL.3900 | SWIFT-METCALF | 1040 | 1254.798
ETL.3910 | TABLE MTN-BUTTE #1 | 297 | 610.5
ETL.3920 | TABLE MTN-BUTTE #2 | 631 | 1247.8652
ETL.3940 | TAFT-CHALK CLIFF | 600 | 394.88
ETL.3941 | UNIVERSITY COGEN TAP | 600
ETL.3950 | TEMBLOR-KERNRIDGE | 416 | 37.1
ETL.3951 | CAL WATER TAP | 631
ETL.3960 | TEMBLOR-SAN LUIS OBISPO | 375 | 279.853
ETL.3961 | CARRIZO PLAINS TAP | 631
ETL.3970 | TESLA-SCHULTE SW STA #2 | 631 | 4000
ETL.3971 | OWENS ILLINOIS TAP | 297
ETL.3972 | LAMMERS-KASSON | 1126 | 4000
ETL.3980 | TESLA-SCHULTE SW STA #1 | 631 | 4000
ETL.3982 | AEC SITE #1 TAP | 297
ETL.3983 | AEC SITE #2 TAP | 297
ETL.3984 | SAFEWAY TAP | 440
ETL.3990 | TESLA-SALADO #1 | 297 | 687.9482
ETL.3992 | MILLER #1 TAP | 281
ETL.3993 | SCHULTE SW STA-LAMMERS | 1482 | 4000
ETL.4000 | TESLA-SALADO-MANTECA | 281 | 845.7595
ETL.4001 | INGRAM CREEK TAP | 297
ETL.4002 | MILLER #2 TAP | 297
ETL.4010 | TESLA-STOCKTON COGEN JCT | 600 | 222.4
ETL.4020 | TESLA-TRACY(115KV) | 650 | 606.1
ETL.4021 | ELLIS TAP | 297
ETL.4030 | TRIMBLE-SAN JOSE B | 703 | 525.099
ETL.4032 | LOS ESTEROS-NORTECH | 1406 | 1268.864
ETL.4040 | TRINITY-COTTONWOOD | 390 | 1398.1
ETL.4041 | JESSUP TAP | 440
ETL.4050 | UKIAH-HOPLAND-CLOVERDALE | 631 | 481.753
ETL.4070 | VACA-SUISUN | 499 | 392.0225
ETL.4080 | VACA-SUISUN-JAMESON | 297 | 447.6
ETL.4090 | VACA-VACAVILLE-CORDELIA | 281 | 602.9
ETL.4100 | VACA-VACAVILLE-JAMESON-NORTH TOWER | 303 | 2087.3
ETL.4110 | WEST SACRAMENTO-BRIGHTON | 1126 | 1791.6
ETL.4111 | DEEPWATER #2 TAP | 440
ETL.4120 | WEST SACRAMENTO-DAVIS | 631 | 2605.8999
ETL.4121 | DEEPWATER #1 TAP | 440
ETL.4122 | POST OFFICE TAP | 297
ETL.4130 | WESTPARK-COLUMBUS | 742 | 436.9
ETL.4131 | BEAR MTN TAP | 600 | 253.6084
ETL.4132 | BOLTHOUSE FARMS TAP | 297
ETL.4141 | ARVIN EDISON TAP | 440
ETL.4150 | AMES-WHISMAN | 703 | 640.1
ETL.4160 | WILSON-ATWATER #2 | 631 | 307.9
ETL.4170 | WILSON-LE GRAND | 975 | 668.699
ETL.4180 | WILSON-MERCED #1 | 411 | 1635
ETL.4190 | WILSON-MERCED #2 | 411 | 1635
ETL.4200 | WILSON-ORO LOMA | 344 | 1822.9
ETL.4210 | WOODLAND-DAVIS | 600 | 434.7398
ETL.4211 | WOODLAND BIOMASS TAP | 297 | 296.8116
ETL.4220 | WOODLEAF-PALERMO | 493 | 541.056
ETL.4221 | SLY CREEK TAP | 303 | 59.4441
ETL.4222 | FORBESTOWN TAP | 493
ETL.4223 | KANAKA TAP | 303
ETL.4230 | CAL PEAK-VACA | 631 | 258.3
ETL.4231 | DELEVAN-VACA #2 | 752 | 524.9
ETL.4240 | SHILOH II-BIRDS LANDING SW STA | 954 | 869.6
ETL.4250 | TESLA-LAWRENCE LAB | 825 | 708.5
ETL.4260 | OLEUM-UNOCAL #1 | 461 | 82.5
ETL.4270 | OLEUM-UNOCAL #2 | 703 | 131.4
ETL.4280 | UNION OIL TAP | 328 | 165.9019
ETL.4290 | PLACER-GOLD HILL #2 | 440 | 449.208
ETL.4300 | APPLIED MATERIALS-BRITTON | 1000 | 373.6882
ETL.4309 | SANTA ROSA-CORONA | 1000 | 704.4648
ETL.4310 | VIERRA-TRACY-KASSON | 440 | 931.119
ETL.4311 | CORONA-LAKEVILLE | 1289 | 891.0184
ETL.4312 | NOTRE DAME-BUTTE | 631 | 264.595
ETL.4313 | NEWARK-AMES DISTRIBUTION | 415 | 691.1
ETL.4314 | SYCAMORE CREEK-NOTRE DAME-TABLE MTN | 440 | 377.9412
ETL.4315 | PALERMO-WYANDOTTE | 449 | 317.441
ETL.4316 | PARADISE-TABLE MTN | 397 | 930.3776
ETL.4318 | PIERCY-METCALF | 1144 | 921.964
ETL.4320 | ARCO-MIDWAY | 742 | 605.8
ETL.4330 | ATLANTIC-GOLD HILL | 825 | 455.8
ETL.4340 | BAHIA-MORAGA | 858 | 488.6868
ETL.4350 | BALCH-MCCALL | 745 | 584.4825
ETL.4360 | BELLOTA-COTTLE | 742 | 640.7
ETL.4370 | BELLOTA-TESLA #2 | 1200 | 752.699
ETL.4380 | BELLOTA-WARNERVILLE | 742 | 987.5
ETL.4384 | DELEVAN-CORTINA | 831 | 766.2
ETL.4390 | BELLOTA-WEBER | 1200 | 835.5
ETL.4391 | GEYSERS #11-EAGLE ROCK | 825 | 480.3857
ETL.4392 | EAGLE ROCK-FULTON-SILVERADO | 375 | 733.3964
ETL.4392 | EAGLE ROCK-FULTON-SILVERADO | 375 | 733.3964
ETL.4393 | DRUM-HIGGINS | 416 | 560.7593
ETL.4395 | BELL-PLACER | 631 | 375.9
ETL.4396 | PARADISE-BUTTE | 397 | 801.7823
ETL.4400 | BORDEN-GREGG #2 | 675 | 568.3
ETL.4410 | BRENTWOOD-KELSO | 998 | 2360.8989
ETL.4420 | BRIGHTON-BELLOTA | 742 | 469
ETL.4430 | BUCKS CREEK-ROCK CREEK-CRESTA | 742 | 527.762
ETL.4440 | CARIBOU-TABLE MTN | 742 | 756
ETL.4440 | CARIBOU-TABLE MTN | 742 | 756
ETL.4441 | BELDEN TAP | 400 | 379.1514
ETL.4450 | CASTRO VALLEY-NEWARK | 742 | 2449
ETL.4460 | COBURN-LAS AGUILAS SW STA | 742 | 467.8
ETL.4470 | CONTRA COSTA PP-CONTRA COSTA SUB | 1650 | 1434.6
ETL.4480 | CONTRA COSTA-BRENTWOOD | 825 | 587.786
ETL.4490 | CONTRA COSTA-DELTA SWITCHYARD | 975 | 665.059
ETL.4491 | WINDMASTER TAP | 825
ETL.4500 | NORTH DUBLIN-CAYETANO | 1004 | 657.1917
ETL.4501 | NORTH DUBLIN-VINEYARD | 886 | 598.583
ETL.4510 | CONTRA COSTA-LAS POSITAS | 1600 | 1575.579
ETL.4521 | US WINDPOWER #3 TAP | 825
ETL.4530 | COTTLE-MELONES | 742 | 1708.2999
ETL.4531 | TES TAP | 825
ETL.4535 | CONTRA COSTA-LONE TREE | 1650 | 759.8
ETL.4536 | VINEYARD-NEWARK | 742 | 550.134
ETL.4540 | CORTINA-VACA | 745 | 474.6
ETL.4550 | COTTONWOOD-DELEVAN #1 | 786 | 2181.6001
ETL.4560 | COTTONWOOD-GLENN | 752 | 401.965
ETL.4570 | COTTONWOOD-LOGAN CREEK | 752 | 413.382
ETL.4580 | COTTONWOOD-DELEVAN #2 | 742 | 364.877
ETL.4590 | CRESTA-RIO OSO | 742 | 673.262
ETL.4600 | DELTA SWITCHING YARD-TESLA | 831 | 3000.6001
ETL.4610 | DIABLO PP STANDBY SUPPLY | 800 | 193.797
ETL.4620 | DIABLO-MESA | 920 | 661.098
ETL.4630 | DOS AMIGOS PUMPING PLANT-PANOCHE | 742 | 805
ETL.4640 | NEWARK E-F BUS TIE | 2110 | 1805.1279
ETL.4650 | EASTSHORE-SAN MATEO | 1743 | 1327.7999
ETL.4660 | EIGHT MILE ROAD-TESLA | 786 | 671.9565
ETL.4670 | ELECTRA-BELLOTA | 613 | 2269.2
ETL.4680 | FULTON-IGNACIO #1 | 825 | 350.0912
ETL.4690 | GATES-ARCO | 742 | 657.7
ETL.4700 | MUSTANG SW STA-GREGG | 1350 | 1777.7
ETL.4710 | MUSTANG SW STA-MCCALL | 1893 | 1134.4
ETL.4720 | GATES-PANOCHE #1 | 742 | 755.361
ETL.4730 | GATES-PANOCHE #2 | 742 | 634.535
ETL.4750 | GEYSERS #12-FULTON | 825 | 801.886
ETL.4760 | GEYSERS #16 TAP | 825
ETL.4770 | GEYSERS #17-FULTON | 825 | 412.386
ETL.4770 | GEYSERS #17-FULTON | 825 | 412.386
ETL.4771 | BOTTLE ROCK TAP D.W.R. | 825
ETL.4780 | GEYSERS #9-LAKEVILLE | 1650 | 1200
ETL.4781 | GEYSERS #13 TAP | 954
ETL.4782 | SANTA FE GEOTHERMAL TAP | 825 | 219.1397
ETL.4783 | GEYSERS #20 TAP | 954
ETL.4784 | GEYSERS #18 TAP | 825
ETL.4790 | DELEVAN-VACA #3 | 752 | 3276.7
ETL.4800 | GOLD HILL-EIGHT MILE ROAD | 825 | 1727.4
ETL.4810 | GOLD HILL-LODI STIG | 825 | 436.9
ETL.4820 | GREGG-ASHLAN | 742 | 432
ETL.4830 | GREGG-HERNDON #1 | 1650 | 1024.396
ETL.4840 | GREGG-HERNDON #2 | 1650 | 926.007
ETL.4850 | HAAS-MCCALL | 742 | 513.406
ETL.4860 | HELM-MCCALL | 1893 | 853.8
ETL.4870 | HELMS-GREGG #1 | 1908 | 1865.535
ETL.4880 | HELMS-GREGG #2 | 1908 | 1809.723
ETL.4890 | HERNDON-ASHLAN | 742 | 382.8
ETL.4891 | GATES-MIDWAY | 742 | 2664.0828
ETL.4900 | HERNDON-KEARNEY | 1650 | 1205.9
ETL.4910 | HICKS-METCALF | 1600 | 919.3
ETL.4920 | IGNACIO-SOBRANTE | 920 | 985.599
ETL.4930 | KELSO-TESLA | 1650 | 737.5714
ETL.4931 | RALPH TAP | 825 | 34.1012
ETL.4940 | LAKEVILLE-IGNACIO #1 | 1650 | 503.8
ETL.4950 | FULTON-LAKEVILLE | 825 | 700
ETL.4960 | LAKEVILLE-SOBRANTE #2 | 1650 | 748.191
ETL.4970 | LAKEVILLE-TULUCAY | 998 | 671.2
ETL.4980 | LAS POSITAS-NEWARK | 742 | 646.642
ETL.4990 | LOCKEFORD-BELLOTA | 742 | 552.117
ETL.5000 | PANOCHE-TRANQUILLITY SW STA #1 | 1893 | 1043.2
ETL.5001 | LODI STIG-EIGHT MILE ROAD | 1517 | 834.253
ETL.5002 | EIGHT MILE ROAD-STAGG | 600 | 841.871
ETL.5010 | DELEVAN-VACA #1 | 825 | 540.4
ETL.5020 | LOS BANOS-DOS AMIGOS | 742 | 740.7798
ETL.5030 | PADRE FLAT SW STA-PANOCHE | 825 | 546
ETL.5040 | LOS BANOS-PANOCHE #2 | 742 | 826.8
ETL.5050 | LOS BANOS-SAN LUIS PUMPS #1 | 825 | 520.1
ETL.5060 | LOS BANOS-SAN LUIS PUMPS #2 | 825 | 367.1
ETL.5070 | QUINTO SW STA-WESTLEY | 2964 | 2145.8999
ETL.5071 | LOS BANOS-QUINTO SW STA | 2964 | 1928.5
ETL.5080 | MELONES-WILSON | 742 | 747.8
ETL.5090 | MONTA VISTA-COYOTE SW STA | 2778 | 1479.853
ETL.5091 | METCALF-MONTA VISTA #3 | 2778 | 1455.824
ETL.5092 | COYOTE SW STA-METCALF | 2778 | 1403.663
ETL.5100 | METCALF-MOSS LANDING #1 | 1743 | 1146.7
ETL.5110 | METCALF-MOSS LANDING #2 | 1743 | 1148.8
ETL.5140 | MIDDLE FORK-GOLD HILL | 742 | 587.5
ETL.5150 | MIDWAY-KERN #1 | 1650 | 1074.7
ETL.5151 | KERN-BAKERSFIELD | 825 | 184.4
ETL.5152 | KERN-STOCKDALE #1 | 825 | 1598.7416
ETL.5160 | MIDWAY-KERN #3 | 1600 | 1406.593
ETL.5161 | KERN-STOCKDALE #2 | 825 | 248
ETL.5170 | MIDWAY-KERN #4 | 1600 | 630.8
ETL.5171 | BAKERSFIELD #2 TAP | 825 | 289.9
ETL.5190 | MIDWAY-WHEELER RIDGE #1 | 825 | 437.6935
ETL.5191 | BUENA VISTA PUMPING PLANT #1 TAP | 825 | 110.5112
ETL.5192 | WHEELER RIDGE PUMPING PLANT #1 TAP | 825 | 101.8903
ETL.5193 | WIND GAP PUMPING PLANT #1 TAP | 825 | 250.7095
ETL.5194 | MIDWAY-SUNSET | 954 | 7866.2397
ETL.5200 | MIDWAY-WHEELER RIDGE #2 | 825 | 537.7148
ETL.5201 | BUENA VISTA PUMPING PLANT #2 TAP | 825 | 110.8835
ETL.5202 | WHEELER RIDGE PUMPING PLANT #2 TAP | 825 | 180.6091
ETL.5203 | WIND GAP PUMPING PLANT #2 TAP | 825 | 295.3785
ETL.5210 | MONTA VISTA-HICKS | 1106 | 3003.6631
ETL.5215 | SOLAR SW STA-CALIENTE SW STA #1 | 1650 | 473.5
ETL.5216 | CALIENTE SW STA-MIDWAY #1 | 1714 | 864.1
ETL.5220 | MONTA VISTA-JEFFERSON #1 | 920 | 668.131
ETL.5225 | SOLAR SW STA-CALIENTE SW STA #2 | 1650 | 473.4
ETL.5226 | CALIENTE SW STA-MIDWAY #2 | 1714 | 780.7
ETL.5230 | MONTA VISTA-JEFFERSON #2 | 1106 | 575.921
ETL.5240 | MONTA VISTA-SARATOGA | 920 | 659.566
ETL.5250 | MORAGA-CASTRO VALLEY | 839 | 591.302
ETL.5260 | MORRO BAY-DIABLO | 920 | 666.304
ETL.5280 | MORRO BAY-CALIFORNIA FLATS SW STA | 825 | 2000.5
ETL.5281 | CALIFORNIA FLATS SW STA-GATES | 825 | 696
ETL.5290 | MORRO BAY-MESA | 920 | 676.119
ETL.5300 | MORRO BAY-SOLAR SW STA #1 | 825 | 749.6
ETL.5310 | MORRO BAY-SOLAR SW STA #2 | 825 | 724.8
ETL.5330 | MOSS LANDING-COBURN | 742 | 411.4275
ETL.5340 | MOSS LANDING-LAS AGUILAS SW STA | 742 | 1000.1
ETL.5351 | RAVENSWOOD-SAN MATEO #2 | 1840 | 817.582
ETL.5353 | LOS ESTEROS-METCALF | 1626 | 1428.571
ETL.5354 | TESLA-NEWARK #2 | 825 | 1564.835
ETL.5360 | PALERMO-COLGATE | 1239 | 521.2
ETL.5370 | TRANQUILLITY SW STA-HELM | 1893 | 2522.1001
ETL.5380 | TRANQUILLITY SW STA-KEARNEY | 1893 | 1336.3
ETL.5390 | PIT #1-COTTONWOOD | 613 | 461.831
ETL.5391 | BURNEY FOREST PRODUCTS TAP | 198
ETL.5392 | SPI (BURNEY) TAP | 742
ETL.5400 | PIT #3-PIT #1 | 600 | 805
ETL.5410 | CARBERRY SW STA-ROUND MTN | 613 | 3800.7
ETL.5420 | PIT #5-ROUND MTN #1 | 584 | 607.57
ETL.5421 | COVE ROAD TAP | 825
ETL.5430 | PIT #5-ROUND MTN #2 | 584 | 830.8816
ETL.5431 | BLACK TAP | 636 | 1281.5531
ETL.5432 | PIT #4 TAP | 742 | 308.6154
ETL.5440 | PIT #6 JCT-ROUND MTN | 584 | 457.2
ETL.5441 | PIT #6 TAP | 742 | 354.1242
ETL.5442 | PIT #7 TAP | 742 | 380.856
ETL.5450 | PIT #3-CARBERRY SW STA | 613 | 4172.2998
ETL.5451 | ROSSMOOR #1 TAP | 920 | 162.1782
ETL.5452 | CONTRA COSTA-MORAGA #1 | 1714 | 901.699
ETL.5452 | CONTRA COSTA-MORAGA #1 | 1714 | 901.699
ETL.5453 | CONTRA COSTA-MORAGA #2 | 1714 | 868.985
ETL.5461 | ROSSMOOR #2 TAP | 920 | 1017.3036
ETL.5462 | PITTSBURG-EASTSHORE | 998 | 1570.6
ETL.5463 | PITTSBURG-SAN MATEO | 998 | 728.205
ETL.5470 | PITTSBURG-TASSAJARA | 1600 | 604.639
ETL.5481 | PANOCHE-TRANQUILLITY SW STA #2 | 1893 | 1050.2
ETL.5490 | PITTSBURG-SAN RAMON | 940 | 668.6018
ETL.5500 | PITTSBURG-TESORO | 2000 | 491.1
ETL.5510 | PITTSBURG-TESLA #1 | 1600 | 842.49
ETL.5520 | PITTSBURG-TESLA #2 | 1650 | 843.956
ETL.5530 | PITTSBURG-TIDEWATER | 2478 | 717.0629
ETL.5540 | POE-RIO OSO | 742 | 745.481
ETL.5550 | RANCHO SECO-BELLOTA #1 | 1239 | 689.7
ETL.5560 | RANCHO SECO-BELLOTA #2 | 1239 | 2033.5
ETL.5580 | RAVENSWOOD-SAN MATEO #1 | 1840 | 877.655
ETL.5590 | RIO OSO-ATLANTIC | 825 | 985.6
ETL.5600 | RIO OSO-BRIGHTON | 742 | 683.3
ETL.5610 | RIO OSO-GOLD HILL | 825 | 602.8
ETL.5620 | RIO OSO-LOCKEFORD | 742 | 928.599
ETL.5630 | ROCK CREEK-POE | 742 | 480.19
ETL.5640 | ROUND MTN-COTTONWOOD #2 | 742 | 651.721
ETL.5650 | ROUND MTN-COTTONWOOD #3 | 636 | 592.918
ETL.5660 | SAN RAMON-MORAGA | 996 | 328.205
ETL.5670 | TESORO-SOBRANTE | 2000 | 511
ETL.5680 | STAGG-TESLA | 825 | 603.6256
ETL.5690 | TABLE MTN-PALERMO | 1239 | 3276.7
ETL.5700 | TABLE MTN-RIO OSO | 1200 | 952.4
ETL.5710 | JEFFERSON-MARTIN | 1200 | 2017.094
ETL.5720 | TESLA-NEWARK #1 | 2478 | 1338.2
ETL.5730 | TESLA-RAVENSWOOD | 2778 | 1260.073
ETL.5740 | TESLA-TRACY #1 | 1650 | 1018
ETL.5750 | TESLA-TRACY #2 | 1650 | 771
ETL.5760 | TESLA-WESTLEY | 1484 | 1191.3
ETL.5770 | TIDEWATER-SOBRANTE | 1840 | 680.3
ETL.5780 | TIGER CREEK-ELECTRA | 416 | 198.3
ETL.5790 | TIGER CREEK-VALLEY SPRINGS | 613 | 721.457
ETL.5800 | TULUCAY-VACA | 920 | 883.2
ETL.5810 | VACA-BAHIA | 745 | 622.6508
ETL.5820 | LAMBIE SW STA-BIRDS LANDING SW STA | 1893 | 675.7
ETL.5821 | VACA-PEABODY | 1893 | 537.2479
ETL.5830 | BIRDS LANDING SW STA-CONTRA COSTA PP | 1650 | 1175.0229
ETL.5840 | VACA-LAKEVILLE #1 | 920 | 795.3
ETL.5840 | VACA-LAKEVILLE #1 | 920 | 795.3
ETL.5845 | VACA-LAMBIE SW STA | 1893 | 706.227
ETL.5850 | VACA-PARKWAY | 811 | 544.6
ETL.5860 | VALLEY SPRINGS-BELLOTA | 613 | 211.1
ETL.5870 | WARNERVILLE-WILSON | 675 | 921.2
ETL.5880 | WEBER-TESLA | 1200 | 924.2
ETL.5890 | WILSON-BORDEN #1 | 742 | 489.5
ETL.5900 | COLGATE-RIO OSO | 1200 | 795.8007
ETL.5910 | MALACHA TAP | 532 | 562.688
ETL.5920 | TASSAJARA-NEWARK | 742 | 524.542
ETL.5921 | SAN RAMON RESEARCH CENTER TAP | 800 | 146.635
ETL.5930 | PARKWAY-MORAGA | 877 | 518.681
ETL.5931 | SARATOGA-VASONA | 1106 | 907.754
ETL.5932 | VASONA-METCALF | 920 | 1055.5129
ETL.5933 | MORRO BAY-TEMPLETON | 825 | 523.5
ETL.5934 | TEMPLETON-GATES | 825 | 473.7
ETL.5936 | NEWARK-RAVENSWOOD | 2778 | 1466.666
ETL.5940 | DIABLO UNIT #1 | 2660 | 1347.985
ETL.5950 | DIABLO UNIT #2 | 2660 | 1295.238
ETL.5960 | DIABLO-GATES #1 | 2230 | 1791.558
ETL.5970 | DIABLO-MIDWAY #2 | 2230 | 1799.267
ETL.5980 | DIABLO-MIDWAY #3 | 2230 | 1583.882
ETL.5990 | GATES-MIDWAY | 742 | 2664.0828
ETL.6000 | LOS BANOS-GATES #1 | 2230 | 2822.656
ETL.6010 | LOS BANOS-MIDWAY #2 | 2230 | 2322.5806
ETL.6020 | MALIN-ROUND MTN #2 | 2200 | 2016.1169
ETL.6030 | MIDWAY-WHIRLWIND | 2400 | 1953.113
ETL.6040 | MOSS LANDING-LOS BANOS | 2230 | 1776.1
ETL.6050 | MOSS LANDING-METCALF | 2230 | 1570.5436
ETL.6060 | ROUND MTN-TABLE MTN #1 | 2200 | 2470.3513
ETL.6070 | ROUND MTN-TABLE MTN #2 | 2200 | 2459.5476
ETL.6080 | TABLE MTN-TESLA | 2230 | 2997.2534
ETL.6090 | TABLE MTN-VACA | 2230 | 2066.9575
ETL.6100 | TESLA-LOS BANOS #1 | 2230 | 2317.5452
ETL.6110 | TESLA-METCALF | 2230 | 1418.103
ETL.6120 | TESLA-TRACY(500KV) | 2230 | 1600.0239
ETL.6130 | TRACY-LOS BANOS | 2230 | 2035.5
ETL.6140 | VACA-TESLA | 2230 | 1892.7269
ETL.6150 | ALMENDRA JCT-NICOLAUS | 281 | 1334.2
ETL.6155 | RUSSELL CITY ENERGY CENTER-EASTSHORE #1 | 1840 | 1085.3
ETL.6157 | RUSSELL CITY ENERGY CENTER-EASTSHORE #2 | 1840 | 755.5
ETL.6160 | LONE TREE-CAYETANO | 886 | 707.9854
ETL.6161 | BIRDS LANDING SW STA-CONTRA COSTA SUB | 1650 | 1581.5
ETL.6170 | DEL MAR-ATLANTIC #2 | 281 | 329.9661
ETL.6171 | PEABODY-BIRDS LANDING SW STA | 1893 | 503.3112
ETL.6190 | ATLANTIC-PLEASANT GROVE #1 | 940 | 353.7217
ETL.6200 | BAIR-COOLEY LANDING #1 | 495 | 609.3
ETL.6201 | BELLE HAVEN #1 TAP | 1144
ETL.6210 | BAIR-COOLEY LANDING #2 | 495 | 564.275
ETL.6211 | BELLE HAVEN #2 TAP | 488 | 253.009
ETL.6220 | BRIDGEVILLE-GARBERVILLE | 303 | 425
ETL.6221 | FRUITLAND TAP | 328
ETL.6222 | FORT SEWARD TAP | 303
ETL.6230 | BURNS-LONE STAR #1 | 328 | 237.6356
ETL.6231 | LONE STAR TAP | 488
ETL.6240 | BURNS-LONE STAR #2 | 310 | 280.2
ETL.6241 | CRUSHER TAP | 222
ETL.6250 | BUTTE-CHICO #1 | 297 | 502.2126
ETL.6260 | BUTTE-CHICO #2 | 297 | 401.8677
ETL.6270 | BUTTE-ESQUON | 243 | 401.0865
ETL.6280 | CARIBOU #2 | 170 | 826.6837
ETL.6290 | CARIBOU-PLUMAS JCT | 183 | 394.627
ETL.6291 | PLUMAS-SIERRA TAP | 493
ETL.6300 | CARIBOU-WESTWOOD | 440 | 1081.8309
ETL.6300 | CARIBOU-WESTWOOD | 440 | 1081.8309
ETL.6310 | CASCADE-BENTON-DESCHUTES | 281 | 666.8
ETL.6311 | WINTU TAP | 204
ETL.6320 | CENTERVILLE-TABLE MTN | 297 | 114
ETL.6330 | CENTERVILLE-TABLE MTN-OROVILLE | 240 | 961
ETL.6331 | LOGAN CREEK-DELEVAN | 752 | 346.3729
ETL.6350 | CHRISTIE-FRANKLIN #1 | 440 | 306.7
ETL.6350 | CHRISTIE-FRANKLIN #1 | 440 | 306.7
ETL.6351 | UNION CHEMICAL TAP | 600
ETL.6360 | CHRISTIE-FRANKLIN #2 | 440 | 409.7
ETL.6360 | CHRISTIE-FRANKLIN #2 (12KV) | 440
ETL.6370 | CHRISTIE-WILLOW PASS | 297 | 147.7
ETL.6371 | PORT COSTA BRICK TAP | 359
ETL.6372 | STAUFFER TAP | 204
ETL.6373 | URICH TAP | 297
ETL.6375 | DRUM PH #2 TAP | 416 | 286.2
ETL.6380 | KONOCTI-MIDDLETOWN | 297 | 459.8177
ETL.6390 | CLEAR LAKE-HOPLAND | 297 | 379.1
ETL.6400 | COBURN-BASIC ENERGY | 297
ETL.6410 | COBURN-OIL FIELDS #1 | 440 | 254.945
ETL.6411 | TEXACO TAP | 440
ETL.6420 | COBURN-OIL FIELDS #2 | 440 | 215.091
ETL.6421 | SAN ARDO TAP | 631
ETL.6430 | COLEMAN-COTTONWOOD | 631 | 606.1
ETL.6440 | COLEMAN-RED BLUFF | 204 | 200.177
ETL.6450 | COLEMAN-SOUTH | 500 | 151.676
ETL.6460 | COLGATE PH-COLGATE SW STA | 825
ETL.6470 | COLGATE-ALLEGHANY | 154 | 136.4788
ETL.6480 | COLGATE-CHALLENGE | 154 | 122.5623
ETL.6490 | COLGATE-GRASS VALLEY | 281 | 196.1974
ETL.6500 | COLGATE-PALERMO | 281 | 396.142
ETL.6510 | COLGATE-SMARTVILLE #1 | 1126 | 286.7
ETL.6511 | NARROWS #1 TAP | 281 | 140.9314
ETL.6520 | COLGATE-SMARTVILLE #2 | 417 | 830.2
ETL.6521 | NARROWS #2 TAP | 600
ETL.6522 | SMARTVILLE TAP | 600
ETL.6530 | CONTRA COSTA-DU PONT | 297
ETL.6531 | GWF #4 TAP | 440
ETL.6540 | CONTRA COSTA-PITTSBURG | 325 | 15.9
ETL.6551 | PITTSBURG #1 TAP (NO FLY) | 440
ETL.6560 | COOLEY LANDING-LOS ALTOS | 415 | 253.009
ETL.6560 | COOLEY LANDING-LOS ALTOS (I2KV) | 415
ETL.6561 | WESTINGHOUSE TAP | 415
ETL.6561 | WESTINGHOUSE TAP | 415
ETL.6570 | COOLEY LANDING-STANFORD | 328 | 733.6
ETL.6571 | MENLO TAP | 1200
ETL.6580 | CORTINA #1 | 154 | 1658.7999
ETL.6581 | HARRINGTON TAP | 204
ETL.6590 | CORTINA #2 | 183 | 691.7
ETL.6591 | ARBUCKLE TAP | 440
ETL.6600 | CORTINA #3 | 297 | 396.4
ETL.6601 | WADHAM TAP | 297 | 267
ETL.6602 | BIRDS LANDING SW STA-RUSSELL | 954 | 585.3
ETL.6610 | CORTINA #4 | 281 | 749.9
ETL.6620 | COTTONWOOD #1 | 134 | 2399.8
ETL.6630 | COTTONWOOD #2 | 297 | 461.3
ETL.6631 | RED BANK TAP | 204
ETL.6640 | COTTONWOOD-BENTON #1 | 281 | 231.4
ETL.6650 | COTTONWOOD-BENTON #2 | 416 | 167.876
ETL.6660 | COTTONWOOD-RED BLUFF | 440 | 278.459
ETL.6670 | UC DAVIS #1 TAP | 631 | 201.5
ETL.6680 | UC DAVIS #2 TAP | 440 | 142
ETL.6690 | DEER CREEK-DRUM | 281 | 200.0183
ETL.6700 | DEL MONTE-MONTEREY | 600 | 3351.3999
ETL.6710 | DEL MONTE-VIEJO | 359 | 522.2
ETL.6711 | NAVY LAB TAP | 201
ETL.6720 | DESABLA-CENTERVILLE | 406 | 160.9
ETL.6721 | ORO FINO TAP | 154
ETL.6722 | FORKS OF THE BUTTE TAP | 406
ETL.6730 | DIXON-VACA #1 | 200 | 566.8141
ETL.6731 | TRAVIS TAP | 631
ETL.6740 | DIXON-VACA #2 | 281 | 444.6425
ETL.6741 | CACHE SLOUGH TAP | 154
ETL.6750 | DELTA-MTN GATE JCT | 281
ETL.6755 | LODI-INDUSTRIAL | 631 | 530.7
ETL.6760 | DRUM-GRASS VALLEY-WEIMAR | 183 | 732.4442
ETL.6761 | CAPE HORN TAP | 154
ETL.6762 | ROLLINS TAP | 303 | 76
ETL.6770 | DRUM-SPAULDING | 375 | 955.4
ETL.6800 | ESSEX JCT-ARCATA-FAIRHAVEN | 310 | 731.4188
ETL.6801 | BLUE LAKE TAP | 328
ETL.6802 | BLUE CHIP MILLING TAP | 328
ETL.6803 | ULTRA POWER TAP | 328 | 290.3
ETL.6804 | SIMPSON-KORBEL TAP | 328
ETL.6805 | JANES CREEK TAP | 328
ETL.6810 | ESSEX JCT-ORICK | 310 | 995.4
ETL.6811 | TRINIDAD TAP | 232
ETL.6820 | EUREKA-STA A | 310 | 2488
ETL.6825 | ALMADEN-LOS GATOS | 525 | 205.751
ETL.6830 | EVERGREEN-ALMADEN | 525 | 457.268
ETL.6831 | JEFFERSON #1 | 538 | 3276.7
ETL.6840 | EVERGREEN-MABURY | 415 | 13.7
ETL.6841 | SENTER #1 TAP | 440
ETL.6842 | JENNINGS TAP | 222
ETL.6850 | FAIRHAVEN #1 | 440 | 0
ETL.6852 | CLEAR LAKE-KONOCTI | 330 | 367.3696
ETL.6853 | FAIRHAVEN POWER CO TAP | 328
ETL.6860 | FAIRHAVEN-HUMBOLDT | 488 | 797
ETL.6861 | KONOCTI-EAGLE ROCK | 528 | 465.6
ETL.6870 | FRENCH MEADOWS-MIDDLE FORK | 280 | 190.5957
ETL.6880 | FULTON-CALISTOGA | 297 | 224.3233
ETL.6890 | FULTON-HOPLAND | 297 | 378.2342
ETL.6891 | FITCH MTN #1 TAP | 1126 | 376.7
ETL.6892 | HEALDSBURG #1 TAP | 297
ETL.6900 | WINDSOR-FITCH MOUNTAIN | 281 | 456.8
ETL.6901 | FITCH MTN #2 TAP | 1126 | 315.2
ETL.6902 | HEALDSBURG #2 TAP | 297
ETL.6910 | FULTON-MOLINO-COTATI | 297 | 640.0098
ETL.6910 | FULTON-MOLINO-COTATI | 297 | 640.0098
ETL.6911 | WASHOE TAP | 297
ETL.6912 | LAGUNA TAP | 297
ETL.6920 | GLENN #1 | 281 | 145.1
ETL.6921 | ELK CREEK TAP | 80 | 30.6
ETL.6930 | GLENN #2 | 268
ETL.6940 | GLENN #3 | 210 | 1790.2
ETL.6941 | HEADGATE TAP | 297
ETL.6950 | GOLD HILL #1 | 222 | 172.1244
ETL.6970 | GREEN VALLEY-WATSONVILLE | 488 | 324.3
ETL.6972 | DEAN FOODS TAP | 488
ETL.6979 | MONTE RIO-FORT ROSS | 270 | 169.3594
ETL.6980 | FORT ROSS-GUALALA | 269 | 144.5
ETL.6981 | SALMON CREEK TAP | 328
ETL.6990 | HALSEY-PLACER | 440 | 652.913
ETL.6991 | MTN QUARRIES TAP | 400
ETL.6992 | AUBURN TAP | 281
ETL.7000 | HAMILTON BRANCH-CHESTER | 157 | 323.5527
ETL.7001 | COLLINS PINE TAP | 154 | 323.5527
ETL.7010 | HAMMER-COUNTRY CLUB | 297 | 549.5
ETL.7011 | CHCF TAP | 440
ETL.7020 | HAT CREEK #1-PIT #1 | 154 | 324.4
ETL.7030 | HAT CREEK #1-WESTWOOD | 375 | 323.5527
ETL.7040 | PIT #1-HAT CREEK #2-BURNEY | 440 | 356.3
ETL.7040 | PIT #1-HAT CREEK #2-BURNEY | 440 | 356.3
ETL.7041 | BURNEY TAP | 204
ETL.7042 | GLENN-DELEVAN | 752 | 352.9
ETL.7050 | HERDLYN-BALFOUR | 210 | 999.5
ETL.7050 | HERDLYN-BALFOUR | 210 | 999.5
ETL.7052 | MIDDLE RIVER TAP | 162
ETL.7053 | MCDONALD TAP | 204
ETL.7054 | MARSH TAP | 204
ETL.7055 | BRIONES TAP | 297
ETL.7056 | BIXLER TAP | 297
ETL.7060 | HILLSDALE JCT-HALF MOON BAY | 488 | 309.9
ETL.7070 | HUMBOLDT BAY-EUREKA | 310 | 288.5
ETL.7080 | HUMBOLDT BAY-HUMBOLDT #1 | 310 | 323.5527
ETL.7090 | HUMBOLDT BAY-HUMBOLDT #2 | 488 | 337.1
ETL.7100 | HUMBOLDT BAY-RIO DELL JCT | 328 | 356.9
ETL.7101 | EEL RIVER TAP | 328
ETL.7110 | ARCATA-HUMBOLDT | 703 | 825
ETL.7111 | LP FLAKEBOARD TAP | 488
ETL.7113 | HUMBOLDT #1 | 328 | 744.7
ETL.7120 | HUMBOLDT-EUREKA | 310 | 288.5
ETL.7130 | HUMBOLDT-MAPLE CREEK | 310 | 793.7
ETL.7140 | IGNACIO-BOLINAS #1 | 328 | 158.5
ETL.7150 | IGNACIO-ALTO | 461 | 427
ETL.7160 | IGNACIO-ALTO-SAUSALITO #1 | 269 | 1946.6903
ETL.7170 | IGNACIO-ALTO-SAUSALITO #2 | 269 | 470.9616
ETL.7180 | IGNACIO-BOLINAS #2 | 150 | 182
ETL.7190 | JEFFERSON-HILLSDALE JCT | 538 | 353.675
ETL.7191 | WATERSHED TAP | 328
ETL.7200 | JEFFERSON-LAS PULGAS | 440 | 556.118
ETL.7210 | MARTIN-SNEATH LANE | 488 | 343.3
ETL.7211 | CRYSTAL SPRINGS TAP | 328
ETL.7212 | SNEATH LANE-HALF MOON BAY | 488 | 210.8
ETL.7220 | JEFFERSON-STANFORD | 222 | 714.552
ETL.7221 | SLAC TAP | 488 | 180
ETL.7230 | KASSON #1 | 440 | 648.5
ETL.7231 | KASSON-CARBONA | 440 | 217
ETL.7232 | LYOTH TAP | 297
ETL.7233 | CARBONA #2 TAP | 440
ETL.7240 | KASSON-BANTA #1 | 440 | 457.2
ETL.7250 | KASSON-LOUISE | 336 | 1948.2
ETL.7251 | CALVO TAP | 154
ETL.7252 | EASTSHORE-CERBERUS | 488 | 323
ETL.7260 | KESWICK-CASCADE | 243 | 176.837
ETL.7270 | KESWICK-TRINITY | 281 | 180.838
ETL.7290 | KILARC-CEDAR CREEK | 157 | 16.168
ETL.7291 | CLOVER CREEK TAP | 204
ETL.7300 | KILARC-DESCHUTES | 154 | 85.915
ETL.7300 | KILARC-DESCHUTES | 154 | 85.915
ETL.7310 | KILARC-VOLTA TIE | 204
ETL.7320 | KING CITY-COBURN #1 | 297 | 166.74
ETL.7321 | JOLON TAP | 297
ETL.7330 | KING CITY-COBURN #2 | 243 | 486.452
ETL.7331 | LOS COCHES TAP | 297
ETL.7340 | LAKEVILLE #2 | 243 | 1500
ETL.7350 | LAKEVILLE-PETALUMA C | 499 | 433.8
ETL.7360 | LAKEVILLE #1 | 440 | 314.4
ETL.7370 | LAS POSITAS-VASCO | 759 | 501.684
ETL.7380 | LAURELES-OTTER | 328 | 365.306
ETL.7390 | LAYTONVILLE-COVELO | 303 | 83.8
ETL.7400 | LINCOLN-PLEASANT GROVE | 825 | 320.8838
ETL.7401 | SIERRA PACIFIC IND TAP | 297 | 320.2586
ETL.7410 | LIVERMORE-LAS POSITAS | 759 | 603.956
ETL.7420 | LOCKEFORD-INDUSTRIAL | 759 | 615.384
ETL.7440 | LOCKEFORD-LODI #2 | 297 | 775.97
ETL.7441 | INDUSTRIAL TAP | 759
ETL.7442 | VICTOR TAP | 297
ETL.7443 | WOODBRIDGE TAP | 297
ETL.7450 | LOCKEFORD-LODI #3 | 281 | 810
ETL.7460 | MANTECA #1 | 243 | 378.021
ETL.7461 | LEE TAP | 297
ETL.7461 | LEE TAP | 297
ETL.7470 | MANTECA-LOUISE | 281 | 666.178
ETL.7471 | GRONEMEYER TAP | 204
ETL.7472 | SCHULTE SW STA-KASSON-MANTECA | 631 | 4000
ETL.7490 | MAPLE CREEK-HOOPA | 204 | 323.5527
ETL.7500 | SAN MATEO-MARTIN #4 | 1000 | 813.7
ETL.7510 | MENDOCINO-HARTLEY | 297 | 180.2
ETL.7515 | HARTLEY-CLEARLAKE | 297 | 1494.0302
ETL.7520 | MENDOCINO-PHILO JCT-HOPLAND | 325 | 598.846
ETL.7530 | MENDOCINO #1 | 281
ETL.7540 | MENDOCINO-WILLITS | 281 | 602
ETL.7550 | MENDOCINO-WILLITS-FORT BRAGG | 269 | 419.999
ETL.7560 | WEIMAR #1 | 134 | 205.6
ETL.7561 | OXBOW TAP | 120
ETL.7570 | MILLBRAE-SNEATH LANE | 415 | 417.6683
ETL.7571 | SAN ANDREAS (CCSF) TAP | 488
ETL.7572 | SAN BRUNO TAP | 222
ETL.7575 | SNEATH LANE-PACIFICA | 488 | 152.3
ETL.7580 | SANTA PAULA-MILLBRAE | 488 | 25.6872
ETL.7590 | MONTA VISTA-BURNS | 120 | 397.557
ETL.7600 | MONTA VISTA-LOS ALTOS | 440 | 478.632
ETL.7610 | MONTA VISTA-LOS GATOS | 525 | 375.091
ETL.7620 | MONTA VISTA-PERMANENTE | 488 | 356.3449
ETL.7621 | PERMANENTE #1 TAP | 488
ETL.7622 | PERMANENTE #2 TAP | 488
ETL.7630 | MONTE RIO-FULTON | 297 | 580.6818
ETL.7631 | WOHLER TAP | 154
ETL.7640 | MTN GATE JCT-CASCADE | 281 | 360
ETL.7641 | MTN GATE TAP | 204
ETL.7660 | NEWARK-LIVERMORE | 325 | 602.6
ETL.7670 | NEWARK-VALLECITOS | 281 | 195.9
ETL.7671 | SUNOL TAP | 297
ETL.7680 | NICOLAUS-CATLETT JCT | 281 | 242
ETL.7680 | NICOLAUS-CATLETT JCT | 281 | 242
ETL.7680 | NICOLAUS-CATLETT JCT (12KV) | 281
ETL.7690 | NICOLAUS-MARYSVILLE | 137 | 256.4
ETL.7700 | NICOLAUS-PLAINFIELD | 243 | 1474.7999
ETL.7701 | DISTRICT 1001 TAP | 137
ETL.7710 | NICOLAUS-WILKINS SLOUGH | 137 | 1404.7999
ETL.7711 | DISTRICT 1500 TAP | 100
ETL.7721 | TOCALOMA TAP | 168
ETL.7725 | OILFIELDS-SARGENT CANYON | 631 | 164.688
ETL.7728 | OILFIELDS-SALINAS RIVER | 631 | 276.63
ETL.7729 | YUBA CITY COGEN TAP | 1126
ETL.7730 | PALERMO-OROVILLE #1 | 281 | 1200
ETL.7731 | PACIFIC OROVILLE POWER TAP | 297
ETL.7732 | LOUISIANA PACIFIC (OROVILLE) TAP | 204
ETL.7740 | PALERMO-OROVILLE #2 | 297 | 225.299
ETL.7751 | ENCINAL TAP | 137
ETL.7760 | PEASE-HARTER | 243 | 469.3
ETL.7761 | GREENLEAF #2 TAP | 600
ETL.7770 | PEASE-MARYSVILLE-HARTER | 631 | 2453
ETL.7780 | PHILO JCT-ELK | 201 | 304.2238
ETL.7790 | PIT #1-MCARTHUR | 204 | 323.5527
ETL.7800 | PLACER-DEL MAR | 600 | 923.4169
ETL.7810 | POTTER VALLEY-MENDOCINO | 266 | 373.9
ETL.7820 | POTTER VALLEY-WILLITS | 204 | 131.3273
ETL.7830 | RADUM-LIVERMORE | 297 | 319.1992
ETL.7850 | RIO DELL JCT-BRIDGEVILLE | 269 | 242.637
ETL.7851 | RIO DELL TAP | 269
ETL.7852 | PACIFIC LUMBER (SCOTIA) TAP | 328 | 207
ETL.7858 | SALADO-CROW CREEK SW STA | 411 | 353.6
ETL.7860 | CROW CREEK SW STA-NEWMAN | 375 | 190.476
ETL.7861 | STANISLAUS RECOVERY TAP | 440 | 211.7975
ETL.7862 | GUSTINE #1 TAP | 297
ETL.7870 | SALADO-NEWMAN #2 | 343 | 336.7
ETL.7871 | CROWS LANDING TAP | 243
ETL.7872 | GUSTINE #2 TAP | 281
ETL.7890 | SALINAS-FORT ORD #1 | 310 | 120.4
ETL.7900 | SALINAS-FIRESTONE #1 | 310 | 934.3
ETL.7901 | FRESH EXPRESS TAP | 150
ETL.7910 | SALINAS-SPENCE | 310 | 4022.5999
ETL.7920 | SALINAS-LAGUNITAS | 269 | 167.4
ETL.7930 | SALINAS-LAURELES | 310 | 1578.4
ETL.7940 | SAN MATEO-BAIR | 440 | 263.3
ETL.7950 | SAN MATEO-HILLSDALE JCT | 488 | 75.469
ETL.7960 | SAN RAMON-RADUM | 600 | 344.873
ETL.7970 | SMARTVILLE-CAMP FAR WEST | 281 | 83.3
ETL.7970 | SMARTVILLE-CAMP FAR WEST (12KV) | 281
ETL.7971 | BEALE AFB (WAPA) #2 TAP | 281
ETL.7973 | MONTEZUMA SW STA-BIRDS LANDING SW STA | 954 | 623.3
ETL.7974 | RIO BRAVO (ROCKLIN) TAP | 297
ETL.7980 | SMARTVILLE-MARYSVILLE | 243 | 1200.7494
ETL.7990 | SMARTVILLE-NICOLAUS #1 | 281 | 239.6519
ETL.8000 | SMARTVILLE-NICOLAUS #2 | 204 | 411.8
ETL.8001 | BEALE AFB (WAPA) #1 TAP | 281
ETL.8010 | SOLEDAD #1 | 183 | 493.5
ETL.8011 | GONZALES #1 TAP | 269
ETL.8020 | SOLEDAD #2 | 281 | 1611.9
ETL.8021 | GONZALES #2 TAP | 310
ETL.8030 | SOLEDAD #3 | 400 | 728.5
ETL.8040 | SOLEDAD #4 | 400 | 207.2
ETL.8050 | SPAULDING #3-SPAULDING #1 | 243 | 511.6
ETL.8060 | SPAULDING-SUMMIT | 375 | 1500.1
ETL.8061 | CISCO GROVE TAP | 154
ETL.8068 | SUTTER HOME SW STA-LOCKEFORD-LODI | 100 | 439
ETL.8070 | SUTTER HOME SW STA-STAGG | 297 | 347.8
ETL.8071 | TERMINOUS TAP | 232
ETL.8072 | SEBASTIANI TAP | 297
ETL.8080 | STAGG-COUNTRY CLUB #1 | 759 | 1997.2999
ETL.8090 | STAGG-COUNTRY CLUB #2 | 759 | 416.3
ETL.8100 | STAGG-HAMMER | 759 | 722.2
ETL.8110 | STOCKTON A #1 | 440 | 966.3
ETL.8111 | NEWARK-SIERRA PAPERBOARD TAP | 297
ETL.8120 | STOCKTON A-WEBER #1 | 281 | 375.7
ETL.8130 | STOCKTON A-WEBER #2 | 416 | 576.384
ETL.8140 | STOCKTON A-WEBER #3 | 440 | 1054.6
ETL.8141 | SUMIDEN WIRE PRODUCTS TAP | 440
ETL.8142 | OAK PARK TAP | 137
ETL.8170 | TRINITY-MAPLE CREEK | 303
ETL.8180 | TULUCAY-NAPA #1 | 631 | 422.3
ETL.8181 | BASALT #1 TAP | 416
ETL.8182 | CORDELIA #1 TAP | 183 | 69.4
ETL.8183 | CORDELIA INTERIM PUMPING PLANT TAP | 204
ETL.8183 | CORDELIA INTERIM PUMPING PLANT TAP | 204
ETL.8184 | CORDELIA #2 TAP | 281
ETL.8190 | TULUCAY-NAPA #2 | 631 | 592.5
ETL.8200 | VACA-PLAINFIELD | 243 | 577.3614
ETL.8210 | VALLEY SPRINGS #1 | 297 | 442.7
ETL.8211 | NEW HOGAN TAP | 204
ETL.8220 | VALLEY SPRINGS-CALAVERAS CEMENT | 325 | 5362.7998
ETL.8231 | PARDEE #1 TAP | 281
ETL.8240 | VALLEY SPRINGS-MARTELL #1 | 281 | 1276.5
ETL.8241 | AMFOR TAP | 204
ETL.8250 | CLAY-MARTEL | 281
ETL.8251 | PARDEE #2 TAP | 281
ETL.8252 | BUENA VISTA BIOMASS POWER TAP | 600
ETL.8253 | IONE TAP | 297
ETL.8260 | VASCO-HERDLYN | 297 | 999.6
ETL.8261 | US WINDPOWER TAP | 631 | 645.3826
ETL.8264 | VALLEY SPRINGS-CLAY | 336 | 991.8
ETL.8270 | VIEJO-MONTEREY | 703 | 402.485
ETL.8280 | RADUM-VALLECITOS | 281 | 208.1
ETL.8281 | IUKA TAP | 134
ETL.8290 | VOLTA-DESCHUTES | 281 | 95.681
ETL.8300 | VOLTA-SOUTH | 210 | 173.101
ETL.8310 | WATSONVILLE-SALINAS | 310 | 237.359
ETL.8311 | GRANITE ROCK TAP | 328 | 98
ETL.8312 | LAGUNITAS TAP | 297
ETL.8320 | WEBER-FRENCH CAMP #1 | 397 | 510
ETL.8321 | WEBER-FRENCH CAMP #2 | 281 | 359.7
ETL.8322 | ROBERTSON TAP | 204
ETL.8323 | COGENERATION NATIONAL TAP | 600 | 505.7894
ETL.8324 | ROUGH & READY TAP | 183
ETL.8325 | PACIFIC ETHANOL TAP | 631
ETL.8328 | RIO BRAVO TOMATO TAP | 416
ETL.8330 | WEBER-MORMON JCT | 281 | 475.893
ETL.8340 | WEIMAR-HALSEY | 440 | 576.9
ETL.8350 | WEST POINT-VALLEY SPRINGS | 384 | 326.9
ETL.8351 | PINE GROVE TAP | 297
ETL.8360 | LAYTONVILLE-WILLITS | 328 | 595.5
ETL.8365 | GARBERVILLE-LAYTONVILLE | 303 | 585.8
ETL.8370 | WILLOW PASS-CONTRA COSTA | 375 | 188.2
ETL.8380 | WIND FARMS | 600 | 645.3826
ETL.8381 | ZOND WIND TAP | 440
ETL.8390 | COLUSA JCT #1 | 200 | 208.6489
ETL.8400 | DEL MONTE-FORT ORD #1 | 310 | 512.5
ETL.8405 | MIDDLE FORK #1 | 303 | 190.5957
ETL.8410 | ELK-GUALALA | 269 | 153.1234
ETL.8411 | GARCIA TAP | 222
ETL.8420 | CONTRA COSTA-BALFOUR | 297 | 1767.7
ETL.8421 | DU PONT TAP | 297
ETL.8422 | DEL MONTE-FORT ORD #2 | 310 | 306.3
ETL.8423 | SALINAS-FORT ORD #2 | 310 | 5613.7998
ETL.8424 | GLENN #4 | 440 | 427.4624
ETL.8425 | TABLE MTN-PEACHTON | 183 | 554.3504
ETL.8426 | PEACHTON-PEASE | 281 | 3276.3
ETL.8427 | GLENN #5 | 297 | 364.6
ETL.8428 | COLEMAN HATCHERY TAP | 297
ETL.8430 | ARCO-CARNERAS | 257 | 2977.3999
ETL.8440 | ARCO-CHOLAME | 257 | 323.5527
ETL.8441 | BERRENDA A TAP | 297
ETL.8442 | ANTELOPE TAP | 297 | 223.1624
ETL.8443 | BERRENDA C TAP | 297
ETL.8450 | ARCO-POLONIO PASS PP | 297 | 323.5527
ETL.8451 | LOST HILLS TAP | 204
ETL.8452 | BADGER HILL TAP | 204
ETL.8460 | ARCO-TULARE LAKE | 257 | 2163.1001
ETL.8463 | LAS PERILLAS TAP | 204
ETL.8470 | ARCO-TWISSELMAN | 440 | 479.6
ETL.8472 | CHEVRON (LOST HILLS) TAP | 440 | 323.5527
ETL.8480 | ATASCADERO-CAYUCOS | 257 | 104.568
ETL.8490 | ATASCADERO-SAN LUIS OBISPO | 631 | 363.6
ETL.8500 | BORDEN-COPPERMINE | 375 | 955.897
ETL.8503 | RIVER ROCK TAP | 297
ETL.8510 | BORDEN-GLASS | 631 | 347.099
ETL.8520 | BORDEN-MADERA #2 | 631 | 1374.4
ETL.8540 | CARNERAS-TAFT | 243 | 323.5527
ETL.8541 | CELERON TAP | 297
ETL.8550 | CARUTHERS-LEMOORE NAS-CAMDEN | 243 | 331.9193
ETL.8560 | CAYUCOS-CAMBRIA | 297 | 221.588
ETL.8570 | COALINGA #1-COALINGA #2 | 325 | 292.2452
ETL.8571 | COALINGA COGEN TAP | 600
ETL.8572 | TORNADO TAP | 204
ETL.8573 | DERRICK TAP | 440
ETL.8574 | OIL CITY TAP | 297
ETL.8575 | PENN ZIER TAP | 204
ETL.8575 | PENN ZIER TAP | 204
ETL.8580 | COALINGA #1-SAN MIGUEL | 297 | 329.3435
ETL.8590 | COPPERMINE-TIVY VALLEY | 440 | 185.5647
ETL.8600 | CORCORAN-ANGIOLA | 243 | 1241.6
ETL.8610 | DINUBA-OROSI | 297 | 193.804
ETL.8611 | STONE CORRAL TAP | 257
ETL.8620 | DIVIDE-VANDENBERG #1 | 380 | 367.3
ETL.8630 | DIVIDE-VANDENBERG #2 | 703 | 268
ETL.8640 | EXCHEQUER-MARIPOSA | 297 | 263.247
ETL.8650 | EXCHEQUER-INDIAN FLAT | 193
ETL.8651 | BRICEBURG JCT-MARIPOSA TAP | 303 | 137.675
ETL.8652 | GATES-JAYNE SW STA | 397 | 228.571
ETL.8653 | CAMDEN-KINGSBURG | 343 | 449.2569
ETL.8660 | FRIANT-COPPERMINE | 631 | 210.4312
ETL.8670 | JAYNE SW STA-COALINGA | 297 | 274.9
ETL.8680 | GATES-COALINGA #2 | 440 | 214.423
ETL.8690 | GATES-HURON | 440 | 162.539
ETL.8700 | GATES-TULARE LAKE | 243 | 436.0439
ETL.8701 | KETTLEMAN HILLS TAP | 243
ETL.8702 | AVENAL TAP | 440
ETL.8703 | CHEVRON PIPELINE KETTLEMAN TAP | 297
ETL.8710 | BORDEN-MADERA #1 | 631 | 975.6
ETL.8720 | GUERNSEY-HENRIETTA | 297 | 466.52
ETL.8721 | RESERVE OIL TAP | 200
ETL.8722 | ARMSTRONG TAP | 297
ETL.8723 | GWF HANFORD COGEN TAP | 440
ETL.8740 | HELM-KERMAN | 325 | 587.9
ETL.8741 | FRESNO COGEN (AGRICO) TAP | 631
ETL.8750 | HELM-CRESCENT SW STA | 325 | 377.9
ETL.8760 | HELM-STROUD | 297 | 133.1
ETL.8770 | HENRIETTA-LEMOORE | 631 | 634.7253
ETL.8771 | LEPRINO TAP | 297
ETL.8773 | WAUKENA SW STA-CORCORAN | 343 | 364.8793
ETL.8774 | GWF-HENRIETTA | 1126 | 811.135
ETL.8780 | HENRIETTA-LEMOORE NAS | 600 | 499.145
ETL.8790 | KENT SW STA-TULARE LAKE | 631
ETL.8791 | HENRIETTA-KENT SW STA | 631 | 321.2
ETL.8800 | HERDLYN-TRACY | 412 | 80.0806
ETL.8810 | KEARNEY-BIOLA | 325 | 320.9204
ETL.8820 | KEARNEY-BOWLES | 297 | 308.7
ETL.8830 | KEARNEY-CARUTHERS | 631 | 439.906
ETL.8840 | KEARNEY-KERMAN | 297 | 1600
ETL.8850 | KERN CANYON-MAGUNDEN-WEEDPATCH | 325 | 602.1978
ETL.8851 | MARICOPA-COPUS | 308 | 355.8
ETL.8860 | KERN-FRUITVALE | 440 | 396.581
ETL.8870 | KERN-KERN OIL-FAMOSO | 297 | 216.849
ETL.8870 | KERN-KERN OIL-FAMOSO | 297 | 216.849
ETL.8871 | CAWELO B TAP | 297
ETL.8880 | KERN-MAGUNDEN | 193 | 282.5717
ETL.8881 | FRUITVALE TAP | 375
ETL.8883 | EISEN TAP | 204
ETL.8890 | KERN-OLD RIVER #1 | 1126 | 455.3606
ETL.8900 | KERN-OLD RIVER #2 | 291 | 951.404
ETL.8901 | CARNATION TAP | 297
ETL.8910 | KINGSBURG-LEMOORE | 243 | 318.0022
ETL.8911 | HARDWICK TAP | 343
ETL.8920 | LIVINGSTON-LIVINGSTON JCT | 297
ETL.8929 | LOS BANOS-MERCY SPRINGS SW STA | 631 | 1037.3619
ETL.8929 | LOS BANOS-MERCY SPRINGS SW STA | 631 | 1037.3619
ETL.8930 | MERCY SPRINGS SW STA-CANAL-ORO LOMA | 440 | 1952.6
ETL.8931 | WRIGHT TAP | 297
ETL.8932 | ARBURUA TAP | 154
ETL.8940 | LOS BANOS-LIVINGSTON JCT-CANAL | 297 | 492.307
ETL.8950 | LOS BANOS-O'NEILL PGP | 631 | 161.758
ETL.8960 | LOS BANOS-PACHECO | 281 | 113.699
ETL.8960 | LOS BANOS-PACHECO | 281 | 113.699
ETL.8961 | DINOSAUR POINT TAP | 281
ETL.8970 | COPUS-OLD RIVER | 243 | 341.8073
ETL.8971 | GARDNER TAP | 297
ETL.8972 | TEXACO BASIC SCHOOL TAP | 297
ETL.8973 | PENTLAND TAP | 297
ETL.8980 | MENDOTA-SAN JOAQUIN-HELM | 343 | 1398.7999
ETL.8981 | MENDOTA BIOMASS TAP | 440
ETL.8983 | WESTLANDS TAP | 204
ETL.8984 | WESIX TAP | 154
ETL.8985 | GIFFEN TAP | 183 | 294.4
ETL.8990 | MERCED FALLS-EXCHEQUER | 297 | 223.212
ETL.8991 | MCSWAIN TAP | 297
ETL.9000 | MERCED #1 | 325 | 133.4032
ETL.9001 | WILSON-BORDEN #2 | 675 | 488.8
ETL.9010 | MERCED-MERCED FALLS | 325 | 214.716
ETL.9020 | ORO LOMA-CANAL #1 | 243 | 1452.1
ETL.9030 | ORO LOMA-MENDOTA | 243 | 715.8
ETL.9050 | REEDLEY-DINUBA #1 | 440 | 3995.0999
ETL.9051 | DINUBA ENERGY TAP | 440
ETL.9060 | REEDLEY-OROSI | 440 | 1696.2999
ETL.9061 | DUNLAP TAP | 204 | 43.5
ETL.9070 | RIO BRAVO HYDRO | 297
ETL.9080 | SAN BERNARD-TEJON | 600 | 237.4
ETL.9090 | SAN LUIS OBISPO-CAYUCOS | 461 | 155.3
ETL.9091 | MUSTANG TAP | 328
ETL.9130 | SANGER-CALIFORNIA AVE | 825 | 2098.8479
ETL.9140 | SANGER-REEDLEY | 440 | 592.4814
ETL.9141 | SANGER COGEN TAP | 631 | 2794.536
ETL.9150 | SCHINDLER-COALINGA #2 | 297 | 259.6
ETL.9160 | FIVE POINTS SW STA-HURON-GATES | 297 | 538.3465
ETL.9161 | SCHINDLER-FIVE POINTS SW STA | 375 | 2747.7
ETL.9170 | SEMITROPIC-WASCO | 325 | 340.5866
ETL.9171 | MCFARLAND TAP | 243
ETL.9180 | CRESCENT SW STA-SCHINDLER | 325 | 265.4
ETL.9190 | CRESCENT SW STA-STROUD | 297 | 158.7
ETL.9200 | TAFT-CUYAMA #1 | 297 | 296.639
ETL.9210 | TAFT-CUYAMA #2 | 232 | 594.891
ETL.9220 | TAFT-ELK HILLS | 134 | 223.1624
ETL.9230 | TAFT-MARICOPA | 325 | 747.434
ETL.9231 | SOLAR TANNEHILL TAP | 600
ETL.9232 | CADET TAP | 440
ETL.9233 | MOCO TAP | 440
ETL.9241 | WASCO-FAMOSO | 325 | 1119.9072
ETL.9250 | TEJON-LEBEC | 204 | 223.1624
ETL.9251 | ROSE TAP | 297
ETL.9252 | GRAPEVINE TAP | 204
ETL.9253 | CASTAIC TAP | 154
ETL.9260 | TIVY VALLEY-REEDLEY | 416 | 351.5
ETL.9270 | WEEDPATCH-SAN BERNARD | 243 | 223.1624
ETL.9280 | WEEDPATCH-WELLFIELD | 297
ETL.9281 | SYCAMORE TAP | 297
ETL.9290 | WHEELER RIDGE-LAKEVIEW | 600 | 329.6
ETL.9291 | EMIDIO TAP | 204
ETL.9293 | KELLEY TAP | 154
ETL.9300 | WHEELER RIDGE-SAN BERNARD | 493 | 393.7
ETL.9310 | WHEELER RIDGE-TEJON | 600 | 1499.7
ETL.9311 | TECUYA TAP | 204
ETL.9320 | WHEELER RIDGE-WEEDPATCH | 440 | 386
ETL.9330 | WISHON-COPPERMINE | 240 | 360.1794
ETL.9331 | AUBERRY TAP | 204
ETL.9340 | WISHON-SAN JOAQUIN #3 | 180 | 144.9385
ETL.9350 | BIOLA-GLASS-MADERA | 325 | 1200
ETL.9351 | CANANDAIGUA WINERY TAP | 297
ETL.9352 | BONITA TAP | 183
ETL.9353 | EL PECO TAP | 440
ETL.9360 | CORCORAN-GUERNSEY | 343 | 495.1
ETL.9370 | KEARNEY TIE | 631 | 65.7
ETL.9380 | KEARNEY ALTERNATE TIE | 631 | 160.3
ETL.9390 | SAN MIGUEL-PASO ROBLES | 297 | 258.461
ETL.9400 | PASO ROBLES-TEMPLETON | 825 | 686.886
ETL.9410 | TEMPLETON-ATASCADERO | 825 | 298.901
ETL.9420 | ATLANTIC-PLEASANT GROVE #2 | 631 | 1889.2999
ETL.9430 | GOLD HILL-CLARKSVILLE | 1126 | 578.338
ETL.9460 | VALLEY SPRINGS #2 | 183 | 1597.7
ETL.9461 | LOCKEFORD #1 | 281 | 235
ETU.1321 | EAST GRAND - SOUTH SAN FRANSICO TRACTION POWER #2 | 703 | 230.9955
ETU.1323 | EAST GRAND - SOUTH SAN FRANSICO TRACTION POWER #1 | 703 | 230.9955
ETU.9921 | ZA-1 | 1005 | 455.8
ETU.9922 | PITTSBURG-DELTA ENERGY CENTER #1 | 2700 | 2153.8459
ETU.9924 | PITTSBURG-DELTA ENERGY CENTER #2 | 2700 | 2149.45
ETU.9925 | C-X #3 | 1204 | 2003.7
ETU.9926 | H-P #4 | 1064 | 255.2
ETU.9927 | LAKEVILLE-SONOMA #1 | 1126 | 281.2
ETU.9929 | NORTH DUBLIN-CAYETANO | 1004 | 657.1917
ETU.9930 | DEL MAR-ATLANTIC #1 | 998 | 827.076
ETU.9931 | JEFFERSON-MARTIN | 1200
ETU.9932 | A-P #1 | 1067 | 739.551
ETU.9935 | LONE TREE-CAYETANO | 886 | 707.9854
ETU.9936 | NEWARK-LOS ESTEROS | 1840 | 1649.816
ETU.9937 | LOS ESTEROS-METCALF | 1626 | 1428.571
ETU.9938 | VINEYARD-NEWARK | 742 | 550.134
ETU.9939 | NORTH DUBLIN-VINEYARD | 886 | 598.583
ETU.9950 | A-H-W #1 | 837 | 652.139
ETU.9951 | A-X #1 | 700 | 1275.3685
ETU.9952 | A-Y #1 | 750 | 389.743
ETU.9952 | A-Y #1 (UNDERGROUND IDLE) | 750 | 389.743
ETU.9953 | A-Y #2 | 800 | 496.4
ETU.9954 | H-P #1 | 650 | 364.8
ETU.9955 | A-H-W #2 | 837 | 534.2
ETU.9956 | H-Y #1 | 700 | 364.7
ETU.9957 | H-P #3 | 650 | 357.7
ETU.9958 | P-X #1 | 589 | 316.3
ETU.9959 | P-X #2 (UNDERGROUND) | 530 | 312.1692
ETU.9960 | X-Y #1 | 700 | 243.223
ETU.9961 | C-L #1 | 790 | 611.59
ETU.9961 | C-X #1 | 790
ETU.9962 | C-X #2 | 790 | 511.5914
ETU.9963 | D-L #1 | 790 | 1066.988
ETU.9966 | K-D #1 | 1025 | 635.4
ETU.9967 | K-D #2 | 920 | 562.3
ETU.9968 | EBMUD TAP | 281 | 79.195
ETU.9969 | SAN MATEO-MARTIN #4 | 1000 | 813.7
ETU.9970 | SAN MATEO-MARTIN #3 | 900 | 559.1
ETU.9971 | EAST GRAND-SAN MATEO | 488 | 607.2
ETU.9972 | MARTIN-MILLBRAE #1 | 900 | 437.6
ETU.9973 | MARTIN-SF AIRPORT | 900 | 455.7
ETU.9974 | SAN MATEO-MARTIN #6 | 488 | 478.9
ETU.9975 | COOLEY LANDING-STANFORD | 328 | 733.6
ETU.9978 | TRIMBLE-SAN JOSE B | 703 | 525.099
ETU.9979 | KIFER-FMC | 839 | 798.9
ETU.9980 | SAN MATEO-MARTIN | 1050
ETU.9981 | H-Z #1 | 1050 | 511.648
ETU.9982 | H-Z #2 | 1050 | 540.366
ETU.9983 | FIGARDEN #1 TAP | 650 | 491.2
ETU.9984 | FULTON-LAKEVILLE | 825 | 700
ETU.9985 | GEYSERS #9-LAKEVILLE | 1650 | 1200
ETU.9986 | JEFFERSON-LAS PULGAS | 440 | 556.118
ETU.9987 | NEWARK-APPLIED MATERIALS | 600 | 3616.3999
ETU.9988 | APPLIED MATERIALS-BRITTON | 1000 | 373.6882
ETU.9989 | BORDEN-GLASS; XLPE; 70 KV | 631 | 347.099
ETU.9990 | STELLING-MONTA VISTA | 1104 | 486.196
ETU.9991 | MONTA VISTA-WOLFE | 703 | 431.3
ETU.9992 | PITTSBURG-LOS MEDANOS #1 | 1380 | 2162.637
ETU.9993 | PITTSBURG-LOS MEDANOS #2 | 1380 | 2189.01
ETU.9994 | FIGARDEN #2 TAP | 650 | 305
PGE-003 | H-Y #1 | 700 | 364.7
PGE-005 | SAN MATEO-MARTIN | 1050
PGE-006 | P-X #1 | 589 | 316.3
PGE-007 | SAN MATEO-MARTIN | 1050
PGE-009 | A-H-W #2 | 837 | 534.2
PGE-010 | H-Y #1 | 700 | 364.7
PGE-011 | A-H-W #1 | 837 | 652.139
PGE-012 | A-H-W #2 | 837 | 534.2
Note on D452: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @Bagley, Justin Should the text be removed and replaced with a value? Reply: @Thompson, Lorenzo Thank you, this is fixed now