## Sheet1
Type of inspection | Type of quality control review (2)(3)(4) | Total number of inspections (i.e., count of structures inspected) | Number of inspections reviewed by QC | Number of inspections that failed QC review (1) | Comments
Transmission, climbing inspections | Desktop quality control | 4176 | 383 | 0 | SIQC inspection quantities includes only HFTD.
Transmission, climbing inspections | Field quality control
Transmission, drone/aerial inspections | Desktop quality control | 51301 | 940 | 0 | SIQC inspection quantities includes only HFTD.
Transmission, drone/aerial inspections | Field quality control
Transmission, detailed ground inspections | Desktop quality control | 26129 | 20988 | 177 | SIQC inspection quantities includes only HFTD.
Transmission, detailed ground inspections | Field quality control |  | 2006 | 9
Transmission, intrusive pole inspections | Desktop quality control | 9993 | 133 | 108 | QC does not specify the type of poles inspected on the Pole Test & Treat (PTT) program.
Transmission, intrusive pole inspections | Field quality control |  | 149 | 134
Distribution, detailed ground inspections | Desktop quality control | 227249 | 186140 | 11790 | SIQC inspection quantities includes only HFTD.
Distribution, detailed ground inspections | Field quality control |  | 38880 | 5401
Distribution, detailed drone/aerial inspections | Desktop quality control | No - Distribution Aerial Program in 2023
Distribution, detailed drone/aerial inspections | Field quality control
Distribution, detailed underground inspections | Desktop quality control | N/A | N/A | N/A | QC did not Perform Distribution Underground Inspections in 2023
Distribution, detailed underground inspections | Field quality control | N/A | N/A | N/A
Distribution, intrusive pole inspections | Desktop quality control | 120477 | 2820 | 1672 | QC does not specify the type of poles inspected on the Pole Test & Treat (PTT) program.
Distribution, intrusive pole inspections | Field quality control |  | 1491 | 1021