## 39_Q13
Ignition ID | Date of Ignition | Cause of Ignition | Asset Associated with Ignition | Fire Size | Structures Damaged/Destroyed | Injuries | Asset ID Associated with Ignition | Circuit ID | Notification No
20230135 | 2023-02-21 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102188209 | BIG RIVER 1101 | 119553318
20230135 | 2023-02-21 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102188209 | BIG RIVER 1101 | 124115239
20230293 | 2023-04-20 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101971228 | FITCH MOUNTAIN 1113 | 106335507
20230293 | 2023-04-20 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101971228 | FITCH MOUNTAIN 1113 | 123691476
20230448N | 2023-05-28 | Equipment - PG&E | Conductor - Transmission | 3 meters - 0.25 Acres | 0 | 0 | 40832212 | Copus-Old River 70kV | 103925399
20230331 | 2023-04-29 | Equipment - PG&E | Connector | 1 meter - <3 meters | 0 | 0 | 101807983 | 21ST AVENUE 0402 | 102510225
20230331 | 2023-04-29 | Equipment - PG&E | Connector | 1 meter - <3 meters | 0 | 0 | 101807983 | 21ST AVENUE 0402 | 122073310
20230390 | 2023-05-14 | Contact - Animal - Other | Transformer Bushing | 3 meters - 0.25 Acres | 0 | 0 | 102247918 | LAS GALLINAS A 1107 | 106643261
20230390 | 2023-05-14 | Contact - Animal - Other | Transformer Bushing | 3 meters - 0.25 Acres | 0 | 0 | 102247918 | LAS GALLINAS A 1107 | 113180809
20230401 | 2023-05-17 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102278134 | TULUCAY 1101 | 114796673
20230401 | 2023-05-17 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102278134 | TULUCAY 1101 | 121643503
20230330 | 2023-04-28 | Contact - Animal - Bird | Conductor - Transmission | 3 meters - 0.25 Acres | 0 | 0 | 40861866 | Mendocino-Redbud 115KV | 110853358
20230424 | 2023-05-23 | Equipment - PG&E | Compression Connector | 3 meters - 0.25 Acres | 0 | 0 | 101069706 | BEAR VALLEY 2101 | 116822849
20230424 | 2023-05-23 | Equipment - PG&E | Compression Connector | 3 meters - 0.25 Acres | 0 | 0 | 101069706 | BEAR VALLEY 2101 | 117525337
20230627 | 2023-07-02 | Equipment - PG&E | Automatic Wire Splice | 0.26-9.99 Acres | 0 | 0 | 101044976 | CURTIS 1701 | 111749017
20230132 | 2023-02-21 | Equipment - PG&E | Pole | 3 meters - 0.25 Acres | 0 | 0 | 101233140 | GUSTINE 1101 | 112841283
20230899 | 2023-08-17 | Vegetation | Crossarm | 3 meters - 0.25 Acres | 0 | 0 | 102172647 | UKIAH 1111 | 112876355
20230695 | 2023-07-14 | Vegetation | Conductor - Open Wire Secondary | 0.26-9.99 Acres | 0 | 0 | 100135512 | MAGUNDEN 2108 | 113057048
20230430 | 2023-05-25 | Contact - Animal - Other | Guy/Span Wire | 10 - 99 Acres | 0 | 0 | 40856800 | MILLER # 2 TAP | 103889421
20230430 | 2023-05-25 | Contact - Animal - Other | Guy/Span Wire | 10 - 99 Acres | 0 | 0 | 40856800 | MILLER # 2 TAP | 117295479
20231233 | 2023-11-01 | Vegetation | Pole | 3 meters - 0.25 Acres | 0 | 0 | 102247960 | LAS GALLINAS A 1107 | 113182843
20230934 | 2023-08-21 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102225954 | IGNACIO 1104 | 113258187
20230745 | 2023-07-22 | Equipment - PG&E | Parallel Groove Clamp | 1 meter - <3 meters | 0 | 0 | 102139726 | HAMMER 1103 | 113258570
20231167 | 2023-10-18 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100155602 | STOCKDALE 2113 | 113263760
20230140 | 2023-02-21 | Vegetation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 101975840 | MIRABEL 1101 | 114255626
20230476 | 2023-06-06 | Weather - Lightning | Pole | 3 meters - 0.25 Acres | 0 | 0 | 100166370 | FELLOWS 2104 | 123795344
20230699 | 2023-07-15 | Equipment - PG&E | Connector | 1 meter - <3 meters | 0 | 0 | 101912287 | PASO ROBLES 1108 | 115704969
20230954 | 2023-08-24 | Vegetation | Service Drop | 3 meters - 0.25 Acres | 0 | 0 | 102061013 | WEST LANE 1102 | 115738304
20231184N | 2023-10-23 | Contamination | Capacitor Bank | 1 meter - <3 meters | 0 | 0 | 100475863 | MEADOW LANE 2108 | 116590858
20230476 | 2023-06-06 | Weather - Lightning | Pole | 3 meters - 0.25 Acres | 0 | 0 | 100166370 | FELLOWS 2104 | 124767300
20230769 | 2023-07-25 | Equipment - PG&E | Parallel Groove Clamp | 3 meters - 0.25 Acres | 0 | 0 | 100160511 | LAMONT 1107 | 106121111
20230769 | 2023-07-25 | Equipment - PG&E | Parallel Groove Clamp | 3 meters - 0.25 Acres | 0 | 0 | 100160511 | LAMONT 1107 | 111479276
20230148 | 2023-02-21 | Equipment - PG&E | Jumper | 0.26-9.99 Acres | 0 | 0 | 102022139 | FORT ROSS 1121 | 116872537
20231132 | 2023-10-06 | Vegetation | Conductor - Primary | 100-299 | 0 | 0 | 101940548 | PERRY 1101 | 116978213
20230399 | 2023-05-17 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101694770 | LAURELES 1111 | 117067654
20230692 | 2023-07-14 | Vegetation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 100990776 | GARBERVILLE 1101 | 117072024
20230769 | 2023-07-25 | Equipment - PG&E | Parallel Groove Clamp | 3 meters - 0.25 Acres | 0 | 0 | 100160511 | LAMONT 1107 | 123092022
20230792 | 2023-07-28 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101799631 | CAMP EVERS 2106 | 119566731
20230595 | 2023-06-26 | Contact - Animal - Other | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 103056030 | WOODACRE 1101 | 117161057
20230700 | 2023-07-15 | Equipment - PG&E | Conductor - Insulated Secondary | 1 meter - <3 meters | 0 | 0 | 100020421 | WEIMAR 1101 | 117191710
20230912 | 2023-08-19 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100995833 | FORT SEWARD 1121 | 117212976
20231165N | 2023-10-16 | Vegetation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 100267726 | HALF MOON BAY 1103 | 117225518
20230792 | 2023-07-28 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101799631 | CAMP EVERS 2106 | 124133867
20230823N | 2023-07-29 | Contact - Animal - Nest | Pole | 10 - 99 Acres | 0 | 0 | 101063650 | LE GRAND 1104 | 117326155
20230862 | 2023-08-08 | Equipment - PG&E | Splice Box | 0.26-9.99 Acres | 0 | 0 | 103050215 | EL CERRITO G 1105 | 117519767
20230864 | 2023-08-09 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 101290144 | HONCUT 1102 | 119362206
20230864 | 2023-08-09 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 101290144 | HONCUT 1102 | 119363410
20231295 | 2023-11-16 | Equipment - PG&E | Unknown | 1 meter - <3 meters | 0 | 0 | 103117885 | BLACKWELL 2101 | 117545070
20231016 | 2023-09-08 | Contact - 3rd Party | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 103140921 | COTATI 1103 | 117775809
20230678 | 2023-07-11 | Contact - 2nd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101592356 | KNIGHTS LANDING 1102 | 117867664
20230768 | 2023-07-24 | Equipment - PG&E | Pole | 0.26-9.99 Acres | 0 | 0 | 100173645 | SMYRNA 1104 | 118915424
20230685 | 2023-07-13 | Equipment - PG&E | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 103203506 | LOCKEFORD 2102 | 119361042
20230868 | 2023-08-09 | Vegetation | Service Drop | 1 meter - <3 meters | 0 | 0 | 101412619 | SHINGLE SPRINGS 2109 | 116744153
20230868 | 2023-08-09 | Vegetation | Service Drop | 1 meter - <3 meters | 0 | 0 | 101412619 | SHINGLE SPRINGS 2109 | 124105427
20230095 | 2023-02-11 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101647984 | WILKINS SLOUGH 1103 | 119465724
20230909 | 2023-08-19 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101567554 | PEABODY 2105 | 119511482
20230888 | 2023-08-15 | Vegetation | Conductor - Open Wire Secondary | 1 meter - <3 meters | 0 | 0 | 102025441 | MIRABEL 1101 | 110123254
20230888 | 2023-08-15 | Vegetation | Conductor - Open Wire Secondary | 1 meter - <3 meters | 0 | 0 | 102025441 | MIRABEL 1101 | 117520761
20230113 | 2023-02-17 | Equipment - PG&E | Conductor - Insulated Secondary | 1 meter - <3 meters | 0 | 0 | 101672598 | BIG BASIN 1102 | 119591436
20230903 | 2023-08-18 | Vegetation | Pole | 1 meter - <3 meters | 0 | 0 | 100094673 | HALSEY 1101 | 116620501
20230903 | 2023-08-18 | Vegetation | Pole | 1 meter - <3 meters | 0 | 0 | 100094673 | HALSEY 1101 | 126572362
20230651N | 2023-07-03 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101289441 | HONCUT 1102 | 119647264
20230662 | 2023-07-08 | Contact - 3rd Party | Riser | 1 meter - <3 meters | 0 | 0 | 100063572 | ROCKLIN 1102 | 119775593
20230763 | 2023-07-24 | Contact - 3rd Party | Pole | 3 meters - 0.25 Acres | 0 | 0 | 101712043 | GABILAN 1102 | 119818064
20230282 | 2023-04-17 | Vegetation | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 103900419 | CALISTOGA 1102 | 119851825
20230879 | 2023-08-11 | Contact - Animal - Bird | Lightning Arrestor | 3 meters - 0.25 Acres | 0 | 0 | 100241807 | FELLOWS 2104 | 119893069
20230523 | 2023-06-16 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101498581 | VINA 1101 | 119923746
20230782 | 2023-07-26 | Contact - Animal - Bird | Conductor - Transmission | 3 meters - 0.25 Acres | 0 | 0 | 40644898 | Dolan Road Tap #1 | 120044838
20231145N | 2023-09-09 | Weather - Lightning | Insulator | 3 meters - 0.25 Acres | 0 | 0 | 40643451 | SALADO-CROW CREEK SW STA 60kV | 120117818
20230465 | 2023-06-04 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102260391 | HIGHWAY 1101 | 120609690
20230257 | 2023-04-04 | Vegetation | Grounding Wire | 3 meters - 0.25 Acres | 0 | 0 | 101776506 | VIEJO 2201 | 120827447
20230415 | 2023-05-20 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102337942 | COTTLE 1702 | 120894341
20231002 | 2023-09-05 | Equipment - PG&E | Connector | 1 meter - <3 meters | 0 | 0 | 102075888 | LOCKEFORD 2102 | 121881853
20230554 | 2023-06-20 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102033013 | GEYSERVILLE 1101 | 120993516
20230440 | 2023-05-28 | Equipment - PG&E | Fuse | 0.26-9.99 Acres | 0 | 0 | 103354813 | CURTIS 1703 | 121189441
20231327 | 2023-11-28 | Contact - Animal - Other | Pothead | 3 meters - 0.25 Acres | 0 | 0 | 101415136 | PLACERVILLE 1112 | 121344292
20231053 | 2023-09-15 | Contact - Animal - Bird | Conductor - Transmission | 3 meters - 0.25 Acres | 0 | 0 | 40822470 | Colgate-Palermo 60kV | 121381884
20230009 | 2023-01-04 | Utility work / Operation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102248332 | BOLINAS 1101 | 121402872
20230175 | 2023-03-01 | Utility work / Operation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102269979 | SILVERADO 2105 | 121485810
20231074 | 2023-09-22 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 102289772 | MONTICELLO 1101 | 121605469
20230272N | 2023-04-11 | Contact - 2nd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 103955988 | SILVERADO 2102 | 121640992
20231002 | 2023-09-05 | Equipment - PG&E | Connector | 1 meter - <3 meters | 0 | 0 | 102075888 | LOCKEFORD 2102 | 121881854
20231072 | 2023-09-21 | Contact - 3rd Party | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 101435157 | SAN PABLO 1105 | 124340325
20231079 | 2023-09-24 | Wire-Wire Contact | Guy/Span Wire | 1 meter - <3 meters | 0 | 0 | 101428946 | VALLEY VIEW 1105 | 121715670
20230782N | 2023-07-26 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101688110 | PAUL SWEET 2106 | 121725939
20231083 | 2023-09-25 | Vegetation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102216135 | PHILO 1102 | 121747258
20231279 | 2023-11-12 | Vegetation | Service Drop | 3 meters - 0.25 Acres | 0 | 0 | 101442489 | BERKELEY F 1103 | 121754553
20230546 | 2023-06-18 | Vegetation | Conductor - Racked Secondary | 0.26-9.99 Acres | 0 | 0 | 102017957 | FULTON 1105 | 121773806
20231072 | 2023-09-21 | Contact - 3rd Party | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 101435157 | SAN PABLO 1105 | 124340353
20231073 | 2023-09-22 | Equipment - PG&E | Insulator | 0.26-9.99 Acres | 0 | 0 | 101385520 | DIAMOND SPRINGS 1105 | 117114616
20231073 | 2023-09-22 | Equipment - PG&E | Insulator | 0.26-9.99 Acres | 0 | 0 | 101385520 | DIAMOND SPRINGS 1105 | 123294602
20231096 | 2023-09-27 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101410355 | SHINGLE SPRINGS 2108 | 113112138
20230632 | 2023-07-04 | Equipment - PG&E | Connector | 3 meters - 0.25 Acres | 0 | 0 | 101789252 | GREEN VALLEY 2101 | 121931466
20231096 | 2023-09-27 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101410355 | SHINGLE SPRINGS 2108 | 124163768
20230553 | 2023-06-20 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101140137 | WILSON 1103 | 122086928
20230542 | 2023-06-18 | Equipment - PG&E | Automatic Wire Splice | 3 meters - 0.25 Acres | 0 | 0 | 103695376 | DAVIS 1101 | 122111291
20230502 | 2023-06-11 | Equipment - PG&E | Switch | 3 meters - 0.25 Acres | 0 | 0 | 103449887 | NORTECH 2109 | 122136510
20231055 | 2023-09-15 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 103129438 | VICTOR 1101 | 122335918
20231134 | 2023-10-06 | Unknown | Unknown | 0.26-9.99 Acres | 0 | 0 | 103696188 | CORDELIA 1112 | 122415125
20230664 | 2023-07-08 | Vegetation | Conductor - Open Wire Secondary | 1 meter - <3 meters | 0 | 0 | 100534805 | WOLFE 1105 | 122499461
20230128 | 2023-02-21 | Equipment - PG&E | Crossarm | 1 meter - <3 meters | 0 | 0 | 100515055 | LAWRENCE 1113 | 122500366
20231096 | 2023-09-27 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101410355 | SHINGLE SPRINGS 2108 | 124757253
20230855 | 2023-08-07 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 104055422 | ROSSMOOR 1107 | 123217761
20231136 | 2023-10-07 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101728548 | JOLON 1102 | 117114459
20231136 | 2023-10-07 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101728548 | JOLON 1102 | 123303794
20231169 | 2023-10-18 | Contact - 3rd Party | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 102088834 | COLONY 1101 | 121862996
20230030 | 2023-01-10 | Unknown | Unknown | Structure Only | 0 | 0 | 100258393 | MILLBRAE 1102 | 123330702
20230823 | 2023-08-01 | Vegetation | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 101942875 | CAMBRIA 1102 | 123358993
20231215 | 2023-10-28 | Wire-Wire Contact | Conductor - Open Wire Secondary | 3 meters - 0.25 Acres | 0 | 0 | 101596966 | VACAVILLE 1112 | 123407639
20231231 | 2023-10-31 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100256882 | LAMONT 1104 | 123425743
20231078 | 2023-09-23 | Equipment - PG&E | Service Drop | 3 meters - 0.25 Acres | 0 | 0 | 102297487 | OAKLAND D 1106 | 123530074
20230872 | 2023-08-10 | Equipment - PG&E | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 100260857 | BURLINGAME 2101 | 123579600
20230874 | 2023-08-10 | Vegetation | Service Drop | 0.26-9.99 Acres | 0 | 0 | 101108312 | COARSEGOLD 2104 | 123688651
20231169 | 2023-10-18 | Contact - 3rd Party | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 102088834 | COLONY 1101 | 121862997
20230676 | 2023-07-10 | Equipment - PG&E | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 101942412 | OILFIELDS 1103 | 123765229
20231286 | 2023-11-15 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101857540 | DIVIDE 1102 | 119605969
20231286 | 2023-11-15 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101857540 | DIVIDE 1102 | 119606028
20230966 | 2023-08-28 | Utility work / Operation | Compression Connector | 3 meters - 0.25 Acres | 0 | 0 | 103985976 | MONTE RIO 1112 | 123920495
20230487N | 2023-06-08 | Equipment - PG&E | Conductor - Transmission | 0.26-9.99 Acres | 0 | 0 | 40824541 | Smartville-Camp Far West | 123954854
20230611N | 2023-06-29 | Vegetation | Service Drop | 3 meters - 0.25 Acres | 0 | 0 | 102165984 | CLEAR LAKE 1102 | 124016577
20231007 | 2023-09-06 | Contact - 3rd Party | Service Drop | 3 meters - 0.25 Acres | 0 | 0 | 100141733 | SHAFTER 1111 | 124063653
20230842 | 2023-08-06 | Contact - 3rd Party | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 101844877 | OCEANO 1104 | 124078187
20231296 | 2023-11-16 | Contact - Animal - Other | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 101569726 | GRAND ISLAND 2225 | 111531427
20231296 | 2023-11-16 | Contact - Animal - Other | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 101569726 | GRAND ISLAND 2225 | 124592476
20230447N | 2023-05-28 | Contact - Animal - Nest | Insulator | 0.26-9.99 Acres | 0 | 0 | 40662545 | ACRO-TULARE LAKE | 102566744
20230447N | 2023-05-28 | Contact - Animal - Nest | Insulator | 0.26-9.99 Acres | 0 | 0 | 40662545 | ACRO-TULARE LAKE | 120924073
20230751 | 2023-07-22 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100228394 | ELK HILLS 1104 | 124210083
20230623N | 2023-07-01 | Equipment - PG&E | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 100891034 | PARLIER 1104 | 124251855
20230803 | 2023-07-29 | Equipment - Overloaded | Pole | 3 meters - 0.25 Acres | 0 | 0 | 101331870 | BOGUE 1106 | 124326610
20230757 | 2023-07-23 | Unknown | Unknown | 0.26-9.99 Acres | 0 | 0 | 101173092 | ORO LOMA 1115 | 124327906
20230447N | 2023-05-28 | Contact - Animal - Nest | Insulator | 0.26-9.99 Acres | 0 | 0 | 40662545 | ACRO-TULARE LAKE | 124390037
20230503N | 2023-06-11 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 100491910 | ROSSMOOR 1105 | 121690495
20230503N | 2023-06-11 | Contact - Animal - Bird | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 100491910 | ROSSMOOR 1105 | 123218413
20230260 | 2023-04-06 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101560186 | CORDELIA 1104 | 124520356
20230783 | 2023-07-27 | Contact - 3rd Party | Pole | 1 meter - <3 meters | 0 | 0 | 102225781 | IGNACIO 1104 | 124522777
20230474N | 2023-06-02 | Equipment - PG&E | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 100451928 | KIRKER 2104 | 124523823
20231044 | 2023-09-13 | Equipment - PG&E | Automatic Wire Splice | 0.26-9.99 Acres | 0 | 0 | 101774521 | TRES PINOS 1111 | 124531835
20231285 | 2023-11-15 | Contact - Animal - Bird | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100788823 | GUERNSEY 1101 | 124533807
20230335 | 2023-04-30 | Contact - 3rd Party | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 100154918 | BAKERSFIELD 2109 | 124556402
20230856N | 2023-08-07 | Contact - Animal - Nest | Conductor - Primary | 100-299 | 0 | 0 | 40871892 | KETTLEMAN HILLS 1101 | 102559671
20230942N | 2023-08-23 | Equipment - PG&E | Crossarm | 3 meters - 0.25 Acres | 0 | 0 | 100852797 | BULLARD 1109 | 124689397
20230846 | 2023-08-06 | Equipment - PG&E | Connector | 3 meters - 0.25 Acres | 0 | 0 | 102218555 | NORTH TOWER 1108 | 124725914
20230856N | 2023-08-07 | Contact - Animal - Nest | Conductor - Primary | 100-299 | 0 | 0 | 40871892 | KETTLEMAN HILLS 1101 | 126153824
20231063N | 2023-09-15 | Contact - 3rd Party | Pole | 1 meter - <3 meters | 0 | 0 | 100601861 | MORGAN HILL 2110 | 124761362
20230697 | 2023-07-15 | Contact - Animal - Bird | Transformer | 1 meter - <3 meters | 0 | 0 | 100169338 | LAMONT 1107 | 124765117
20231057N | 2023-09-15 | Contact - Animal - Bird | Pole | 0.26-9.99 Acres | 0 | 0 | 42564764 | COLGATE PALERMO 60 KV | 123913712
20231050 | 2023-09-14 | Contact - 3rd Party | Pole | 1 meter - <3 meters | 0 | 0 | 100206182 | LAMONT 1102 | 124807921
20231115N | 2023-09-28 | Contact - 3rd Party | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101667208 | GRAND ISLAND 2225 | 124818087
20231209 | 2023-10-27 | Equipment - PG&E | Crossarm | 3 meters - 0.25 Acres | 0 | 0 | 101190820 | ATWATER 1103 | 124857492
20230693 | 2023-07-14 | Vegetation | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 102186685 | POINT ARENA 1101 | 125329035
20231057N | 2023-09-15 | Contact - Animal - Bird | Pole | 0.26-9.99 Acres | 0 | 0 | 42564764 | COLGATE PALERMO 60 KV | 125508471
20230716 | 2023-07-16 | Vandalism | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101482195 | COTTONWOOD 1102 | 125932904
20230443 | 2023-05-29 | Vegetation | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 101110934 | STOREY 1104 | 125952373
20231312 | 2023-11-24 | Equipment - PG&E | Conductor - Primary | 10 - 99 Acres | 0 | 0 | 101574673 | PUTAH CREEK 1105 | 126023002
20230873 | 2023-08-10 | Equipment - PG&E | Conductor - Primary | 3 meters - 0.25 Acres | 0 | 0 | 100171613 | SMYRNA 1101 | 126058806
20230532 | 2023-06-16 | Equipment - PG&E | Transformer | 3 meters - 0.25 Acres | 0 | 0 | 103299980 | CALIFORNIA AVE 1116 | 126072740
20230890 | 2023-08-15 | Equipment - PG&E | Conductor - Transmission | 10 - 99 Acres | 0 | 0 | 45033614 | BRIDGEVILLE-GARBERVILLE 60Kv | 126119231
20231294N | 2023-06-26 | Equipment - PG&E | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102229118 | WOODACRE 1101 | 104781879
20230959 | 2023-08-26 | Contact - 3rd Party | Pole | 1 meter - <3 meters | 0 | 0 | 103818052 | TRACY 1106 | 126244761
20231336 | 2023-12-04 | Equipment - PG&E | Riser | 3 meters - 0.25 Acres | 0 | 0 | 100864780 | CALIFORNIA AVE 1114 | 126295157
20230613 | 2023-06-30 | Equipment - PG&E | Transformer | 1 meter - <3 meters | 0 | 0 | 107914951 | KIRKER 2104 | 126324957
20230673 | 2023-07-10 | Equipment - PG&E | Voltage Regulator | 3 meters - 0.25 Acres | 0 | 0 | 101986773 | DUNBAR 1101 | 126511501
20231294N | 2023-06-26 | Equipment - PG&E | Conductor - Primary | 0.26-9.99 Acres | 0 | 0 | 102229118 | WOODACRE 1101 | 110659567
20230895N | 2023-08-16 | Contact - 3rd Party | Guy/Span Wire | 3 meters - 0.25 Acres | 0 | 0 | 102096779 | STOCKTON A 1105 | 126679366
20231316 | 2023-11-23 | Vegetation | Conductor - Primary | 1 meter - <3 meters | 0 | 0 | 101527906 | RED BLUFF 1105 | 126718092