## Summary
Tab | Column | Description
CPZ Data | A | The circuit segment of the EPSS enabled protective device the originating fault occurred on.
| B-H | The number of outages on EPSS enabled zones by suspected initiating fault cause type.
| I | The total number of outages on EPSS enabled zones.
| J | The Customer Average Interruption Duration Index (CAIDI) for the total number of outages on EPSS enabled zones.
| K | The total number of customer service points that experienced the outage(s).
| L | The total minutes every customer service point was without power due to the outage(s).
| M-R | The number of customer service points that experienced the outage(s) by classification type.
| S | Open electrical compliance tags on EPSS capable circuit protection zones.
| T | Open vegetation tags on EPSS capable circuit protection zones.
| U | The number of days EPSS settings were enabled on the circuit protection zone reported as a percentage of the 2023 calendar year.
| V | The total circuit-mile-days EPSS settings were enabled in 2023 on the circuit the circuit protection zone is located.
Outage Data | A | The unique event identification number.
| B | The county in which the outage occurred.
| C | The overhead distribution circuit on which the outage occurred.
| D | The name of the circuit segment on which the outage occurred.
| E | The suspected cause of the initiating fault for each outage.
| F | The time at which the outage began, "First No Light".
| G | The reporting week based on the "First No Light".
| H | The time at which the outage ended.
| I | The type of EPSS outage - "Fast Trip Setting"; "Hot Line Tag"; "Transmission-EPSS"; "Reclosing Cut Out"
| J | The total minutes every customer was without power due to the outage.
| K | The number of customers who experienced the outage.
| L | The number of Medical Baseline customer service points that experienced the outage.
| M | The number of Life Support customer service points that experienced the outage.
| N | The number of Critical Customer service points that experienced the outage.
| O | The number of School customer service points that experienced the outage.
| P | The number of Hospital customer service points that experienced the outage.
| Q | The number of Well Water customer service points that experienced the outage.
| R | The Customer Average Interruption Duration Index (CAIDI) for the outage.
| S | The response time for each outage.
| T | The cost of the outage measured by the preliminary standard dollar value of electric reliability as included in PG&E's February 7, 2024 Pre-RAMP CPUC workshop filing per minute of outage.
| U | Links CPZ tab to specific outage data.