## MRGRA-9.15
Index | Ignition Date | Asset Type | a. rating system at the time of the ignition (R0, R1, R2, etc) | b. whether circuit was implemented with active DCD | c. whether circuit was implemented with active EPSS | d. whether PSPS was activated anywhere on the system.
20220142 | 2022-01-16 | Primary | N/A | No | No | No
20220054 | 2022-01-22 | Primary | N/A | No | No | No
20220056 | 2022-01-22 | Service | R1 | No | No | No
20220057 | 2022-01-22 | Primary | N/A | No | No | No
20220069 | 2022-01-25 | Primary | R1 | No | No | No
20220143 | 2022-02-01 | Transmission | N/A | No | No | No
20220103 | 2022-02-02 | Secondary | N/A | No | No | No
20220108 | 2022-02-02 | Secondary | N/A | No | No | No
20220115 | 2022-02-04 | Service | N/A | No | No | No
20220118 | 2022-02-05 | Primary | R1 | No | No | No
20220119 | 2022-02-05 | Primary | N/A | No | No | No
20220125 | 2022-02-05 | Primary | N/A | No | No | No
20220133 | 2022-02-08 | Primary | R2 | No | No | No
20220163 | 2022-02-15 | Primary | R2 | No | No | No
20220170 | 2022-02-18 | Primary | N/A | No | No | No
20220176 | 2022-02-20 | Primary | R1 | No | No | No
20220179 | 2022-02-21 | Primary | N/A | No | No | No
20220181 | 2022-02-21 | Primary | N/A | No | No | No
20220180 | 2022-02-22 | Primary | N/A | No | No | No
20220182 | 2022-02-22 | Primary | N/A | No | No | No
20220197 | 2022-02-25 | Primary | N/A | No | No | No
20220202 | 2022-02-26 | Primary | R1 | No | No | No
20220204 | 2022-02-27 | Service | N/A | No | No | No
20220214 | 2022-03-02 | Primary | N/A | No | No | No
20220245 | 2022-03-07 | Primary | N/A | No | No | No
20220259 | 2022-03-11 | Primary | N/A | No | No | No
20220261 | 2022-03-12 | Primary | N/A | No | No | No
20220263 | 2022-03-12 | Primary | N/A | No | No | No
20220385 | 2022-03-20 | Primary | N/A | No | No | No
20220307 | 2022-03-22 | Primary | N/A | No | No | No
20220308 | 2022-03-22 | Primary | N/A | No | No | No
20220309 | 2022-03-22 | Primary | R1 | No | No | No
20220310 | 2022-03-23 | Primary | R1 | No | No | No
20220312 | 2022-03-24 | Primary | N/A | No | No | No
20220322 | 2022-03-25 | Primary | N/A | No | No | No
20220326 | 2022-03-26 | Primary | R1 | No | No | No
20220328 | 2022-03-26 | Primary | R1 | No | No | No
20220330 | 2022-03-27 | Primary | N/A | No | No | No
20220331 | 2022-03-27 | Primary | R1 | No | No | No
20220332 | 2022-03-27 | Primary | N/A | No | No | No
20220337 | 2022-03-27 | Primary | R1 | No | No | No
20220346 | 2022-03-28 | Transmission | N/A | No | No | No
20220351 | 2022-03-29 | Secondary | N/A | No | No | No
20220361 | 2022-04-01 | Primary | N/A | No | No | No
20220362 | 2022-04-03 | Primary | N/A | No | No | No
20220364 | 2022-04-03 | Transmission | N/A | No | No | No
20220373 | 2022-04-05 | Primary | N/A | No | No | No
20220374 | 2022-04-06 | Primary | N/A | No | No | No
20220378 | 2022-04-07 | Primary | R2 | No | No | No
20220379 | 2022-04-07 | Primary | R2 | No | No | No
20220387 | 2022-04-07 | Primary | R2 | No | No | No
20220383 | 2022-04-08 | Primary | N/A | No | No | No
20220389 | 2022-04-08 | Service | N/A | No | No | No
20220394 | 2022-04-09 | Primary | N/A | No | No | No
20220395 | 2022-04-09 | Primary | N/A | No | No | No
20220397 | 2022-04-09 | Secondary | N/A | No | No | No
20220398 | 2022-04-09 | Primary | R1 | No | No | No
20220399 | 2022-04-09 | Service | N/A | No | No | No
20220400 | 2022-04-09 | Primary | N/A | No | No | No
20220420 | 2022-04-09 | Primary | N/A | No | No | No
20220403 | 2022-04-10 | Secondary | N/A | No | No | No
20220404 | 2022-04-10 | Secondary | N/A | No | No | No
20220406 | 2022-04-10 | Primary | N/A | No | No | No
20220410 | 2022-04-11 | Secondary | N/A | No | No | No
20220412 | 2022-04-11 | Service | N/A | No | No | No
20220413 | 2022-04-11 | Primary | N/A | No | No | No
20220414 | 2022-04-11 | Service | R2 | No | No | No
20220415 | 2022-04-11 | Primary | N/A | No | No | No
20220417 | 2022-04-11 | Primary | N/A | No | No | No
20220423 | 2022-04-12 | Primary | N/A | No | No | No
20220427 | 2022-04-13 | Primary | N/A | No | No | No
20220431 | 2022-04-14 | Primary | R1 | No | No | No
20220438 | 2022-04-15 | Transmission | R1 | No | No | No
20220440 | 2022-04-16 | Primary | R1 | No | No | No
20220450 | 2022-04-18 | Primary | R1 | No | No | No
20220452 | 2022-04-19 | Transmission | N/A | No | No | No
20220453 | 2022-04-19 | Secondary | N/A | No | No | No
20220458 | 2022-04-20 | Primary | R1 | No | No | No
20220462 | 2022-04-21 | Primary | N/A | No | No | No
20220483 | 2022-04-23 | Primary | R1 | No | No | No
20220485 | 2022-04-24 | Service | N/A | No | No | No
20220500 | 2022-04-27 | Primary | R1 | No | No | No
20220502 | 2022-04-27 | Primary | N/A | No | No | No
20220503 | 2022-04-27 | Primary | N/A | No | No | No
20220508 | 2022-04-28 | Secondary | N/A | No | No | No
20220512 | 2022-04-28 | Primary | N/A | No | No | No
20220517 | 2022-04-30 | Primary | N/A | No | No | No
20220526 | 2022-04-30 | Transmission | N/A | No | No | No
20220521 | 2022-05-01 | Primary | N/A | No | No | No
20220522 | 2022-05-01 | Primary | N/A | No | No | No
20220530 | 2022-05-02 | Service | N/A | No | No | No
20220531 | 2022-05-02 | Primary | R1 | No | No | No
20220532 | 2022-05-02 | Secondary | N/A | No | No | No
20220536 | 2022-05-03 | Primary | N/A | No | No | No
20220538 | 2022-05-04 | Primary | R2 | No | No | No
20220541 | 2022-05-04 | Primary | N/A | No | No | No
20220545 | 2022-05-04 | Primary | N/A | No | No | No
20220546 | 2022-05-04 | Service | N/A | No | No | No
20220547 | 2022-05-05 | Primary | N/A | No | No | No
20220551 | 2022-05-05 | Primary | N/A | No | No | No
20220558 | 2022-05-07 | Primary | N/A | No | No | No
20220559 | 2022-05-07 | Primary | N/A | No | No | No
20220562 | 2022-05-08 | Service | N/A | No | No | No
20220563 | 2022-05-08 | Secondary | N/A | No | No | No
20220568 | 2022-05-09 | Primary | R1 | No | No | No
20220570 | 2022-05-10 | Primary | N/A | No | No | No
20220574 | 2022-05-11 | Secondary | N/A | No | No | No
20220576 | 2022-05-11 | Service | R1 | No | No | No
20220583 | 2022-05-12 | Primary | N/A | No | No | No
20220585 | 2022-05-13 | Primary | N/A | No | No | No
20220588 | 2022-05-13 | Primary | N/A | No | No | No
20220592 | 2022-05-14 | Primary | N/A | No | No | No
20220595 | 2022-05-15 | Service | N/A | No | No | No
20220599 | 2022-05-15 | Primary | N/A | No | No | No
20220937 | 2022-05-15 | Primary | R2 | No | No | No
20220608 | 2022-05-16 | Primary | N/A | No | No | No
20220609 | 2022-05-16 | Primary | R1 | No | No | No
20220613 | 2022-05-17 | Secondary | N/A | No | No | No
20220615 | 2022-05-17 | Transmission | N/A | No | No | No
20220618 | 2022-05-18 | Primary | N/A | No | No | No
20220620 | 2022-05-18 | Primary | N/A | No | No | No
20220621 | 2022-05-18 | Primary | N/A | No | No | No
20220623 | 2022-05-18 | Transmission | N/A | No | No | No
20220626 | 2022-05-19 | Primary | R1 | No | No | No
20220627 | 2022-05-19 | Primary | N/A | No | No | No
20220630 | 2022-05-19 | Secondary | N/A | No | No | No
20220637 | 2022-05-20 | Primary | N/A | No | No | No
20220640 | 2022-05-20 | Primary | N/A | No | No | No
20220642 | 2022-05-20 | Primary | R1 | No | Yes | No
20220643 | 2022-05-20 | Primary | R1 | No | No | No
20220644 | 2022-05-20 | Secondary | N/A | No | No | No
20220650 | 2022-05-21 | Secondary | N/A | No | No | No
20220653 | 2022-05-23 | Primary | N/A | No | No | No
20220654 | 2022-05-23 | Primary | R3 | No | Yes | No
20220657 | 2022-05-23 | Primary | R2 | No | Yes | No
20220659 | 2022-05-23 | Primary | R2 | No | Yes | No
20220663 | 2022-05-24 | Service | N/A | No | No | No
20220670 | 2022-05-24 | Primary | N/A | No | No | No
20220673 | 2022-05-25 | Primary | N/A | No | No | No
20220690 | 2022-05-25 | Primary | N/A | No | No | No
20220685 | 2022-05-26 | Primary | N/A | No | No | No
20220687 | 2022-05-26 | Service | N/A | No | No | No
20220688 | 2022-05-26 | Primary | N/A | No | No | No
20220692 | 2022-05-26 | Secondary | N/A | No | No | No
20220695 | 2022-05-26 | Primary | N/A | No | No | No
20220698 | 2022-05-27 | Primary | N/A | No | No | No
20220699 | 2022-05-27 | Primary | R1 | No | No | No
20220703 | 2022-05-27 | Primary | N/A | No | No | No
20220707 | 2022-05-28 | Primary | N/A | No | No | No
20220732 | 2022-05-28 | Primary | N/A | No | No | No
20220716 | 2022-05-31 | Primary | N/A | No | No | No
20220724 | 2022-05-31 | Primary | R3 | No | No | No
20220735 | 2022-06-01 | Primary | R2 | No | No | No
20220740 | 2022-06-02 | Service | N/A | No | No | No
20220746 | 2022-06-03 | Service | N/A | No | No | No
20220750 | 2022-06-03 | Primary | N/A | No | No | No
20220752 | 2022-06-03 | Secondary | N/A | No | No | No
20220753 | 2022-06-03 | Primary | N/A | No | No | No
20220754 | 2022-06-04 | Primary | R2 | No | No | No
20220777 | 2022-06-06 | Primary | R1 | No | No | No
20220785 | 2022-06-07 | Primary | N/A | No | No | No
20220786 | 2022-06-07 | Primary | N/A | No | No | No
20220787 | 2022-06-07 | Primary | N/A | No | No | No
20220789 | 2022-06-07 | Primary | N/A | No | No | No
20220792 | 2022-06-08 | Primary | N/A | No | No | No
20220795 | 2022-06-08 | Service | N/A | No | No | No
20220801 | 2022-06-09 | Primary | N/A | No | No | No
20220810 | 2022-06-10 | Primary | N/A | No | No | No
20220815 | 2022-06-10 | Primary | R2 | No | Yes | No
20220816 | 2022-06-10 | Primary | R4 | No | Yes | No
20220819 | 2022-06-10 | Primary | R1 | No | No | No
20220853 | 2022-06-10 | Primary | N/A | No | No | No
20221018 | 2022-06-10 | Secondary | N/A | No | No | No
20221021 | 2022-06-10 | Primary | R1 | No | No | No
20220824 | 2022-06-11 | Primary | N/A | No | No | No
20220827 | 2022-06-11 | Secondary | N/A | No | No | No
20220832 | 2022-06-11 | Primary | N/A | No | No | No
20220834 | 2022-06-12 | Primary | N/A | No | No | No
20220842 | 2022-06-13 | Primary | N/A | No | No | No
20220936 | 2022-06-13 | Transmission | N/A | No | No | No
20220848 | 2022-06-14 | Primary | R3 | No | Yes | No
20220851 | 2022-06-14 | Primary | N/A | No | No | No
20220854 | 2022-06-14 | Primary | N/A | No | No | No
20220858 | 2022-06-15 | Primary | N/A | No | No | No
20220859 | 2022-06-15 | Service | N/A | No | No | No
20220860 | 2022-06-15 | Primary | N/A | No | No | No
20220868 | 2022-06-16 | Primary | N/A | No | No | No
20220871 | 2022-06-16 | Primary | N/A | No | No | No
20221236 | 2022-06-16 | Primary | R1 | No | No | No
20220876 | 2022-06-17 | Primary | N/A | No | No | No
20220878 | 2022-06-17 | Primary | N/A | No | No | No
20220950 | 2022-06-18 | Primary | N/A | No | No | No
20220906 | 2022-06-20 | Service | N/A | No | No | No
20220911 | 2022-06-20 | Service | N/A | No | No | No
20220915 | 2022-06-21 | Primary | N/A | No | No | No
20220917 | 2022-06-21 | Primary | N/A | No | No | No
20220918 | 2022-06-21 | Transmission | R3 | No | Yes | No
20220919 | 2022-06-21 | Primary | N/A | No | No | No
20220920 | 2022-06-21 | Secondary | N/A | No | No | No
20220927 | 2022-06-22 | Primary | N/A | No | No | No
20220930 | 2022-06-22 | Primary | N/A | No | No | No
20220935 | 2022-06-22 | Primary | N/A | No | No | No
20220941 | 2022-06-22 | Primary | N/A | No | No | No
20220942 | 2022-06-22 | Primary | N/A | No | No | No
20221754 | 2022-06-22 | Transmission | N/A | No | No | No
20220948 | 2022-06-23 | Primary | N/A | No | No | No
20220953 | 2022-06-23 | Primary | N/A | No | No | No
20220954 | 2022-06-23 | Primary | N/A | No | Yes | No
20220959 | 2022-06-23 | Service | N/A | No | No | No
20220962 | 2022-06-23 | Primary | N/A | No | No | No
20220968 | 2022-06-24 | Primary | N/A | No | No | No
20220971 | 2022-06-24 | Primary | N/A | No | No | No
20220973 | 2022-06-24 | Primary | R3 | No | Yes | No
20220974 | 2022-06-24 | Primary | N/A | No | No | No
20220980 | 2022-06-24 | Primary | R3 | No | Yes | No
20220976 | 2022-06-25 | Primary | N/A | No | No | No
20220977 | 2022-06-25 | Primary | N/A | No | No | No
20220981 | 2022-06-25 | Primary | R3 | No | Yes | No
20220982 | 2022-06-25 | Primary | R3 | No | Yes | No
20221218 | 2022-06-25 | Primary | N/A | No | No | No
20221219 | 2022-06-25 | Primary | N/A | No | No | No
20220991 | 2022-06-26 | Primary | R5 | No | Yes | No
20220993 | 2022-06-26 | Service | N/A | No | No | No
20220994 | 2022-06-26 | Primary | N/A | No | No | No
20220999 | 2022-06-27 | Service | N/A | No | No | No
20221002 | 2022-06-27 | Primary | N/A | No | No | No
20221005 | 2022-06-27 | Service | N/A | No | No | No
20221008 | 2022-06-28 | Transmission | N/A | No | No | No
20221014 | 2022-06-28 | Primary | R4 | No | Yes | No
20221220 | 2022-06-28 | Primary | N/A | No | No | No
20221019 | 2022-06-29 | Primary | N/A | No | No | No
20221022 | 2022-06-29 | Primary | R4 | No | No | No
20221023 | 2022-06-29 | Primary | N/A | No | No | No
20221033 | 2022-07-01 | Transmission | N/A | No | No | No
20221034 | 2022-07-01 | Primary | N/A | No | No | No
20221039 | 2022-07-02 | Primary | R3 | No | No | No
20221045 | 2022-07-02 | Primary | N/A | No | No | No
20221051 | 2022-07-03 | Primary | N/A | No | No | No
20221052 | 2022-07-03 | Primary | N/A | No | No | No
20221053 | 2022-07-03 | Primary | N/A | No | No | No
20221068 | 2022-07-05 | Primary | N/A | No | No | No
20221069 | 2022-07-05 | Primary | N/A | No | No | No
20221070 | 2022-07-05 | Primary | R1 | No | Yes | No
20221071 | 2022-07-05 | Primary | R3 | No | Yes | No
20221072 | 2022-07-05 | Primary | N/A | No | No | No
20221075 | 2022-07-05 | Primary | N/A | No | No | No
20221086 | 2022-07-05 | Service | N/A | No | No | No
20221082 | 2022-07-06 | Primary | R3 | No | Yes | No
20221083 | 2022-07-06 | Primary | R2 | No | Yes | No
20221094 | 2022-07-07 | Primary | N/A | No | No | No
20221096 | 2022-07-07 | Primary | R2 | No | Yes | No
20221100 | 2022-07-07 | Primary | R1 | No | No | No
20221107 | 2022-07-08 | Primary | R3 | No | Yes | No
20221111 | 2022-07-09 | Primary | N/A | No | No | No
20221112 | 2022-07-09 | Service | N/A | No | No | No
20221113 | 2022-07-09 | Transmission | N/A | No | No | No
20221117 | 2022-07-10 | Secondary | N/A | No | No | No
20221118 | 2022-07-10 | Primary | N/A | No | No | No
20221119 | 2022-07-10 | Primary | R3 | No | Yes | No
20221120 | 2022-07-10 | Primary | N/A | No | No | No
20221122 | 2022-07-10 | Service | N/A | No | No | No
20221123 | 2022-07-10 | Primary | N/A | No | No | No
20221124 | 2022-07-11 | Primary | N/A | No | No | No
20221125 | 2022-07-11 | Service | R4 | No | No | No
20221126 | 2022-07-11 | Primary | N/A | No | No | No
20221128 | 2022-07-11 | Primary | N/A | No | No | No
20221131 | 2022-07-11 | Secondary | N/A | No | No | No
20221145 | 2022-07-13 | Primary | N/A | No | No | No
20221147 | 2022-07-13 | Service | N/A | No | No | No
20221149 | 2022-07-13 | Service | N/A | No | No | No
20221151 | 2022-07-13 | Primary | N/A | No | No | No
20221163 | 2022-07-15 | Primary | R4 | No | Yes | No
20221170 | 2022-07-16 | Primary | N/A | No | No | No
20221172 | 2022-07-16 | Primary | N/A | No | No | No
20221177 | 2022-07-16 | Primary | N/A | No | No | No
20221179 | 2022-07-17 | Primary | N/A | No | No | No
20221186 | 2022-07-18 | Primary | R1 | No | Yes | No
20221187 | 2022-07-18 | Secondary | N/A | No | No | No
20221189 | 2022-07-18 | Service | N/A | No | No | No
20221442 | 2022-07-18 | Transmission | N/A | No | No | No
20221198 | 2022-07-19 | Primary | N/A | No | No | No
20221200 | 2022-07-19 | Primary | N/A | No | No | No
20221202 | 2022-07-20 | Secondary | N/A | No | No | No
20221208 | 2022-07-20 | Primary | N/A | No | No | No
20221211 | 2022-07-20 | Primary | N/A | No | No | No
20221213 | 2022-07-20 | Primary | N/A | No | No | No
20221215 | 2022-07-20 | Primary | R4 | No | Yes | No
20221217 | 2022-07-20 | Secondary | R4 | No | No | No
20221221 | 2022-07-21 | Secondary | N/A | No | No | No
20221229 | 2022-07-21 | Service | R5 | No | No | No
20221234 | 2022-07-22 | Secondary | N/A | No | No | No
20221235 | 2022-07-22 | Secondary | N/A | No | No | No
20221256 | 2022-07-25 | Primary | R3 | No | No | No
20221258 | 2022-07-25 | Primary | N/A | No | No | No
20221264 | 2022-07-26 | Primary | R1 | No | No | No
20221265 | 2022-07-26 | Primary | N/A | No | No | No
20221267 | 2022-07-26 | Secondary | R4 | No | No | No
20221276 | 2022-07-27 | Service | R3 | No | No | No
20221278 | 2022-07-28 | Primary | N/A | No | No | No
20221283 | 2022-07-29 | Primary | N/A | No | No | No
20221293 | 2022-07-31 | Primary | R1 | No | Yes | No
20221294 | 2022-07-31 | Primary | N/A | No | No | No
20221298 | 2022-08-01 | Primary | N/A | No | No | No
20221302 | 2022-08-01 | Primary | N/A | No | No | No
20221303 | 2022-08-01 | Primary | N/A | No | No | No
20221305 | 2022-08-01 | Primary | R2 | No | Yes | No
20221310 | 2022-08-02 | Primary | N/A | No | No | No
20221311 | 2022-08-03 | Secondary | N/A | No | No | No
20221314 | 2022-08-03 | Primary | R2 | No | Yes | No
20221315 | 2022-08-03 | Primary | N/A | No | No | No
20221321 | 2022-08-03 | Primary | N/A | No | No | No
20221323 | 2022-08-04 | Service | R4 | No | No | No
20221331 | 2022-08-05 | Primary | N/A | No | No | No
20221335 | 2022-08-05 | Primary | R3 | No | Yes | No
20221337 | 2022-08-06 | Primary | N/A | No | No | No
20221343 | 2022-08-08 | Primary | N/A | No | No | No
20221345 | 2022-08-09 | Primary | N/A | No | No | No
20221347 | 2022-08-09 | Primary | R2 | No | Yes | No
20221349 | 2022-08-09 | Service | R2 | No | No | No
20221352 | 2022-08-09 | Primary | N/A | No | No | No
20221354 | 2022-08-10 | Primary | N/A | No | No | No
20221362 | 2022-08-11 | Service | N/A | No | No | No
20221363 | 2022-08-11 | Primary | N/A | No | No | No
20221367 | 2022-08-12 | Primary | N/A | No | No | No
20221371 | 2022-08-12 | Service | N/A | No | No | No
20221372 | 2022-08-12 | Primary | N/A | No | No | No
20221375 | 2022-08-13 | Primary | N/A | No | No | No
20221376 | 2022-08-13 | Primary | N/A | No | No | No
20221377 | 2022-08-14 | Primary | R4 | No | Yes | No
20221381 | 2022-08-14 | Primary | N/A | No | No | No
20221385 | 2022-08-15 | Secondary | R3 | No | No | No
20221398 | 2022-08-17 | Primary | N/A | No | No | No
20221403 | 2022-08-17 | Primary | R2 | No | Yes | No
20221407 | 2022-08-17 | Primary | N/A | No | No | No
20221409 | 2022-08-17 | Primary | N/A | No | No | No
20221416 | 2022-08-19 | Primary | N/A | No | No | No
20221417 | 2022-08-20 | Primary | R2 | No | Yes | No
20221418 | 2022-08-20 | Transmission | N/A | No | No | No
20221419 | 2022-08-20 | Primary | N/A | No | No | No
20221423 | 2022-08-21 | Primary | N/A | No | No | No
20221425 | 2022-08-21 | Service | N/A | No | No | No
20221428 | 2022-08-21 | Primary | N/A | No | No | No
20221431 | 2022-08-22 | Service | N/A | No | No | No
20221432 | 2022-08-22 | Primary | N/A | No | No | No
20221440 | 2022-08-22 | Service | N/A | No | No | No
20221447 | 2022-08-24 | Service | N/A | No | No | No
20221448 | 2022-08-24 | Primary | N/A | No | No | No
20221451 | 2022-08-25 | Primary | N/A | No | No | No
20221454 | 2022-08-26 | Transmission | N/A | No | No | No
20221457 | 2022-08-26 | Transmission | R4 | No | No | No
20221461 | 2022-08-26 | Primary | N/A | No | Yes | No
20221462 | 2022-08-26 | Primary | R3 | No | Yes | No
20221463 | 2022-08-26 | Primary | N/A | No | No | No
20221473 | 2022-08-28 | Primary | N/A | No | No | No
20221476 | 2022-08-29 | Primary | R3 | No | Yes | No
20221478 | 2022-08-30 | Secondary | R3 | No | No | No
20221479 | 2022-08-30 | Service | R4 | No | No | No
20221491 | 2022-08-31 | Primary | N/A | No | No | No
20221492 | 2022-08-31 | Primary | N/A | No | No | No
20221494 | 2022-09-01 | Primary | N/A | No | No | No
20221533 | 2022-09-01 | Service | N/A | No | No | No
20221498 | 2022-09-02 | Primary | N/A | No | No | No
20221499 | 2022-09-02 | Primary | N/A | No | No | No
20221506 | 2022-09-03 | Service | R4 | No | No | No
20221514 | 2022-09-04 | Primary | R4 | No | Yes | No
20221515 | 2022-09-04 | Primary | N/A | No | No | No
20221517 | 2022-09-04 | Secondary | N/A | No | No | No
20221522 | 2022-09-05 | Primary | N/A | No | No | No
20221523 | 2022-09-05 | Primary | N/A | No | No | No
20221525 | 2022-09-05 | Secondary | N/A | No | No | No
20221528 | 2022-09-05 | Primary | N/A | No | No | No
20221536 | 2022-09-06 | Primary | N/A | No | No | No
20221538 | 2022-09-06 | Secondary | N/A | No | No | No
20221542 | 2022-09-06 | Secondary | N/A | No | No | No
20221563 | 2022-09-06 | Transmission | R4 | No | No | No
20221545 | 2022-09-07 | Primary | N/A | No | No | No
20221547 | 2022-09-07 | Primary | R3 | No | No | No
20221548 | 2022-09-07 | Primary | N/A | No | No | No
20221550 | 2022-09-07 | Primary | N/A | No | No | No
20221551 | 2022-09-07 | Service | N/A | No | No | No
20221554 | 2022-09-07 | Primary | N/A | No | No | No
20221555 | 2022-09-07 | Primary | R3 | No | Yes | No
20221558 | 2022-09-07 | Primary | N/A | No | No | No
20221566 | 2022-09-08 | Primary | N/A | No | No | No
20221567 | 2022-09-08 | Primary | N/A | No | No | No
20221573 | 2022-09-08 | Primary | N/A | No | No | No
20221577 | 2022-09-09 | Primary | R4 | No | Yes | No
20221578 | 2022-09-09 | Primary | N/A | No | No | No
20221580 | 2022-09-09 | Secondary | R4 | No | No | No
20221581 | 2022-09-09 | Primary | N/A | No | No | No
20221590 | 2022-09-10 | Primary | R4 | No | Yes | No
20221592 | 2022-09-10 | Transmission | N/A | No | No | No
20221594 | 2022-09-10 | Secondary | N/A | No | No | No
20221597 | 2022-09-10 | Primary | N/A | No | No | No
20221600 | 2022-09-10 | Primary | N/A | No | No | No
20221603 | 2022-09-11 | Primary | N/A | No | No | No
20221608 | 2022-09-11 | Service | N/A | No | No | No
20221614 | 2022-09-12 | Primary | R3 | No | Yes | No
20221618 | 2022-09-12 | Primary | N/A | No | No | No
20221620 | 2022-09-12 | Primary | N/A | No | No | No
20221696 | 2022-09-12 | Service | N/A | No | No | No
20221633 | 2022-09-15 | Secondary | N/A | No | No | No
20221636 | 2022-09-16 | Primary | R4 | No | No | No
20221641 | 2022-09-16 | Primary | N/A | No | No | No
20221649 | 2022-09-17 | Primary | N/A | No | No | No
20221658 | 2022-09-18 | Primary | N/A | No | No | No
20221659 | 2022-09-18 | Primary | N/A | No | No | No
20221671 | 2022-09-20 | Primary | N/A | No | No | No
20221674 | 2022-09-21 | Service | N/A | No | No | No
20221711 | 2022-09-25 | Primary | N/A | No | No | No
20221731 | 2022-09-25 | Primary | N/A | No | No | No
20221737 | 2022-09-26 | Primary | N/A | No | No | No
20221738 | 2022-09-26 | Service | R3 | No | No | No
20221739 | 2022-09-27 | Service | N/A | No | No | No
20221740 | 2022-09-27 | Primary | N/A | No | No | No
20221753 | 2022-09-28 | Primary | N/A | No | No | No
20221748 | 2022-09-29 | Secondary | N/A | No | No | No
20221755 | 2022-10-01 | Secondary | N/A | No | No | No
20221757 | 2022-10-01 | Secondary | R3 | No | No | No
20221759 | 2022-10-02 | Transmission | R2 | No | No | No
20221765 | 2022-10-04 | Primary | N/A | No | No | No
20221767 | 2022-10-04 | Primary | R3 | No | Yes | No
20221771 | 2022-10-05 | Primary | R3 | No | Yes | No
20221772 | 2022-10-05 | Service | N/A | No | No | No
20221774 | 2022-10-06 | Primary | N/A | No | No | No
20221782 | 2022-10-07 | Primary | N/A | No | No | No
20221790 | 2022-10-07 | Primary | N/A | No | No | No
20221798 | 2022-10-10 | Primary | N/A | No | No | No
20221802 | 2022-10-10 | Primary | N/A | No | No | No
20221805 | 2022-10-12 | Primary | N/A | No | No | No
20221806 | 2022-10-12 | Primary | N/A | No | No | No
20221813 | 2022-10-14 | Primary | N/A | No | No | No
20221815 | 2022-10-14 | Primary | R3 | No | Yes | No
20221821 | 2022-10-15 | Primary | N/A | No | No | No
20221823 | 2022-10-16 | Primary | N/A | No | No | No
20221824 | 2022-10-16 | Secondary | R3 | No | No | No
20221825 | 2022-10-17 | Primary | N/A | No | No | No
20221826 | 2022-10-17 | Primary | R2 | No | Yes | No
20221827 | 2022-10-17 | Service | N/A | No | No | No
20221837 | 2022-10-19 | Primary | N/A | No | No | No
20221840 | 2022-10-20 | Primary | N/A | No | Yes | No
20221842 | 2022-10-20 | Primary | R2 | No | Yes | No
20221849 | 2022-10-22 | Primary | N/A | No | No | No
20221854 | 2022-10-23 | Service | R2 | No | No | No
20221857 | 2022-10-24 | Primary | N/A | No | No | No
20221862 | 2022-10-26 | Primary | R2 | No | Yes | No
20221871 | 2022-10-26 | Primary | R2 | No | No | No
20221869 | 2022-10-27 | Secondary | N/A | No | No | No
20221873 | 2022-10-29 | Secondary | N/A | No | No | No
20221886 | 2022-10-31 | Primary | N/A | No | No | No
20221892 | 2022-11-01 | Primary | N/A | No | No | No
20221944 | 2022-11-01 | Primary | N/A | No | No | No
20221924 | 2022-11-03 | Primary | N/A | No | No | No
20222003 | 2022-11-12 | Primary | R1 | No | No | No
20222010 | 2022-11-12 | Primary | N/A | No | No | No
20222013 | 2022-11-16 | Primary | R2 | No | No | No
20222017 | 2022-11-19 | Primary | R1 | No | No | No
20222018 | 2022-11-19 | Primary | N/A | No | No | No
20222019 | 2022-11-19 | Service | R2 | No | No | No
20222035 | 2022-11-22 | Primary | R2 | No | No | No
20222036 | 2022-11-22 | Primary | N/A | No | No | No
20222043 | 2022-11-25 | Primary | N/A | No | No | No
20222048 | 2022-11-27 | Primary | N/A | No | No | No
20222054 | 2022-11-28 | Primary | N/A | No | No | No
20222144N | 2022-11-28 | Primary | R1 | No | No | No
20222125 | 2022-12-17 | Primary | N/A | No | No | No
20222130 | 2022-12-17 | Primary | N/A | No | No | No
20230010N | 2023-01-01 | Service | R1 | No | No | No
20230009 | 2023-01-04 | Primary | R1 | No | No | No
20230011 | 2023-01-05 | Service | N/A | No | No | No
20230015 | 2023-01-07 | Primary | N/A | No | No | No
20230016 | 2023-01-08 | Primary | N/A | No | No | No
20230019 | 2023-01-08 | Primary | N/A | No | No | No
20230030 | 2023-01-10 | Service | N/A | No | No | No
20230072 | 2023-01-29 | Primary | N/A | No | No | No
20230090 | 2023-02-08 | Primary | N/A | No | No | No
20230095 | 2023-02-11 | Primary | N/A | No | No | No
20230100 | 2023-02-13 | Primary | R1 | No | No | No
20230108 | 2023-02-15 | Secondary | N/A | No | No | No
20230113 | 2023-02-17 | Secondary | R1 | No | No | No
20230126 | 2023-02-21 | Service | R1 | No | No | No
20230127 | 2023-02-21 | Primary | R1 | No | No | No
20230128 | 2023-02-21 | Secondary | N/A | No | No | No
20230129 | 2023-02-21 | Primary | R1 | No | No | No
20230132 | 2023-02-21 | Primary | N/A | No | No | No
20230135 | 2023-02-21 | Primary | R1 | No | No | No
20230138 | 2023-02-21 | Primary | N/A | No | No | No
20230140 | 2023-02-21 | Primary | R1 | No | No | No
20230148 | 2023-02-21 | Primary | R1 | No | No | No
20230154 | 2023-02-23 | Primary | R1 | No | No | No
20230155 | 2023-02-23 | Primary | N/A | No | No | No
20230177N | 2023-02-27 | Primary | N/A | No | No | No
20230173 | 2023-03-01 | Service | N/A | No | No | No
20230175 | 2023-03-01 | Primary | R1 | No | No | No
20230191 | 2023-03-09 | Secondary | N/A | No | No | No
20230231N | 2023-03-25 | Primary | R1 | No | No | No
20230255 | 2023-04-03 | Service | N/A | No | No | No
20230257 | 2023-04-04 | Primary | R1 | No | No | No
20230259 | 2023-04-06 | Primary | R1 | No | No | No
20230260 | 2023-04-06 | Primary | N/A | No | No | No
20230267 | 2023-04-09 | Primary | R1 | No | No | No
20230272N | 2023-04-11 | Primary | R1 | No | No | No
20230317N | 2023-04-12 | Primary | N/A | No | No | No
20230279 | 2023-04-16 | Primary | R1 | No | No | No
20230282 | 2023-04-17 | Primary | R1 | No | No | No
20230293 | 2023-04-20 | Primary | R1 | No | No | No
20230308 | 2023-04-24 | Primary | N/A | No | No | No
20230311 | 2023-04-24 | Primary | N/A | No | No | No
20230313 | 2023-04-25 | Primary | N/A | No | No | No
20230324 | 2023-04-26 | Primary | N/A | No | No | No
20230330 | 2023-04-28 | Transmission | R1 | No | No | No
20230331 | 2023-04-29 | Primary | N/A | No | No | No
20230333 | 2023-04-30 | Primary | N/A | No | No | No
20230335 | 2023-04-30 | Primary | N/A | No | No | No
20230341 | 2023-05-01 | Primary | N/A | No | No | No
20230371 | 2023-05-09 | Primary | N/A | No | No | No
20230386 | 2023-05-13 | Primary | N/A | No | No | No
20230388 | 2023-05-13 | Primary | R1 | No | No | No
20230390 | 2023-05-14 | Primary | N/A | No | No | No
20230394 | 2023-05-14 | Primary | N/A | No | No | No
20230396N | 2023-05-16 | Primary | N/A | No | No | No
20230399 | 2023-05-17 | Primary | R1 | No | No | No
20230401 | 2023-05-17 | Primary | R1 | No | No | No
20230410N | 2023-05-18 | Primary | R1 | No | No | No
20230409 | 2023-05-19 | Primary | N/A | No | No | No
20230412 | 2023-05-19 | Primary | N/A | No | No | No
20230415 | 2023-05-20 | Primary | N/A | No | No | No
20230417 | 2023-05-20 | Primary | R1 | No | No | No
20230424 | 2023-05-23 | Service | R2 | No | No | No
20230427 | 2023-05-23 | Primary | N/A | No | No | No
20230430 | 2023-05-25 | Transmission | N/A | No | No | No
20230439 | 2023-05-28 | Primary | R1 | No | No | No
20230440 | 2023-05-28 | Primary | R1 | No | No | No
20230447N | 2023-05-28 | Transmission | N/A | No | No | No
20230448N | 2023-05-28 | Transmission | N/A | No | No | No
20230480N | 2023-05-28 | Primary | R1 | No | No | No
20230443 | 2023-05-29 | Primary | N/A | No | No | No
20230453 | 2023-05-31 | Service | N/A | No | No | No
20230474N | 2023-06-02 | Primary | R1 | No | No | No
20230465 | 2023-06-04 | Primary | N/A | No | No | No
20230468N | 2023-06-04 | Transmission | R3 | No | No | No
20230472N | 2023-06-04 | Primary | N/A | No | No | No
20230470 | 2023-06-05 | Primary | N/A | No | No | No
20230476 | 2023-06-06 | Primary | N/A | No | No | No
20230482 | 2023-06-07 | Primary | R3 | No | No | No
20230487N | 2023-06-08 | Transmission | N/A | No | No | No
20230492 | 2023-06-09 | Primary | R1 | No | No | No
20230495 | 2023-06-10 | Primary | N/A | No | No | No
20230496 | 2023-06-11 | Primary | N/A | No | No | No
20230500 | 2023-06-11 | Primary | N/A | No | No | No
20230501 | 2023-06-11 | Service | N/A | No | No | No
20230502 | 2023-06-11 | Primary | N/A | No | No | No
20230503N | 2023-06-11 | Primary | N/A | No | No | No
20230504N | 2023-06-11 | Primary | N/A | No | No | No
20230507 | 2023-06-12 | Primary | N/A | No | No | No
20230671N | 2023-06-14 | Primary | N/A | No | No | No
20230524 | 2023-06-15 | Primary | N/A | No | No | No
20230525 | 2023-06-15 | Primary | N/A | No | No | No
20230523 | 2023-06-16 | Primary | N/A | No | No | No
20230530 | 2023-06-16 | Primary | R3 | No | Yes | No
20230532 | 2023-06-16 | Primary | N/A | No | No | No
20230535 | 2023-06-17 | Primary | N/A | No | No | No
20230538 | 2023-06-17 | Primary | N/A | No | No | No
20230551N | 2023-06-17 | Secondary | N/A | No | No | No
20230541 | 2023-06-18 | Primary | R4 | No | No | No
20230542 | 2023-06-18 | Primary | N/A | No | No | No
20230544 | 2023-06-18 | Primary | N/A | No | No | No
20230545 | 2023-06-18 | Primary | N/A | No | No | No
20230546 | 2023-06-18 | Secondary | N/A | No | No | No
20230547 | 2023-06-19 | Primary | N/A | No | No | No
20230553 | 2023-06-20 | Primary | N/A | No | No | No
20230554 | 2023-06-20 | Primary | R1 | No | No | No
20230555 | 2023-06-21 | Primary | R1 | No | No | No
20230560 | 2023-06-21 | Primary | R1 | No | No | No
20230570N | 2023-06-21 | Primary | N/A | No | No | No
20230562 | 2023-06-22 | Primary | N/A | No | No | No
20230565 | 2023-06-22 | Primary | N/A | No | No | No
20230574 | 2023-06-23 | Primary | N/A | No | No | No
20230577 | 2023-06-24 | Primary | R1 | No | Yes | No
20230590 | 2023-06-26 | Primary | N/A | No | No | No
20230591 | 2023-06-26 | Primary | N/A | No | No | No
20230595 | 2023-06-26 | Primary | R1 | No | No | No
20231294N | 2023-06-26 | Primary | R1 | No | No | No
20230599 | 2023-06-27 | Primary | R1 | No | No | No
20230601 | 2023-06-27 | Primary | N/A | No | No | No
20230605N | 2023-06-27 | Secondary | N/A | No | No | No
20230606 | 2023-06-29 | Primary | N/A | No | No | No
20230608 | 2023-06-29 | Primary | N/A | No | No | No
20230609 | 2023-06-29 | Primary | N/A | No | No | No
20230611N | 2023-06-29 | Service | R1 | No | No | No
20230613 | 2023-06-30 | Primary | R4 | No | Yes | No
20230614 | 2023-06-30 | Service | R3 | No | No | No
20230622 | 2023-07-01 | Primary | R3 | No | No | No
20230623N | 2023-07-01 | Primary | N/A | No | No | No
20230625 | 2023-07-02 | Service | N/A | No | No | No
20230627 | 2023-07-02 | Primary | R5 | Yes | Yes | No
20230651N | 2023-07-03 | Primary | R3 | No | No | No
20230632 | 2023-07-04 | Secondary | R1 | No | No | No
20230636 | 2023-07-04 | Primary | R2 | Yes | Yes | No
20230642 | 2023-07-05 | Primary | N/A | No | No | No
20230647 | 2023-07-05 | Primary | N/A | No | No | No
20230652 | 2023-07-07 | Primary | N/A | No | No | No
20230659 | 2023-07-07 | Transmission | R3 | No | Yes | No
20230771N | 2023-07-07 | Primary | N/A | No | No | No
20230662 | 2023-07-08 | Primary | N/A | No | No | No
20230663 | 2023-07-08 | Primary | N/A | No | No | No
20230664 | 2023-07-08 | Secondary | N/A | No | No | No
20230669 | 2023-07-09 | Primary | N/A | No | No | No
20230673 | 2023-07-10 | Primary | R2 | No | No | No
20230676 | 2023-07-10 | Primary | R2 | Yes | Yes | No
20230678 | 2023-07-11 | Primary | N/A | No | No | No
20230680 | 2023-07-11 | Primary | N/A | No | No | No
20230683 | 2023-07-12 | Primary | N/A | No | No | No
20230685 | 2023-07-13 | Primary | N/A | No | No | No
20230691 | 2023-07-13 | Service | N/A | No | No | No
20230692 | 2023-07-14 | Primary | R3 | Yes | Yes | No
20230693 | 2023-07-14 | Primary | R1 | No | Yes | No
20230694 | 2023-07-14 | Secondary | N/A | No | No | No
20230695 | 2023-07-14 | Service | N/A | No | No | No
20230697 | 2023-07-15 | Primary | N/A | No | No | No
20230699 | 2023-07-15 | Secondary | N/A | No | No | No
20230700 | 2023-07-15 | Secondary | R4 | No | No | No
20230701 | 2023-07-15 | Primary | N/A | No | No | No
20230707N | 2023-07-15 | Primary | R4 | No | Yes | No
20230717N | 2023-07-15 | Primary | N/A | No | No | No
20230709 | 2023-07-16 | Primary | N/A | No | No | No
20230714 | 2023-07-16 | Secondary | N/A | No | No | No
20230715 | 2023-07-16 | Service | N/A | No | No | No
20230716 | 2023-07-16 | Primary | R3 | Yes | Yes | No
20230723 | 2023-07-17 | Secondary | N/A | No | No | No
20230726 | 2023-07-19 | Secondary | N/A | No | No | No
20230731 | 2023-07-19 | Primary | N/A | No | No | No
20230732 | 2023-07-19 | Secondary | N/A | No | No | No
20230737 | 2023-07-20 | Primary | N/A | No | No | No
20230738 | 2023-07-21 | Primary | N/A | No | No | No
20230741 | 2023-07-21 | Primary | N/A | No | No | No
20230776N | 2023-07-21 | Primary | N/A | No | No | No
20230745 | 2023-07-22 | Primary | N/A | No | No | No
20230748 | 2023-07-22 | Service | N/A | No | No | No
20230751 | 2023-07-22 | Primary | N/A | No | No | No
20230752 | 2023-07-22 | Secondary | R3 | No | No | No
20230755 | 2023-07-23 | Primary | N/A | No | No | No
20230757 | 2023-07-23 | Service | N/A | No | No | No
20230758 | 2023-07-23 | Secondary | N/A | No | No | No
20230763 | 2023-07-24 | Primary | N/A | No | No | No
20230768 | 2023-07-24 | Primary | N/A | No | No | No
20230769 | 2023-07-25 | Primary | N/A | No | No | No
20230772 | 2023-07-25 | Primary | N/A | No | No | No
20230773 | 2023-07-25 | Primary | R3 | No | Yes | No
20230775 | 2023-07-26 | Secondary | N/A | No | No | No
20230776 | 2023-07-26 | Secondary | N/A | No | No | No
20230778 | 2023-07-26 | Secondary | N/A | No | No | No
20230779 | 2023-07-26 | Primary | N/A | No | No | No
20230782 | 2023-07-26 | Transmission | N/A | No | No | No
20230782N | 2023-07-26 | Primary | R3 | No | Yes | No
20230783 | 2023-07-27 | Primary | N/A | No | No | No
20230784 | 2023-07-27 | Primary | N/A | Yes | Yes | No
20230787 | 2023-07-27 | Primary | N/A | No | No | No
20230788N | 2023-07-27 | Secondary | R4 | No | No | No
20230792 | 2023-07-28 | Primary | R3 | No | Yes | No
20230799 | 2023-07-29 | Primary | N/A | No | No | No
20230803 | 2023-07-29 | Primary | N/A | No | No | No
20230823N | 2023-07-29 | Primary | N/A | No | No | No
20230810 | 2023-07-31 | Primary | N/A | No | No | No
20230811 | 2023-07-31 | Primary | N/A | No | No | No
20230818 | 2023-07-31 | Primary | N/A | No | No | No
20230831N | 2023-07-31 | Primary | N/A | No | No | No
20230823 | 2023-08-01 | Primary | R2 | No | Yes | No
20230825 | 2023-08-01 | Secondary | N/A | No | No | No
20230826 | 2023-08-01 | Primary | R2 | No | No | No
20230831 | 2023-08-02 | Primary | N/A | No | No | No
20230833 | 2023-08-03 | Primary | N/A | No | No | No
20230837 | 2023-08-04 | Primary | N/A | No | No | No
20230842 | 2023-08-06 | Primary | R3 | Yes | Yes | No
20230844 | 2023-08-06 | Primary | N/A | No | No | No
20230846 | 2023-08-06 | Secondary | N/A | No | No | No
20230847 | 2023-08-06 | Service | N/A | No | No | No
20230854 | 2023-08-07 | Primary | R1 | No | No | No
20230855 | 2023-08-07 | Primary | R3 | No | No | No
20230858 | 2023-08-07 | Primary | N/A | No | No | No
20230856N | 2023-08-07 | Primary | N/A | No | No | No
20230862 | 2023-08-08 | Primary | R1 | No | No | No
20230864 | 2023-08-09 | Primary | N/A | No | No | No
20230866 | 2023-08-09 | Primary | N/A | No | No | No
20230868 | 2023-08-09 | Service | R3 | No | No | No
20230872 | 2023-08-10 | Primary | N/A | No | No | No
20230873 | 2023-08-10 | Primary | N/A | No | No | No
20230874 | 2023-08-10 | Service | R4 | No | No | No
20230875 | 2023-08-11 | Primary | R3 | No | Yes | No
20230879 | 2023-08-11 | Primary | R3 | No | No | No
20230882 | 2023-08-12 | Primary | N/A | No | No | No
20230883 | 2023-08-12 | Primary | N/A | No | No | No
20230884 | 2023-08-13 | Secondary | N/A | No | No | No
20230885 | 2023-08-14 | Secondary | N/A | No | No | No
20230888 | 2023-08-15 | Secondary | R2 | No | No | No
20230890 | 2023-08-15 | Transmission | R3 | No | No | No
20230895 | 2023-08-16 | Service | R3 | No | No | No
20230895N | 2023-08-16 | Primary | N/A | No | No | No
20230897 | 2023-08-17 | Primary | R4 | No | Yes | No
20230899 | 2023-08-17 | Primary | R3 | Yes | Yes | No
20230903 | 2023-08-18 | Secondary | R4 | No | No | No
20230904 | 2023-08-19 | Primary | N/A | No | No | No
20230906 | 2023-08-19 | Primary | N/A | No | No | No
20230909 | 2023-08-19 | Primary | N/A | No | No | No
20230912 | 2023-08-19 | Primary | R2 | No | Yes | No
20230917 | 2023-08-20 | Secondary | N/A | No | No | No
20230929 | 2023-08-20 | Primary | N/A | No | No | No
20230930 | 2023-08-21 | Secondary | R1 | No | No | No
20230932 | 2023-08-21 | Primary | R1 | No | No | No
20230934 | 2023-08-21 | Primary | R1 | No | Yes | No
20230942N | 2023-08-23 | Primary | N/A | No | No | No
20230943 | 2023-08-24 | Primary | N/A | No | No | No
20230944 | 2023-08-24 | Primary | N/A | No | No | No
20230954 | 2023-08-24 | Service | N/A | No | No | No
20230953 | 2023-08-25 | Primary | R2 | No | No | No
20230955 | 2023-08-25 | Primary | N/A | No | No | No
20230959 | 2023-08-26 | Primary | N/A | No | No | No
20230961 | 2023-08-27 | Primary | N/A | No | No | No
20230964 | 2023-08-27 | Primary | N/A | No | No | No
20230966 | 2023-08-28 | Service | R3 | No | No | No
20230971 | 2023-08-29 | Primary | N/A | No | No | No
20230973 | 2023-08-29 | Primary | R3 | Yes | Yes | No
20230975 | 2023-08-29 | Secondary | N/A | No | No | No
20230976N | 2023-08-29 | Transmission | R4 | No | No | No
20230978 | 2023-08-30 | Service | R4 | No | No | Yes
20230981 | 2023-08-30 | Primary | R2 | No | Yes | Yes
20230982 | 2023-08-31 | Service | R2 | No | No | No
20230995 | 2023-09-03 | Secondary | N/A | No | No | No
20230998 | 2023-09-04 | Primary | N/A | No | No | No
20230999 | 2023-09-04 | Primary | N/A | No | No | No
20231001 | 2023-09-04 | Primary | N/A | No | No | No
20231002 | 2023-09-05 | Primary | N/A | No | No | No
20231004 | 2023-09-05 | Primary | R3 | No | Yes | No
20231006 | 2023-09-05 | Primary | R3 | No | Yes | No
20231007 | 2023-09-06 | Service | N/A | No | No | No
20231009 | 2023-09-07 | Primary | N/A | No | No | No
20231046 | 2023-09-07 | Primary | N/A | No | No | No
20231016 | 2023-09-08 | Primary | R2 | No | No | No
20231017 | 2023-09-08 | Primary | N/A | No | No | No
20231014N | 2023-09-08 | Transmission | N/A | No | No | No
20231015N | 2023-09-08 | Primary | N/A | No | No | No
20231019 | 2023-09-09 | Primary | N/A | No | No | No
20231020 | 2023-09-09 | Primary | N/A | No | No | No
20231022 | 2023-09-09 | Service | N/A | No | No | No
20231023 | 2023-09-09 | Primary | N/A | No | No | No
20231145N | 2023-09-09 | Transmission | N/A | No | No | No
20231027 | 2023-09-10 | Transmission | N/A | No | No | No
20231029 | 2023-09-10 | Primary | N/A | No | No | No
20231038 | 2023-09-11 | Primary | N/A | No | No | No
20231039 | 2023-09-12 | Primary | N/A | No | No | No
20231044 | 2023-09-13 | Primary | R3 | No | No | No
20231045 | 2023-09-13 | Primary | R3 | No | Yes | No
20231047 | 2023-09-14 | Secondary | N/A | No | No | No
20231050 | 2023-09-14 | Primary | N/A | No | No | No
20231051N | 2023-09-14 | Primary | N/A | No | No | No
20231053 | 2023-09-15 | Transmission | R3 | No | No | No
20231055 | 2023-09-15 | Primary | N/A | No | No | No
20231057N | 2023-09-15 | Transmission | R3 | No | No | No
20231063N | 2023-09-15 | Primary | N/A | No | No | No
20231059 | 2023-09-16 | Primary | N/A | No | No | No
20231062N | 2023-09-17 | Service | N/A | No | No | No
20231070 | 2023-09-20 | Primary | N/A | No | No | Yes
20231071 | 2023-09-20 | Primary | R4 | No | Yes | Yes
20231072 | 2023-09-21 | Secondary | N/A | No | No | No
20231073 | 2023-09-22 | Primary | R3 | No | Yes | No
20231074 | 2023-09-22 | Primary | R2 | No | Yes | No
20231078 | 2023-09-23 | Service | N/A | No | No | No
20231079 | 2023-09-24 | Secondary | R1 | No | No | No
20231083 | 2023-09-25 | Primary | R1 | No | Yes | No
20231094 | 2023-09-27 | Service | N/A | No | No | No
20231096 | 2023-09-27 | Primary | R3 | Yes | Yes | No
20231097 | 2023-09-28 | Primary | N/A | No | No | No
20231115N | 2023-09-28 | Primary | N/A | No | No | No
20231101 | 2023-09-29 | Primary | N/A | No | No | No
20231117 | 2023-10-02 | Primary | N/A | No | No | No
20231118 | 2023-10-03 | Primary | N/A | No | No | No
20231119 | 2023-10-04 | Primary | N/A | No | No | No
20231144N | 2023-10-04 | Primary | N/A | No | No | No
20231125 | 2023-10-05 | Secondary | N/A | No | No | No
20231129 | 2023-10-06 | Primary | R1 | No | No | No
20231132 | 2023-10-06 | Primary | N/A | No | No | No
20231133 | 2023-10-06 | Primary | N/A | No | No | No
20231134 | 2023-10-06 | Primary | N/A | No | No | No
20231136 | 2023-10-07 | Primary | R3 | No | Yes | No
20231142 | 2023-10-09 | Primary | N/A | No | No | No
20231147 | 2023-10-09 | Primary | N/A | No | No | No
20231154 | 2023-10-12 | Secondary | N/A | No | No | No
20231163N | 2023-10-15 | Primary | N/A | No | No | No
20231164N | 2023-10-15 | Primary | N/A | No | No | No
20231165N | 2023-10-16 | Primary | R1 | No | No | No
20231167 | 2023-10-18 | Primary | N/A | No | No | No
20231168 | 2023-10-18 | Primary | N/A | No | No | No
20231169 | 2023-10-18 | Primary | N/A | No | No | No
20231178 | 2023-10-20 | Primary | N/A | No | No | No
20231180 | 2023-10-21 | Primary | N/A | No | No | No
20231182N | 2023-10-21 | Primary | N/A | No | No | No
20231184N | 2023-10-23 | Primary | N/A | No | No | No
20231192 | 2023-10-24 | Primary | N/A | No | No | No
20231208 | 2023-10-26 | Primary | N/A | No | No | No
20231209 | 2023-10-27 | Secondary | N/A | No | No | No
20231215 | 2023-10-28 | Secondary | N/A | No | No | Yes
20231218 | 2023-10-29 | Primary | N/A | No | No | No
20231219 | 2023-10-29 | Primary | N/A | No | No | No
20231221 | 2023-10-29 | Primary | N/A | No | No | No
20231226 | 2023-10-31 | Primary | N/A | No | No | No
20231231 | 2023-10-31 | Primary | R2 | No | No | No
20231233 | 2023-11-01 | Primary | N/A | No | No | No
20231239 | 2023-11-02 | Primary | R2 | No | No | No
20231242 | 2023-11-03 | Primary | R2 | No | No | No
20231243 | 2023-11-03 | Primary | R1 | No | No | No
20231246N | 2023-11-04 | Secondary | N/A | No | No | No
20231247N | 2023-11-04 | Primary | R2 | Yes | Yes | No
20231253 | 2023-11-06 | Primary | N/A | No | No | No
20231274 | 2023-11-09 | Primary | N/A | No | No | No
20231277 | 2023-11-10 | Primary | N/A | No | No | No
20231278 | 2023-11-11 | Primary | N/A | No | No | No
20231279 | 2023-11-12 | Service | R1 | No | No | No
20231285 | 2023-11-15 | Primary | N/A | No | No | No
20231286 | 2023-11-15 | Primary | N/A | No | No | No
20231288 | 2023-11-15 | Primary | N/A | No | No | No
20231290 | 2023-11-15 | Secondary | N/A | No | No | No
20231293 | 2023-11-15 | Secondary | N/A | No | No | No
20231295 | 2023-11-16 | Primary | N/A | No | No | No
20231296 | 2023-11-16 | Primary | N/A | No | No | No
20231307 | 2023-11-21 | Primary | N/A | No | No | No
20231310 | 2023-11-22 | Primary | N/A | No | No | No
20231316 | 2023-11-23 | Primary | R1 | No | No | No
20231312 | 2023-11-24 | Primary | R2 | No | No | No
20231317 | 2023-11-24 | Primary | N/A | No | No | No
20231318 | 2023-11-25 | Primary | N/A | No | No | No
20231321 | 2023-11-26 | Primary | R1 | No | No | No
20231323 | 2023-11-26 | Primary | R1 | No | No | No
20231327 | 2023-11-28 | Primary | R1 | No | No | No
20231336 | 2023-12-04 | Primary | N/A | No | No | No
20231349 | 2023-12-10 | Primary | N/A | No | No | No
20231352 | 2023-12-13 | Primary | N/A | No | No | No
20231356 | 2023-12-15 | Primary | R3 | No | Yes | No
20231360 | 2023-12-16 | Primary | N/A | No | No | No
20231361 | 2023-12-17 | Primary | N/A | No | No | No
20231362 | 2023-12-17 | Primary | N/A | No | No | No
20231383N | 2023-12-20 | Primary | N/A | No | No | No
20231421N | 2023-12-31 | Primary | N/A | No | No | No