## Glossary
Glossary
Risk Reduction Effectiveness (A) | The percentage of total risk reduced by this mitigation if applied across entire wildfire risk as determined by MAV-F score. Its understood that drivers across territory may be different so this number could vary on a circuit by circuit basis. This mitigation effectiveness is expected to be the "average" for the wildfire risk MAV-F score.
Ignition Reduction Effectiveness (A) | The percentage of expected ignitions reduced by this mitigation (some IOUs call this "ignition likelihood"). Its understood that drivers across territory may be different so this number could vary on a circuit by circuit basis. This mitigation effectiveness is expected to be the "average" for the entire HFTD.
Explanation of Difference in Effectiveness (A) | Brief explanation of why Risk Reduction Effectivenss versus Ignitions reduction effectiveness are not the same. Example: "This mitigation is less effective at reducing vegetation igntions which contribute more to the wildfire risk than other ignitions types"
Applicable Scope | Scope of mitigation. Three possible answers are "selected circuits," "territory-wide" or "HFTD-wide."
Useful Life | Useful life of mitigation. For some mitigations that do not have a useful life, please use NA.
RSE (average) | Average Risk Spend Efficiency across HFTD. Please note if using HFRA.
RSE (top 20%) | Risk Spend Efficiency Across top 20% of risk
Cost | Total Cost per year 2022-2026
Cost per Mile | Cost per mile for mitigation

## Data Input
Mitigation | Risk Reduction Effectiveness | Ignition Reduction Effectiveness | Explanation of Difference in Effectiveness | Applicable Scope | Useful Life | RSE (average) | RSE (top 20%) | Estimate Cost 2022-2026 | Cost per Mile | Notes
Asset Inspections | See Asset Inspections tab | See Asset Inspections tab | See Asset Inspections tab | Territory-wide | NA | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate RSEs for various asset inspection programs in its 2023 GRC. See A.21-06-021, 2/25/22 filing, WP 3-3, lines 1-5. | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast costs for distribution underground and overhead asset inspections, 2022-2026, was provided in its 2023 GRC: $447.6 million, expense. PG&E only forecast is 2023 test year expense. For the purposes of responding to this request, we assume that the attrition year forecasts (2024-2026) equal the 2023 forecast. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 10-36, Table 10-8). | PG&E does not forecast asset inspections on a per mile basis. Inspections are based on the number of assets. | PG&E's transmission expense costs are included in the Formula Rate Model in the Transmission Operations (TO) filing and is based on recorded costs only. PG&E will provide its 2022 recorded costs in June 2023.
Asset Inspections Above GO 165 Inspections | See Asset Inspections tab | See Asset Inspections tab | See Asset Inspections tab | Territory-wide | NA | See "Asset Inspections" row above. PG&E does not differentiate between asset inspections and asset inspections above GO 195 in its GRC forecast. | PG&E does not calculate a "top 20% RSE" | See "Asset Inspections" row above. PG&E does not differentiate between asset inspections and asset inspections above GO 195 in its GRC forecast. | See "Asset Inspections" row above. PG&E does not differentiate between asset inspections and asset inspections above GO 195 in its GRC forecast. | See Asset Inspections above
Vegetation Management | See VM Inspections tab | See VM Inspections tab | See VM Inspections tab | Territory-wide | NA | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate RSEs for various asset VM programs in its 2023 GRC. See A.21-06-021, 2/25/22 filing, WP 3-3, lines 6-9. | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast costs for distribution VM programs from 2022-2026 was provided in its 2023 GRC: $3,954.6 million, expense, for Routine VM and $425.6 million, expense, for Tree Mortality. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, WP 9-14, line 15 and WP 9-16, line 15). PG&E also forecast $27.7million, capital, for 2023 for VM work in its Transmission Owner filing. ( Docket Nos. ER19-13-000, ER19-1816-000, and ER20-22)65-000 (Consolidated) for the Rate Year 2023) | PG&E's forecast 2023 cost per mile for Routine Distribution VM was provided in its 2023 GRC: $539/mile in 2023. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, WP 9-14, line 9). PG&E's forecast 2023 cost per mile for Distribution Tree Mortality was provided in its 2023 GRC: $1,074/mile in 2023. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, WP 9-16, line 9). | 1. PG&E assumes that this includes two VM programs: Routine VM and Tree Mortality 2. PG&E's transmission expense costs for VM are included in the Formula Rate Model in the Transmission Owner filing and is based on recorded costs only. PG&E will provide its 2022 recorded costs to FERC in June 2023.
Vegetation Management Above Routine Vegetation Management | See VM Inspections tab | See VM Inspections tab | See VM Inspections tab | PG&E performed EVM in the HFTD. PG&E transitioned away from its EVM program starting in 2023. | NA | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate an RSE for this program in its 2023 GRC. The 2023 RSE was 14.5 (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3-39, Table 3-4, line 1). | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast costs for EVM from 2022-2026 was provided in its 2023 GRC: $1,366.6 million, expense. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, WP 9-15, line 15). | PG&E's forecast 2023 cost per mile for EVM was provided in its 2023 GRC: $65,568/mile in 2023. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, WP 9-15, line 9). | PG&E assumes that this is the Enhanced Vegetation Management (EVM) program. Note - PG&E has transitioned away from its EVM program.
Fast Trip and associated programs | 68% | 68% | See Glossary tab | HFTD | NA | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate an RSE for this program in its 2023 GRC. The 2023 RSE was 105.7 (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3-40, Table 3-4, line 30). | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast EPSS costs for 2022-2026 were provided in its 2023 GRC: $ 728 million, expense. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 4.6-19, Table 4.6-6). | PG&E does not calculate a cost per mile for EPSS as the number of miles impacted by an EPSS outage will vary. | PG&E assumes that this is the Enhanced Powerline Safety Settings (EPSS) program
PSPS | 90% | 90% | See Glossary tab | HFTD | NA | To comply with guidance from the Safety Policy Division (SPD), PG&E did not calculate an RSE for the Wildfire risk mitigation benefits of PSPS, per Resolution (Res.) WSD‑002 (June 11, 2020), Appendix A, p. A‑1, as discussed in PG&E's 2023 GRC (A. 21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3 -34, line 3 to p. 3-37, line 9.) | PG&E does not calculate a "top 20% RSE" | PG&E' forecast costs for PSPS in 2023 is $73 million, expense based on 4 PSPS events + 1 potential PSPS event as described in PG&E's 2023 GRC. (A.21-06-021, Exh. 2/25/22 Filing, PG&E-4, p. 4.2-20, lines 5-13). Future years have not been forecasted | PG&E does not generally forecast PSPS costs per mile given the variability in PSPS event scope. However, for the purpose of responding to this data request, PG&E calculated a cost of $3,600 per tier 2/3 circuit mile per event in 2021. | PG&E does not forecast the amount of miles of affected by PSPS for future events and therefore cannot forecast a cost per mile
Undergrounding | 99% | 99% | See Glossary tab | HFTD | 49 years | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate an RSE for this program in its 2023 GRC. The RSE was 5.4. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3-39, Table 3-4, line 3) | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast costs for its 10,000 mile undergrounding program from 2022-2026 were provided in its 2023 GRC: $ 5,798 million, capital. (A.21-06-021, PG&E's GRC Reply Brief, 12/9/22, p. 352, Table 4-8) | PG&E's forecast cost per mile for its 10,000 mile undergrounding program was provided in its 2023 GRC: $3.26 million/mile, capital, in 2023. The forecast cost per mile is expected to decrease between 2023-2026. (A.21-06-021, PG&E's GRC Reply Brief, 12/9/22), p. 362, Table 4-11).
Covered Conductor | 64% | 64% | See Glossary tab | PG&E generally only applies overhead hardening in the HFTD. In limited circumstances PG&E may overhead harden a circuit or portion of a circuit outside the HFTD. | 45 years | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate an RSE for this program in its 2023 GRC. The RSE was 5.9. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3-39, Table 3-4, line 2) | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast System Hardening Overhead costs for 2022-2026 were provided in its 2023 GRC: $883.1 million, capital. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 4.3-51, Table 4.3-11, line 11). | PG&E's forecast cost per mile for System Hardening Overhead was provided in its 2023 GRC: $1.561 million/per mile, capital in 2023. The per mile cost is expected to increase from 2023-2026. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 4.3-51, Table 4.3-11, line 3).
Rapid Earth Fault Current Limiter (REFCL) | 58% | 58% | See Glossary tab | To be determined. PG&E is still testing and evaluating its REFCL program. | PG&E is still testing and evaluating REFCL so the useful life is unknown at this time. | PG&E was not required to calculate an RSE for this program by the WMP guidelines. PG&E did calculate an RSE for this program in its 2023 GRC. The RSE was 23.1 (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 3-40, Table 3-4, line 26) | PG&E does not calculate a "top 20% RSE" | PG&E's recorded and forecast costs for REFCL for 2022-2026 were provided in its 2023 GRC: $89.1 million, capital. (A.21-06-021, 2/25/22 Filing, Exh. PG&E-4, p. 4.3-64, lines 15-17). | PG&E does not forecast REFCL on a cost per mile basis.
SPD recognizes that each utility is performing inspections that greatly exceed regulatory minimum. The goal of this is better understand how each IOU's programs impact its total risk reduction.

## Asset Inspections
Asset Inspections Above GO 95/165/167 Inspections | IOU | Risk Reduction Effectiveness | Ignition Reduction Effectiveness | Explanation of Difference in Effectiveness | PG&E Notes
Distribution Detailed Overhead Conductor Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Infrared Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Wood Pole Intrusive Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution LiDAR-based Pole Loading Assessments | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Overhead Equipment Inspection | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Drone Assessments | SDG&E | NA | NA | NA | NA
Distribution Overhead Patrol Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Pilot Inspections | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Detailed Overhead Conductor Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Aerial Detailed Inspection | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Climbing Detailed Inspection | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Infrared Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Wood Pole Intrusive Inspection | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Switch Function Testing | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Overhead Patrol Inspection | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission 69 kV Tier 3 Visual Inspections | SDG&E | NA | NA | NA | NA
Transmission Pilot Inspection | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Substation Patrol Inspections | ALL | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Generation Inspections | SCE | NA | NA | NA | NA
Transmission Conductor and Splice Assessments | SCE | NA | NA | NA | NA

## VM Inspections
Vegetation Management Above Routine Vegetation Management | IOU | Risk Reduction Effectiveness | Ignition Reduction Effectiveness | Explanation of Difference in Effectiveness | Notes
Detailed Vegetation Inspections | SDG&E
Off-Cycle Patrol Inspections | SDG&E
Distribution Routine Patrol | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Second Patrol | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
VM for Operational Mitigations | PG&E | 9.65% | 9.65% | See Notes | This is a mitigation program with similar scope as EVM, and until we have further data, is assumed to have the same effectiveness as EVM. The scope of the program is focused on high vegetation impacted EPSS circuits.
Tree Removal Inventory | PG&E | 2.58% | 2.58% | See Notes | PG&E's Tree Removal Inventory program includes re-inspecting trees identified in the EVM program. Certain trees will remain in the inspection protocol while others may be identified for removal. The effectiveness calculation assumes that removing dead trees is 100% effective but dead trees make up only a subset of all ignitions on the system.
Focused Tree Inspections | PG&E | 9.65% | 9.65% | See Notes | This is a mitigation program with similar scope as EVM, and until we have further data, is assumed to have the same effectiveness as EVM. The scope of the program is focused on vegetation Areas of Concern.
Discontinued Programs | PG&E | 9.65% | 9.65% |  | PG&E assumes this is the Enhanced VM program (EVM). PG&E conducted its EVM (and predecessor) program from 2018 through 2022.
Transmission Routine NERC and Non-NERC | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Transmission Second Patrol | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Integrated Vegetation Management (IVM) | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Substations Defensible Space Inspection | PG&E | See Notes | See Notes | See Notes | PG&E has historically viewed inspections as a control (controls do not reduce risk themselves but maintain the level of risk).
Distribution Vegetation Management Plan (DVMP) (Routine Line Clearing) | SCE
Transmission Vegetation Management Plan (TVMP) (Routine Line Clearing) | SCE
Hazard Tree Management Plan (HTMP) | SCE
Dead and Dying Tree Removal | SCE
LiDAR | SCE
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Is this a control or risk mitigation? Reply: @Wong, Benson Is this a control or risk mitigation?