## Table 1
Table 1: Customers Notified and De-energized
Total Customers |  |  | Medical Baseline (MBL) Customers | Number of Counties | Number of Tribes | Number of Circuits |  |  | Damage / Hazard Count | Critical Facilities and Infrastructure De-energized
Notified | De-energized | Cancelled | De-energized | De-energized | De-energized | Transmission De-energized | Unique Distribution Circuits in Any Version of Scope | Distribution Circuits De-energized
5,769[1] | N/A | 5,768[2] | N/A | N/A | N/A | N/A | 33 | N/A | N/A | N/A
[1] In addition, Southern California Edison Company (SCE) also identified five shared customers (non-residential) with PG&E on the Grapevine, Peak, and the Frozen circuits that were in scope for potential de-energization, all which were notified of their cancellation.
[2] Of the 5,769 customers notified in scope, one customer received a notice that they may be de-energized and did not receive a cancellation after being removed from scope. This was due to a technical error which caused a Customer Owned Line (COL) to be excluded from the cancellation notification. For further detail, please reference “Table 6: Notification Failure Causes”.

## Table 2
Table 2: 2022 PSPS Risk-Benefit Consequence Modelling Considerations
Consequence Type | Wildfire Consequence Considerations | PSPS Consequence Considerations
Safety | Calculated based on maximum population impacts derived from Technosylva wildfire simulation models and a fatality ratio based on National Fire Protection Association (NFPA) data . | Calculated from an estimate of Equivalent Fatalities (EF) per Million Customer Minutes Interrupted (MMCI).The EF/MMCI ratio is estimated from previous PG&E PSPS events and other large external outage events.[1]
Reliability | N/A | Calculated directly from the potential number of customers impacted and outage duration based on customer minutes interrupted.
Financial | Calculated based on maximum building impacts derived from Technosylva wildfire simulation models and a cost per structure burned previously evaluated in 2020 RAMP Report.[2] | Calculated based on two financial estimates 1) distribution of a lump sum cost of execution across all relevant circuits and 2) an estimated proxy cost per customer per PSPS event.[3]
[1] Previous PG&E PSPS events include 2019-2020 events, and other large external outage events include the 2003 Northeast Blackout in New York City, 2011 Southwest Blackout in San Diego, 2012 Derecho Windstorms, 2012 Superstorm Sandy, and 2017 Hurricane Irma.
[2] See A.20-06-012.
[3] The assumptions used in these calculations, including the proxy cost per customer per PSPS event, are subject to be updated and are not intended to prejudge or create precedent with regard to the development of more precise values of resiliency or cost of PSPS metrics being considered in other ongoing proceedings at the California Public Utilities Commission, such as the Risk-Based Decision-Making Rulemaking [R.20.07.013] and the Microgrid and Resiliency Strategies

## Table 3
Table 3: Notification Descriptions
Type of Notification | Recipients | Description
PRIORITY NOTIFICATION: 48-72 hours in advance of anticipated de-energization | Public Safety Partners[1] | On October 19, 2022 PG&E’s Meteorology Team noted a potential weather event and updated the weather forecast on pge.com/weather to “elevated” in certain parts of the service territory. At this time, local PG&E representatives called each County OES in PG&E’s electrical service territory and select cities and Tribes to inform them that PG&E is monitoring an increased potential of PSPS outages. Following PG&E’s activation of its EOC for potential PSPS outages, the following actions were completed:
· PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E’s EOC has been activated and that PG&E is monitoring for a potential PSPS Event. · PG&E sent notifications to other Public Safety Partners[2] via call, text and e-mail; these notifications included the following information:.
o Estimated window of the de-energization time.
o When weather is anticipated to pass.
o Estimated Time of Restoration (ETOR).
o For Public Safety Partners only: Links to the PSPS Portal where event-specific maps and information are available.
WATCH NOTIFICATION: 24-48 hours in advance of anticipated de-energization | Public Safety Partners, All Customers (including MBL Allowance program customers and SIV customers), and transmission-level customers | During this time, the following was completed:
· PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them of a scope change.
· PG&E sent notifications to other Public Safety Partners, transmission-level customers, and all customers via call, text message and e-mail; these notifications included the following information:
o Estimated window of the de-energization time.
o When the adverse weather is anticipated to pass.
o Estimated Time of Restoration (ETOR).
o For Public Safety Partners only: Links to the PSPS Portal.
o For Customers only: Potentially impacted addresses, links to PSPS Updates webpage with Community Resource Center information, and resources for customers with access and functional needs, including but not limited to information on the MBL Allowance program, Meals on Wheels, language support, and the Portable Battery Program.
o For transmission-level customers only: Transmission Substation Name and Line name serving substation
· PG&E sent notifications to MBL Allowance program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirmed receipt of the notification.
Customer notifications were provided in English, with information on how to get event information in 16 non-English languages, referred to herein as “translated languages”[3]. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
WARNING NOTIFICATION: 1-4 hours in advance of anticipated de-energization, if possible | Public Safety Partners, All Customers (including MBL Allowance program customers and SIV customers), and transmission-level customers | When forecasted weather conditions showed that a safety shutoff was approved to move forward, and power would be de-energized in approximately 1-4 hours, the following was completed:
· PG&E submitted a PSPS Notification Form to Cal OES and sent an e-mail to the CPUC notifying them that PG&E has made the decision to de-energize.
· PG&E sent notifications to other Public Safety Partners, transmission-level customers, and customers; these notifications included the same key event timing information and resource links as the “Watch Notification.”
· PG&E sent notifications to MBL Allowance program customers, including tenants of master metered accounts, and SIV customers every hour until the customer confirmed receipt of the notification.
· PG&E also attempted to send Cancellation Notifications to Public Safety Partners and customers within two hours of being removed from scope; this was to inform them that power would not be shut off.
Customer notifications were provided in English, with information on how to get event information in translated languages. Customers with their language preference selected in their PG&E accounts received in-language (translated) notifications. Public Safety Partner notifications were provided in English.
POWER OFF NOTIFICATION: When de-energization is initiated | Public Safety Partners, All Customers (including MBL Allowance program customers and SIV customers), and Transmission-level customers[4] | Not applicable; for the October 22 – 24 Weather Event, PG&E did not de-energize customers for a PSPS.
WEATHER “ALL-CLEAR”/ETOR UPDATE NOTIFICATION: Immediately before re-energization begins | Public Safety Partners, All Customers (including MBL Allowance program customers and SIV customers), and Transmission-level customers | Not applicable; for the October 22 – 24 Weather Event, PG&E did not de-energize customers for a PSPS.
RESTORATION NOTIFICATION: When re-energization is complete | Public Safety Partners, All Customers (including MBL Allowance program customers and SIV customers), and Transmission-level customers | Not applicable; for the October 22 – 24 Weather Event, PG&E did not de-energize customers for a PSPS.
[1] Transmission-level customers were not notified during the 48-72 hour notification timeframe as no transmission-level customers were in scope.
[2] Other Public Safety Partners refers to first/emergency responders at the local, state, and federal level, water, wastewater, and communication service providers, affected community choice aggregators, publicly-owned utilities/electrical cooperatives, the CPUC, the California Governor’s Office of Emergency Services, and the California Department of Forestry and Fire Protection.
[3] Translated languages refers to Spanish, Chinese (Mandarin and Cantonese), Vietnamese, Tagalog, Korean, Russian, Arabic, Punjabi, Farsi, Japanese, Khmer, Hmong, Thai, Hindi, and Portuguese. A language is prevalent if it is spoken by 1,000 or more persons in the utility’s territory or if it’s spoken by 5 percent or more of the population within a “public safety answering point” in the utility territory (D.20-03-004). Details on the community outreach efforts for PSPS and wildfire-related outreach
[4] Transmission-level customers receive a GCC live call before de-energization and prior to re-energization. GCC call did not take place during this event, as transmission-level customers were not de-energized.

## Table 4
Table 4: Customer Notification Timeline Summary Prior to De-energization for October 22-24, 2022 Weather Event [1]
Event Order | Minimum Timeline [2] | Notification Sent to: | Approximate Time Sent (PDT) | Message | Notes | Who made the Notification
Pre-De-energization (Prior) | 72-48 hours | Local/Tribal Governments and CCAs* | 2022-10-19 16:48 | Priority |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-19 18:28 | Priority |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-20 20:04 | Priority |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-20 20:05 | Priority |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-20 14:09 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-19 17:20 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-19 18:47 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-20 09:53 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-20 14:20 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-20 20:11 | Priority |  | PG&E
|  | Public Safety Partners** | 2022-10-20 21:26 | Priority |  | PG&E
|  | Critical Infrastructure | 2022-10-20 18:52 | Priority |  | SCE
|  | Critical Infrastructure | 2022-10-20 19:37 | Priority |  | SCE
| 48-24 hours | Local/Tribal Governments and CCAs* | 2022-10-20 09:43 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-20 16:00 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-21 12:20 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-21 17:48 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-21 11:54 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-22 05:37 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-22 05:36 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-22 15:19 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-22 23:59 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 08:03 | Watch |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 08:15 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-20 16:23 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-21 12:17 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-21 12:34 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-21 18:16 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-22 15:40 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-23 08:13 | Watch |  | PG&E
|  | Public Safety Partners** | 2022-10-23 08:31 | Watch |  | PG&E
|  | Critical Infrastructure | 2022-10-21 01:51 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-21 17:19 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-21 17:52 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-21 18:03 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-22 01:03 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-22 15:43 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-22 16:22 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-22 18:01 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-22 23:22 | Watch |  | SCE
|  | Critical Infrastructure | 2022-10-23 15:00 | Watch |  | SCE
|  | All Customers*** | 2022-10-20 16:23 | Watch |  | PG&E
|  | All Customers*** | 2022-10-21 12:17 | Watch |  | PG&E
|  | All Customers*** | 2022-10-21 12:34 | Watch |  | PG&E
|  | All Customers*** | 2022-10-21 18:16 | Watch |  | PG&E
|  | All Customers*** | 2022-10-22 15:40 | Watch |  | PG&E
|  | All Customers*** | 2022-10-23 08:13 | Watch |  | PG&E
|  | All Customers*** | 2022-10-23 08:31 | Watch |  | PG&E
| 4-1 hours | Local/Tribal Governments and CCAs* | 2022-10-22 06:56 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-22 22:55 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 04:17 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 05:53 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 15:16 | Cancel |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 15:25 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 19:28 | Warning |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-23 21:05 | Cancel |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-24 05:33 | Cancel |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-24 08:47 | Cancel |  | PG&E
|  | Local/Tribal Governments and CCAs* | 2022-10-24 11:28 | Cancel |  | PG&E
|  | Public Safety Partners** | 2022-10-22 07:13 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-22 07:26 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-22 14:03 | Cancel |  | PG&E
|  | Public Safety Partners** | 2022-10-22 20:38 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-22 21:57 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-23 04:37 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-23 06:11 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-23 15:27 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-23 15:32 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-23 19:48 | Warning |  | PG&E
|  | Public Safety Partners** | 2022-10-23 21:08 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-24 06:32 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-24 08:47 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Public Safety Partners** | 2022-10-24 11:18 | Cancel | Only Public Safety Partners removed from scope received the cancel notification. | PG&E
|  | Critical Infrastructure | 2022-10-23 20:47 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-23 21:18 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-23 22:14 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 03:46 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 04:01 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 04:17 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 05:14 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 09:45 | Warning |  | SCE
|  | Critical Infrastructure | 2022-10-24 11:13 | Cancel |  | SCE
|  | Critical Infrastructure | 2022-10-24 17:24 | Cancel |  | SCE
|  | Critical Infrastructure | 2022-10-24 17:33 | Cancel |  | SCE
|  | Critical Infrastructure | 2022-10-24 17:39 | Cancel |  | SCE
|  | All Customers*** | 2022-10-22 07:06 | Warning |  | PG&E
|  | All Customers*** | 2022-10-22 07:26 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-22 20:38 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-22 21:57 | Warning |  | PG&E
|  | All Customers*** | 2022-10-23 04:37 | Warning |  | PG&E
|  | All Customers*** | 2022-10-23 06:11 | Warning |  | PG&E
|  | All Customers*** | 2022-10-23 15:27 | Warning |  | PG&E
|  | All Customers*** | 2022-10-23 15:32 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-23 19:48 | Warning |  | PG&E
|  | All Customers*** | 2022-10-23 21:08 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-24 06:32 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-24 08:47 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
|  | All Customers*** | 2022-10-24 11:18 | Cancel | Only Customers removed from scope received the cancel notification. | PG&E
Initiation (During) | Immediately before re-energization | N/A | N/A | Inspecting/Weather All-Clear |  | N/A
Restoration (After) | After re-energization was completed | N/A | N/A | Restore |  | N/A
[1] SCE’s account manager reached out to their customers.
[2] Decision 19-05-042, Appendix A, Timing of Notification.

## Table 5
Table 5: Notifications to Customers where Positive or Affirmative Notification was Attempted
Designation | Total Number of customers | Notification Attempts Made | Timing of Attempts | Who made the Notification Attempt | Successful Positive Notification
Medical Baseline[1] | 460 | 20,311 Watch Notifications | 10/20/2022 16:14 PDT | PG&E | 12,328 Watch Notifications
|  | 23,065 Warning Notifications | 10/21/2022 09:05 PDT |  | 7,650 Warning Notifications
|  | 43,452 Overall Notifications | 10/20/2022 16:14 PDT |  | 20,009 Overall Notifications
MBL behind a master meter | 1 | 4 Watch Notifications | 10/20/2022 16:15 PDT | PG&E | 1 Watch Notification
|  | 0 Warning Notifications | N/A |  | N/A
|  | 4 Overall Notifications | 10/20/2022 16:15 PDT |  | 1 Overall Notification
Self-Identified Vulnerable | 78 | 3,530 Watch Notifications | 10/20/2022 16:14 PDT | PG&E | 2,098 Watch Notifications
|  | 4,532 Warning Notifications | 10/21/2022 10:41 PDT |  | 1,095 Warning Notifications
|  | 8,089 Overall Notifications | 10/20/2022 16:14 PDT |  | 3,212 Overall Notifications
[1] Residential tenants of master-metered customers can also qualify for Medical Baseline quantities. The Medical Baseline category for the purposes of Table 5 Notifications to customers where positive or affirmative notification was attempted does not include Medical Baseline program customers who are master meter tenants.

## Table 6
Table 6: Notification Failure Causes
Notifications Sent to: | Notification Type | Notifications Delayed | Timing of Notifications | Explanation of Delay | Notification Failures | Explanation of Failure
Public Safety Partners excluding Critical Facilities and Infrastructure[1] | 48-to 72-hour priority notification | N/A | N/A | N/A | N/A | N/A
| 1–4-hour imminent notification. | N/A | N/A | N/A | N/A | N/A
| Any notifications before de-energization | N/A | N/A | N/A | N/A | N/A
| Immediately before re-energization | N/A | N/A | N/A | N/A | N/A
| Cancellation notification within two hours of the decision to cancel | 9 agencies | · For 6 agencies, these notifications were sent starting approximately 24 minutes after the end of the 2-hour window. • For 3 agencies, these notifications were sent starting approximately 22 minutes after the end of the 2-hour window. | See Table 6A | 2 agencies | For this event, there were also 2 cities that did not receive automated cancellation notifications regarding the removal from scope. This is because the internal notifications team was focused on county-level cancellation notifications, rather than city-level, resulting in a human error of not identifying the 2 cities that required cancellation notifications. PG&E will continue to further refine the quality assurance and quality control process of notification files ahead of sending to ensure accurate and timely notifications, as well as mitigate potential human error.
Critical Facilities and Infrastructure[2] | 48-to 72-hour priority notification | N/A | N/A | N/A | N/A | N/A
| 1–4-hour imminent notification. | N/A | N/A | N/A | N/A | N/A
| Any notifications before de-energization | N/A | N/A | N/A | N/A | N/A
| De-energization initiation | N/A | N/A | N/A | N/A | N/A
| Immediately before re-energization | N/A | N/A | N/A | N/A | N/A
| When re-energization is complete | N/A | N/A | N/A | N/A | N/A
| Cancellation notification within two hours of the decision to cancel | 149 facilities | · 28 customers: sent approximately 9 minutes after the end of the 2-hour window. · 21 customers: sent approximately 23 minutes after the end of the 2-hour window. • 9 customers: sent approximately 58 minutes after the end of the 2-hour window. • 32 customers: sent approximately 3 hours and 44 minutes after the end of the 2-hour window. • 59 customers: sent approximately 41 minutes after the end of the 2-hour window. | See Table 6B | 0 | N/A
All other affected customers | 24–48-hour priority notifications | N/A | N/A | N/A | N/A | N/A
| 1–4-hour imminent notifications | N/A | N/A | N/A | N/A | N/A
| Any notifications before de-energization | N/A | N/A | N/A | N/A | N/A
| At de-energization initiation | N/A | N/A | N/A | N/A | N/A
| Immediately before re-energization. | N/A | N/A | N/A | N/A | N/A
| When re-energization is complete. | N/A | N/A | N/A | N/A | N/A
| Cancellation notification within two hours of the decision to cancel | 4,037 customers | • 748 customers: sent approximately 9 minutes to 48 minutes after the end of the 2-hour window. [3] (This includes the one Transmission-fed customer that was descoped during this event.) • 529 customers: sent approximately 23 minutes to 53 minutes after the end of the 2-hour window. • 461 customers: sent approximately 58 minutes after the end of the 2-hour window. • 1,317 customers: sent approximately 3 hours and 44 minutes to 4 hours and 4 minutes after the end of the 2-hour window. | See Table 6C | 1 customer | This was caused by a technical issue which caused a customer who owned primary facilities (Customer Owned Lines (COLs))[4] to be excluded from the cancellation notification. PG&E coordinates with customers who have COLs to ensure the customer confirms their COLs are safe for re-energization We are taking steps to address this technical issue, as discussed in Lessons Learned.
[1] Only includes cities, counties, Tribes, and community choice aggregators
[2] Includes Public Safety Partners who are critical facilities and infrastructure customers
[3] PG&E's notification vendor begins to launch the first notification within our notification file at the beginning of the campaign once approval has provided. Once the delivery of that notification is complete, the vendor will continue to launch the notifications until all customers within that file have been contacted. This may cause a difference in time between the first and last customer notified based on the size of the file provided.
[4] Customer Owned Lines (COL): Customer Owned Lines are third party owned and operated power lines interconnected to PG&E’s system. These distribution customers are metered at primary voltage. Customer owned facilities are third party facilities on the customer’s side of the meter. These customer owners are responsible for maintenance and operation of their line and equipment.

## Table 6A
Table 6A: Explanation of Delayed Cancellation Notifications to Public Safety Partners Excluding Critical Facilities and Infrastructure
Agency Count | Time Notifications Sent | Explanation for Delay
9 | · For 6 agencies, these notifications were sent starting approximately 24 minutes after the end of the 2-hour window. · For 3 agencies, these notifications were sent starting approximately 22 minutes after the end of the 2-hour window. | When a change in weather conditions necessitates a change in the event scope, PG&E executes a complex process that ensures accurate and consistent information is shared across multiple channels which include the Secured PSPS Portal, Website, Agency notifications and customer notifications. • PG&E Updates the above-mentioned channels in a specific order. This order is intended to both comply with regulatory guidelines and prevent customer confusion by ensuring information parity across multiple channels as Agency and Customer notifications are directed to these other channels for details. • Due to the complexity, this process takes approximately two hours to complete. Our decisions to de-energize or remove customers from PSPS scope are based on real-time weather observations. Ahead of this season, PG&E established efficiencies so that agency and customer cancellation notifications could be sent within two hours of a decision. Due to the amount of required steps to meet notification requirements, any delays or unforeseen issues can cause us to issue notifications outside of the two-hour cancellation notification requirement. For this event, PG&E made every attempt to provide notification of cancellation within two hours of the decision to descope, per the Phase 3 requirement.

## Table 6B
Table 6B: Explanation of Delayed Cancellation Notifications to Critical Facilities and Infrastructure
Customer Count | Time Notifications Sent | Explanation for Delay
49 | · 28 customers: sent approximately 9 minutes after the end of the 2-hour window. · 21 customers: sent approximately 23 minutes after the end of the 2-hour window. | When a change in weather conditions necessitates a change in the event scope, PG&E executes a complex process that ensures accurate and consistent information is shared across multiple channels which include the Secured PSPS Portal, Website, Agency notifications, and, customer notifications. • PG&E Updates the above-mentioned channels in a specific order. This order is intended to both comply with regulatory guidelines and prevent customer confusion by ensuring information parity across multiple channels as Agency and Customer notifications are directed to these other channels for details. • Due to the complexity, this process takes approximately two hours to complete. Our decisions to de-energize or remove customers from PSPS scope are based on real-time weather observations. Ahead of this season, PG&E established efficiencies so that agency and customer cancellation notifications could be sent within two hours of a decision. Due to the amount of required steps to meet notification requirements, any delays or unforeseen issues can cause us to issue notifications outside of the two-hour cancellation notification requirement. For this event, PG&E made every attempt to provide notification of cancellation within two hours of the decision to descope, per the Phase 3 requirement.
9 | · Sent approximately 58 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by two primary factors: 1. Reviewing files: Due to the complex timing of this weather event [1] , additional time was needed to review one of the files needed for the PSPS Portal. We performed this review to ensure that our agency partners received accurate information, at the cost of a delay to the notification process. 2. Delay in publishing files into the PSPS Portal: To ensure that steps in the notification process were completed in the correct sequence, our team waited for additional approvals before publishing files to the PSPS Portal. This was the first set of notifications sent in this event based on scope changes from the monitoring of real-time weather conditions – this necessitated a faster pace than the previous notifications based on scope changes from forecasted weather conditions, which provided time to prepare before the decision to descope. This resulted in some uncertainty in the approvals necessary for this step. This uncertainty was resolved for subsequent notifications sent in this event.
32 | · Sent approximately 3 hours and 44 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by four primary factors: 1. Concurrent Notification Prioritization: The timing of the shift in real-time weather observations which caused this decision to descope resulted in cancellation notifications coinciding with the timing of Watch and Warning notifications for other sets of customers. This meant we needed to send three different types of notifications to three different groups of customers within a similar time frame. This overlap of notifications led to prioritizing notifications and resulted in a delayed start to the notification process after the decision to descope. 2. Ensuring accuracy of information: In the process of validating the new plan used to generate notification files, we identified an error in the plan. Before proceeding with notifications, our team decided to correct this error to ensure our customers would receive the most accurate information. Generating a new plan to correct this error increased the time needed to notify customers of the cancellation. 3. Prepping Files: Because the timing of the Watch and Warning notifications for other sets of customers coincided with the timing of the decision to descope, our team decided to create the files for these the Watch and Warning notifications alongside the files for the Cancellation notifications. This decision was made to ensure that customers who needed to be notified prior to de-energization would receive their Watch and Warning notifications before it was too late in the evening. However, this decision increased the time needed to both generate and review these notification files, delaying the launch of cancellation notifications. 4. Fixing Address Lookup Tool: The Address Lookup Tool for the PG&E website contained an error, requiring it to be corrected. We decided to correct this issue before launching cancellation notifications to ensure that customers received accurate and consistent information
59 | · Sent approximately 41 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by two primary factors: 1. Updating files to match the latest scope: To reduce the time needed for notifying customers of cancellation after the decision to descope, our team attempted to generate some of the files needed for this process prior to the decision to descope. When weather conditions changed, it led to different areas being descoped. This meant that the files generated prior to that decision could no longer be used, and the plan had to be modified to show the actual areas descoped in that decision. The modification of this plan took longer, and necessitated notification files to be regenerated and newly reviewed, causing a delay in the notification process. 2. Time needed to review files: Due to the complex timing of this weather event, this meant additional time was needed to review one of the files needed for the PSPS Portal. We chose to perform this review to ensure that our agency partners received accurate information, at the cost of a delay to the notification process.
[1] This weather event included three waves of severe weather, starting at significantly different times. This is illustrated by “Figure 1: Event Timelines.”

## Table 6C
Table 6C: Explanation of Delayed Cancellation Notifications to All Other Affected Customers
Customer Count | Time Notifications Sent | Explanation for Delay
1277 | · 748 customers: sent approximately 9 minutes to 48 minutes after the end of the 2-hour window. [1] (This includes the one Transmission-fed customer that was descoped during this event.) • 529 customers: sent approximately 23 minutes to 53 minutes after the end of the 2-hour window. | When a change in weather conditions necessitates a change in the event scope, PG&E executes a complex process that ensures accurate and consistent information is shared across multiple channels which include the Secured PSPS Portal, Website, Agency notifications, and customer notifications. • PG&E Updates the above-mentioned channels in a specific order. This order is intended to both comply with regulatory guidelines and prevent customer confusion by ensuring information parity across multiple channels as Agency and Customer notifications are directed to these other channels for details. • Due to the complexity, this process takes approximately two hours to complete. Our decisions to de-energize or remove customers from PSPS scope are based on real-time weather observations. Ahead of this season, PG&E established efficiencies so that agency and customer cancellation notifications could be sent within two hours of a decision. Due to the amount of required steps to meet notification requirements, any delays or unforeseen issues can cause us to issue notifications outside of the two-hour cancellation notification requirement. For this event, PG&E made every attempt to provide notification of cancellation within two hours of the decision to descope, per the Phase 3 requirement.
461 | • Sent approximately 58 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by two primary factors: 1. Reviewing files: Due to the complex timing of this weather event , additional time was needed to review one of the files needed for the PSPS Portal. We performed this review to ensure that our agency partners received accurate information, at the cost of a delay to the notification process. 2. Delay in publishing files into the PSPS Portal: To ensure that steps in the notification process were completed in the correct sequence, our team waited for additional approvals before publishing files to the PSPS Portal. This was the first set of notifications sent in this event based on scope changes from the monitoring of real-time weather conditions this necessitated a faster pace than the previous notifications based on scope changes from forecasted weather conditions, which provided time to prepare before the decision to descope. This resulted in some uncertainty in the approvals necessary for this step. This uncertainty was resolved for subsequent notifications sent in this event.
1317 | • Sent approximately 3 hours and 44 minutes to 4 hours and 4 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by four primary factors: 1. Concurrent Notification Prioritization: The timing of the shift in real-time weather observations which caused this decision to descope resulted in cancellation notifications coinciding with the timing of Watch and Warning notifications for other sets of customers. This meant we needed to send three different types of notifications to three different groups of customers within a similar time frame. This overlap of notifications led to prioritizing notifications and resulted in a delayed start to the notification process after the decision to descope. 2. Ensuring accuracy of information: In the process of validating the new plan used to generate notification files, we identified an error in the plan. Before proceeding with notifications, our team decided to correct this error to ensure our customers would receive the most accurate information. Generating a new plan to correct this error increased the time needed to notify customers of the cancellation. 3. Prepping Files: Because the timing of the Watch and Warning notifications for other sets of customers coincided with the timing of the decision to descope, our team decided to create the files for these the Watch and Warning notifications alongside the files for the Cancellation notifications. This decision was made to ensure that customers who needed to be notified prior to de-energization would receive their Watch and Warning notifications before it was too late in the evening. However, this decision increased the time needed to both generate and review these notification files, delaying the launch of cancellation notifications. 4. Fixing Address Lookup Tool: The Address Lookup Tool for the PG&E website contained an error, requiring it to be corrected. We decided to correct this issue before launching cancellation notifications to ensure that customers received accurate and consistent information.
982 | • Sent approximately 41 minutes to 42 minutes after the end of the 2-hour window. | Beyond the time needed for the process itself, these customers experienced an additional delay caused by two primary factors: 1. Generating files: To reduce the time needed for notifying customers of cancellation after the decision to descope, our team attempted to generate some of the files needed for this process prior to the decision to descope. When Weather conditions changed, it led to different areas being descoped. This meant that the files generated prior to that decision could no longer be used, and the plan had to be modified to show the actual areas descoped in that decision. The modification of this plan too longer and necessitated notification files to be regenerated and newly reviewed, causing a delay in the notification process. 2. Reviewing files: Due to the complex timing of this weather event [2], additional time was needed to review one of the files needed for the Secured PSPS Portal. We performed this review to ensure that our agency partners received accurate information, at the cost of a delay to the notification process.
[1] PG&E's notification vendor begins to launch the first notification within our notification file at the beginning of the campaign once approval is provided. Once the delivery of that notification is complete, the vendor will continue to launch the notifications until all customers within that file have been contacted. This may cause a difference in time between the first and last customer notified based on the size of the file provided.
[2] This weather event included three waves of severe weather, starting at significantly different times. This is illustrated by “Figure 1: Event Timelines.”

## Table 7
Table 7: PSPS Portal Time & Date for Map Sharing
Date | Time PDF Maps Shared | Time GIS Layers Shared
2022-10-19 | 14:43 PDT | 14:43 PDT
2022-10-20 | 13:56 PDT | 13:56 PDT
2022-10-21 | 11:42 PDT | 11:42 PDT
2022-10-22 | 06:47 PDT | 06:47 PDT
2022-10-22 | 13:38 PDT | 13:38 PDT
2022-10-22 | 18:44 PDT | 18:44 PDT
2022-10-23 | 03:49 PDT | 03:49 PDT
2022-10-23 | 14:58 PDT | 14:58 PDT
2022-10-23 | 20:52 PDT | 20:52 PDT
2022-10-24 | 05:25 PDT | 05:25 PDT
2022-10-24 | 07:45 PDT | 07:45 PDT

## Table 8
Table 8: Customer Notifications Based on Language Preference
Language | Total Notifications[1] | Percent
English | 440429 | 99.5%
Spanish | 1993 | 0.45%
Vietnamese | 136 | 0.03%
Chinese-Cantonese | 96 | 0.02%
Total | 442654 | 100%
[1] Total notifications do not include doorbell rings and Live Agent phone calls.

## Table 9
Table 9: Call Center Support Services[1]
Total Calls Handled | PSPS Calls Handled | Average Response Time for PSPS-related Calls (Seconds) | Number of calls handled by Call Center Translation Services | Number of languages Supported by Call Center Translation Services
68340 | 795 | 7 | 1369 | 32
[1] Metrics are provided from October 19, 2022 through October 24, 2022.

## Table 10
Table 10: PG&E Website Traffic for October 22-24 Weather Event
Web Page | Unique Visitors | Visits | Page Views
PG&E’s Website (pge.com) | 722901 | 892600 | 1387450
PG&E’s Emergency Website (pgealerts.alerts.pge.com) [1], [2] | 140898 | 199876 | 414714
[1] The PSPS Event Updates page is at the following link: pgealerts.alerts.pge.com/updates. PG&E also uses the following shortened URL for the same site: www.pge.com/pspsupdates.
[2]The emergency website metrics are a subset of the pge.com/ website traffic reported.

## Table 11
Table 11: Unique Visitors to the Translated Versions of PG&E’s Website for the October 22-24 Weather Event
Language | Unique Visitors | Percent
English | 709111 | 98.09%
Spanish | 12445 | 1.72%
Chinese | 622 | 0.09%
Tagalog | 520 | 0.07%
Russian | 34 | 0%
Korean | 31 | 0%
Khmer | 29 | 0%
Arabic | 19 | 0%
Portuguese | 18 | 0%
Hmong | 18 | 0%
Hindi | 16 | 0%
Thai | 14 | 0%
Japanese | 12 | 0%
Vietnamese | 11 | 0%
Farsi | 9 | 0%
Punjabi | 8 | 0%
Grand Total[1] | 722917 | 100%[2]
[1] There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.
[2] Total percentage is rounded to the nearest hundred.

## Table 12
Table 12: Unique Visitors to the Translated Versions of PG&E’s Emergency Website for the October 22-24 Weather Event
Language | Unique Visitors | Percent
English | 140552 | 99.75%
Spanish | 310 | 0.22%
Chinese | 59 | 0.04%
Portuguese | 6 | 0%
Thai | 4 | 0%
Korean | 4 | 0%
Hmong | 4 | 0%
Tagalog | 3 | 0%
Farsi | 3 | 0%
Vietnamese | 3 | 0%
Japanese | 2 | 0%
Arabic | 2 | 0%
Russian | 2 | 0%
Hindi | 1 | 0%
Khmer | 1 | 0%
Junjabi | 1 | 0%
Grand Total[1] | 140957 | 100%[2]
[1] There is some overlap in unique visitors by language because some visitors viewed webpages in different languages.
[2] Total percentage is rounded to the nearest hundred.

## Table 13
Table 13: Generators Available for Critical Facilities and Infrastructure Customers
Generator Type | Number of Units | Individual Size (MW) | Run Time (Hrs.)[1] | Description
Diesel Generator | 1 | 0.275 | 29 | 1 unit staged at an ICU Hospital
Diesel Generator | 12 | 0.5 | 23 | 6 units pre-staged at three ICU Hospitals, 6 units on reserve in Sacramento
Diesel Generator | 10 | 1 | 21 | 7 units pre-staged at five ICU Hospitals, 3 units in reserve in Sacramento
Diesel Generator | 9 | 1.25 | 20 | 6 units pre-staged at three ICU Hospitals, 3 on reserve in Sacramento
Diesel Generator | 4 | 2 | 11 | 4 units pre-staged at two ICU Hospitals
[1] Estimated based on a 75% load. Barring mechanical failure and refueling the temporary generators have the ability to operate continuously throughout a typical PSPS event.

## Table 14
Table 14: Critical Facility and Infrastructure Customers Energized with Backup Generation
County | Site Type | Generation Deployed | Duration of Operation | Reason Deployed
N/A | N/A | N/A | N/A | N/A

## Table 15
Table 15: Number and Nature of Complaints due to the October 22-24 Weather Event
Nature of Complaints | Number of Complaints
Communications/Notifications | 15
Including, but not limited to complaints regarding lack of notice, excessive notices, confusing notice, false alarm notice, problems with getting up-to-date information, inaccurate information provided, not being able to get information in the prevalent languages and/or information accessibility, complaints about website, Public Safety Partner Portal, Representational State Transfer (REST)/Digital Asset Manager (DAM) sites (as applicable).
PSPS Frequency/Duration | 4
Including, but not limited to complaints regarding the frequency and/or duration of PSPS events, including delays in restoring power, scope of PSPS and dynamic of weather conditions.
Safety/Health Concern | 3
Including, but not limited to complaints regarding difficulties experienced by AFN/MBL populations, traffic accidents due to non-operating traffic lights, inability to get medical help, well water or access to clean water, inability to keep property cool/warm during outage raising health concern.
General PSPS Dissatisfaction/Other | 17
Including, but not limited to complaints about being without power during PSPS event and related hardships such as food loss, income loss, inability to work/attend school, plus any PSPS-related complaints that do not fall into any other category.
Outreach/Assistance | 2
Including, but not limited to complaints regarding Community Resource Centers, community crew vehicles, backup power, hotel vouchers, other assistance provided by utility to mitigate impact of PSPS.

## Table 16
Table 16: Lessons Learned from the PSPS Event
Issue | Discussion | Resolution
Technology | Opportunities to improve the user interface in data sources, so that there are more options in how to view/sort/filter the data related to potential weather windows and de-energization. | There are no short-term responding actions. This will require a longer-term resolution and will be considered for the 2023 technology upgrade.
Technology | The address search tool was temporarily unavailable in this event from Sunday night at 21:40 PDT until 11:00 PDT Monday morning due to a system issue. | Plan to expand the amount of files allowed by the system as a temporary resolution.
Technology | Due to technical system issues, the single COL was not captured in the notification file and did not receive the cancellation | PG&E will make modifications to the necessary tools to ensure COL customers are included in cancellation files moving forward
Customer Notification | PG&E made every attempt to provide notification of the cancellation of a PSPS event, or removal from scope, by notifying all affected entities, including public safety partners, however did not perform these cancellations within the target of two hours of the decision to cancel for portions of the overall 10/22 PSPS event scope | There were limited opportunities to reduce this timeline in event as there were challenges with technology and event complexity, including overlapping notification windows for multiple customer populations. For future events, we plan to examine areas of improvement both from a technology and a process perspective.
Customer Notification | Five SCE customers were potentially impacted by the Weather Event which required close coordination with our SCE partners. | Coordination was successful overall. However, further refinement of the process to ensure more timely updates to our SCE partners is needed.
Data Sharing and Reporting | Overlooked a note regarding SCE shared customers in the CalOES notification form. | Added a note regarding shared SCE customers in the "notes" section at the bottom of the notification form and continued to include the note in each submission of the CalOES notification form.
Agency Notification | We notified 18 counties, cities and federally recognized tribes at least 5 times across the event; 4 of these agencies received 1 notification with missing and/or incorrect estimated de-energization, weather all-clear and restoration timing. | Additional notifications were sent to agencies to provide corrected information.
Agency Notification | Received feedback that agencies do not want to receive notifications overnight. | Agency partners were informed that this is a requirement from the CPUC and that their feedback will be shared with the Commission.
Emergency Preparedness and Response | File creation and movement is time-sensitive and relies on processes that are error prone. | There are no short-term responding actions. This will require a longer-term resolution and will be considered for 2023.

## Table A-1.1
Table A-1.1: Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 22-24 Weather Event
Circuit Name | cfpd | flame_ | rate_of_ | area_ | ws_ | wg_ | ws_ | temp_ | rh_ | vpd2m_ | dfm_ | dfm_ | dfm_ | lfm_ | lfm_ | lfm_ | prob_ | prob_ | prob_ | sum_ | prob_ | RFW | GACC_ | open_ | transmission_ | Actual ws_ mph | Actual rh_ min
|  | length_ | spread_ | acres_ | mph | ec_ | mph_ | 2m_f | 2m | mb | 10hr | 100hr | 1000hr | herb | chamise_ | woody | large | cat | large_ | tree_ | ignition |  | HighRisk | psps_ | impacts_
|  | ft_2hr | chhr_2hr | 8hr |  | mph | 50m | [7 empty] | new |  |  |  | or_cat | ovr |  |  |  | tags | yes_no
ARBUCKLE 1104 | 9 | 17 | 23 | 36 | 81 | 9.9 | 45.6 | 4332.8 | 11.9 | 26.9 | 0.654 | 0.061 | 0.089 | 0.104 | 37 | 61 | 63 | 477.9 | 0.0006915 | 3.9 | No | No | No | No | 20 | 32 | 66
BIG BEND 1101 | 13 | 18 | 30 | 42 | 76 | 16.8 | 47.1 | 2870.1 | 14.7 | 22.4 | 0.734 | 0.056 | 0.076 | 0.08 | 42 | 70 | 66 | 88659.2 | 0.0023597 | 12.3 | No | No | No | No | 26 | 40 | 69
CALISTOGA 1101 | 11 | 27 | 35 | 49 | 74 | 21.7 | 44.1 | 2752.1 | 14.8 | 20.3 | 0.605 | 0.064 | 0.094 | 0.101 | 52 | 64 | 67 | 62182.1 | 0.0018242 | 9.6 | No | No | No | No | 40 | 56 | 70
CALPINE 1144 | 17 | 23 | 36 | 53 | 77 | 14.6 | 50.8 | 2744 | 13.9 | 23.6 | 0.604 | 0.06 | 0.082 | 0.09 | 54 | 64 | 67 | 3736.7 | 0.0043264 | 19.8 | No | No | No | No | 29 | 45 | 66
CANTUA 1103 | 7 | 19 | 22 | 37 | 78 | 11.4 | 66.9 | 6750.6 | 14.9 | 23.2 | 0.678 | 0.055 | 0.081 | 0.093 | 30 | 61 | 62 | -99 | 0.0004771 | 3.2 | No | No | No | No | 24 | 34 | 52
CLARK ROAD 1102 | 13 | 27 | 32 | 42 | 76 | 12.6 | 46.7 | 2441.2 | 14.9 | 22.4 | 0.734 | 0.056 | 0.079 | 0.089 | 42 | 78 | 66 | 21285.1 | 0.0023597 | 12.3 | No | No | No | No | 26 | 40 | 69
COALINGA NO 2 1105 | 7 | 26 | 34 | 45 | 79 | 7.1 | 52.6 | 5997 | 15.6 | 25.4 | 0.739 | 0.056 | 0.081 | 0.092 | 30 | 62 | 63 | -99 | 0.0014323 | 10.1 | No | No | No | No | 24 | 34 | 52
CORNING 1101 | 4 | 20 | 27 | 42 | 78 | 10.6 | 54.1 | 6738 | 12.4 | 26.3 | 0.652 | 0.057 | 0.086 | 0.095 | 34 | 69 | 64 | 6259.9 | 0.0017514 | 9.7 | No | No | No | No | 29 | 38 | 70
CORNING 1102 | 4 | 24 | 31 | 45 | 78 | 11.8 | 57.4 | 5350.1 | 12.7 | 26.8 | 0.627 | 0.051 | 0.074 | 0.084 | 43 | 62 | 64 | 1979 | 0.0023054 | 11.2 | No | No | No | No | 23 | 42 | 69
CORTINA 1101 | 8 | 22 | 27 | 38 | 82 | 11 | 62.4 | 4448.1 | 12.3 | 29 | 0.725 | 0.058 | 0.084 | 0.098 | 35 | 62 | 64 | 18.4 | 0.0005875 | 3.8 | No | No | No | No | 21 | 31 | 68
COTTONWOOD 1101 | 2 | 17 | 24 | 36 | 79 | 11.1 | 44.8 | 3958.1 | 14.1 | 27.6 | 0.653 | 0.055 | 0.083 | 0.091 | 36 | 80 | 64 | 7616.1 | 0.0005651 | 3.2 | No | No | No | No | 15 | 29 | 71
COTTONWOOD 1102 | 1 | 16 | 22 | 35 | 79 | 8.6 | 33.8 | 2228.6 | 14.6 | 28.2 | 0.504 | 0.055 | 0.079 | 0.089 | 56 | 79 | 64 | 5633.5 | 0.000595 | 2.2 | No | No | No | No | 20 | 30 | 71
COTTONWOOD 1103 | 2 | 14 | 22 | 32 | 78 | 8.5 | 30.3 | 2166.8 | 13.2 | 26.7 | 0.549 | 0.059 | 0.088 | 0.097 | 36 | 79 | 64 | 1117.4 | 0.0005241 | 2.2 | No | No | No | No | 12 | 24 | 70
CRESTA 1101 | 13 | 16 | 27 | 38 | 74 | 9.5 | 25.2 | 977.2 | 13.6 | 22.3 | 0.596 | 0.056 | 0.075 | 0.083 | 57 | 74 | 67 | 3924.9 | 0.0005607 | 2.5 | No | No | No | No | 26 | 40 | 60
ELK CREEK 1101 | 5 | 20 | 23 | 39 | 79 | 15.4 | 79.7 | 10988 | 12.6 | 27.5 | 0.727 | 0.052 | 0.075 | 0.086 | 32 | 58 | 64 | 3559.7 | 0.0008606 | 4.9 | No | No | No | No | 22 | 33 | 72
GIRVAN 1101 | 1 | 20 | 25 | 42 | 79 | 11.5 | 35.5 | 3324.8 | 15.5 | 28.1 | 0.592 | 0.053 | 0.075 | 0.085 | 53 | 74 | 64 | 7696.9 | 0.0018303 | 10.3 | No | No | No | No | 20 | 30 | 68
GLENN 1101 | 4 | 20 | 24 | 35 | 78 | 4.8 | 31.6 | 1905.9 | 13.8 | 25.8 | 0.367 | 0.055 | 0.08 | 0.091 | 81 | 63 | 66 | -99 | 0.0004432 | 1.6 | No | No | No | No | 21 | 34 | 69
HIGHLANDS 1103 | 15 | 19 | 28 | 42 | 79 | 11.6 | 50.2 | 5229.7 | 13.8 | 25.6 | 0.677 | 0.06 | 0.087 | 0.096 | 42 | 59 | 67 | 1149.6 | 0.0018307 | 11.4 | No | No | No | No | 23 | 39 | 65
JESSUP 1101 | 1 | 14 | 19 | 31 | 78 | 8.6 | 29.5 | 1849.7 | 15.5 | 27.2 | 0.538 | 0.054 | 0.078 | 0.088 | 57 | 77 | 65 | 7072.7 | 0.0006328 | 2.4 | No | No | No | No | 14 | 26 | 70
LOGAN CREEK 2102 | 5 | 18 | 22 | 36 | 78 | 7.2 | 50.9 | 5485.4 | 12.1 | 25.8 | 0.521 | 0.055 | 0.082 | 0.094 | 51 | 62 | 65 | 547 | 0.0005031 | 2.4 | No | No | No | No | 20 | 30 | 72
MADISON 1105 | 10 | 16 | 23 | 36 | 81 | 5.9 | 50.8 | 5293.5 | 11.7 | 26.7 | 0.543 | 0.06 | 0.088 | 0.103 | 32 | 61 | 64 | 13.4 | 0.0005739 | 2.9 | No | No | No | No | 24 | 33 | 67
MADISON 2101 | 9 | 20 | 27 | 37 | 80 | 8.6 | 54 | 5980.4 | 11.8 | 25.6 | 0.591 | 0.06 | 0.086 | 0.1 | 30 | 60 | 64 | 86.4 | 0.0009783 | 5.6 | No | No | No | No | 23 | 36 | 70
MAXWELL 1105 | 8 | 20 | 25 | 37 | 80 | 9.8 | 60.6 | 7095.1 | 11.8 | 26.7 | 0.627 | 0.057 | 0.082 | 0.095 | 32 | 61 | 63 | 261 | 0.000524 | 3.1 | No | No | No | No | 21 | 32 | 67
MIDDLETOWN 1101 | 11 & 17 | 15 | 22 | 38 | 75 | 20.4 | 41 | 3908.6 | 14.6 | 21.6 | 0.582 | 0.063 | 0.091 | 0.103 | 50 | 67 | 68 | 18170.4 | 0.0011877 | 6.8 | No | No | No | No | 40 | 56 | 65
PUTAH CREEK 1102 | 10 | 19 | 25 | 38 | 81 | 6.6 | 46.5 | 3782.9 | 12.1 | 26.6 | 0.607 | 0.06 | 0.094 | 0.107 | 33 | 60 | 63 | 948.4 | 0.0011476 | 5.1 | No | No | No | No | 24 | 33 | 66
PUTAH CREEK 1105 | 10 | 20 | 27 | 37 | 81 | 6 | 52.9 | 6725 | 11.9 | 26.7 | 0.499 | 0.059 | 0.086 | 0.1 | 31 | 61 | 63 | 39.8 | 0.0007542 | 3.2 | No | No | No | No | 24 | 33 | 66
RED BLUFF 1101 | 2 | 15 | 22 | 34 | 79 | 7.4 | 31.5 | 2416.5 | 13 | 26.9 | 0.615 | 0.057 | 0.087 | 0.096 | 35 | 80 | 64 | 727.5 | 0.0005083 | 3 | No | No | No | No | 26 | 36 | 72
TEJON 1102 | 16 | 30 | 39 | 51 | 72 | 37.1 | 69.2 | 6005.4 | 13.5 | 19.3 | 0.597 | 0.066 | 0.099 | 0.103 | 31 | 61 | 65 | 1490.6 | 0.002002 | 11.1 | No | No | No | No | 18 | 27 | 59
TYLER 1105 | 3 | 16 | 24 | 36 | 79 | 5.6 | 34.4 | 3794.6 | 12.6 | 27 | 0.545 | 0.058 | 0.087 | 0.096 | 32 | 75 | 63 | 1480.6 | 0.0006166 | 2.9 | No | No | No | No | 26 | 36 | 70
VOLTA 1101 | 12 | 20 | 31 | 47 | 71 | 19.2 | 33.2 | 2690.5 | 13.6 | 20.2 | 0.718 | 0.056 | 0.072 | 0.074 | 36 | 61 | 68 | 96081.9 | 0.0025729 | 11.3 | No | No | No | No | 25 | 34 | 59
WESTLEY 1103 | 6 | 22 | 30 | 37 | 78 | 7.2 | 62.7 | 9259.4 | 15.2 | 22.6 | 0.696 | 0.063 | 0.09 | 0.099 | 30 | 62 | 61 | -99 | 0.0009174 | 6.3 | No | No | No | No | 22 | 32 | 68

## Table A-1.2
Table A-1.2: Description, Units, and Value provided for Factors Considered in the Decision to Shut Off Power for Each Distribution Circuit De-energized During the October 22-24 Weather Event
Value | Unit | Value provided | Description
Forecast | ws_mph | Sustained wind speeds | mph
Forecast | ws_mph_50m | Sustained wind speeds at 50 m | mph
Forecast | wg_ec_mph | Forecasted Peak Wind Gust | mph
Forecast | temp_2m_f | Temperature | degrees F
Forecast | flame_length_ft_2hr | Flame length | ft
Forecast | rate_of_spread_chhr_2hr | Rate of spread | chains/hr
Forecast | area_acres_8hr | Acres burned | acres
Forecast | rh_2m | Relative Humidity | %
Forecast | vpd2m_mb | Vapor Pressure Deficit | mb
Agency | HWW | High Wind Warning | N/A
Agency | HWA | High Wind Advisory | N/A
Agency | RFW | Red Flag Warning | N/A
Agency | GACC_HighRisk | GACC High Risk | N/A
Forecast | prob_cat | Fire Potential Index (FPI) | probability outputs
Forecast | dfm_10hr | Dead Fuel Moisture Content 10 hrs | fuel moisture fraction
Forecast | dfm_100hr | Dead Fuel Moisture Content 100 hrs | fuel moisture fraction
Forecast | dfm_1000hr | Dead Fuel Moisture Content 1000 hrs | fuel moisture fraction
Forecast | lfm_herb | Live Fuel Moisture Content-herbacous | %
Forecast | lfm_woody | Live Fuel Moisture Content-woody | %
Forecast | lfm_chamise_new | Live Fuel Moisture Content-shrub | %
Forecast | sum_tree_ovr | Tree Overstike | ft
Forecast | prob_ignition | Ignition Probability Weather (IPW) Model Output | Probability
Forecast | cfpd | Catastrophic Fire Probability (CFPD) | Scaled Probability
Observed | Observed ws_mph | Observed Sustained Wind Speed during Event | mph
Observed | Observed wg_mph | Observed Peak Wind Gust during Event | mph
Observed | Observed temp_f | Observed Temperature during Event | degrees F
Observed | Observed RH_% | Observed Relative Humidity During Event | %
Observed | Observed ws_mph_AC | Observed Sustained Wind Speed at All Clear | mph
Observed | Observed wg_mph_AC | Observed Peak Wind Gust at All Clear | mph
Observed | Observed temp_f_AC | Observed Temperature at All Clear | degrees F
Observed | Observed RH_%_AC | Observed Relative Humidity at All Clear | %
Observed | open_psps_tags | Open PSPS Qualified Tags | N/A
Observed | Tx_impacts_yes_no | Impacted by Transmission | N/A

## Table E-1
Table E-1. Public Safety Partners Contacted
Organization/Jurisdiction | Title | HFTD Tier | Date/Time Contacted
Butte County | CAO | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Division Chief | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Fire Chief | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | General | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | General CAL FIRE | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | General Services Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | OES Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Probation Officer | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Public Health Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Sargent | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County | Sheriff | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Communication Facility | AT&T Mobility | Tier 3 | 10/20/2022 20:11 PDT
Butte County Communication Facility | AT&T Services Inc | Tier 3 | 10/20/2022 20:11 PDT
Butte County Emergency Services Facility | County of Butte | Tier 3 | 10/20/2022 20:11 PDT
Butte County Other Facility | California Department of Forestry | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:11 PDT
Butte County Tribal | Casino Director of Security | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Chairman | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Chairwoman | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Executive Administrative Assistant | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Restoration Ecologist | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Tribal Administration | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Tribal Administrative Officer | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Tribal Chairman | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Butte County Tribal | Vice Chairwoman | Tier 2, Tier 3, Zone 1 | 10/20/2022 20:05 PDT
Colusa County | Deputy Chief | Tier 2 | 10/19/2022 16:49 PDT
Colusa County | Director | Tier 2 | 10/19/2022 16:49 PDT
Colusa County | Division Chief | Tier 2 | 10/19/2022 16:49 PDT
Colusa County | General | Tier 2 | 10/19/2022 16:49 PDT
Colusa County | MHOAC | Tier 2 | 10/19/2022 16:49 PDT
Colusa County | OES Lieutenant | Tier 2 | 10/19/2022 16:49 PDT
Colusa County Communication Facility | AT&T | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Communication Facility | AT&T Mobility LLC | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Communication Facility | AT&T Services Inc | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Communication Facility | Citizens Telecommunications of California | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Communication Facility | Frontier Communications Corporations DIP | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Communication Facility | GTE Mobilnet of California LP | Tier 2 | 10/19/2022 17:20 PDT
Colusa County Emergency Services Facility | California Department of Forestry | N/A | 10/19/2022 17:20 PDT
Colusa County Emergency Services Facility | County of Colusa | N/A | 10/19/2022 17:20 PDT
Colusa County Energy Sector Facility | City of Santa Clara | N/A | 10/19/2022 17:20 PDT
Colusa County Tribal | Chairperson | Tier 2 | 10/19/2022 16:49 PDT
Colusa County Water and Waste Water Facility | California Department of Forestry | N/A | 10/19/2022 17:20 PDT
Colusa County Water and Waste Water Facility | County of Colusa | Tier 2 | 10/19/2022 17:20 PDT
Fresno County | Alternate OES Lieutenant | N/A | 10/19/2022 18:29 PDT
Fresno County | Assistant OES Director | N/A | 10/19/2022 18:29 PDT
Fresno County | Chair of the Board | N/A | 10/19/2022 18:29 PDT
Fresno County | County Executive Officer | N/A | 10/19/2022 18:29 PDT
Fresno County | Emergency | N/A | 10/19/2022 18:29 PDT
Fresno County | Emergency Manager | N/A | 10/19/2022 18:29 PDT
Fresno County | Facility Services | N/A | 10/19/2022 18:29 PDT
Fresno County | MHOAC | N/A | 10/19/2022 18:29 PDT
Fresno County | OES Director of Emergency Services | N/A | 10/19/2022 18:29 PDT
Fresno County | OES Lieutenant | N/A | 10/19/2022 18:29 PDT
Fresno County | Patrol Captain | N/A | 10/19/2022 18:29 PDT
Fresno County | Sheriff | N/A | 10/19/2022 18:29 PDT
Fresno County | Unit Chief | N/A | 10/19/2022 18:29 PDT
Fresno County Communication Facility | American Tower Corporation | N/A | 10/19/2022 18:47 PDT
Fresno County Communication Facility | AT&T Services Inc | N/A | 10/19/2022 18:47 PDT
Fresno County Communication Facility | Pinnacle Towers Inc | N/A | 10/19/2022 18:47 PDT
Fresno County Communication Facility | Sprint Corporation | N/A | 10/19/2022 18:47 PDT
Fresno County Tribal | Chairman | N/A | 10/19/2022 18:29 PDT
Fresno County Tribal | Chairperson | N/A | 10/19/2022 18:29 PDT
Fresno County Tribal | President | N/A | 10/19/2022 18:29 PDT
Fresno County Tribal | Tribal Secretary | N/A | 10/19/2022 18:29 PDT
Glenn County | CAO | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Cal Fire Tehama-Glenn | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Deputy Director | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Fire Chief | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | General | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Planning Director; Designated POC | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Sheriff | Tier 2 | 10/19/2022 16:49 PDT
Glenn County | Unit Chief | Tier 2 | 10/19/2022 16:49 PDT
Glenn County Communication Facility | American Tower Corporation | Tier 2 | 10/19/2022 17:20 PDT
Glenn County Communication Facility | AT&T Mobility | Tier 2 | 10/19/2022 17:20 PDT
Glenn County Communication Facility | AT&T Services Inc | Tier 2 | 10/19/2022 17:20 PDT
Glenn County Communication Facility | Verizon | Tier 2 | 10/19/2022 17:20 PDT
Glenn County Emergency Services Facility | County of Glenn | Tier 2 | 10/19/2022 17:20 PDT
Glenn County Emergency Services Facility | Elk Creek Fire District | Tier 2 | 10/19/2022 17:21 PDT
Glenn County Tribal | Chairman | Tier 2 | 10/19/2022 16:49 PDT
Glenn County Tribal | Interim Tribal Secretary | Tier 2 | 10/19/2022 16:49 PDT
Glenn County Tribal | Tribal Administrator | Tier 2 | 10/19/2022 16:49 PDT
Glenn County Water and Waste Water Facility | Elk Creek Community Service | Tier 2 | 10/19/2022 17:20 PDT
Kern County | CAO | N/A | 10/20/2022 20:06 PDT
Kern County | Emergency | N/A | 10/20/2022 20:06 PDT
Kern County | Emergency Supervisor | N/A | 10/20/2022 20:06 PDT
Kern County | Fire Chief | N/A | 10/20/2022 20:06 PDT
Kern County | General | N/A | 10/20/2022 20:06 PDT
Kern County | MHOAC | N/A | 10/20/2022 20:06 PDT
Kern County | Manager; Designated POC | N/A | 10/20/2022 20:06 PDT
Kern County Communication Facility | AT&T Mobility LLC | Tier 2 | 10/20/2022 20:11 PDT
Kern County Communication Facility | AT&T Services Inc | Tier 2 | 10/20/2022 20:11 PDT
Kern County Communication Facility | Sprint Nextel Corporation | Tier 2 | 10/20/2022 20:11 PDT
Kern County Communication Facility | T-Mobile West LLC | Tier 2 | 10/20/2022 20:11 PDT
Kern County Communication Facility | Verizon | Tier 2 | 10/20/2022 20:11 PDT
Kern County Emergency Services Facility | California Highway Patrol | Tier 2 | 10/20/2022 20:11 PDT
Kern County Emergency Services Facility | County of Kern | Tier 2 | 10/20/2022 20:11 PDT
Kern County Tribal | Chairperson | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Environmental Director | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Historic Preservation Officer | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Housing Committee | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Tribal Administrator | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Tribal Chair | N/A | 10/20/2022 20:06 PDT
Kern County Tribal | Tribal Chairman | N/A | 10/20/2022 20:06 PDT
Kern County Water and Waste Water Facility | Lebec County Water District | Tier 2 | 10/20/2022 20:11 PDT
Lake County | Battalion Chief | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Chair of the Board | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | County Administrative Officer | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Division Chief | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Fire Chief | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | General | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Health Services Director | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Lieutenant | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Sheriff | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Special Districts Administrator | Tier 2, Tier 3 | 10/20/2022 14:10 PDT
Lake County | Dispatch | Tier 2, Tier 3 | 10/20/2022 14:11 PDT
Lake County Communication Facility | AT&T Services Inc | Tier 3 | 10/20/2022 14:20 PDT
Lake County Communication Facility | AT&T Mobility LLC | Tier 2 | 10/21/2022 12:32 PDT
Lake County Communication Facility | Mediacom California LLC | N/A | 10/21/2022 12:32 PDT
Lake County Tribal | Chairman | N/A | 10/20/2022 14:10 PDT
Lake County Tribal | Cultural Resources | N/A | 10/20/2022 14:10 PDT
Lake County Tribal | Environmental Director | N/A | 10/20/2022 14:10 PDT
Lake County Tribal | Tribal Administrator | N/A | 10/20/2022 14:10 PDT
Lake County Tribal | Vice Chairperson | N/A | 10/20/2022 14:10 PDT
Monterey County | OES Director | Tier 2, Tier 3 | 10/19/2022 18:00 PDT
Monterey County | Emergency Services Coordinator | Tier 2, Tier 3 | 10/19/2022 18:00 PDT
Monterey County | Duty Officer (24/7) | Tier 2, Tier 3 | 10/19/2022 18:00 PDT
Monterey County Communication Facility | American Tower Corporation | N/A | 10/19/2022 18:47 PDT
Napa County | County Executive Officer | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Emergency Services Manager | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Emergency Services Officer | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | GIS | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | General | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | LNU Command Center | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Napa County Fire Chief | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Napa County Fire Operations Chief | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Sheriff | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County | Under-Sheriff | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Napa County CCA | General | N/A | 10/20/2022 14:10 PDT
Napa County Communication Facility | AT&T Mobiltiy LLC | Tier 3 | 10/20/2022 14:20 PDT
Napa County Communication Facility | City of Napa | Tier 3 | 10/20/2022 14:20 PDT
Napa County Communication Facility | T-Mobile West Corporation | Tier 3 | 10/20/2022 14:20 PDT
San Benito County | Emergency Services Manager | Tier 2 | 10/19/2022 18:00 PDT
San Benito County | Duty Officer (24/7) | Tier 2 | 10/19/2022 18:00 PDT
San Benito County | Emergency Services Coordinator | Tier 2 | 10/19/2022 18:00 PDT
San Benito County CCA | General | N/A | 10/19/2022 18:29 PDT
San Benito County Communication Facility | American Tower Corporation | N/A | 10/19/2022 18:47 PDT
San Benito County Tribal | Chairperson | N/A | 10/19/2022 18:29 PDT
Shasta County | CEO | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Chief, County Fire Warden | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Chief, Northern Operations | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | District Director | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | ECC | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Fire Chief | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | General | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Lieutenant | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | OES | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | OES Officer | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Sergeant | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Sheriff | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Supervisor | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County | Undersheriff | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County Communication Facility | Happy Valley Telephone Co | Tier 2 | 10/19/2022 17:20 PDT
Shasta County Emergency Services Facility | California Department of Forestry | Tier 2 | 10/19/2022 17:20 PDT
Shasta County Emergency Services Facility | County of Shasta | Tier 2 | 10/19/2022 17:20 PDT
Shasta County Tribal | Administrative Assistant | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County Tribal | Chairman | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County Tribal | Maintenance Supervisor | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County Tribal | Senior Director | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Shasta County Tribal | Tribal Leader | Tier 2, Tier 3, Zone 1 | 10/19/2022 16:49 PDT
Sonoma County | General | Tier 2, Tier 3, Zone 1 | 10/21/2022 10:00 PDT
Sonoma County | OES Director | Tier 2, Tier 3, Zone 1 | 10/21/2022 10:00 PDT
Sonoma County | Community Alert & Warning Manager | Tier 2, Tier 3, Zone 1 | 10/21/2022 10:00 PDT
Sonoma County | DEM Duty Officer | Tier 2, Tier 3, Zone 1 | 10/21/2022 10:00 PDT
Sonoma County | Deputy Director | Tier 2, Tier 3, Zone 1 | 10/21/2022 10:00 PDT
Sonoma County | CAO | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Communications & Engagement Coordinator | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | County Supervisor, District 5 | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | DEM Duty Officer | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Deputy Director | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | EMS | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | EMS Dispatch | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Emergency Coordinator | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Emergency Manager | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | General | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | MHOAC | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Main Office | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | OES Director | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Public Health Officer | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Sheriff | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Sheriff Dispatch | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Sheriff's Liaison | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Unit Chief | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:48 PDT
Sonoma County | Community Alert & Warning Manager | Tier 2, Tier 3, Zone 1 | 10/24/2022 8:49 PDT
Sonoma County CCA | General | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Chairperson | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Chairwoman | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Grants Administrator | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | OES Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | TANF Director | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Tribal Administrator | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Tribal Preservation Officer | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Vice Chairperson | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:10 PDT
Sonoma County Tribal | Chairman | Tier 2, Tier 3, Zone 1 | 10/20/2022 14:11 PDT
Stanislaus County | OES Coordinator | Tier 2 | 10/19/2022 16:45 PDT
Stanislaus County | Fire Marshall | Tier 2 | 10/19/2022 16:45 PDT
Stanislaus County Communication Facility | Federal Bureau of Investigation | N/A | 10/19/2022 18:47 PDT
Tehama County | Administrative Analyst | Tier 2 | 10/19/2022 16:49 PDT
Tehama County | CAO; Designated POC | Tier 2 | 10/19/2022 16:49 PDT
Tehama County | Cal Fire Tehama-Glenn | Tier 2 | 10/19/2022 16:49 PDT
Tehama County | Communications Supervisor | Tier 2 | 10/19/2022 16:49 PDT
Tehama County | OES Director | Tier 2 | 10/19/2022 16:49 PDT
Tehama County | Unit Chief | Tier 2 | 10/19/2022 16:49 PDT
Tehama County Communication Facility | AT&T Mobility | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | AT&T Mobility LLC | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | AT&T Services Inc | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | Ducor Telephone Co | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | Ducor Telephone Company Inc | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | Ducor Telephone Corp | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Communication Facility | Frontier Communications Corporation DIP | Tier 2 | 10/20/2022 20:11 PDT
Tehama County Corning | City Manager | Tier 2 | 10/19/2022 16:49 PDT
Tehama County Emergency Services Facility | California Department of Forestry | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Emergency Services Facility | County of Tehama | N/A | 10/20/2022 16:14 PDT
Tehama County Government - Jail Facility | California Department of Corrections | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Other Facility | California Department of Forestry | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Other Facility | Ducor Telephone Co | Tier 2 | 10/19/2022 17:20 PDT
Tehama County Red Bluff | City Manager | Tier 2 | 10/19/2022 16:49 PDT
Tehama County Red Bluff | Fire Chief | Tier 2 | 10/19/2022 16:49 PDT
Yolo County | EMS Administrator | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | Fire Chief | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | General | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | Interim OES Director | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | MHOAC | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | OES Coordinator | Tier 2 | 10/20/2022 14:10 PDT
Yolo County | Dispatch | Tier 2 | 10/20/2022 14:11 PDT
Yolo County | Non-Emergency | Tier 2 | 10/20/2022 14:11 PDT
Yolo County CCA | General | Tier 2 | 10/20/2022 14:10 PDT
Yolo County Communication Facility | AT&T Mobility LLC | Tier 2 | 10/20/2022 14:20 PDT
Yolo County Communication Facility | GTE Mobilnet of California LP | Tier 2 | 10/20/2022 14:20 PDT
Yolo County Communication Facility | Sprint Corporation | Tier 2 | 10/20/2022 14:20 PDT

## Table G-1
Table G-1. Community Resource Centers Provided by PG&E
# | County | Site Name | Address | Operating Hours (PDT) |  | Total Visitors | Indoor / Micro / Mobile | Amenities Provided
|  |  |  | Day 1 | Day 2
|  |  |  | Mon-DD | Mon-DD
1 | Colusa | Indian Valley Elementary School | 5180 Lodoga Stonyford Rd, Stonyford, CA 95979 | 0900 - 2200 | 0800 - 1415 | 26 | Outdoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
(Open Air Tents)
2 | Glenn | Elk Creek Junior Senior High School | 3430 Co Rd 309, Elk Creek, CA 95939 | 0800 - 2200 | 0800 - 1330 | 45 | Outdoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
(Open Air Tents)
3 | Tehama | Rancho Tehama Association | 17605 Park Terrace Road, Corning, CA 96021 | 0800 - 2200 | N/A | 392 | Outdoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
(Open Air Tents)
4 | Tehama | Flournoy Elementary School | 15850 Paskenta Rd, Flournoy, CA 96029 | 0800 – 2200 | N/A | 25 | Outdoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
(Open Air Tents)
5 | Tehama | Lassen Mineral Lodge | 18961 Husky Way , Mineral, CA 96063 | 0800 - 2200 | 0800 - 2200 | 87 | Outdoor | Wi-Fi, Restrooms, Water and Snacks, Blankets, Device Charging, Medical Device Charging
(Open Air Tents)