## ToC
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
WP_28-GrossLoad
Table of Contents
Tab | Description
1 | GROSS LOAD ENERGY AT METERS AND GENERATION
2 | RETAIL ENERGY SALES TO ENERGY AT GENERATION
3 | ELECTRIC DEPARTMENT COMPANY SALES AND LOADS
4 | METERED KWH FROM CLASS KW
5 | ENERGY AT METERS AND GENERATION SILICON VALLEY POWER
6 | HELMS PUMP LOADS
7 | FUNCTIONALIZED SYSTEM AVERAGE LOSS FACTORS

## 1
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
GROSS LOAD ENERGY AT METERS AND GENERATION
Rate Year Forecast
WP_28-GrossLoad 1
|  | Col 1 | Col 2
|  | Energy @ Meters | Energy @ Gen
Line | Description | (kWh) | (kWh) | Source | Line
100 | Total Retail | 83145291678.7545 | 91248865650.307 | WP_28-GrossLoad-2, L. 114, cols 3 and 5 | 100
101 | SVP Grizzly | 0 | 0 | WP_28-GrossLoad-5, L. 112, cols 2 and 3 | 101
102 | Total Electric | 83145291678.7545 | 91248865650.307 | Line 100 + Line 101 | 102

## 2
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
RETAIL ENERGY SALES TO ENERGY AT GENERATION
Rate Year Forecast
WP_28-GrossLoad 2
| Col 1 | Col 2 |  | Col 3 |  | Col 4 |  | Col 5 | Col 6
= (Col 3 * Col 4)
|  |  |  | ENERGY @ |  | LOSS |  | ENERGY @ | ENERGY @
|  |  |  | METER |  | FACTORS |  | GENERATION | METER
|  | METERED KWH |  | KWH |  |  |  | KWH | KWH
Line | RETAIL CLASSES | from CLASSKW Report | Reference |  | Reference |  | Reference |  | COS Customer Classes | Reference | Line
100 | Residential (350 & 351) |  |  | 32115283727.6768 | WP_28-GrossLoad 3, L. 102 * 1000 | 1.1077 | Line 116 | 35574099785.1475 | 32115283727.6768 | Line 100, Col 3 | 100
101 | Agriculture (354) |  |  | 6423719463.4509 | WP_28-GrossLoad 3, L. 108 * 1000 | 1.1077 | Line 116 | 7115554049.6646 | 6423719463.4509 | Line 101, Col 3 | 101
102 | Streetlights (355) |  |  | 276035712.9035 | WP_28-GrossLoad 3, L. 109 * 1000 | 1.1077 | Line 116 | 305764759.1832 | 276035712.9035 | Line 102, Col 3 | 102
103 | Small L&P (352) |  |  | 7920269271.232 | WP_28-GrossLoad 3, L. 103 * 1000 | 1.1077 | Line 116 | 8773282271.7437 | 7920269271.232 | Line 103, Col 3 | 103
104 | Medium L&P, Trans | 135491030 | WP_28-GrossLoad 4, L. 112, col 1 | 136477048.6317 | Col 2, Line 104 / Line 107 * Col 3, Line 107 | 1.036 | Line 118 | 141386673.9792 | 136477048.6317 | Line 104, Col 3 | 104
105 | Medium L&P, Primary | 1418394080 | WP_28-GrossLoad 4, L. 112, col 2 | 1428716261.4018 | Col 2, Line 105 / Line 107 * Col 3, Line 107 | 1.0555 | Line 117 | 1507977707.1217 | 1428726261.4018 | Col 3, Line 105 + (0.02* Line 112) | 105
106 | Medium L&P, Secondary | 20371881815 | WP_28-GrossLoad 4, L. 112, col 3 | 20520135577.868 | Col 2, Line 106 / Line 107 * Col 3, Line 107 | 1.1077 | Line 116 | 22896309179.6044 | 20670135577.868 | Col 3, Line 106 + (0.5* Line 113) | 106
107 | Medium L&P, Total (353) | 21925766925 | Sum Lines 104 - 106 | 22085328887.9015 | WP_28-GrossLoad 3, L. 104 * 1000 | [5 empty] | 107
108 | Large L&P, Trans | 6870173326 | WP_28-GrossLoad 4, L. 112, col 4 | 6446174543.1852 | Col 2, Line 108 / Line 111 * Col 3, Line 111 | 1.036 | Line 118 | 6678069226.2018 | 6446174543.1852 | Line 108, Col 3 | 108
109 | Large L&P, Primary | 6210976382 | WP_28-GrossLoad 4, L. 112, col 5 | 5827660517.7418 | Col 2, Line 109 / Line 111 * Col 3, Line 111 | 1.0555 | Line 117 | 6151438026.9609 | 5828150517.7418 | Col 3, Line 109 + (0.98* Line 112) | 109
110 | Large L&P, Secondary | 1865447272 | WP_28-GrossLoad 4, L. 112, col 6 | 1750319554.6628 | Col 2, Line 110 / Line 111 * Col 3, Line 111 | 1.1077 | Line 116 | 2104983970.7 | 1900319554.6628 | Col 3, Line 110 + (0.5* Line 113) | 110
111 | Large L&P, Total (359) | 14946596980 | Sum Lines 108 - 110 | 14024154615.5898 | WP_28-GrossLoad 3, L. 106 * 1000 | [5 empty] | 111
112 | Public Authority (356) (a) |  |  | 500000 | WP_28-GrossLoad 3, L. 107 * 1000 | [5 empty] | 112
113 | Interdepartmental (360) (b) |  |  | 300000000 | WP_28-GrossLoad 3, L. 110 * 1000 | [5 empty] | 113
114 | Total @ Meter |  |  | 83145291678.7545 | Sum Lines 100-103, 107, 111-113 |  |  | 91248865650.307 | 83145291678.7545 | Sum Lines 100 -110 | 114
115 | Energy Loss Factors | [9 empty] | 115
116 | From Secondary to Generation |  |  | 1.1077 | WP_28-GrossLoad 7, L. 104, Col 3 | [5 empty] | 116
117 | From Primary to Generation |  |  | 1.0555 | WP_28-GrossLoad 7, L. 103, Col 3 | [5 empty] | 117
118 | From Transmission to Generation |  |  | 1.036 | WP_28-GrossLoad 7, L. 102, Col 3 | [5 empty] | 118
(a) Public Authority revenues are split 2% to Medium Light & Power Primary and 98% to Large Light &Power Primary.
(b) Interdepartmental revenues are split 50% to Medium Light & Power Secondary and 50% to Large Light &Power Secondary.

## 3
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
ELECTRIC DEPARTMENT
COMPANY SALES AND LOADS
WP_28-GrossLoad 3
RETAIL SALES FORECAST (MWH)
|  | See Note 1 | See Note 2 | See Note 3
Line | Description | Forecast | Received Energy | Forecast | Reference | Line
PG&E SALES AND LOADS:
RESIDENTIAL:
100 | INDIVIDUAL | 25921547.2169 | 5555491.8005 | 31477039.0174 |  | 100
101 | MASTER METER | 613074.07 | 25170.6403 | 638244.7102 |  | 101
102 | TOTAL | 26534621.2869 | 5580662.4408 | 32115283.7277 | Sum Lines 100, 101 | 102
LIGHT AND POWER:
103 | SMALL | 7235711.3419 | 684557.9293 | 7920269.2712 |  | 103
104 | MEDIUM | 21497268.2599 | 588060.628 | 22085328.8879 |  | 104
105 | TOTAL | 28732979.6019 | 1272618.5573 | 30005598.1591 | Sum Lines 103, 104 | 105
106 | LARGE LIGHT AND POWER: | 13898929.9644 | 125224.6512 | 14024154.6156 | See Note 1 | 106
107 | PUBLIC AUTHORITY: | 500 |  | 500 | See Note 1 | 107
108 | AGRICULTURE | 5261387.4473 | 1162332.0161 | 6423719.4635 | See Note 1 | 108
109 | STREET LIGHTING | 276035.7129 |  | 276035.7129 | See Note 1 | 109
110 | INTERDEPARTMENTAL | 300000 |  | 300000 | See Note 1 | 110
111 | TOTAL PG&E SALES @ Meter | 75004454.0134 | 8140837.6654 | 83145291.6788 | Sum Lines 102, 105, 106-110 | 111
Rate Year PEAK DEMAND FORECAST (MW)
| Description |  |  | Forecast
112 | PEAK DEMAND |  |  | 176109 |  | 112
Note 1: The sales forecasts are from PG&E's annual ERRA filing with the CPUC.
Note 2: Received Energy is forecast from RDA.
Note 3: Peak demand value was defined as the sum of the twelve monthly system peaks

## 4
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
Metered KWH from Class KW
Prior Year Recorded
WP_28-GrossLoad 4
|  | Col 1 | Col 2 | Col 3 | Col 4 | Col 5 | Col 6
|  | Medium Light & Power |  |  | Large Light & Power
Line |  | Transmission | Primary | Secondary | Transmission | Primary | Secondary | Line
100 | Jan | 10203443 | 113247947 | 1607566399 | 548905177 | 497508875 | 148669783 | 100
101 | Feb | 9766499 | 108029170 | 1495306997 | 557458030 | 467181539 | 138492073 | 101
102 | Mar | 10543231 | 115521844 | 1581418765 | 616835293 | 497388275 | 146025273 | 102
103 | Apr | 10930516 | 113420277 | 1579717231 | 572797511 | 497162694 | 145078179 | 103
104 | May | 11825597 | 119536333 | 1710836290 | 580854953 | 524253603 | 152877164 | 104
105 | Jun | 11895420 | 119073433 | 1771177991 | 594659488 | 523091508 | 151707990 | 105
106 | Jul | 12494879 | 131513909 | 1989817109 | 593720334 | 576894789 | 165417245 | 106
107 | Aug | 11947512 | 129411741 | 1911863064 | 602659674 | 569869201 | 166077344 | 107
108 | Sep | 11992113 | 124532379 | 1803740818 | 532383465 | 543905855 | 159102991 | 108
109 | Oct | 11815805 | 127915877 | 1821226924 | 582799412 | 553893329 | 166324456 | 109
110 | Nov | 10915449 | 108566362 | 1534501681 | 557742095 | 481757049 | 159869067 | 110
111 | Dec | 11160566 | 107624808 | 1564708546 | 529357894 | 478069665 | 165805707 | 111
112 | Total | 135491030 | 1418394080 | 20371881815 | 6870173326 | 6210976382 | 1865447272 | 112
113 | Grand Total | 21925766925 |  |  | 14946596980 |  |  | 113
Note 1: Data is from "table9a 2020 Total Meter - Kilowatt Hours Unaccountable Consumption" report which is from PG&E's Intergrated Data Analytics (IDA) database housed in Teradata, which uses customer, billing, and usage information from the Customer Care & Billing (CC&B) Database. The classes queried are AgGrp (Agricultural Group), LgtGrp (Lighting Group), LrgLP (Large Light and Power), MedLP (Medium Light and Power), ResGrp (Residential Group), and SmLp (Small Light and Power).

## 5
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
ENERGY AT METERS AND GENERATION
SILICON VALLEY POWER
RATE SCHEDULE FERC NO. 248
GRIZZLY POWER SALE
Rate Year Forecast
WP_28-GrossLoad 5
| Col 1 | Col 2 | Col 3
|  | Note 1 | Note 2
|  | kWH Sales | kWH Sales
Line | Month | at Meter | at Gen | Line
100 | JAN | 0 | 0 | 100
101 | FEB | 0 | 0 | 101
102 | MAR | 0 | 0 | 102
103 | APR | 0 | 0 | 103
104 | MAY | 0 | 0 | 104
105 | JUN | 0 | 0 | 105
106 | JUL | 0 | 0 | 106
107 | AUG | 0 | 0 | 107
108 | SEP | 0 | 0 | 108
109 | OCT | 0 | 0 | 109
110 | NOV | 0 | 0 | 110
111 | DEC | 0 | 0 | 111
112 | TOTAL | 0 | 0 | 112
Note 1: kWH Sales at Meter are recorded billing determinates from Invoices sent to SVP.
Note 2: KWH sales at meter multiplied by the HV energy loss factor from WP_28-GrossLoad 7, Line 101, Col 3

## 6
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
HELMS PUMP LOADS
Rate Year Forecast
WP_28-GrossLoad 6
Recorded Helms
Line | Year | Pumping (kWh) | Source | Notes | Line
100 | 2025 | 1327080543 | FF1 408, L. 10 |  | 100
101 | 2024 | 300817118 | FF1 408, L. 10 |  | 101
102 | 2023 | 1299050164 | FF1 408, L. 10 |  | 102
103 | 2022 | 876155670 | FF1 408, L. 10 |  | 103
104 | 2021 | 1367765150 | FF1 408, L. 10 |  | 104
105 | 2020 | 978654714 | FF1 408, L. 10 |  | 105
106 | 2019 | 1042986575 | FF1 408, L. 10 |  | 106
107 | 2018 | 1212364607 | FF1 408, L. 10 |  | 107
108 | 2017 | 1161566490 | FF1 408, L. 10 | FF1 Value * 1000 to get kWh | 108
109 | 2016 | 1359241000 | FF1 408, L. 10 | FF1 Value * 1000 to get kWh | 109
110 |  | 1092568203.1 | Average of Lines 100-109 |  | 110

## 7
Pacific Gas and Electric Company
TO Tariff Rate Year 2027
FUNCTIONALIZED SYSTEM AVERAGE LOSS FACTORS
WP_28-GrossLoad 7
|  | Demand Loss Factors |  | Energy Loss Factors
|  | Col 1 | Col 2 | Col 3 | Col 4
|  | Meter to | Generation | Meter to | Generation
Line | TRANSMISSION (Note 1) | Generation | to Meter | Generation | to Meter | Line
100 | Generation Tie Output (High Voltage Input) | 1.0021 | 0.99789 | 1.0019 | 0.99815 | 100
101 | High Voltage Output (Low Voltage Input) | 1.0232 | 0.97732 | 1.02 | 0.98041 | 101
102 | Low Voltage Output (Primary Distn. Input) | 1.0435 | 0.9583 | 1.036 | 0.96527 | 102
DISTRIBUTION (Note 2)
103 | Primary Output (Secondary Input) | 1.0741 | 0.93097 | 1.0555 | 0.94745 | 103
104 | Secondary Output | 1.1385 | 0.87836 | 1.1077 | 0.90277 | 104
Note 1: Transmission Loss Factors are from the "Transmission Loss Factors Study", dated May 14, 2010 and from the "TO-14_TandD_LossFactors.xlsx" worksheet.
Note 2: Distribution Loss Factors are from the "Distribution Loss Values for theTO-8 Filing" study, updated for TO14, and from the "TO-14_TandD_LossFactors.xlsx" worksheet.