## ToC
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
WP_28-GrossLoad
Table of Contents
Tab | Description
1 | GROSS LOAD ENERGY AT METERS AND GENERATION
2 | RETAIL ENERGY SALES TO ENERGY AT GENERATION
3 | ELECTRIC DEPARTMENT COMPANY SALES AND LOADS
4 | METERED KWH FROM CLASS KW
5 | ENERGY AT METERS AND GENERATION SILICON VALLEY POWER
6 | HELMS PUMP LOADS
7 | FUNCTIONALIZED SYSTEM AVERAGE LOSS FACTORS

## 1
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
GROSS LOAD ENERGY AT METERS AND GENERATION
Rate Year Forecast
WP_28-GrossLoad 1
|  | Col 1 | Col 2
|  | Energy @ Meters | Energy @ Gen
Line | Description | (kWh) | (kWh) | Source | Line
100 | Total Retail | 84688373095.1416 | 92949169392.0981 | WP_28-GrossLoad-2, L. 114, cols 3 and 5 | 100
101 | SVP Grizzly | 0 | 0 | WP_28-GrossLoad-5, L. 112, cols 2 and 3 | 101
102 | Total Electric | 84688373095.1416 | 92949169392.0981 | Line 100 + Line 101 | 102

## 2
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
RETAIL ENERGY SALES TO ENERGY AT GENERATION
Rate Year Forecast
WP_28-GrossLoad 2
| Col 1 | Col 2 |  | Col 3 |  | Col 4 |  | Col 5 | Col 6
= (Col 3 * Col 4)
|  |  |  | ENERGY @ |  | LOSS |  | ENERGY @ | ENERGY @
|  |  |  | METER |  | FACTORS |  | GENERATION | METER
|  | METERED KWH |  | KWH |  |  |  | KWH | KWH
Line | RETAIL CLASSES | from CLASSKW Report | Reference |  | Reference |  | Reference |  | COS Customer Classes | Reference | Line
100 | Residential (350 & 351) |  |  | 31990583782.3548 | WP_28-GrossLoad 3, L. 102 * 1000 | 1.1077 | Line 116 | 35435969655.7144 | 31990583782.3548 | Line 100, Col 3 | 100
101 | Agriculture (354) |  |  | 6575146246.193 | WP_28-GrossLoad 3, L. 108 * 1000 | 1.1077 | Line 116 | 7283289496.908 | 6575146246.193 | Line 101, Col 3 | 101
102 | Streetlights (355) |  |  | 288452000 | WP_28-GrossLoad 3, L. 109 * 1000 | 1.1077 | Line 116 | 319518280.4 | 288452000 | Line 102, Col 3 | 102
103 | Small L&P (352) |  |  | 8588469470.615 | WP_28-GrossLoad 3, L. 103 * 1000 | 1.1077 | Line 116 | 9513447632.6003 | 8588469470.615 | Line 103, Col 3 | 103
104 | Medium L&P, Trans | 124617836.0726 | WP_28-GrossLoad 4, L. 112, col 1 | 124197104.1905 | Col 2, Line 104 / Line 107 * Col 3, Line 107 | 1.036 | Line 118 | 128664970.8167 | 124197104.1905 | Line 104, Col 3 | 104
105 | Medium L&P, Primary | 1423496938.6042 | WP_28-GrossLoad 4, L. 112, col 2 | 1418690960.8648 | Col 2, Line 105 / Line 107 * Col 3, Line 107 | 1.0555 | Line 117 | 1497596842.464 | 1418890960.8648 | Col 3, Line 105 + (0.02* Line 112) | 105
106 | Medium L&P, Secondary | 21106350340.6541 | WP_28-GrossLoad 4, L. 112, col 3 | 21035091564.3645 | Col 2, Line 106 / Line 107 * Col 3, Line 107 | 1.1077 | Line 116 | 23466725925.8466 | 21185091564.3645 | Col 3, Line 106 + (0.5* Line 113) | 106
107 | Medium L&P, Total (353) | 22654465115.3309 | Sum Lines 104 - 106 | 22577979629.4199 | WP_28-GrossLoad 3, L. 104 * 1000 | [5 empty] | 107
108 | Large L&P, Trans | 6884968962.5885 | WP_28-GrossLoad 4, L. 112, col 4 | 6376802002.4886 | Col 2, Line 108 / Line 111 * Col 3, Line 111 | 1.036 | Line 118 | 6606201077.7261 | 6376802002.4886 | Line 108, Col 3 | 108
109 | Large L&P, Primary | 6599075955.4998 | WP_28-GrossLoad 4, L. 112, col 5 | 6112010235.0881 | Col 2, Line 109 / Line 111 * Col 3, Line 111 | 1.0555 | Line 117 | 6461387048.8285 | 6121810235.0881 | Col 3, Line 109 + (0.98* Line 112) | 109
110 | Large L&P, Secondary | 2017864624.3493 | WP_28-GrossLoad 4, L. 112, col 6 | 1868929728.9822 | Col 2, Line 110 / Line 111 * Col 3, Line 111 | 1.1077 | Line 116 | 2236368460.7936 | 2018929728.9822 | Col 3, Line 110 + (0.5* Line 113) | 110
111 | Large L&P, Total (359) | 15501909542.4376 | Sum Lines 108 - 110 | 14357741966.559 | WP_28-GrossLoad 3, L. 106 * 1000 | [5 empty] | 111
112 | Public Authority (356) (a) |  |  | 10000000 | WP_28-GrossLoad 3, L. 107 * 1000 | [5 empty] | 112
113 | Interdepartmental (360) (b) |  |  | 300000000 | WP_28-GrossLoad 3, L. 110 * 1000 | [5 empty] | 113
114 | Total @ Meter |  |  | 84688373095.1416 | Sum Lines 100-103, 107, 111-113 |  |  | 92949169392.0981 | 84688373095.1416 | Sum Lines 100 -110 | 114
115 | Energy Loss Factors | [9 empty] | 115
116 | From Secondary to Generation |  |  | 1.1077 | WP_28-GrossLoad 7, L. 104, Col 3 | [5 empty] | 116
117 | From Primary to Generation |  |  | 1.0555 | WP_28-GrossLoad 7, L. 103, Col 3 | [5 empty] | 117
118 | From Transmission to Generation |  |  | 1.036 | WP_28-GrossLoad 7, L. 102, Col 3 | [5 empty] | 118
(a) Public Authority revenues are split 2% to Medium Light & Power Primary and 98% to Large Light &Power Primary.
(b) Interdepartmental revenues are split 50% to Medium Light & Power Secondary and 50% to Large Light &Power Secondary.

## 3
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
ELECTRIC DEPARTMENT
COMPANY SALES AND LOADS
WP_28-GrossLoad 3
RETAIL SALES FORECAST (MWH)
|  | See Note 1 | See Note 2 | See Note 3
Line | Description | Forecast | Received Energy | Forecast | Reference | Line
PG&E SALES AND LOADS:
RESIDENTIAL:
100 | INDIVIDUAL | 27041360.7986 | 4308448 | 31349808.7986 |  | 100
101 | MASTER METER | 625361.9838 | 15413 | 640774.9838 |  | 101
102 | TOTAL | 27666722.7824 | 4323861 | 31990583.7824 | Sum Lines 100, 101 | 102
LIGHT AND POWER:
103 | SMALL | 7973769.4706 | 614700 | 8588469.4706 |  | 103
104 | MEDIUM | 22103707.6294 | 474272 | 22577979.6294 |  | 104
105 | TOTAL | 30077477.1 | 1088972 | 31166449.1 | Sum Lines 103, 104 | 105
106 | LARGE LIGHT AND POWER: | 14214979.9666 | 142762 | 14357741.9666 | See Note 1 | 106
107 | PUBLIC AUTHORITY: | 10000 |  | 10000 | See Note 1 | 107
108 | AGRICULTURE | 5512040.2462 | 1063106 | 6575146.2462 | See Note 1 | 108
109 | STREET LIGHTING | 288452 |  | 288452 | See Note 1 | 109
110 | INTERDEPARTMENTAL | 300000 |  | 300000 | See Note 1 | 110
111 | TOTAL PG&E SALES @ Meter | 78069672.0951 | 6618701 | 84688373.0951 | Sum Lines 102, 105, 106-110 | 111
Rate Year PEAK DEMAND FORECAST (MW)
| Description |  |  | Forecast
112 | PEAK DEMAND |  |  | 178445 |  | 112
Note 1: The sales forecasts are from PG&E's annual ERRA filing with the CPUC.
Note 2: Received Energy is forecast from RDA.
Note 3: Peak demand value was defined as the sum of the twelve monthly system peaks

## 4
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
Metered KWH from Class KW
Prior Year Recorded
WP_28-GrossLoad 4
|  | Col 1 | Col 2 | Col 3 | Col 4 | Col 5 | Col 6
|  | Medium Light & Power |  |  | Large Light & Power
Line |  | Transmission | Primary | Secondary | Transmission | Primary | Secondary | Line
100 | Jan | 10279471.8849 | 114097872.5717 | 1651733086.4704 | 588246235.3747 | 523365124.9041 | 159809834.8841 | 100
101 | Feb | 8263214.145 | 105338634.4233 | 1503952380.8222 | 519652630.9909 | 480241670.1029 | 145513168.8576 | 101
102 | Mar | 8320725.8198 | 112170028.1426 | 1624453990.982 | 535254608.498 | 520143904.6658 | 158483545.4499 | 102
103 | Apr | 8465579.7243 | 113759442.8923 | 1607412986.7792 | 549740350.7956 | 512613720.0297 | 159067170.8932 | 103
104 | May | 9526008.3312 | 117174158.9111 | 1749960866.8397 | 560603923.3353 | 544764313.5643 | 168455497.0764 | 104
105 | Jun | 8655429.7131 | 119431816.3943 | 1835382271.2463 | 577592100.1038 | 564105431.4362 | 174622518.6943 | 105
106 | Jul | 9194841.4239 | 125194814.2865 | 1943730982.4728 | 582707076.7871 | 592723643.9275 | 180005804.4954 | 106
107 | Aug | 12731639.8599 | 132294686.332 | 2065109641.425 | 624749264.0439 | 629157935.7506 | 191260480.6825 | 107
108 | Sep | 14486603.0821 | 130043848.6711 | 1990542343.3659 | 621767622.9259 | 623024063.7768 | 188239609.0343 | 108
109 | Oct | 12851959.4077 | 122746817.3003 | 1812850588.1675 | 600516198.1473 | 587227523.7633 | 177320687.347 | 109
110 | Nov | 10703414.1128 | 113163407.1522 | 1629216935.4661 | 562163425.2258 | 517093722.6689 | 158161084.4188 | 110
111 | Dec | 11138948.5681 | 118081411.5268 | 1692004266.617 | 561975526.3602 | 504614900.9097 | 156925222.5157 | 111
112 | Total | 124617836.0726 | 1423496938.6042 | 21106350340.6541 | 6884968962.5885 | 6599075955.4998 | 2017864624.3493 | 112
113 | Grand Total | 22654465115.3309 |  |  | 15501909542.4376 |  |  | 113
Note 1: Data is from "table9a 2020 Total Meter - Kilowatt Hours Unaccountable Consumption" report which is from PG&E's Intergrated Data Analytics (IDA) database housed in Teradata, which uses customer, billing, and usage information from the Customer Care & Billing (CC&B) Database. The classes queried are AgGrp (Agricultural Group), LgtGrp (Lighting Group), LrgLP (Large Light and Power), MedLP (Medium Light and Power), ResGrp (Residential Group), and SmLp (Small Light and Power).

## 5
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
ENERGY AT METERS AND GENERATION
SILICON VALLEY POWER
RATE SCHEDULE FERC NO. 248
GRIZZLY POWER SALE
Rate Year Forecast
WP_28-GrossLoad 5
| Col 1 | Col 2 | Col 3
|  | Note 1 | Note 2
|  | kWH Sales | kWH Sales
Line | Month | at Meter | at Gen | Line
100 | JAN | 0 | 0 | 100
101 | FEB | 0 | 0 | 101
102 | MAR | 0 | 0 | 102
103 | APR | 0 | 0 | 103
104 | MAY | 0 | 0 | 104
105 | JUN | 0 | 0 | 105
106 | JUL | 0 | 0 | 106
107 | AUG | 0 | 0 | 107
108 | SEP | 0 | 0 | 108
109 | OCT | 0 | 0 | 109
110 | NOV | 0 | 0 | 110
111 | DEC | 0 | 0 | 111
112 | TOTAL | 0 | 0 | 112
Note 1: kWH Sales at Meter are recorded billing determinates from Invoices sent to SVP.
Note 2: KWH sales at meter multiplied by the HV energy loss factor from WP_28-GrossLoad 7, Line 101, Col 3

## 6
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
HELMS PUMP LOADS
Rate Year Forecast
WP_28-GrossLoad 6
Recorded Helms
Line | Year | Pumping (kWh) | Source | Notes | Line
100 | 2022 | 876155670 | FF1 408, L. 10 |  | 100
101 | 2020 | 1367765150 | FF1 408, L. 10 |  | 101
102 | 2019 | 978654714 | FF1 408, L. 10 |  | 102
103 | 2018 | 1042986575 | FF1 408, L. 10 |  | 103
104 | 2017 | 1212364607 | FF1 408, L. 10 |  | 104
105 | 2016 | 1161566490 | FF1 408, L. 10 |  | 105
106 | 2015 | 1359241000 | FF1 408, L. 10 | FF1 Value * 1000 to get kWh | 106
107 | 2014 | 740143000 | FF1 408, L. 10 | FF1 Value * 1000 to get kWh | 107
108 | 2013 | 587560057 | FF1 408, L. 10 |  | 108
109 | 2012 | 906496435 | FF1 408, L. 10 |  | 109
110 |  | 1023293369.8 | Average of Lines 100-109 |  | 110

## 7
Pacific Gas and Electric Company
TO Tariff Rate Year 2024
FUNCTIONALIZED SYSTEM AVERAGE LOSS FACTORS
WP_28-GrossLoad 7
|  | Demand Loss Factors |  | Energy Loss Factors
|  | Col 1 | Col 2 | Col 3 | Col 4
|  | Meter to | Generation | Meter to | Generation
Line | TRANSMISSION (Note 1) | Generation | to Meter | Generation | to Meter | Line
100 | Generation Tie Output (High Voltage Input) | 1.0021 | 0.99789 | 1.0019 | 0.99815 | 100
101 | High Voltage Output (Low Voltage Input) | 1.0232 | 0.97732 | 1.02 | 0.98041 | 101
102 | Low Voltage Output (Primary Distn. Input) | 1.0435 | 0.9583 | 1.036 | 0.96527 | 102
DISTRIBUTION (Note 2)
103 | Primary Output (Secondary Input) | 1.0741 | 0.93097 | 1.0555 | 0.94745 | 103
104 | Secondary Output | 1.1385 | 0.87836 | 1.1077 | 0.90277 | 104
Note 1: Transmission Loss Factors are from the "Transmission Loss Factors Study", dated May 14, 2010 and from the "TO-14_TandD_LossFactors.xlsx" worksheet.
Note 2: Distribution Loss Factors are from the "Distribution Loss Values for theTO-8 Filing" study, updated for TO14, and from the "TO-14_TandD_LossFactors.xlsx" worksheet.