## LS-2_180901-181231
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.207 |  |  | 3.994
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 3.33 |  |  | 0.151
92 | 31 | 1000 |  | 5.161 |  |  | 0.235
189 | 65 | 2500 |  | 10.822 |  |  | 0.492
295 | 101 | 4000 | ** | 16.815 |  |  | 0.764
405 | 139 | 6000 | ** | 23.142 |  |  | 1.052
620 | 212 | 10000 | ** | 35.296 |  |  | 1.604
860 | 294 | 15000 | ** | 48.948 |  |  | 2.225
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 2.997 |  |  | 0.136
50 | 22 | 1650 |  | 3.663 |  |  | 0.167
100 | 40 | 3500 |  | 6.66 |  |  | 0.303
175 | 68 | 7500 |  | 11.321 |  |  | 0.515
250 | 97 | 11000 |  | 16.15 |  |  | 0.734
400 | 152 | 21000 |  | 25.306 |  |  | 1.15
700 | 266 | 37000 |  | 44.286 |  |  | 2.013
1000 | 377 | 57000 |  | 62.767 |  |  | 2.853
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 2.497 |  |  | 0.114
50 | 21 | 3800 |  | 3.496 |  |  | 0.159
70 | 29 | 5800 |  | 4.828 |  |  | 0.219
100 | 41 | 9500 |  | 6.826 |  |  | 0.31
150 | 60 | 16000 |  | 9.989 |  |  | 0.454
200 | 80 | 22000 |  | 13.319 |  |  | 0.605
250 | 100 | 26000 |  | 16.649 |  |  | 0.757
400 | 154 | 46000 |  | 25.639 |  |  | 1.165
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 3.996 |  |  | 0.182
70 | 34 | 5800 |  | 5.661 |  |  | 0.257
| 47 | 9500 |  | 7.825 |  |  | 0.356
150 | 69 | 16000 |  | 11.488 |  |  | 0.522
200 | 81 | 22000 |  | 13.486 |  |  | 0.613
250 | 100 | 25500 |  | 16.649 |  |  | 0.757
310 | 119 | 37000 |  | 19.812 |  |  | 0.901
360 | 144 | 45000 |  | 23.975 |  |  | 1.09
400 | 154 | 46000 |  | 25.639 |  |  | 1.165
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 3.496 |  |  | 0.159
55 | 29 | 8000 |  | 4.828 |  |  | 0.219
90 | 45 | 13500 |  | 7.492 |  |  | 0.341
135 | 62 | 21500 |  | 10.322 |  |  | 0.469
180 | 78 | 33000 |  | 12.986 |  |  | 0.59
Metal Halide Lamps:
70 | 30 | 5500 |  | 4.995 |  |  | 0.227
100 | 41 | 8500 |  | 6.826 |  |  | 0.31
150 | 63 | 13500 |  | 10.489 |  |  | 0.477
175 | 72 | 14000 |  | 11.987 |  |  | 0.545
250 | 105 | 20500 |  | 17.481 |  |  | 0.795
400 | 162 | 30000 |  | 26.971 |  |  | 1.226
1000 | 387 | 90000 |  | 64.432 |  |  | 2.929
Induction Lamps:
23 | 9 | 1840 |  | 1.498 |  |  | 0.068
35 | 13 | 2450 |  | 2.164 |  |  | 0.098
40 | 14 | 2200 |  | 2.331 |  |  | 0.106
50 | 18 | 3500 |  | 2.997 |  |  | 0.136
55 | 19 | 3000 |  | 3.163 |  |  | 0.144
65 | 24 | 5525 |  | 3.996 |  |  | 0.182
70 | 27 | 6500 |  | 4.495 |  |  | 0.204
80 | 28 | 4500 |  | 4.662 |  |  | 0.212
85 | 30 | 4800 |  | 4.995 |  |  | 0.227
100 | 36 | 8000 |  | 5.994 |  |  | 0.272
120 | 42 | 8500 |  | 6.911 |  |  | 0.314
135 | 48 | 9450 |  | 7.992 |  |  | 0.363
150 | 51 | 10900 |  | 8.491 |  |  | 0.386
165 | 58 | 12000 |  | 9.656 |  |  | 0.439
200 | 72 | 19000 |  | 11.987 |  |  | 0.545
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.15 |  |  |  |  | 0.007
5.01-10.00 | 2.6 | 0.433 |  |  |  |  | 0.02
10.01-15.00 | 4.3 | 0.716 |  |  |  |  | 0.033
15.01-20.00 | 6 | 0.999 |  |  |  |  | 0.045
20.01-25.00 | 7.7 | 1.282 |  |  |  |  | 0.058
25.01-30.00 | 9.4 | 1.565 |  |  |  |  | 0.071
30.01-35.00 | 11.1 | 1.848 |  |  |  |  | 0.084
35.01-40.00 | 12.8 | 2.131 |  |  |  |  | 0.097
40.01-45.00 | 14.5 | 2.414 |  |  |  |  | 0.11
45.01-50.00 | 16.2 | 2.697 |  |  |  |  | 0.123
50.01-55.00 | 17.9 | 2.98 |  |  |  |  | 0.135
55.01-60.00 | 19.6 | 3.263 |  |  |  |  | 0.148
60.01-65.00 | 21.4 | 3.563 |  |  |  |  | 0.162
65.01-70.00 | 23.1 | 3.846 |  |  |  |  | 0.175
70.01-75.00 | 24.8 | 4.129 |  |  |  |  | 0.188
75.01-80.00 | 26.5 | 4.412 |  |  |  |  | 0.201
80.01-85.00 | 28.2 | 4.695 |  |  |  |  | 0.213
85.00-90.00 | 29.9 | 4.978 |  |  |  |  | 0.226
90.01-95.00 | 31.6 | 5.261 |  |  |  |  | 0.239
95.01-100.00 | 33.3 | 5.544 |  |  |  |  | 0.252
100.01-105.00 | 35 | 5.827 |  |  |  |  | 0.265
105.01-110.00 | 36.7 | 6.11 |  |  |  |  | 0.278
110.01-115.00 | 38.4 | 6.393 |  |  |  |  | 0.291
115.01-120.00 | 40.1 | 6.676 |  |  |  |  | 0.303
120.01-125.00 | 41.9 | 6.976 |  |  |  |  | 0.317
125.01-130.00 | 43.6 | 7.259 |  |  |  |  | 0.33
130.01-135.00 | 45.3 | 7.542 |  |  |  |  | 0.343
135.01-140.00 | 47 | 7.825 |  |  |  |  | 0.356
140.01-145.00 | 48.7 | 8.108 |  |  |  |  | 0.369
145.01-150.00 | 50.4 | 8.391 |  |  |  |  | 0.381
150.01-155.00 | 52.1 | 8.674 |  |  |  |  | 0.394
155.01-160.00 | 53.8 | 8.957 |  |  |  |  | 0.407
160.01-165.00 | 55.5 | 9.24 |  |  |  |  | 0.42
165.01-170.00 | 57.2 | 9.523 |  |  |  |  | 0.433
170.01-175.00 | 58.9 | 9.806 |  |  |  |  | 0.446
175.01-180.00 | 60.6 | 10.089 |  |  |  |  | 0.459
180.01-185.00 | 62.4 | 10.389 |  |  |  |  | 0.472
185.01-190.00 | 64.1 | 10.672 |  |  |  |  | 0.485
190.01-195.00 | 65.8 | 10.955 |  |  |  |  | 0.498
195.01-200.00 | 67.5 | 11.238 |  |  |  |  | 0.511
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 11.521 |  |  |  |  | 0.524
205.01-210.00 | 70.9 | 11.804 |  |  |  |  | 0.537
210.01-215.00 | 72.6 | 12.087 |  |  |  |  | 0.549
215.01-220.00 | 74.3 | 12.37 |  |  |  |  | 0.562
220.01-225.00 | 76 | 12.653 |  |  |  |  | 0.575
225.01-230.00 | 77.7 | 12.936 |  |  |  |  | 0.588
230.01-235.00 | 79.4 | 13.219 |  |  |  |  | 0.601
235.01-240.00 | 81.1 | 13.502 |  |  |  |  | 0.614
240.01-245.00 | 82.9 | 13.802 |  |  |  |  | 0.627
245.01-250.00 | 84.6 | 14.085 |  |  |  |  | 0.64
250.01-255.00 | 86.3 | 14.368 |  |  |  |  | 0.653
255.01-260.00 | 88 | 14.651 |  |  |  |  | 0.666
260.01-265.00 | 89.7 | 14.934 |  |  |  |  | 0.679
265.01-270.00 | 91.4 | 15.217 |  |  |  |  | 0.692
270.01-275.00 | 93.1 | 15.5 |  |  |  |  | 0.705
275.01-280.00 | 94.8 | 15.783 |  |  |  |  | 0.717
280.01-285.00 | 96.5 | 16.066 |  |  |  |  | 0.73
285.01-290.00 | 98.2 | 16.349 |  |  |  |  | 0.743
290.01-295.00 | 99.9 | 16.632 |  |  |  |  | 0.756
295.01-300.00 | 101.6 | 16.915 |  |  |  |  | 0.769
300.01-305.00 | 103.4 | 17.215 |  |  |  |  | 0.783
305.01-310.00 | 105.1 | 17.498 |  |  |  |  | 0.795
310.01-315.00 | 106.8 | 17.781 |  |  |  |  | 0.808
315.01-320.00 | 108.5 | 18.064 |  |  |  |  | 0.821
320.01-325.00 | 110.2 | 18.347 |  |  |  |  | 0.834
325.01-330.00 | 111.9 | 18.63 |  |  |  |  | 0.847
330.01-335.00 | 113.6 | 18.913 |  |  |  |  | 0.86
335.01-340.00 | 115.3 | 19.196 |  |  |  |  | 0.873
340.01-345.00 | 117 | 19.479 |  |  |  |  | 0.885
345.01-350.00 | 118.7 | 19.762 |  |  |  |  | 0.898
350.01-355.00 | 120.4 | 20.045 |  |  |  |  | 0.911
355.01-360.00 | 122.1 | 20.328 |  |  |  |  | 0.924
360.01-365.00 | 123.9 | 20.628 |  |  |  |  | 0.938
365.01-370.00 | 125.6 | 20.911 |  |  |  |  | 0.951
370.01-375.00 | 127.3 | 21.194 |  |  |  |  | 0.963
375.01-380.00 | 129 | 21.477 |  |  |  |  | 0.976
380.01-385.00 | 130.7 | 21.76 |  |  |  |  | 0.989
385.01-390.00 | 132.4 | 22.043 |  |  |  |  | 1.002
390.01-395.00 | 134.1 | 22.326 |  |  |  |  | 1.015
395.01-400.00 | 135.8 | 22.609 |  |  |  |  | 1.028
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Energy Charge Rate ($/kWh) |  |  |  | 0.16649
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)