## LS-2_190701-190930
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.207 |  |  | 3.994
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 3.504 |  |  | 0.159
92 | 31 | 1000 |  | 5.432 |  |  | 0.247
189 | 65 | 2500 |  | 11.389 |  |  | 0.518
295 | 101 | 4000 | ** | 17.697 |  |  | 0.804
405 | 139 | 6000 | ** | 24.356 |  |  | 1.107
620 | 212 | 10000 | ** | 37.147 |  |  | 1.689
860 | 294 | 15000 | ** | 51.515 |  |  | 2.342
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 3.154 |  |  | 0.143
50 | 22 | 1650 |  | 3.855 |  |  | 0.175
100 | 40 | 3500 |  | 7.009 |  |  | 0.319
175 | 68 | 7500 |  | 11.915 |  |  | 0.542
250 | 97 | 11000 |  | 16.996 |  |  | 0.773
400 | 152 | 21000 |  | 26.633 |  |  | 1.211
700 | 266 | 37000 |  | 46.609 |  |  | 2.119
1000 | 377 | 57000 |  | 66.058 |  |  | 3.003
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 2.628 |  |  | 0.119
50 | 21 | 3800 |  | 3.68 |  |  | 0.167
70 | 29 | 5800 |  | 5.081 |  |  | 0.231
100 | 41 | 9500 |  | 7.184 |  |  | 0.327
150 | 60 | 16000 |  | 10.513 |  |  | 0.478
200 | 80 | 22000 |  | 14.018 |  |  | 0.637
250 | 100 | 26000 |  | 17.522 |  |  | 0.796
400 | 154 | 46000 |  | 26.984 |  |  | 1.227
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 4.205 |  |  | 0.191
70 | 34 | 5800 |  | 5.957 |  |  | 0.271
| 47 | 9500 |  | 8.235 |  |  | 0.374
150 | 69 | 16000 |  | 12.09 |  |  | 0.55
200 | 81 | 22000 |  | 14.193 |  |  | 0.645
250 | 100 | 25500 |  | 17.522 |  |  | 0.796
310 | 119 | 37000 |  | 20.851 |  |  | 0.948
360 | 144 | 45000 |  | 25.232 |  |  | 1.147
400 | 154 | 46000 |  | 26.984 |  |  | 1.227
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 3.68 |  |  | 0.167
55 | 29 | 8000 |  | 5.081 |  |  | 0.231
90 | 45 | 13500 |  | 7.885 |  |  | 0.358
135 | 62 | 21500 |  | 10.864 |  |  | 0.494
180 | 78 | 33000 |  | 13.667 |  |  | 0.621
Metal Halide Lamps:
70 | 30 | 5500 |  | 5.257 |  |  | 0.239
100 | 41 | 8500 |  | 7.184 |  |  | 0.327
150 | 63 | 13500 |  | 11.039 |  |  | 0.502
175 | 72 | 14000 |  | 12.616 |  |  | 0.573
250 | 105 | 20500 |  | 18.398 |  |  | 0.836
400 | 162 | 30000 |  | 28.386 |  |  | 1.29
1000 | 387 | 90000 |  | 67.81 |  |  | 3.082
Induction Lamps:
23 | 9 | 1840 |  | 1.577 |  |  | 0.072
35 | 13 | 2450 |  | 2.278 |  |  | 0.104
40 | 14 | 2200 |  | 2.453 |  |  | 0.112
50 | 18 | 3500 |  | 3.154 |  |  | 0.143
55 | 19 | 3000 |  | 3.329 |  |  | 0.151
65 | 24 | 5525 |  | 4.205 |  |  | 0.191
70 | 27 | 6500 |  | 4.731 |  |  | 0.215
80 | 28 | 4500 |  | 4.906 |  |  | 0.223
85 | 30 | 4800 |  | 5.257 |  |  | 0.239
100 | 36 | 8000 |  | 6.308 |  |  | 0.287
120 | 42 | 8500 |  | 7.273 |  |  | 0.331
135 | 48 | 9450 |  | 8.411 |  |  | 0.382
150 | 51 | 10900 |  | 8.936 |  |  | 0.406
165 | 58 | 12000 |  | 10.163 |  |  | 0.462
200 | 72 | 19000 |  | 12.616 |  |  | 0.573
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.158 |  |  |  |  | 0.007
5.01-10.00 | 2.6 | 0.456 |  |  |  |  | 0.021
10.01-15.00 | 4.3 | 0.753 |  |  |  |  | 0.034
15.01-20.00 | 6 | 1.051 |  |  |  |  | 0.048
20.01-25.00 | 7.7 | 1.349 |  |  |  |  | 0.061
25.01-30.00 | 9.4 | 1.647 |  |  |  |  | 0.075
30.01-35.00 | 11.1 | 1.945 |  |  |  |  | 0.088
35.01-40.00 | 12.8 | 2.243 |  |  |  |  | 0.102
40.01-45.00 | 14.5 | 2.541 |  |  |  |  | 0.116
45.01-50.00 | 16.2 | 2.839 |  |  |  |  | 0.129
50.01-55.00 | 17.9 | 3.136 |  |  |  |  | 0.143
55.01-60.00 | 19.6 | 3.434 |  |  |  |  | 0.156
60.01-65.00 | 21.4 | 3.75 |  |  |  |  | 0.17
65.01-70.00 | 23.1 | 4.048 |  |  |  |  | 0.184
70.01-75.00 | 24.8 | 4.345 |  |  |  |  | 0.198
75.01-80.00 | 26.5 | 4.643 |  |  |  |  | 0.211
80.01-85.00 | 28.2 | 4.941 |  |  |  |  | 0.225
85.00-90.00 | 29.9 | 5.239 |  |  |  |  | 0.238
90.01-95.00 | 31.6 | 5.537 |  |  |  |  | 0.252
95.01-100.00 | 33.3 | 5.835 |  |  |  |  | 0.265
100.01-105.00 | 35 | 6.133 |  |  |  |  | 0.279
105.01-110.00 | 36.7 | 6.431 |  |  |  |  | 0.292
110.01-115.00 | 38.4 | 6.728 |  |  |  |  | 0.306
115.01-120.00 | 40.1 | 7.026 |  |  |  |  | 0.319
120.01-125.00 | 41.9 | 7.342 |  |  |  |  | 0.334
125.01-130.00 | 43.6 | 7.64 |  |  |  |  | 0.347
130.01-135.00 | 45.3 | 7.937 |  |  |  |  | 0.361
135.01-140.00 | 47 | 8.235 |  |  |  |  | 0.374
140.01-145.00 | 48.7 | 8.533 |  |  |  |  | 0.388
145.01-150.00 | 50.4 | 8.831 |  |  |  |  | 0.401
150.01-155.00 | 52.1 | 9.129 |  |  |  |  | 0.415
155.01-160.00 | 53.8 | 9.427 |  |  |  |  | 0.429
160.01-165.00 | 55.5 | 9.725 |  |  |  |  | 0.442
165.01-170.00 | 57.2 | 10.023 |  |  |  |  | 0.456
170.01-175.00 | 58.9 | 10.32 |  |  |  |  | 0.469
175.01-180.00 | 60.6 | 10.618 |  |  |  |  | 0.483
180.01-185.00 | 62.4 | 10.934 |  |  |  |  | 0.497
185.01-190.00 | 64.1 | 11.232 |  |  |  |  | 0.511
190.01-195.00 | 65.8 | 11.529 |  |  |  |  | 0.524
195.01-200.00 | 67.5 | 11.827 |  |  |  |  | 0.538
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 12.125 |  |  |  |  | 0.551
205.01-210.00 | 70.9 | 12.423 |  |  |  |  | 0.565
210.01-215.00 | 72.6 | 12.721 |  |  |  |  | 0.578
215.01-220.00 | 74.3 | 13.019 |  |  |  |  | 0.592
220.01-225.00 | 76 | 13.317 |  |  |  |  | 0.605
225.01-230.00 | 77.7 | 13.615 |  |  |  |  | 0.619
230.01-235.00 | 79.4 | 13.912 |  |  |  |  | 0.632
235.01-240.00 | 81.1 | 14.21 |  |  |  |  | 0.646
240.01-245.00 | 82.9 | 14.526 |  |  |  |  | 0.66
245.01-250.00 | 84.6 | 14.824 |  |  |  |  | 0.674
250.01-255.00 | 86.3 | 15.121 |  |  |  |  | 0.687
255.01-260.00 | 88 | 15.419 |  |  |  |  | 0.701
260.01-265.00 | 89.7 | 15.717 |  |  |  |  | 0.714
265.01-270.00 | 91.4 | 16.015 |  |  |  |  | 0.728
270.01-275.00 | 93.1 | 16.313 |  |  |  |  | 0.742
275.01-280.00 | 94.8 | 16.611 |  |  |  |  | 0.755
280.01-285.00 | 96.5 | 16.909 |  |  |  |  | 0.769
285.01-290.00 | 98.2 | 17.207 |  |  |  |  | 0.782
290.01-295.00 | 99.9 | 17.504 |  |  |  |  | 0.796
295.01-300.00 | 101.6 | 17.802 |  |  |  |  | 0.809
300.01-305.00 | 103.4 | 18.118 |  |  |  |  | 0.824
305.01-310.00 | 105.1 | 18.416 |  |  |  |  | 0.837
310.01-315.00 | 106.8 | 18.713 |  |  |  |  | 0.851
315.01-320.00 | 108.5 | 19.011 |  |  |  |  | 0.864
320.01-325.00 | 110.2 | 19.309 |  |  |  |  | 0.878
325.01-330.00 | 111.9 | 19.607 |  |  |  |  | 0.891
330.01-335.00 | 113.6 | 19.905 |  |  |  |  | 0.905
335.01-340.00 | 115.3 | 20.203 |  |  |  |  | 0.918
340.01-345.00 | 117 | 20.501 |  |  |  |  | 0.932
345.01-350.00 | 118.7 | 20.799 |  |  |  |  | 0.945
350.01-355.00 | 120.4 | 21.096 |  |  |  |  | 0.959
355.01-360.00 | 122.1 | 21.394 |  |  |  |  | 0.972
360.01-365.00 | 123.9 | 21.71 |  |  |  |  | 0.987
365.01-370.00 | 125.6 | 22.008 |  |  |  |  | 1
370.01-375.00 | 127.3 | 22.306 |  |  |  |  | 1.014
375.01-380.00 | 129 | 22.603 |  |  |  |  | 1.027
380.01-385.00 | 130.7 | 22.901 |  |  |  |  | 1.041
385.01-390.00 | 132.4 | 23.199 |  |  |  |  | 1.055
390.01-395.00 | 134.1 | 23.497 |  |  |  |  | 1.068
395.01-400.00 | 135.8 | 23.795 |  |  |  |  | 1.082
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Energy Charge Rate ($/kWh) |  |  |  | 0.17522
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)