## LS-2_200101-200430
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.207 |  |  | 3.994
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 3.662 |  |  | 0.166
92 | 31 | 1000 |  | 5.676 |  |  | 0.258
189 | 65 | 2500 |  | 11.901 |  |  | 0.541
295 | 101 | 4000 | ** | 18.492 |  |  | 0.841
405 | 139 | 6000 | ** | 25.45 |  |  | 1.157
620 | 212 | 10000 | ** | 38.815 |  |  | 1.764
860 | 294 | 15000 | ** | 53.828 |  |  | 2.447
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 3.296 |  |  | 0.15
50 | 22 | 1650 |  | 4.028 |  |  | 0.183
100 | 40 | 3500 |  | 7.324 |  |  | 0.333
175 | 68 | 7500 |  | 12.45 |  |  | 0.566
250 | 97 | 11000 |  | 17.76 |  |  | 0.807
400 | 152 | 21000 |  | 27.83 |  |  | 1.265
700 | 266 | 37000 |  | 48.702 |  |  | 2.214
1000 | 377 | 57000 |  | 69.025 |  |  | 3.138
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 2.746 |  |  | 0.125
50 | 21 | 3800 |  | 3.845 |  |  | 0.175
70 | 29 | 5800 |  | 5.31 |  |  | 0.241
100 | 41 | 9500 |  | 7.507 |  |  | 0.341
150 | 60 | 16000 |  | 10.985 |  |  | 0.499
200 | 80 | 22000 |  | 14.647 |  |  | 0.666
250 | 100 | 26000 |  | 18.309 |  |  | 0.832
400 | 154 | 46000 |  | 28.196 |  |  | 1.282
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 4.394 |  |  | 0.2
70 | 34 | 5800 |  | 6.225 |  |  | 0.283
| 47 | 9500 |  | 8.605 |  |  | 0.391
150 | 69 | 16000 |  | 12.633 |  |  | 0.574
200 | 81 | 22000 |  | 14.83 |  |  | 0.674
250 | 100 | 25500 |  | 18.309 |  |  | 0.832
310 | 119 | 37000 |  | 21.788 |  |  | 0.99
360 | 144 | 45000 |  | 26.365 |  |  | 1.198
400 | 154 | 46000 |  | 28.196 |  |  | 1.282
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 3.845 |  |  | 0.175
55 | 29 | 8000 |  | 5.31 |  |  | 0.241
90 | 45 | 13500 |  | 8.239 |  |  | 0.375
135 | 62 | 21500 |  | 11.352 |  |  | 0.516
180 | 78 | 33000 |  | 14.281 |  |  | 0.649
Metal Halide Lamps:
70 | 30 | 5500 |  | 5.493 |  |  | 0.25
100 | 41 | 8500 |  | 7.507 |  |  | 0.341
150 | 63 | 13500 |  | 11.535 |  |  | 0.524
175 | 72 | 14000 |  | 13.182 |  |  | 0.599
250 | 105 | 20500 |  | 19.224 |  |  | 0.874
400 | 162 | 30000 |  | 29.661 |  |  | 1.348
1000 | 387 | 90000 |  | 70.856 |  |  | 3.221
Induction Lamps:
23 | 9 | 1840 |  | 1.648 |  |  | 0.075
35 | 13 | 2450 |  | 2.38 |  |  | 0.108
40 | 14 | 2200 |  | 2.563 |  |  | 0.117
50 | 18 | 3500 |  | 3.296 |  |  | 0.15
55 | 19 | 3000 |  | 3.479 |  |  | 0.158
65 | 24 | 5525 |  | 4.394 |  |  | 0.2
70 | 27 | 6500 |  | 4.943 |  |  | 0.225
80 | 28 | 4500 |  | 5.127 |  |  | 0.233
85 | 30 | 4800 |  | 5.493 |  |  | 0.25
100 | 36 | 8000 |  | 6.591 |  |  | 0.3
120 | 42 | 8500 |  | 7.6 |  |  | 0.345
135 | 48 | 9450 |  | 8.788 |  |  | 0.399
150 | 51 | 10900 |  | 9.338 |  |  | 0.424
165 | 58 | 12000 |  | 10.619 |  |  | 0.483
200 | 72 | 19000 |  | 13.182 |  |  | 0.599
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.165 |  |  |  |  | 0.008
5.01-10.00 | 2.6 | 0.476 |  |  |  |  | 0.022
10.01-15.00 | 4.3 | 0.787 |  |  |  |  | 0.036
15.01-20.00 | 6 | 1.099 |  |  |  |  | 0.05
20.01-25.00 | 7.7 | 1.41 |  |  |  |  | 0.064
25.01-30.00 | 9.4 | 1.721 |  |  |  |  | 0.078
30.01-35.00 | 11.1 | 2.032 |  |  |  |  | 0.092
35.01-40.00 | 12.8 | 2.344 |  |  |  |  | 0.107
40.01-45.00 | 14.5 | 2.655 |  |  |  |  | 0.121
45.01-50.00 | 16.2 | 2.966 |  |  |  |  | 0.135
50.01-55.00 | 17.9 | 3.277 |  |  |  |  | 0.149
55.01-60.00 | 19.6 | 3.589 |  |  |  |  | 0.163
60.01-65.00 | 21.4 | 3.918 |  |  |  |  | 0.178
65.01-70.00 | 23.1 | 4.229 |  |  |  |  | 0.192
70.01-75.00 | 24.8 | 4.541 |  |  |  |  | 0.206
75.01-80.00 | 26.5 | 4.852 |  |  |  |  | 0.221
80.01-85.00 | 28.2 | 5.163 |  |  |  |  | 0.235
85.00-90.00 | 29.9 | 5.474 |  |  |  |  | 0.249
90.01-95.00 | 31.6 | 5.786 |  |  |  |  | 0.263
95.01-100.00 | 33.3 | 6.097 |  |  |  |  | 0.277
100.01-105.00 | 35 | 6.408 |  |  |  |  | 0.291
105.01-110.00 | 36.7 | 6.719 |  |  |  |  | 0.305
110.01-115.00 | 38.4 | 7.031 |  |  |  |  | 0.32
115.01-120.00 | 40.1 | 7.342 |  |  |  |  | 0.334
120.01-125.00 | 41.9 | 7.671 |  |  |  |  | 0.349
125.01-130.00 | 43.6 | 7.983 |  |  |  |  | 0.363
130.01-135.00 | 45.3 | 8.294 |  |  |  |  | 0.377
135.01-140.00 | 47 | 8.605 |  |  |  |  | 0.391
140.01-145.00 | 48.7 | 8.916 |  |  |  |  | 0.405
145.01-150.00 | 50.4 | 9.228 |  |  |  |  | 0.419
150.01-155.00 | 52.1 | 9.539 |  |  |  |  | 0.434
155.01-160.00 | 53.8 | 9.85 |  |  |  |  | 0.448
160.01-165.00 | 55.5 | 10.161 |  |  |  |  | 0.462
165.01-170.00 | 57.2 | 10.473 |  |  |  |  | 0.476
170.01-175.00 | 58.9 | 10.784 |  |  |  |  | 0.49
175.01-180.00 | 60.6 | 11.095 |  |  |  |  | 0.504
180.01-185.00 | 62.4 | 11.425 |  |  |  |  | 0.519
185.01-190.00 | 64.1 | 11.736 |  |  |  |  | 0.533
190.01-195.00 | 65.8 | 12.047 |  |  |  |  | 0.548
195.01-200.00 | 67.5 | 12.359 |  |  |  |  | 0.562
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 12.67 |  |  |  |  | 0.576
205.01-210.00 | 70.9 | 12.981 |  |  |  |  | 0.59
210.01-215.00 | 72.6 | 13.292 |  |  |  |  | 0.604
215.01-220.00 | 74.3 | 13.604 |  |  |  |  | 0.618
220.01-225.00 | 76 | 13.915 |  |  |  |  | 0.633
225.01-230.00 | 77.7 | 14.226 |  |  |  |  | 0.647
230.01-235.00 | 79.4 | 14.537 |  |  |  |  | 0.661
235.01-240.00 | 81.1 | 14.849 |  |  |  |  | 0.675
240.01-245.00 | 82.9 | 15.178 |  |  |  |  | 0.69
245.01-250.00 | 84.6 | 15.489 |  |  |  |  | 0.704
250.01-255.00 | 86.3 | 15.801 |  |  |  |  | 0.718
255.01-260.00 | 88 | 16.112 |  |  |  |  | 0.732
260.01-265.00 | 89.7 | 16.423 |  |  |  |  | 0.747
265.01-270.00 | 91.4 | 16.734 |  |  |  |  | 0.761
270.01-275.00 | 93.1 | 17.046 |  |  |  |  | 0.775
275.01-280.00 | 94.8 | 17.357 |  |  |  |  | 0.789
280.01-285.00 | 96.5 | 17.668 |  |  |  |  | 0.803
285.01-290.00 | 98.2 | 17.979 |  |  |  |  | 0.817
290.01-295.00 | 99.9 | 18.291 |  |  |  |  | 0.831
295.01-300.00 | 101.6 | 18.602 |  |  |  |  | 0.846
300.01-305.00 | 103.4 | 18.932 |  |  |  |  | 0.861
305.01-310.00 | 105.1 | 19.243 |  |  |  |  | 0.875
310.01-315.00 | 106.8 | 19.554 |  |  |  |  | 0.889
315.01-320.00 | 108.5 | 19.865 |  |  |  |  | 0.903
320.01-325.00 | 110.2 | 20.177 |  |  |  |  | 0.917
325.01-330.00 | 111.9 | 20.488 |  |  |  |  | 0.931
330.01-335.00 | 113.6 | 20.799 |  |  |  |  | 0.945
335.01-340.00 | 115.3 | 21.11 |  |  |  |  | 0.96
340.01-345.00 | 117 | 21.422 |  |  |  |  | 0.974
345.01-350.00 | 118.7 | 21.733 |  |  |  |  | 0.988
350.01-355.00 | 120.4 | 22.044 |  |  |  |  | 1.002
355.01-360.00 | 122.1 | 22.355 |  |  |  |  | 1.016
360.01-365.00 | 123.9 | 22.685 |  |  |  |  | 1.031
365.01-370.00 | 125.6 | 22.996 |  |  |  |  | 1.045
370.01-375.00 | 127.3 | 23.307 |  |  |  |  | 1.059
375.01-380.00 | 129 | 23.619 |  |  |  |  | 1.074
380.01-385.00 | 130.7 | 23.93 |  |  |  |  | 1.088
385.01-390.00 | 132.4 | 24.241 |  |  |  |  | 1.102
390.01-395.00 | 134.1 | 24.552 |  |  |  |  | 1.116
395.01-400.00 | 135.8 | 24.864 |  |  |  |  | 1.13
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Energy Charge Rate ($/kWh) |  |  |  | 0.18309
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)