## LS-2_220601-221231
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.201 |  |  | 3.787
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 4.688 |  |  | 0.213
92 | 31 | 1000 |  | 7.266 |  |  | 0.33
189 | 65 | 2500 |  | 15.235 |  |  | 0.693
295 | 101 | 4000 | ** | 23.673 |  |  | 1.076
405 | 139 | 6000 | ** | 32.58 |  |  | 1.481
620 | 212 | 10000 | ** | 49.691 |  |  | 2.259
860 | 294 | 15000 | ** | 68.911 |  |  | 3.132
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 4.219 |  |  | 0.192
50 | 22 | 1650 |  | 5.157 |  |  | 0.234
100 | 40 | 3500 |  | 9.376 |  |  | 0.426
175 | 68 | 7500 |  | 15.939 |  |  | 0.725
250 | 97 | 11000 |  | 22.736 |  |  | 1.033
400 | 152 | 21000 |  | 35.627 |  |  | 1.619
700 | 266 | 37000 |  | 62.348 |  |  | 2.834
1000 | 377 | 57000 |  | 88.365 |  |  | 4.017
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 3.516 |  |  | 0.16
50 | 21 | 3800 |  | 4.922 |  |  | 0.224
70 | 29 | 5800 |  | 6.797 |  |  | 0.309
100 | 41 | 9500 |  | 9.61 |  |  | 0.437
150 | 60 | 16000 |  | 14.063 |  |  | 0.639
200 | 80 | 22000 |  | 18.751 |  |  | 0.852
250 | 100 | 26000 |  | 23.439 |  |  | 1.065
400 | 154 | 46000 |  | 36.096 |  |  | 1.641
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 5.625 |  |  | 0.256
70 | 34 | 5800 |  | 7.969 |  |  | 0.362
| 47 | 9500 |  | 11.016 |  |  | 0.501
150 | 69 | 16000 |  | 16.173 |  |  | 0.735
200 | 81 | 22000 |  | 18.986 |  |  | 0.863
250 | 100 | 25500 |  | 23.439 |  |  | 1.065
310 | 119 | 37000 |  | 27.892 |  |  | 1.268
360 | 144 | 45000 |  | 33.752 |  |  | 1.534
400 | 154 | 46000 |  | 36.096 |  |  | 1.641
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 4.922 |  |  | 0.224
55 | 29 | 8000 |  | 6.797 |  |  | 0.309
90 | 45 | 13500 |  | 10.548 |  |  | 0.479
135 | 62 | 21500 |  | 14.532 |  |  | 0.661
180 | 78 | 33000 |  | 18.282 |  |  | 0.831
Metal Halide Lamps:
70 | 30 | 5500 |  | 7.032 |  |  | 0.32
100 | 41 | 8500 |  | 9.61 |  |  | 0.437
150 | 63 | 13500 |  | 14.767 |  |  | 0.671
175 | 72 | 14000 |  | 16.876 |  |  | 0.767
250 | 105 | 20500 |  | 24.611 |  |  | 1.119
400 | 162 | 30000 |  | 37.971 |  |  | 1.726
1000 | 387 | 90000 |  | 90.709 |  |  | 4.123
Induction Lamps:
23 | 9 | 1840 |  | 2.11 |  |  | 0.096
35 | 13 | 2450 |  | 3.047 |  |  | 0.139
40 | 14 | 2200 |  | 3.281 |  |  | 0.149
50 | 18 | 3500 |  | 4.219 |  |  | 0.192
55 | 19 | 3000 |  | 4.453 |  |  | 0.202
65 | 24 | 5525 |  | 5.625 |  |  | 0.256
70 | 27 | 6500 |  | 6.329 |  |  | 0.288
80 | 28 | 4500 |  | 6.563 |  |  | 0.298
85 | 30 | 4800 |  | 7.032 |  |  | 0.32
100 | 36 | 8000 |  | 8.438 |  |  | 0.384
120 | 42 | 8500 |  | 9.73 |  |  | 0.442
135 | 48 | 9450 |  | 11.251 |  |  | 0.511
150 | 51 | 10900 |  | 11.954 |  |  | 0.543
165 | 58 | 12000 |  | 13.595 |  |  | 0.618
200 | 72 | 19000 |  | 16.876 |  |  | 0.767
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.211 |  |  |  |  | 0.01
5.01-10.00 | 2.6 | 0.609 |  |  |  |  | 0.028
10.01-15.00 | 4.3 | 1.008 |  |  |  |  | 0.046
15.01-20.00 | 6 | 1.406 |  |  |  |  | 0.064
20.01-25.00 | 7.7 | 1.805 |  |  |  |  | 0.082
25.01-30.00 | 9.4 | 2.203 |  |  |  |  | 0.1
30.01-35.00 | 11.1 | 2.602 |  |  |  |  | 0.118
35.01-40.00 | 12.8 | 3 |  |  |  |  | 0.136
40.01-45.00 | 14.5 | 3.399 |  |  |  |  | 0.155
45.01-50.00 | 16.2 | 3.797 |  |  |  |  | 0.173
50.01-55.00 | 17.9 | 4.196 |  |  |  |  | 0.191
55.01-60.00 | 19.6 | 4.594 |  |  |  |  | 0.209
60.01-65.00 | 21.4 | 5.016 |  |  |  |  | 0.228
65.01-70.00 | 23.1 | 5.414 |  |  |  |  | 0.246
70.01-75.00 | 24.8 | 5.813 |  |  |  |  | 0.264
75.01-80.00 | 26.5 | 6.211 |  |  |  |  | 0.282
80.01-85.00 | 28.2 | 6.61 |  |  |  |  | 0.3
85.00-90.00 | 29.9 | 7.008 |  |  |  |  | 0.319
90.01-95.00 | 31.6 | 7.407 |  |  |  |  | 0.337
95.01-100.00 | 33.3 | 7.805 |  |  |  |  | 0.355
100.01-105.00 | 35 | 8.204 |  |  |  |  | 0.373
105.01-110.00 | 36.7 | 8.602 |  |  |  |  | 0.391
110.01-115.00 | 38.4 | 9.001 |  |  |  |  | 0.409
115.01-120.00 | 40.1 | 9.399 |  |  |  |  | 0.427
120.01-125.00 | 41.9 | 9.821 |  |  |  |  | 0.446
125.01-130.00 | 43.6 | 10.219 |  |  |  |  | 0.465
130.01-135.00 | 45.3 | 10.618 |  |  |  |  | 0.483
135.01-140.00 | 47 | 11.016 |  |  |  |  | 0.501
140.01-145.00 | 48.7 | 11.415 |  |  |  |  | 0.519
145.01-150.00 | 50.4 | 11.813 |  |  |  |  | 0.537
150.01-155.00 | 52.1 | 12.212 |  |  |  |  | 0.555
155.01-160.00 | 53.8 | 12.61 |  |  |  |  | 0.573
160.01-165.00 | 55.5 | 13.009 |  |  |  |  | 0.591
165.01-170.00 | 57.2 | 13.407 |  |  |  |  | 0.609
170.01-175.00 | 58.9 | 13.806 |  |  |  |  | 0.628
175.01-180.00 | 60.6 | 14.204 |  |  |  |  | 0.646
180.01-185.00 | 62.4 | 14.626 |  |  |  |  | 0.665
185.01-190.00 | 64.1 | 15.024 |  |  |  |  | 0.683
190.01-195.00 | 65.8 | 15.423 |  |  |  |  | 0.701
195.01-200.00 | 67.5 | 15.821 |  |  |  |  | 0.719
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 16.22 |  |  |  |  | 0.737
205.01-210.00 | 70.9 | 16.618 |  |  |  |  | 0.755
210.01-215.00 | 72.6 | 17.017 |  |  |  |  | 0.774
215.01-220.00 | 74.3 | 17.415 |  |  |  |  | 0.792
220.01-225.00 | 76 | 17.814 |  |  |  |  | 0.81
225.01-230.00 | 77.7 | 18.212 |  |  |  |  | 0.828
230.01-235.00 | 79.4 | 18.611 |  |  |  |  | 0.846
235.01-240.00 | 81.1 | 19.009 |  |  |  |  | 0.864
240.01-245.00 | 82.9 | 19.431 |  |  |  |  | 0.883
245.01-250.00 | 84.6 | 19.829 |  |  |  |  | 0.901
250.01-255.00 | 86.3 | 20.228 |  |  |  |  | 0.919
255.01-260.00 | 88 | 20.626 |  |  |  |  | 0.938
260.01-265.00 | 89.7 | 21.025 |  |  |  |  | 0.956
265.01-270.00 | 91.4 | 21.423 |  |  |  |  | 0.974
270.01-275.00 | 93.1 | 21.822 |  |  |  |  | 0.992
275.01-280.00 | 94.8 | 22.22 |  |  |  |  | 1.01
280.01-285.00 | 96.5 | 22.619 |  |  |  |  | 1.028
285.01-290.00 | 98.2 | 23.017 |  |  |  |  | 1.046
290.01-295.00 | 99.9 | 23.416 |  |  |  |  | 1.064
295.01-300.00 | 101.6 | 23.814 |  |  |  |  | 1.082
300.01-305.00 | 103.4 | 24.236 |  |  |  |  | 1.102
305.01-310.00 | 105.1 | 24.634 |  |  |  |  | 1.12
310.01-315.00 | 106.8 | 25.033 |  |  |  |  | 1.138
315.01-320.00 | 108.5 | 25.431 |  |  |  |  | 1.156
320.01-325.00 | 110.2 | 25.83 |  |  |  |  | 1.174
325.01-330.00 | 111.9 | 26.228 |  |  |  |  | 1.192
330.01-335.00 | 113.6 | 26.627 |  |  |  |  | 1.21
335.01-340.00 | 115.3 | 27.025 |  |  |  |  | 1.228
340.01-345.00 | 117 | 27.424 |  |  |  |  | 1.247
345.01-350.00 | 118.7 | 27.822 |  |  |  |  | 1.265
350.01-355.00 | 120.4 | 28.221 |  |  |  |  | 1.283
355.01-360.00 | 122.1 | 28.619 |  |  |  |  | 1.301
360.01-365.00 | 123.9 | 29.041 |  |  |  |  | 1.32
365.01-370.00 | 125.6 | 29.439 |  |  |  |  | 1.338
370.01-375.00 | 127.3 | 29.838 |  |  |  |  | 1.356
375.01-380.00 | 129 | 30.236 |  |  |  |  | 1.374
380.01-385.00 | 130.7 | 30.635 |  |  |  |  | 1.393
385.01-390.00 | 132.4 | 31.033 |  |  |  |  | 1.411
390.01-395.00 | 134.1 | 31.432 |  |  |  |  | 1.429
395.01-400.00 | 135.8 | 31.83 |  |  |  |  | 1.447
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Bundled Energy Rates:
Total Energy Charge Rate ($/kWh) |  |  |  | 0.23439
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)