## LS-2_230101-230228
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.201 |  |  | 3.787
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 4.932 |  |  | 0.224
92 | 31 | 1000 |  | 7.645 |  |  | 0.348
189 | 65 | 2500 |  | 16.029 |  |  | 0.729
295 | 101 | 4000 | ** | 24.907 |  |  | 1.132
405 | 139 | 6000 | ** | 34.277 |  |  | 1.558
620 | 212 | 10000 | ** | 52.279 |  |  | 2.376
860 | 294 | 15000 | ** | 72.5 |  |  | 3.295
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 4.439 |  |  | 0.202
50 | 22 | 1650 |  | 5.425 |  |  | 0.247
100 | 40 | 3500 |  | 9.864 |  |  | 0.448
175 | 68 | 7500 |  | 16.769 |  |  | 0.762
250 | 97 | 11000 |  | 23.92 |  |  | 1.087
400 | 152 | 21000 |  | 37.483 |  |  | 1.704
700 | 266 | 37000 |  | 65.596 |  |  | 2.982
1000 | 377 | 57000 |  | 92.968 |  |  | 4.226
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 3.699 |  |  | 0.168
50 | 21 | 3800 |  | 5.179 |  |  | 0.235
70 | 29 | 5800 |  | 7.151 |  |  | 0.325
100 | 41 | 9500 |  | 10.111 |  |  | 0.46
150 | 60 | 16000 |  | 14.796 |  |  | 0.673
200 | 80 | 22000 |  | 19.728 |  |  | 0.897
250 | 100 | 26000 |  | 24.66 |  |  | 1.121
400 | 154 | 46000 |  | 37.976 |  |  | 1.726
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 5.918 |  |  | 0.269
70 | 34 | 5800 |  | 8.384 |  |  | 0.381
| 47 | 9500 |  | 11.59 |  |  | 0.527
150 | 69 | 16000 |  | 17.015 |  |  | 0.773
200 | 81 | 22000 |  | 19.975 |  |  | 0.908
250 | 100 | 25500 |  | 24.66 |  |  | 1.121
310 | 119 | 37000 |  | 29.345 |  |  | 1.334
360 | 144 | 45000 |  | 35.51 |  |  | 1.614
400 | 154 | 46000 |  | 37.976 |  |  | 1.726
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 5.179 |  |  | 0.235
55 | 29 | 8000 |  | 7.151 |  |  | 0.325
90 | 45 | 13500 |  | 11.097 |  |  | 0.504
135 | 62 | 21500 |  | 15.289 |  |  | 0.695
180 | 78 | 33000 |  | 19.235 |  |  | 0.874
Metal Halide Lamps:
70 | 30 | 5500 |  | 7.398 |  |  | 0.336
100 | 41 | 8500 |  | 10.111 |  |  | 0.46
150 | 63 | 13500 |  | 15.536 |  |  | 0.706
175 | 72 | 14000 |  | 17.755 |  |  | 0.807
250 | 105 | 20500 |  | 25.893 |  |  | 1.177
400 | 162 | 30000 |  | 39.949 |  |  | 1.816
1000 | 387 | 90000 |  | 95.434 |  |  | 4.338
Induction Lamps:
23 | 9 | 1840 |  | 2.219 |  |  | 0.101
35 | 13 | 2450 |  | 3.206 |  |  | 0.146
40 | 14 | 2200 |  | 3.452 |  |  | 0.157
50 | 18 | 3500 |  | 4.439 |  |  | 0.202
55 | 19 | 3000 |  | 4.685 |  |  | 0.213
65 | 24 | 5525 |  | 5.918 |  |  | 0.269
70 | 27 | 6500 |  | 6.658 |  |  | 0.303
80 | 28 | 4500 |  | 6.905 |  |  | 0.314
85 | 30 | 4800 |  | 7.398 |  |  | 0.336
100 | 36 | 8000 |  | 8.878 |  |  | 0.404
120 | 42 | 8500 |  | 10.236 |  |  | 0.465
135 | 48 | 9450 |  | 11.837 |  |  | 0.538
150 | 51 | 10900 |  | 12.577 |  |  | 0.572
165 | 58 | 12000 |  | 14.303 |  |  | 0.65
200 | 72 | 19000 |  | 17.755 |  |  | 0.807
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.222 |  |  |  |  | 0.01
5.01-10.00 | 2.6 | 0.641 |  |  |  |  | 0.029
10.01-15.00 | 4.3 | 1.06 |  |  |  |  | 0.048
15.01-20.00 | 6 | 1.48 |  |  |  |  | 0.067
20.01-25.00 | 7.7 | 1.899 |  |  |  |  | 0.086
25.01-30.00 | 9.4 | 2.318 |  |  |  |  | 0.105
30.01-35.00 | 11.1 | 2.737 |  |  |  |  | 0.124
35.01-40.00 | 12.8 | 3.156 |  |  |  |  | 0.143
40.01-45.00 | 14.5 | 3.576 |  |  |  |  | 0.163
45.01-50.00 | 16.2 | 3.995 |  |  |  |  | 0.182
50.01-55.00 | 17.9 | 4.414 |  |  |  |  | 0.201
55.01-60.00 | 19.6 | 4.833 |  |  |  |  | 0.22
60.01-65.00 | 21.4 | 5.277 |  |  |  |  | 0.24
65.01-70.00 | 23.1 | 5.696 |  |  |  |  | 0.259
70.01-75.00 | 24.8 | 6.116 |  |  |  |  | 0.278
75.01-80.00 | 26.5 | 6.535 |  |  |  |  | 0.297
80.01-85.00 | 28.2 | 6.954 |  |  |  |  | 0.316
85.00-90.00 | 29.9 | 7.373 |  |  |  |  | 0.335
90.01-95.00 | 31.6 | 7.793 |  |  |  |  | 0.354
95.01-100.00 | 33.3 | 8.212 |  |  |  |  | 0.373
100.01-105.00 | 35 | 8.631 |  |  |  |  | 0.392
105.01-110.00 | 36.7 | 9.05 |  |  |  |  | 0.411
110.01-115.00 | 38.4 | 9.469 |  |  |  |  | 0.43
115.01-120.00 | 40.1 | 9.889 |  |  |  |  | 0.45
120.01-125.00 | 41.9 | 10.333 |  |  |  |  | 0.47
125.01-130.00 | 43.6 | 10.752 |  |  |  |  | 0.489
130.01-135.00 | 45.3 | 11.171 |  |  |  |  | 0.508
135.01-140.00 | 47 | 11.59 |  |  |  |  | 0.527
140.01-145.00 | 48.7 | 12.009 |  |  |  |  | 0.546
145.01-150.00 | 50.4 | 12.429 |  |  |  |  | 0.565
150.01-155.00 | 52.1 | 12.848 |  |  |  |  | 0.584
155.01-160.00 | 53.8 | 13.267 |  |  |  |  | 0.603
160.01-165.00 | 55.5 | 13.686 |  |  |  |  | 0.622
165.01-170.00 | 57.2 | 14.106 |  |  |  |  | 0.641
170.01-175.00 | 58.9 | 14.525 |  |  |  |  | 0.66
175.01-180.00 | 60.6 | 14.944 |  |  |  |  | 0.679
180.01-185.00 | 62.4 | 15.388 |  |  |  |  | 0.699
185.01-190.00 | 64.1 | 15.807 |  |  |  |  | 0.719
190.01-195.00 | 65.8 | 16.226 |  |  |  |  | 0.738
195.01-200.00 | 67.5 | 16.646 |  |  |  |  | 0.757
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 17.065 |  |  |  |  | 0.776
205.01-210.00 | 70.9 | 17.484 |  |  |  |  | 0.795
210.01-215.00 | 72.6 | 17.903 |  |  |  |  | 0.814
215.01-220.00 | 74.3 | 18.322 |  |  |  |  | 0.833
220.01-225.00 | 76 | 18.742 |  |  |  |  | 0.852
225.01-230.00 | 77.7 | 19.161 |  |  |  |  | 0.871
230.01-235.00 | 79.4 | 19.58 |  |  |  |  | 0.89
235.01-240.00 | 81.1 | 19.999 |  |  |  |  | 0.909
240.01-245.00 | 82.9 | 20.443 |  |  |  |  | 0.929
245.01-250.00 | 84.6 | 20.862 |  |  |  |  | 0.948
250.01-255.00 | 86.3 | 21.282 |  |  |  |  | 0.967
255.01-260.00 | 88 | 21.701 |  |  |  |  | 0.986
260.01-265.00 | 89.7 | 22.12 |  |  |  |  | 1.005
265.01-270.00 | 91.4 | 22.539 |  |  |  |  | 1.025
270.01-275.00 | 93.1 | 22.958 |  |  |  |  | 1.044
275.01-280.00 | 94.8 | 23.378 |  |  |  |  | 1.063
280.01-285.00 | 96.5 | 23.797 |  |  |  |  | 1.082
285.01-290.00 | 98.2 | 24.216 |  |  |  |  | 1.101
290.01-295.00 | 99.9 | 24.635 |  |  |  |  | 1.12
295.01-300.00 | 101.6 | 25.055 |  |  |  |  | 1.139
300.01-305.00 | 103.4 | 25.498 |  |  |  |  | 1.159
305.01-310.00 | 105.1 | 25.918 |  |  |  |  | 1.178
310.01-315.00 | 106.8 | 26.337 |  |  |  |  | 1.197
315.01-320.00 | 108.5 | 26.756 |  |  |  |  | 1.216
320.01-325.00 | 110.2 | 27.175 |  |  |  |  | 1.235
325.01-330.00 | 111.9 | 27.595 |  |  |  |  | 1.254
330.01-335.00 | 113.6 | 28.014 |  |  |  |  | 1.273
335.01-340.00 | 115.3 | 28.433 |  |  |  |  | 1.292
340.01-345.00 | 117 | 28.852 |  |  |  |  | 1.311
345.01-350.00 | 118.7 | 29.271 |  |  |  |  | 1.331
350.01-355.00 | 120.4 | 29.691 |  |  |  |  | 1.35
355.01-360.00 | 122.1 | 30.11 |  |  |  |  | 1.369
360.01-365.00 | 123.9 | 30.554 |  |  |  |  | 1.389
365.01-370.00 | 125.6 | 30.973 |  |  |  |  | 1.408
370.01-375.00 | 127.3 | 31.392 |  |  |  |  | 1.427
375.01-380.00 | 129 | 31.811 |  |  |  |  | 1.446
380.01-385.00 | 130.7 | 32.231 |  |  |  |  | 1.465
385.01-390.00 | 132.4 | 32.65 |  |  |  |  | 1.484
390.01-395.00 | 134.1 | 33.069 |  |  |  |  | 1.503
395.01-400.00 | 135.8 | 33.488 |  |  |  |  | 1.522
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Bundled Energy Rates:
Total Energy Charge Rate ($/kWh) |  |  |  | 0.2466
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)