## LS-2_230701-230831
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.201 |  |  | 3.787
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 5.575 |  |  | 0.253
92 | 31 | 1000 |  | 8.642 |  |  | 0.393
189 | 65 | 2500 |  | 18.12 |  |  | 0.824
295 | 101 | 4000 | ** | 28.156 |  |  | 1.28
405 | 139 | 6000 | ** | 38.749 |  |  | 1.761
620 | 212 | 10000 | ** | 59.099 |  |  | 2.686
860 | 294 | 15000 | ** | 81.958 |  |  | 3.725
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 5.018 |  |  | 0.228
50 | 22 | 1650 |  | 6.133 |  |  | 0.279
100 | 40 | 3500 |  | 11.151 |  |  | 0.507
175 | 68 | 7500 |  | 18.956 |  |  | 0.862
250 | 97 | 11000 |  | 27.041 |  |  | 1.229
400 | 152 | 21000 |  | 42.373 |  |  | 1.926
700 | 266 | 37000 |  | 74.153 |  |  | 3.371
1000 | 377 | 57000 |  | 105.096 |  |  | 4.777
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 4.182 |  |  | 0.19
50 | 21 | 3800 |  | 5.854 |  |  | 0.266
70 | 29 | 5800 |  | 8.084 |  |  | 0.367
100 | 41 | 9500 |  | 11.43 |  |  | 0.52
150 | 60 | 16000 |  | 16.726 |  |  | 0.76
200 | 80 | 22000 |  | 22.302 |  |  | 1.014
250 | 100 | 26000 |  | 27.877 |  |  | 1.267
400 | 154 | 46000 |  | 42.931 |  |  | 1.951
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 6.69 |  |  | 0.304
70 | 34 | 5800 |  | 9.478 |  |  | 0.431
| 47 | 9500 |  | 13.102 |  |  | 0.596
150 | 69 | 16000 |  | 19.235 |  |  | 0.874
200 | 81 | 22000 |  | 22.58 |  |  | 1.026
250 | 100 | 25500 |  | 27.877 |  |  | 1.267
310 | 119 | 37000 |  | 33.174 |  |  | 1.508
360 | 144 | 45000 |  | 40.143 |  |  | 1.825
400 | 154 | 46000 |  | 42.931 |  |  | 1.951
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 5.854 |  |  | 0.266
55 | 29 | 8000 |  | 8.084 |  |  | 0.367
90 | 45 | 13500 |  | 12.545 |  |  | 0.57
135 | 62 | 21500 |  | 17.284 |  |  | 0.786
180 | 78 | 33000 |  | 21.744 |  |  | 0.988
Metal Halide Lamps:
70 | 30 | 5500 |  | 8.363 |  |  | 0.38
100 | 41 | 8500 |  | 11.43 |  |  | 0.52
150 | 63 | 13500 |  | 17.563 |  |  | 0.798
175 | 72 | 14000 |  | 20.071 |  |  | 0.912
250 | 105 | 20500 |  | 29.271 |  |  | 1.331
400 | 162 | 30000 |  | 45.161 |  |  | 2.053
1000 | 387 | 90000 |  | 107.884 |  |  | 4.904
Induction Lamps:
23 | 9 | 1840 |  | 2.509 |  |  | 0.114
35 | 13 | 2450 |  | 3.624 |  |  | 0.165
40 | 14 | 2200 |  | 3.903 |  |  | 0.177
50 | 18 | 3500 |  | 5.018 |  |  | 0.228
55 | 19 | 3000 |  | 5.297 |  |  | 0.241
65 | 24 | 5525 |  | 6.69 |  |  | 0.304
70 | 27 | 6500 |  | 7.527 |  |  | 0.342
80 | 28 | 4500 |  | 7.806 |  |  | 0.355
85 | 30 | 4800 |  | 8.363 |  |  | 0.38
100 | 36 | 8000 |  | 10.036 |  |  | 0.456
120 | 42 | 8500 |  | 11.572 |  |  | 0.526
135 | 48 | 9450 |  | 13.381 |  |  | 0.608
150 | 51 | 10900 |  | 14.217 |  |  | 0.646
165 | 58 | 12000 |  | 16.169 |  |  | 0.735
200 | 72 | 19000 |  | 20.071 |  |  | 0.912
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.251 |  |  |  |  | 0.011
5.01-10.00 | 2.6 | 0.725 |  |  |  |  | 0.033
10.01-15.00 | 4.3 | 1.199 |  |  |  |  | 0.055
15.01-20.00 | 6 | 1.673 |  |  |  |  | 0.076
20.01-25.00 | 7.7 | 2.147 |  |  |  |  | 0.098
25.01-30.00 | 9.4 | 2.62 |  |  |  |  | 0.119
30.01-35.00 | 11.1 | 3.094 |  |  |  |  | 0.141
35.01-40.00 | 12.8 | 3.568 |  |  |  |  | 0.162
40.01-45.00 | 14.5 | 4.042 |  |  |  |  | 0.184
45.01-50.00 | 16.2 | 4.516 |  |  |  |  | 0.205
50.01-55.00 | 17.9 | 4.99 |  |  |  |  | 0.227
55.01-60.00 | 19.6 | 5.464 |  |  |  |  | 0.248
60.01-65.00 | 21.4 | 5.966 |  |  |  |  | 0.271
65.01-70.00 | 23.1 | 6.44 |  |  |  |  | 0.293
70.01-75.00 | 24.8 | 6.913 |  |  |  |  | 0.314
75.01-80.00 | 26.5 | 7.387 |  |  |  |  | 0.336
80.01-85.00 | 28.2 | 7.861 |  |  |  |  | 0.357
85.00-90.00 | 29.9 | 8.335 |  |  |  |  | 0.379
90.01-95.00 | 31.6 | 8.809 |  |  |  |  | 0.4
95.01-100.00 | 33.3 | 9.283 |  |  |  |  | 0.422
100.01-105.00 | 35 | 9.757 |  |  |  |  | 0.444
105.01-110.00 | 36.7 | 10.231 |  |  |  |  | 0.465
110.01-115.00 | 38.4 | 10.705 |  |  |  |  | 0.487
115.01-120.00 | 40.1 | 11.179 |  |  |  |  | 0.508
120.01-125.00 | 41.9 | 11.68 |  |  |  |  | 0.531
125.01-130.00 | 43.6 | 12.154 |  |  |  |  | 0.552
130.01-135.00 | 45.3 | 12.628 |  |  |  |  | 0.574
135.01-140.00 | 47 | 13.102 |  |  |  |  | 0.596
140.01-145.00 | 48.7 | 13.576 |  |  |  |  | 0.617
145.01-150.00 | 50.4 | 14.05 |  |  |  |  | 0.639
150.01-155.00 | 52.1 | 14.524 |  |  |  |  | 0.66
155.01-160.00 | 53.8 | 14.998 |  |  |  |  | 0.682
160.01-165.00 | 55.5 | 15.472 |  |  |  |  | 0.703
165.01-170.00 | 57.2 | 15.946 |  |  |  |  | 0.725
170.01-175.00 | 58.9 | 16.42 |  |  |  |  | 0.746
175.01-180.00 | 60.6 | 16.893 |  |  |  |  | 0.768
180.01-185.00 | 62.4 | 17.395 |  |  |  |  | 0.791
185.01-190.00 | 64.1 | 17.869 |  |  |  |  | 0.812
190.01-195.00 | 65.8 | 18.343 |  |  |  |  | 0.834
195.01-200.00 | 67.5 | 18.817 |  |  |  |  | 0.855
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 19.291 |  |  |  |  | 0.877
205.01-210.00 | 70.9 | 19.765 |  |  |  |  | 0.898
210.01-215.00 | 72.6 | 20.239 |  |  |  |  | 0.92
215.01-220.00 | 74.3 | 20.713 |  |  |  |  | 0.942
220.01-225.00 | 76 | 21.187 |  |  |  |  | 0.963
225.01-230.00 | 77.7 | 21.66 |  |  |  |  | 0.985
230.01-235.00 | 79.4 | 22.134 |  |  |  |  | 1.006
235.01-240.00 | 81.1 | 22.608 |  |  |  |  | 1.028
240.01-245.00 | 82.9 | 23.11 |  |  |  |  | 1.05
245.01-250.00 | 84.6 | 23.584 |  |  |  |  | 1.072
250.01-255.00 | 86.3 | 24.058 |  |  |  |  | 1.094
255.01-260.00 | 88 | 24.532 |  |  |  |  | 1.115
260.01-265.00 | 89.7 | 25.006 |  |  |  |  | 1.137
265.01-270.00 | 91.4 | 25.48 |  |  |  |  | 1.158
270.01-275.00 | 93.1 | 25.953 |  |  |  |  | 1.18
275.01-280.00 | 94.8 | 26.427 |  |  |  |  | 1.201
280.01-285.00 | 96.5 | 26.901 |  |  |  |  | 1.223
285.01-290.00 | 98.2 | 27.375 |  |  |  |  | 1.244
290.01-295.00 | 99.9 | 27.849 |  |  |  |  | 1.266
295.01-300.00 | 101.6 | 28.323 |  |  |  |  | 1.287
300.01-305.00 | 103.4 | 28.825 |  |  |  |  | 1.31
305.01-310.00 | 105.1 | 29.299 |  |  |  |  | 1.332
310.01-315.00 | 106.8 | 29.773 |  |  |  |  | 1.353
315.01-320.00 | 108.5 | 30.247 |  |  |  |  | 1.375
320.01-325.00 | 110.2 | 30.72 |  |  |  |  | 1.396
325.01-330.00 | 111.9 | 31.194 |  |  |  |  | 1.418
330.01-335.00 | 113.6 | 31.668 |  |  |  |  | 1.439
335.01-340.00 | 115.3 | 32.142 |  |  |  |  | 1.461
340.01-345.00 | 117 | 32.616 |  |  |  |  | 1.483
345.01-350.00 | 118.7 | 33.09 |  |  |  |  | 1.504
350.01-355.00 | 120.4 | 33.564 |  |  |  |  | 1.526
355.01-360.00 | 122.1 | 34.038 |  |  |  |  | 1.547
360.01-365.00 | 123.9 | 34.54 |  |  |  |  | 1.57
365.01-370.00 | 125.6 | 35.014 |  |  |  |  | 1.592
370.01-375.00 | 127.3 | 35.487 |  |  |  |  | 1.613
375.01-380.00 | 129 | 35.961 |  |  |  |  | 1.635
380.01-385.00 | 130.7 | 36.435 |  |  |  |  | 1.656
385.01-390.00 | 132.4 | 36.909 |  |  |  |  | 1.678
390.01-395.00 | 134.1 | 37.383 |  |  |  |  | 1.699
395.01-400.00 | 135.8 | 37.857 |  |  |  |  | 1.721
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Bundled Energy Rates:
Total Energy Charge Rate ($/kWh) |  |  |  | 0.27877
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)