## LS-2_240301-Present
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.201 |  |  | 3.787
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 7.232 |  |  | 0.329
92 | 31 | 1000 |  | 11.209 |  |  | 0.51
189 | 65 | 2500 |  | 23.503 |  |  | 1.068
295 | 101 | 4000 | ** | 36.521 |  |  | 1.66
405 | 139 | 6000 | ** | 50.261 |  |  | 2.285
620 | 212 | 10000 | ** | 76.657 |  |  | 3.484
860 | 294 | 15000 | ** | 106.307 |  |  | 4.832
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 6.509 |  |  | 0.296
50 | 22 | 1650 |  | 7.955 |  |  | 0.362
100 | 40 | 3500 |  | 14.464 |  |  | 0.657
175 | 68 | 7500 |  | 24.588 |  |  | 1.118
250 | 97 | 11000 |  | 35.074 |  |  | 1.594
400 | 152 | 21000 |  | 54.962 |  |  | 2.498
700 | 266 | 37000 |  | 96.183 |  |  | 4.372
1000 | 377 | 57000 |  | 136.319 |  |  | 6.196
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 5.424 |  |  | 0.247
50 | 21 | 3800 |  | 7.593 |  |  | 0.345
70 | 29 | 5800 |  | 10.486 |  |  | 0.477
100 | 41 | 9500 |  | 14.825 |  |  | 0.674
150 | 60 | 16000 |  | 21.695 |  |  | 0.986
200 | 80 | 22000 |  | 28.927 |  |  | 1.315
250 | 100 | 26000 |  | 36.159 |  |  | 1.644
400 | 154 | 46000 |  | 55.685 |  |  | 2.531
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 8.678 |  |  | 0.394
70 | 34 | 5800 |  | 12.294 |  |  | 0.559
| 47 | 9500 |  | 16.995 |  |  | 0.773
150 | 69 | 16000 |  | 24.95 |  |  | 1.134
200 | 81 | 22000 |  | 29.289 |  |  | 1.331
250 | 100 | 25500 |  | 36.159 |  |  | 1.644
310 | 119 | 37000 |  | 43.029 |  |  | 1.956
360 | 144 | 45000 |  | 52.069 |  |  | 2.367
400 | 154 | 46000 |  | 55.685 |  |  | 2.531
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 7.593 |  |  | 0.345
55 | 29 | 8000 |  | 10.486 |  |  | 0.477
90 | 45 | 13500 |  | 16.272 |  |  | 0.74
135 | 62 | 21500 |  | 22.419 |  |  | 1.019
180 | 78 | 33000 |  | 28.204 |  |  | 1.282
Metal Halide Lamps:
70 | 30 | 5500 |  | 10.848 |  |  | 0.493
100 | 41 | 8500 |  | 14.825 |  |  | 0.674
150 | 63 | 13500 |  | 22.78 |  |  | 1.035
175 | 72 | 14000 |  | 26.034 |  |  | 1.183
250 | 105 | 20500 |  | 37.967 |  |  | 1.726
400 | 162 | 30000 |  | 58.578 |  |  | 2.663
1000 | 387 | 90000 |  | 139.935 |  |  | 6.361
Induction Lamps:
23 | 9 | 1840 |  | 3.254 |  |  | 0.148
35 | 13 | 2450 |  | 4.701 |  |  | 0.214
40 | 14 | 2200 |  | 5.062 |  |  | 0.23
50 | 18 | 3500 |  | 6.509 |  |  | 0.296
55 | 19 | 3000 |  | 6.87 |  |  | 0.312
65 | 24 | 5525 |  | 8.678 |  |  | 0.394
70 | 27 | 6500 |  | 9.763 |  |  | 0.444
80 | 28 | 4500 |  | 10.125 |  |  | 0.46
85 | 30 | 4800 |  | 10.848 |  |  | 0.493
100 | 36 | 8000 |  | 13.017 |  |  | 0.592
120 | 42 | 8500 |  | 15.01 |  |  | 0.682
135 | 48 | 9450 |  | 17.356 |  |  | 0.789
150 | 51 | 10900 |  | 18.441 |  |  | 0.838
165 | 58 | 12000 |  | 20.972 |  |  | 0.953
200 | 72 | 19000 |  | 26.034 |  |  | 1.183
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.325 |  |  |  |  | 0.015
5.01-10.00 | 2.6 | 0.94 |  |  |  |  | 0.043
10.01-15.00 | 4.3 | 1.555 |  |  |  |  | 0.071
15.01-20.00 | 6 | 2.17 |  |  |  |  | 0.099
20.01-25.00 | 7.7 | 2.784 |  |  |  |  | 0.127
25.01-30.00 | 9.4 | 3.399 |  |  |  |  | 0.155
30.01-35.00 | 11.1 | 4.014 |  |  |  |  | 0.182
35.01-40.00 | 12.8 | 4.628 |  |  |  |  | 0.21
40.01-45.00 | 14.5 | 5.243 |  |  |  |  | 0.238
45.01-50.00 | 16.2 | 5.858 |  |  |  |  | 0.266
50.01-55.00 | 17.9 | 6.472 |  |  |  |  | 0.294
55.01-60.00 | 19.6 | 7.087 |  |  |  |  | 0.322
60.01-65.00 | 21.4 | 7.738 |  |  |  |  | 0.352
65.01-70.00 | 23.1 | 8.353 |  |  |  |  | 0.38
70.01-75.00 | 24.8 | 8.967 |  |  |  |  | 0.408
75.01-80.00 | 26.5 | 9.582 |  |  |  |  | 0.436
80.01-85.00 | 28.2 | 10.197 |  |  |  |  | 0.464
85.00-90.00 | 29.9 | 10.812 |  |  |  |  | 0.491
90.01-95.00 | 31.6 | 11.426 |  |  |  |  | 0.519
95.01-100.00 | 33.3 | 12.041 |  |  |  |  | 0.547
100.01-105.00 | 35 | 12.656 |  |  |  |  | 0.575
105.01-110.00 | 36.7 | 13.27 |  |  |  |  | 0.603
110.01-115.00 | 38.4 | 13.885 |  |  |  |  | 0.631
115.01-120.00 | 40.1 | 14.5 |  |  |  |  | 0.659
120.01-125.00 | 41.9 | 15.151 |  |  |  |  | 0.689
125.01-130.00 | 43.6 | 15.765 |  |  |  |  | 0.717
130.01-135.00 | 45.3 | 16.38 |  |  |  |  | 0.745
135.01-140.00 | 47 | 16.995 |  |  |  |  | 0.773
140.01-145.00 | 48.7 | 17.609 |  |  |  |  | 0.8
145.01-150.00 | 50.4 | 18.224 |  |  |  |  | 0.828
150.01-155.00 | 52.1 | 18.839 |  |  |  |  | 0.856
155.01-160.00 | 53.8 | 19.454 |  |  |  |  | 0.884
160.01-165.00 | 55.5 | 20.068 |  |  |  |  | 0.912
165.01-170.00 | 57.2 | 20.683 |  |  |  |  | 0.94
170.01-175.00 | 58.9 | 21.298 |  |  |  |  | 0.968
175.01-180.00 | 60.6 | 21.912 |  |  |  |  | 0.996
180.01-185.00 | 62.4 | 22.563 |  |  |  |  | 1.026
185.01-190.00 | 64.1 | 23.178 |  |  |  |  | 1.054
190.01-195.00 | 65.8 | 23.793 |  |  |  |  | 1.082
195.01-200.00 | 67.5 | 24.407 |  |  |  |  | 1.109
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 25.022 |  |  |  |  | 1.137
205.01-210.00 | 70.9 | 25.637 |  |  |  |  | 1.165
210.01-215.00 | 72.6 | 26.251 |  |  |  |  | 1.193
215.01-220.00 | 74.3 | 26.866 |  |  |  |  | 1.221
220.01-225.00 | 76 | 27.481 |  |  |  |  | 1.249
225.01-230.00 | 77.7 | 28.096 |  |  |  |  | 1.277
230.01-235.00 | 79.4 | 28.71 |  |  |  |  | 1.305
235.01-240.00 | 81.1 | 29.325 |  |  |  |  | 1.333
240.01-245.00 | 82.9 | 29.976 |  |  |  |  | 1.363
245.01-250.00 | 84.6 | 30.591 |  |  |  |  | 1.391
250.01-255.00 | 86.3 | 31.205 |  |  |  |  | 1.418
255.01-260.00 | 88 | 31.82 |  |  |  |  | 1.446
260.01-265.00 | 89.7 | 32.435 |  |  |  |  | 1.474
265.01-270.00 | 91.4 | 33.049 |  |  |  |  | 1.502
270.01-275.00 | 93.1 | 33.664 |  |  |  |  | 1.53
275.01-280.00 | 94.8 | 34.279 |  |  |  |  | 1.558
280.01-285.00 | 96.5 | 34.893 |  |  |  |  | 1.586
285.01-290.00 | 98.2 | 35.508 |  |  |  |  | 1.614
290.01-295.00 | 99.9 | 36.123 |  |  |  |  | 1.642
295.01-300.00 | 101.6 | 36.738 |  |  |  |  | 1.67
300.01-305.00 | 103.4 | 37.388 |  |  |  |  | 1.699
305.01-310.00 | 105.1 | 38.003 |  |  |  |  | 1.727
310.01-315.00 | 106.8 | 38.618 |  |  |  |  | 1.755
315.01-320.00 | 108.5 | 39.233 |  |  |  |  | 1.783
320.01-325.00 | 110.2 | 39.847 |  |  |  |  | 1.811
325.01-330.00 | 111.9 | 40.462 |  |  |  |  | 1.839
330.01-335.00 | 113.6 | 41.077 |  |  |  |  | 1.867
335.01-340.00 | 115.3 | 41.691 |  |  |  |  | 1.895
340.01-345.00 | 117 | 42.306 |  |  |  |  | 1.923
345.01-350.00 | 118.7 | 42.921 |  |  |  |  | 1.951
350.01-355.00 | 120.4 | 43.535 |  |  |  |  | 1.979
355.01-360.00 | 122.1 | 44.15 |  |  |  |  | 2.007
360.01-365.00 | 123.9 | 44.801 |  |  |  |  | 2.036
365.01-370.00 | 125.6 | 45.416 |  |  |  |  | 2.064
370.01-375.00 | 127.3 | 46.03 |  |  |  |  | 2.092
375.01-380.00 | 129 | 46.645 |  |  |  |  | 2.12
380.01-385.00 | 130.7 | 47.26 |  |  |  |  | 2.148
385.01-390.00 | 132.4 | 47.875 |  |  |  |  | 2.176
390.01-395.00 | 134.1 | 48.489 |  |  |  |  | 2.204
395.01-400.00 | 135.8 | 49.104 |  |  |  |  | 2.232
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Bundled Energy Rates:
Total Energy Charge Rate ($/kWh) |  |  |  | 0.36159
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)