## LS-2_250901-Present
.
Facilities Charge Per Lamp Per Month
CLASS |  | A |  |  | C**
PG&E supplies the energy and
|  | PG&E supplies energy |  |  | maintenance service as
|  | and service only. |  |  | described in Special Condition 8
|  | 0.201 |  |  | 3.787
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average Initial Lumens
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
Incandescent Lamps:
58 | 20 | 600 |  | 6.9 |  |  | 0.314
92 | 31 | 1000 |  | 10.695 |  |  | 0.486
189 | 65 | 2500 |  | 22.425 |  |  | 1.019
295 | 101 | 4000 | ** | 34.845 |  |  | 1.584
405 | 139 | 6000 | ** | 47.955 |  |  | 2.18
620 | 212 | 10000 | ** | 73.14 |  |  | 3.325
860 | 294 | 15000 | ** | 101.43 |  |  | 4.61
Mercury Vapor Lamps:
40 | 18 | 1300 |  | 6.21 |  |  | 0.282
50 | 22 | 1650 |  | 7.59 |  |  | 0.345
100 | 40 | 3500 |  | 13.8 |  |  | 0.627
175 | 68 | 7500 |  | 23.46 |  |  | 1.066
250 | 97 | 11000 |  | 33.465 |  |  | 1.521
400 | 152 | 21000 |  | 52.44 |  |  | 2.384
700 | 266 | 37000 |  | 91.77 |  |  | 4.171
1000 | 377 | 57000 |  | 130.065 |  |  | 5.912
High Pressure Sodium Vapor Lamps:
120 Volts
35 | 15 | 2150 |  | 5.175 |  |  | 0.235
50 | 21 | 3800 |  | 7.245 |  |  | 0.329
70 | 29 | 5800 |  | 10.005 |  |  | 0.455
100 | 41 | 9500 |  | 14.145 |  |  | 0.643
150 | 60 | 16000 |  | 20.7 |  |  | 0.941
200 | 80 | 22000 |  | 27.6 |  |  | 1.255
250 | 100 | 26000 |  | 34.5 |  |  | 1.568
400 | 154 | 46000 |  | 53.13 |  |  | 2.415
Energy Charge Per Lamp Per Month
All Night Rates
Nominal Lamp Rating: |  |  |  | Per Lamp Per Month
Average
Lamp | kWh per | Initial |  | All |  |  | Half-Hour
Watts | Month | Lumens* |  | Classes |  |  | Adjustment
High Pressure Sodium Vapor Lamps:
240 Volts
50 | 24 | 3800 |  | 8.28 |  |  | 0.376
70 | 34 | 5800 |  | 11.73 |  |  | 0.533
| 47 | 9500 |  | 16.215 |  |  | 0.737
150 | 69 | 16000 |  | 23.805 |  |  | 1.082
200 | 81 | 22000 |  | 27.945 |  |  | 1.27
250 | 100 | 25500 |  | 34.5 |  |  | 1.568
310 | 119 | 37000 |  | 41.055 |  |  | 1.866
360 | 144 | 45000 |  | 49.68 |  |  | 2.258
400 | 154 | 46000 |  | 53.13 |  |  | 2.415
Low Pressure Sodium Vapor Lamps:
35 | 21 | 4800 |  | 7.245 |  |  | 0.329
55 | 29 | 8000 |  | 10.005 |  |  | 0.455
90 | 45 | 13500 |  | 15.525 |  |  | 0.706
135 | 62 | 21500 |  | 21.39 |  |  | 0.972
180 | 78 | 33000 |  | 26.91 |  |  | 1.223
Metal Halide Lamps:
70 | 30 | 5500 |  | 10.35 |  |  | 0.47
100 | 41 | 8500 |  | 14.145 |  |  | 0.643
150 | 63 | 13500 |  | 21.735 |  |  | 0.988
175 | 72 | 14000 |  | 24.84 |  |  | 1.129
250 | 105 | 20500 |  | 36.225 |  |  | 1.647
400 | 162 | 30000 |  | 55.89 |  |  | 2.54
1000 | 387 | 90000 |  | 133.515 |  |  | 6.069
Induction Lamps:
23 | 9 | 1840 |  | 3.105 |  |  | 0.141
35 | 13 | 2450 |  | 4.485 |  |  | 0.204
40 | 14 | 2200 |  | 4.83 |  |  | 0.22
50 | 18 | 3500 |  | 6.21 |  |  | 0.282
55 | 19 | 3000 |  | 6.555 |  |  | 0.298
65 | 24 | 5525 |  | 8.28 |  |  | 0.376
70 | 27 | 6500 |  | 9.315 |  |  | 0.423
80 | 28 | 4500 |  | 9.66 |  |  | 0.439
85 | 30 | 4800 |  | 10.35 |  |  | 0.47
100 | 36 | 8000 |  | 12.42 |  |  | 0.565
120 | 42 | 8500 |  | 14.321 |  |  | 0.651
135 | 48 | 9450 |  | 16.56 |  |  | 0.753
150 | 51 | 10900 |  | 17.595 |  |  | 0.8
165 | 58 | 12000 |  | 20.01 |  |  | 0.91
200 | 72 | 19000 |  | 24.84 |  |  | 1.129
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
0.00-5.00 | 0.9 | 0.311 |  |  |  |  | 0.014
5.01-10.00 | 2.6 | 0.897 |  |  |  |  | 0.041
10.01-15.00 | 4.3 | 1.484 |  |  |  |  | 0.067
15.01-20.00 | 6 | 2.07 |  |  |  |  | 0.094
20.01-25.00 | 7.7 | 2.657 |  |  |  |  | 0.121
25.01-30.00 | 9.4 | 3.243 |  |  |  |  | 0.147
30.01-35.00 | 11.1 | 3.83 |  |  |  |  | 0.174
35.01-40.00 | 12.8 | 4.416 |  |  |  |  | 0.201
40.01-45.00 | 14.5 | 5.003 |  |  |  |  | 0.227
45.01-50.00 | 16.2 | 5.589 |  |  |  |  | 0.254
50.01-55.00 | 17.9 | 6.176 |  |  |  |  | 0.281
55.01-60.00 | 19.6 | 6.762 |  |  |  |  | 0.307
60.01-65.00 | 21.4 | 7.383 |  |  |  |  | 0.336
65.01-70.00 | 23.1 | 7.97 |  |  |  |  | 0.362
70.01-75.00 | 24.8 | 8.556 |  |  |  |  | 0.389
75.01-80.00 | 26.5 | 9.143 |  |  |  |  | 0.416
80.01-85.00 | 28.2 | 9.729 |  |  |  |  | 0.442
85.00-90.00 | 29.9 | 10.316 |  |  |  |  | 0.469
90.01-95.00 | 31.6 | 10.902 |  |  |  |  | 0.496
95.01-100.00 | 33.3 | 11.489 |  |  |  |  | 0.522
100.01-105.00 | 35 | 12.075 |  |  |  |  | 0.549
105.01-110.00 | 36.7 | 12.662 |  |  |  |  | 0.576
110.01-115.00 | 38.4 | 13.248 |  |  |  |  | 0.602
115.01-120.00 | 40.1 | 13.835 |  |  |  |  | 0.629
120.01-125.00 | 41.9 | 14.456 |  |  |  |  | 0.657
125.01-130.00 | 43.6 | 15.042 |  |  |  |  | 0.684
130.01-135.00 | 45.3 | 15.629 |  |  |  |  | 0.71
135.01-140.00 | 47 | 16.215 |  |  |  |  | 0.737
140.01-145.00 | 48.7 | 16.802 |  |  |  |  | 0.764
145.01-150.00 | 50.4 | 17.388 |  |  |  |  | 0.79
150.01-155.00 | 52.1 | 17.975 |  |  |  |  | 0.817
155.01-160.00 | 53.8 | 18.561 |  |  |  |  | 0.844
160.01-165.00 | 55.5 | 19.148 |  |  |  |  | 0.87
165.01-170.00 | 57.2 | 19.734 |  |  |  |  | 0.897
170.01-175.00 | 58.9 | 20.321 |  |  |  |  | 0.924
175.01-180.00 | 60.6 | 20.907 |  |  |  |  | 0.95
180.01-185.00 | 62.4 | 21.528 |  |  |  |  | 0.979
185.01-190.00 | 64.1 | 22.115 |  |  |  |  | 1.005
190.01-195.00 | 65.8 | 22.701 |  |  |  |  | 1.032
195.01-200.00 | 67.5 | 23.288 |  |  |  |  | 1.059
Light Emitting Diode (LED) Lamps: 120-240 Volts
Lamp | kWh per | Energy Rates Per |  |  |  |  | Half-Hour
Watts**** | Month***** | Lamp Per Month |  |  |  |  | Adjustment
200.01-205.00 | 69.2 | 23.874 |  |  |  |  | 1.085
205.01-210.00 | 70.9 | 24.461 |  |  |  |  | 1.112
210.01-215.00 | 72.6 | 25.047 |  |  |  |  | 1.139
215.01-220.00 | 74.3 | 25.634 |  |  |  |  | 1.165
220.01-225.00 | 76 | 26.22 |  |  |  |  | 1.192
225.01-230.00 | 77.7 | 26.807 |  |  |  |  | 1.219
230.01-235.00 | 79.4 | 27.393 |  |  |  |  | 1.245
235.01-240.00 | 81.1 | 27.98 |  |  |  |  | 1.272
240.01-245.00 | 82.9 | 28.601 |  |  |  |  | 1.3
245.01-250.00 | 84.6 | 29.187 |  |  |  |  | 1.327
250.01-255.00 | 86.3 | 29.774 |  |  |  |  | 1.353
255.01-260.00 | 88 | 30.36 |  |  |  |  | 1.38
260.01-265.00 | 89.7 | 30.947 |  |  |  |  | 1.407
265.01-270.00 | 91.4 | 31.533 |  |  |  |  | 1.433
270.01-275.00 | 93.1 | 32.12 |  |  |  |  | 1.46
275.01-280.00 | 94.8 | 32.706 |  |  |  |  | 1.487
280.01-285.00 | 96.5 | 33.293 |  |  |  |  | 1.513
285.01-290.00 | 98.2 | 33.879 |  |  |  |  | 1.54
290.01-295.00 | 99.9 | 34.466 |  |  |  |  | 1.567
295.01-300.00 | 101.6 | 35.052 |  |  |  |  | 1.593
300.01-305.00 | 103.4 | 35.673 |  |  |  |  | 1.622
305.01-310.00 | 105.1 | 36.26 |  |  |  |  | 1.648
310.01-315.00 | 106.8 | 36.846 |  |  |  |  | 1.675
315.01-320.00 | 108.5 | 37.433 |  |  |  |  | 1.702
320.01-325.00 | 110.2 | 38.019 |  |  |  |  | 1.728
325.01-330.00 | 111.9 | 38.606 |  |  |  |  | 1.755
330.01-335.00 | 113.6 | 39.192 |  |  |  |  | 1.781
335.01-340.00 | 115.3 | 39.779 |  |  |  |  | 1.808
340.01-345.00 | 117 | 40.365 |  |  |  |  | 1.835
345.01-350.00 | 118.7 | 40.952 |  |  |  |  | 1.861
350.01-355.00 | 120.4 | 41.538 |  |  |  |  | 1.888
355.01-360.00 | 122.1 | 42.125 |  |  |  |  | 1.915
360.01-365.00 | 123.9 | 42.746 |  |  |  |  | 1.943
365.01-370.00 | 125.6 | 43.332 |  |  |  |  | 1.97
370.01-375.00 | 127.3 | 43.919 |  |  |  |  | 1.996
375.01-380.00 | 129 | 44.505 |  |  |  |  | 2.023
380.01-385.00 | 130.7 | 45.092 |  |  |  |  | 2.05
385.01-390.00 | 132.4 | 45.678 |  |  |  |  | 2.076
390.01-395.00 | 134.1 | 46.265 |  |  |  |  | 2.103
395.01-400.00 | 135.8 | 46.851 |  |  |  |  | 2.13
Ballast Factors by Lamp Type and Wattage Range
|  |  |  | Ballast |  |  |  | Ballast
Watt Range |  |  |  | Factor | Watt Range |  |  | Factor
Mercury Vapor Lamps*: |  |  |  |  | High Pressure Sodium Vapor
120 Volts
1 | to | 75 |  | 31.00% | 1 | to | 40 | 25.44%
76 | to | 125 |  | 17.07% | 41 | to | 60 | 22.93%
126 | to | 325 |  | 13.69% | 61 | to | 85 | 21.25%
326 | to | 800 |  | 11.22% | 86 | to | 125 | 20.00%
801 | + |  |  | 10.34% | 126 | + |  | 17.07%
Low Pressure Sodium Vapor
240 Volts
1 | to | 40 |  | 75.61% | 1 | to | 60 | 40.49%
41 | to | 75 |  | 54.32% | 61 | to | 85 | 42.16%
76 | to | 110 |  | 46.34% | 86 | to | 125 | 37.56%
111 | to | 160 |  | 34.42% | 126 | to | 175 | 34.63%
161 | + |  |  | 26.83% | 176 | to | 225 | 18.54%
[5 empty] | 226 | to | 280 | 17.07%
Metal Halide |  |  |  |  | 281 | to | 380 | 12.35%
1 | to | 85 |  | 25.44% | 381 | + |  | 12.68%
86 | to | 200 |  | 20.39%
201 | to | 375 |  | 22.93%
376 | to | 700 |  | 18.54%
701 | + |  |  | 13.27%
Total Bundled Energy Rates:
Total Energy Charge Rate ($/kWh) |  |  |  | 0.345
*Latest published information should be consulted on best available lumens.
**Service for incandescent lamps over 2,500 lumens will be closed to new installations after Sept. 11, 1978.
***Closed to new installations and new lamps on existing circuits.
****Wattage based on total consumption of lamp and driver. Customer may be required to provide verification of total energy
consumption of lamp and driver upon request by PG&E.
*****Assumptions consistent with tariff, based on 4,100 hours of operation for a full-year; mid-point in range established by
deducting 2.5 watts from highest wattage in range. The energy use calculation is:
(high wattage in range-2.5 watts) x (4,100 hours/12 months/1000)