## LgAg_250901-Present
Rate Schedule | Rate Design | Customer Charge ($ per meter per day) | Season | Time-of-Use Period | Demand Charge1/ ($ per kW) | Total Energy Charge ($ per kWh) | "Average" Bundled Total Rate3/ ($ per kWh)
AG-1B | Flat rate energy charge and seasonal demand charge. Low annual operating hours. | 0.76313 | Summer | - | 23 | 0.28966 | 0.41722
|  |  | Winter | - | 17.28 | 0.21056
AG-RB and AG-RE2/ 2/meter installation charge paid | Time-of-use rate: MTW or WThF restricted | 0.76313 | Summer | Max Peak | 7.54 | 0.32623 | 0.5041
|  |  |  | Off-Peak | - | 0.32462
|  |  |  | Maximum | 19.68 | -
|  |  | Winter | Part-Peak | - | 0.29522
|  |  |  | Off-Peak | - | 0.29451
|  |  |  | Maximum | 15.53 | -
AG-VB and AG-VE2/ 2/meter installation charge paid | Time-of-use rate: 4 hour on peak | 0.76313 | Summer | Max Peak | 6.43 | 0.30717 | 0.49627
|  |  |  | Off-Peak | - | 0.30554
|  |  |  | Maximum | 19.92 | -
|  |  | Winter | Part-Peak | - | 0.27728
|  |  |  | Off-Peak | - | 0.27657
|  |  |  | Maximum | 15.96 | -
AG-4B and AG-4E2/ 2/meter installation charge paid | Time-of-use rate: 6 hour on peak | 0.76313 | Summer | Max Peak | 4.32 | 0.32847 | 0.57477
|  |  |  | Off-Peak | - | 0.3269
|  |  |  | Maximum | 20.59 | -
|  |  | Winter | Part-Peak | - | 0.2976
|  |  |  | Off-Peak | - | 0.29691
|  |  |  | Maximum | 15.33 | -
AG-4C and AG-4F2/ 2/meter installation charge paid (PDP applicable to Rate C) | Three period TOU rate | 2.15 | Summer | Max Peak | 8.64 | 0.24276 | 0.47541
|  |  |  | Part-Peak | 7.68 | 0.24223
|  |  |  | Off-Peak | - | 0.23043
|  |  |  | Maximum | 16.28 | -
|  |  | Winter | Part-Peak | 2.36 | 0.21958
|  |  |  | Off-Peak | - | 0.21887
|  |  |  | Maximum | 16.28 | -
AG-5B and AG-5E2/ 2/meter installation charge paid | Time-of-use rate: High annual operating hours benefits | 1.1945 | Summer | Max Peak | 10.49 | 0.22491 | 0.38225
|  |  |  | Off-Peak | - | 0.22415
|  |  |  | Maximum | 30.82 | -
|  |  | Winter | Part-Peak | - | 0.20772
|  |  |  | Off-Peak | - | 0.20704
|  |  |  | Maximum | 20.62 | -
AG-5C and AG-5F2/ 2/meter installation charge paid (PDP applicable to Rate C) | Three period TOU rate: High annual operating hours benefits | 5.3087 | Summer | Max Peak | 17.79 | 0.18629 | 0.30084
|  |  |  | Part-Peak | 15.8 | 0.18587
|  |  |  | Off-Peak | - | 0.17933
|  |  |  | Maximum | 14.96 | -
|  |  | Winter | Part-Peak | 3.52 | 0.1788
|  |  |  | Off-Peak | - | 0.17809
|  |  |  | Maximum | 14.96 | -
1/Effective January 1, 2006, agricultural "ratcheted" demand charges, demand charge limiters, minimum demands, drought relief options, and balance of contract were
eliminated. Demands will be measured each month, with demand charges based only upon the demand in the current month, rather than "ratcheted" or "seasonal
billing" demands which considered demands in all months of the same season in the past year, or minimum demands based on the two largest motors.
2/Effective May 1, 2006, the voluntary TOU one time reprogramming charge of $85 if there is a TOU meter already present, and one time $441 meter installation charge if there is no TOU
meter, were eliminated. The lower daily TOU meter charge continues to apply to customers who were on Rate E or F as of May 1, 2006. Rate B or C applies to all other customers.
3/Based on estimated forecast. Average bundled rates provided only for general reference, and individual customer's average rate will depend on its applicable kw, kWh and TOU data.
Note: Summer Season: May-October Winter Season: November-April
These are the most commonly used rates. Please see Tariff for additional rate options, such as service with voltage discounts.
This table provided for comparative purposes only. See current tariffs for full information regarding rates, application, eligibility and additional options.
Note - ABOVE Rates are Total Bundled Rates and Total Bundled Time-of-Use Rates
Advice Letter 6509-E-A, Effective Mar 1, 2022, Deleted Meter Charges for Rate Schedules AG-RB/RE, AG-VB/VE, AG-4B/4E, AG-4C/4F, AG-5B/5E, AG-5C/5F
Advice Letter 6090-E, Effective Mar 1, 2021, Deleted PDP Charges and PDP Demand Credits
NOTE: This is a corrected 9/1/23 version, due to Advice Letter 7009-E-A.

## AG-R Split-Week TOU Periods
AG-R Split-Week Time-of-Use Periods
Summer (May-October)
Peak:*
|  |  | Group I | 12:00 noon to 6:00 pm | Monday, Tuesday, Wednesday (except holidays)
|  |  | Group II | 12:00 noon to 6:00 pm | Wednesday, Thursday, Friday (except holidays)
|  | Off-Peak: |  | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
Winter (November-April)
|  | Partial Peak: |  | 8:30 am to 9:30 pm | Monday through Friday (except holidays)
|  | Off-Peak: |  | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
* Providing space is available, you may have the option of choosing the applicable days for peak-period hours.
Holidays:
Holidays' for the purposes of this Rate Schedule are New Year's Day, President's Day,
Memorial Day, Independence Day, Labor Day, Veterans Day, Thanksgiving Day, and
Christmas Day. The dates will be those on which the holidays are legally observed.

## AG-V Short-Peak TOU Periods
AG-V Short-Peak Time-of-Use Periods
Summer (May-October)
Peak:*
|  |  | Group I | 12:00 noon to 4:00 pm | Monday through Friday (except holidays)
|  |  | Group II | 1:00 pm to 5:00 pm | Monday through Friday (except holidays)
|  |  | Group III | 2:00 pm to 6:00 pm | Monday through Friday (except holidays)
|  | Off-Peak: |  | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
Winter (November-April)
|  | Partial Peak: |  | 8:30 am to 9:30 pm | Monday through Friday (except holidays)
|  | Off-Peak: |  | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
* Providing space is available, you may have the option of choosing between assignment to Group I,
Group II, or Group III for the applicable peak-period hours.
Holidays:
Holidays' for the purposes of this Rate Schedule are New Year's Day, President's Day,
Memorial Day, Independence Day, Labor Day, Veterans Day, Thanksgiving Day, and
Christmas Day. The dates will be those on which the holidays are legally observed.

## AG-4 TOU Periods
AG-4 Time-of-Use Periods
Summer (May-October)
For Rates A, B, D, and E
|  |  | Peak: | 12:00 noon to 6:00 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
For Rates C and F
|  |  | Peak: | 12:00 noon to 6:00 pm | Monday through Friday (except holidays)
|  |  | Partial-Peak: | 8:30 am to 12:00 pm | Monday through Friday (except holidays)
|  |  |  | 6:00 pm to 9:30 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | 9:30 pm to 8:30 am | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
Winter (November-April)
For Rates A, B, C, D, E, and F
|  |  | Partial-Peak: | 8:30 am to 9:30 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
* Providing space is available, you may have the option of choosing between assignment to Group I,
Group II, or Group III for the applicable peak-period hours.
Holidays:
Holidays' for the purposes of this Rate Schedule are New Year's Day, President's Day,
Memorial Day, Independence Day, Labor Day, Veterans Day, Thanksgiving Day, and
Christmas Day. The dates will be those on which the holidays are legally observed.

## AG-5 Large TOU Periods
AG-5 Large Time-of-Use Periods
Summer (May-October)
For Rates A, B, D, and E
|  |  | Peak: | 12:00 noon to 6:00 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | All Other Hours | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
For Rates C and F
|  |  | Peak: | 12:00 noon to 6:00 pm | Monday through Friday (except holidays)
|  |  | Partial-Peak: | 8:30 am to 12:00 pm | Monday through Friday (except holidays)
|  |  |  | 6:00 pm to 9:30 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | 9:30 pm to 8:30 am | Monday through Friday
|  |  |  | All Day | Saturday, Sunday, Holidays
Winter (November-April)
For Rates A, B, C, D, E, and F
|  |  | Partial-Peak: | 8:30 am to 9:30 pm | Monday through Friday (except holidays)
|  |  | Off-Peak: | All Other Hours | Monday through Friday
|  |  |  | All day | Saturday, Sunday, Holidays
* Providing space is available, you may have the option of choosing between assignment to Group I,
Group II, or Group III for the applicable peak-period hours.
Holidays:
Holidays' for the purposes of this Rate Schedule are New Year's Day, President's Day,
Memorial Day, Independence Day, Labor Day, Veterans Day, Thanksgiving Day, and
Christmas Day. The dates will be those on which the holidays are legally observed.